## Front
NRM1 Cost Plan
Y Fforwm
QS
06.05.2022

## Information Used
Information Used & Assumptions
1 | Information Used
Jubb Drawings;
Llibrary Building Piling Layout
Library Building Foundation Layout
Library Building Sub-structure Sections
Library Building Column Layout
Library Building Ground Floor Layout
Library Building First Floor Layout
Library Building Second Floor Layout
Library Building Roof Layout
Library Building Elevations Sheet 1
Library Building Elevations Sheet 2
Library Building Section
Library Building Shear Walls GA Sheet 1
Library Building Shear Walls GA Sheet 2
Library Building Elevations Sheet 6
Stride Treglown Drawings;
Ground Floor Layout Plan
Ground Floor Plan
First Floor Layout Plan
First Floor Plan
Second Floor Layout Plan
Second Floor Plan
Technical Elevations Sheet 1
Window Elevations
Library Door Elevations
Library Door Schedule
Curtain Wall Elevations Sheet 1
Curtain Wall Elevations Sheet 2
2 | General assumptios;
A report with all general and detailed assumptions made is attached.
3 | General notes and exclusions;
All included costs are subject to variation following design development.
Risks associated with BREXIT are not considered.
A risk allowance of 5% is included for this estimate.
VAT is excluded from the estimate.
Works will be undertaken in a single phase.

## Summary Original
Project details |  | NRM1 elemental cost plan
Description |  | Y Fforwm - Campus Library UWTSD
Works cost estimate
Cost
Building works estimate |  |  |  |  | 2189
| Group element 0 | FACILITATING WORKS | 0 |  | 0
| Group element 1 | SUBSTRUCTURE | 293355.56 |  | 134.0135
| Group element 2 | SUPERSTRUCTURE | 1750670 |  | 799.7579
| Group element 3 | INTERNAL FINISHES | 685875 | 0 | 313.328
| Group element 4 | FITTINGS AND FURNISHINGS | 250000 |  | 114.2074
| Group element 5 | SERVICES | 296700 | 0 | 135.5413 | 1496.8481
| Group element 8 | 0 | 0 |  | 0
| Group element 9 | Main contractors preliminaries & OHP | 298324.5 |  | 136.2835
Works cost estimate (sub total A) |  |  | 3574925.06 | 0
Project design team fees and other development costs (sub total B)
0
Base cost estimate A + B (sub total C) |  |  | 3574925.06
| Group element 13 | Risk allowance @
Total Risk allowances (sub total D) |  |  | 0
0
Total Construction Cost (C + D) |  |  | 3574925.06
0
0
0
0
0
0
0
0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0

## NRM1 CP template
Cost Plan for Y Fforwm
NRM 1 phaseologies
Elemental Cost Plan
Elements in red are NRM1 Phraseologies
Ref. | Element | Quantity / unit |  |  | Rate | Sub-Total | Group-Total | Notes
[5 empty] | £ | £ | £
0 | FACILITATING WORKS | [5 empty] | 0
0.1 | Toxic/hazardous material
| Toxic or hazardous material removal: Details to be stated e.g Removal of asbestos |  | 0 | item | 0 | 0
Contaminated land
| Contaminated ground material removal: Details to be stated. |  | 0 | item | 0 | 0
0.2 | Major demolition works
Demolition of entire buildings: details to be stated.
| Demolition of entire structure |  | 0 | item | 0 | 0
1 | SUBSTRUCTURE | [5 empty] | 293355.56
1.1 | Foundations
| Excavate pit in firm ground by machine, partial backfil, partial disposal, support, compaction, cut off pile and prepare reinforcement, formwork; reinforced in situ concrete | [6 empty] | 1.1.2.1
| Pile Caps - 750mm x 750mm x 1500mm, single pilecap |  | 28 | no | 750 | 21000 |  | 1.1.2.12
| Pile Caps - 750mm x 1300mm x 1500mm, double pilecap |  | 19 | no | 1675 | 31825 |  | 1.1.2.12
| Pile Caps - 1249mm x 1300mm x 1500mm, triple pilecap |  | 10 | no | 2050 | 20500 |  | 1.1.2.12
| Set up each pile |  | 96 | no | 22.61 | 2170.56
| CFA piled foundations, excavations, concrete, reinforcement; 300mm dia. 18m deep |  | 1728 | m | 120 | 207360 |  | 1.1.2.4
| Concrete ground beams (beam ring); reinforced in situ concrete ground beams; bar reifnorcement; formwork | [6 empty] | 1.1.2.4
| 560 mm x 630 mm. reinforcement at 270 kg/m3 |  | 150 | m2 | 70 | 10500
2 | SUPERSTRUCTURE | [5 empty] | 1750670
2.1 | Frame
Structural steel frame, including fittings and fixings: details to be stated.
| Reinforced in situ concrete columns, bar reinforcement, formwork. 500 dia. |  | 343 | m2 | 235 | 80605 |  | 2.1.4.1
| Allowance for miscellaneous works, protecting colums |  | 1 | item | 1800 | 1800
2.2 | Upper Floors
| Precast concrete suspended floors; 1200mm wide suspended slab; 75mm thick screed, no coverings or finishes. 7.5m span; 250mm thick planks;8.5kN/m2 loading (including incorporated beams) | [6 empty] | 2.1.4.2 Beams included withing cost. Given design
| First Floor |  | 925 | m2 | 86 | 79550 |  | 2.2.1.1
| Second Floor |  | 945 | m2 | 87 | 82215 |  | 2.2.1.1
2.3 | Roof
Roof structure - pitched roofs: details, including design loads (kN/M2), spans (m) and angle of pitch (degtrees). To be stated
| Metal decking; steel roof decking; insulation; three layer felt roofing and chippings; 1.2mm thick steel decking (U-Value = 0.25 W/m2k) |  | 1293 | m2 | 85 | 109905 |  | 2.3.1.1
| allowance for rainwater goods (guttering) |  | 50 | m | 30 | 1500 |  | 2.3.4.1
| Allowance downpipes |  | 4 | item | 65 | 260 |  | 2.3.4.2
2.4 | Stairs & Ramps
Stair structures: details, includng vrtical rise of starcase to be stated
| Precast concrete stairs, high quality finish; stainless steel and glass balustrades; plastered and decorated soffit - concrete gradee C32/40 UNO |  | 2 | no | 20000 | 40000 |  | 2.4.1.1
2.5 | External Walls
External walls: Details to be stated.
| Reinforced concrete shear walls 200-250 mm thick |  | 177 | m2 | 290 | 51330 |  | 2.5.1.1
| Curtain Walling System - bespoke project; Vertical aluminium curtain walling - Kawnee AA100, dark grey, PPC, colour RAL 7016 - H11/109 |  | 1105 | m2 | 800 | 884000 |  | 2.5.1.6
| Extra for louvres |  | 1 | item | 23000 | 23000 |  | 2.6.1.2
2.6 | Windows and external doors
Windows : details, including overall size of opening (mm) to be stated.
Windows
| Composite aluminium window; purpose made; Kawneer AA541, dark grey PPC, colour RAL 7016 - L10/330 | [6 empty] | 2.6.1.1
| W Type 1 2400 x 460 mm |  | 4 | nr | 260 | 1040
| W Type 2 2400 x 1360 mm |  | 14 | nr | 270 | 3780
| W Type 2a 2400 x 460 mm |  | 5 | nr | 270 | 1350
| W Type 3 2400 x 1360 mm |  | 3 | nr | 300 | 900
| W Type 3a 2400 x 1360 mm |  | 1 | nr | 300 | 300
| W Type 4 2400 x 1360 mm |  | 1 | nr | 260 | 260
| W Type 5 3225 x 1360 mm |  | 7 | nr | 290 | 2030
| W Type 6 3225 x 1360 mm |  | 3 | nr | 280 | 840
| W Type 7 3265 x 3450 mm |  | 4 | nr | 300 | 1200
External doors: details, including type, number of door leaves (nr) size of each door leaf (mm) and overall size of opening (mm) to be stated.
External doors
| Automatic glazed entrance doors; Automatic revolving door framed. Revolving door system providing hands free operatioon and escape functionality, Modern modular design comprising four collapsible door leaves with electromachanical breakout, framed curved glazed outer walls, radially segmented ceiling and semi-circular dustcovers, complete with operator and imbedded digital control; 3 or 4 wing 2600mm dia., 2200mm internal height |  | 2 | no | 45000 | 90000 |  | 2.6.2.2
| Automatice glazed entrance doors; |  | 2 | no | 2000 | 4000 |  | 2.6.2.1
2.7 | Internal walls
Internal walls:details, including thickness, to be stated
| Accoustic rated metal stud partitions, 60-minute fire-rated, hardwood skirting |  | 420 | m2 | 370 | 155400 |  | 2.7.1.3
| Blockwork including finishes |  | 1015 | m2 | 100 | 101500 |  | 2.7.1.1
2.8 | Internal doors & screens
| Standard fire doors; cellular core; softwood lining; softwood architrave; (lockable, self-closure) painted; | [6 empty] | 2.8.1.2
| Internal Door Type 1 |  | 19 | nr | 495 | 9405
| Internal Door Type 2 |  | 13 | nr | 500 | 6500
| Internal Door Type 4 |  | 10 | nr | 500 | 5000
| Internal Door Type 5 |  | 9 | nr | 550 | 4950
| Internal Door Type 5B |  | 5 | nr | 550 | 2750
| Internal Door Type 5C |  | 2 | nr | 550 | 1100
| Internal Door Type 6 |  | 7 | nr | 600 | 4200
3 | INTERNAL FINISHES | [5 empty] | 685875
3.1 | Wall finishes
Finishes to walls and columns: details to be stated.
| Paint finish |  | 1435 | m2 | 25 | 35875 |  | 3.1.1.1
3.2 | Floor finishes
Finishes to floors: details to be stated.
| Vinyl to floors |  | 0 | m2 |  | 0 |  | 3.2.1.1
| Resin paint to floor |  | 0 | m2 | 0 | 0
| Carpet to apartment floors |  | 0 | m2 | 0 | 0
| Carpet, higher specification to circulation |  | 0 | m2 |  | 0
3.3 | Ceiling finishes | [6 empty] | 3.3.3.1
Finishes to ceilings: details to be stated.
| Suspended plank systems including decoration |  | 0 | m2 |  | 650000
250000
4 | FITTINGS AND FURNISHINGS
4.1 | General fittings, furnishings and equipment
Kitchen units: details to be stated.
| Allowance for miscellaneous fictures and fittings, reception desk, kitchenettes, copy stations, whiteboards etc. |  | 1 | no | 250000 | 250000 |  | 4.1.1.2
296700
5 | SERVICES
5.1 | Sanitary installations
Sanitary appliance: details to be stated.
| WC installation, cubicle partitions, laminated plastics, including ironmongery |  | 38 | m2 | 650 | 24700 |  | 5.1.1.1
5.3 | Disposal Installations
Drainage to sanitary appliance: details to be stated.
| Generally |  | 0 | item |  | 0 |  | 5.3.1.1
5.4 | Water installations
Mains water supply: details, including the number of draw-off points (nr), to be stated.
| Cold & hot water |  | 0 | m2 | 50 | 0 |  | 5.4.1.1
5.5 | Heat source
Heat source (nr): details, including output of heat source (kW), to be stated.
| Space heating and air conditioning |  | 0 | m2 | 170 | 0 |  | 5.5.5.1
5.8 | Electrical installations
| Power & Data distribution |  | 0 | m2 | 200 | 0
5.1 | Lift and Conveyor installations
| Passenger lift; 8 person; up to 4 stops; 1.0m/s speed (incl. finishes; carpet; mirrors) |  | 2 | no | 100000 | 200000 |  | 5.10.1.1
5.11 | Fire and lightning protection
| Fire alarm |  | 0 | no |  | 0
5.12 | Communication, security and control systems
| Power & Data distribution |  | 0 | no |  | 0
5.13 | Special Installations
| Solar power including 4kWp monocrystalline solar modules (12 × 185 Wp) on roof mounting kit; certified inverter; DC and AC isolation switches and connection to the grid and certification |  | 90 | no | 800 | 72000 |  | 5.13.4.1
0
8 | EXTERNAL WORKS
8.1 | Site Preparation works
| See above |  |  |  |  | 0
8.2 | Roads, Paths, pavings and surfacings
Roads: details, including width, to be stated.
| Tarmacadam to road and parking spaces |  | 0 | m² | 0 | 0
| Edgings |  | 0 | m | 0 | 0
8.3 | Soft landscapes, planting and irrigation systems
Grassed areas: details to be stated.
| soft landscaping |  | 0 | m² | 0 | 0
8.4 | Fencing,railings and walls
Walls: details, including height (m), to be stated.
| 2.1 High brick boundary wall |  | 0 | m | 0 | 0
Fencing: details, including height (m), to be stated.
| 2.1 High timber boundary fence |  | 0 | m | 0 | 0
Gates: details to be stated.
| Electric access gates |  | 0 | nr | 0 | 0
8.6 | External Drainage
| Drainage allowance |  | 0 | nr | 0 | 0
8.7 | External Services
Electrical
Connections to statutory undertaker's electricity main: details to be stated.
| Main electrical supply to building |  | 0 | item | 0 | 0
| Disconnections |  | 0 | item | 0 | 0
| Electrical substation |  | 0 | item | 0 | 0
Water
Connections to statutory undertaker's water main: details to be stated.
| Mains layout cost |  | 0 | item | 0 | 0
| Service costs |  | 0 | item | 0 | 0
| Water/sewerage infrastructure costs |  | 0 | item | 0 | 0
| Disconnections of water mains |  | 0 | item | 0 | 0
Gas
Connections to statutory undertaker's gas main: details to be stated.
| Works Allowance |  | 0 | item | 0 | 0
Street Lightning
External lighting to pedestrian areas: details to be stated.
| Works Allowance |  | 0 | item | 0 | 0
298324.5
9 | MAIN CONTRACTOR'S PRELIMINARIES
| Main contractors preliminaries & OHP |  | 10 | % | 2983245 | 298324.5
3574925.06
| SECTION SUB-TOTAL | [5 empty] | 2068.8224