## Front
UWTSD Y Fforwm (Library) Cost Plan
Cody Colarusso
13/03/2020

## Information Used
Information Used & Assumptions
1 | Information Used
UWTSD Library Drawings;
Proposed Ground Floor Plan
Proposed First Floor Plan
Proposed Second Floor Plan
Proposed Technical Elevations North
Proposed Technical Elevations East
Proposed Technical Elevations South
Proposed Technical Elevations West
2 | General assumptions;
All prices and costings have been taken from Spons; unless otherwise stated.
Total Gross Internal Floor Area used for frame estimation.
Total Gross Internal Floor Area used for all services; Heat, Electric, Fire, Comms.
Concrete plinth assumed £25.00/m2 - No Spons
Concrete lintel assumed £25.00/m2 - No Spons
Facilitating works includes provisional sum.
F.F.E includes provisional sum.
Sanitary provisions includes provisional sum.
Excluded external works.
Rate for frame includes two concrete decks
Costs are based upon the information as provided.
Ventilation and S/E Louvres not included within sum.
We have assumed that the area of works will be decanted for the project. No allowance is made for throughways or dealing with building occupants.
The exact nature of specification for internal doors, screens, folding partitions and finishes are based on supplied plans and door/window schedules.
3 | General notes and exclusions;
All included costs are subject to variation following design development.
Risks associated with BREXIT are not considered.
A risk allowance of 10% is included for this estimate.
Inflation has not been accounted for in this estimate.
VAT is excluded from the estimate.
Works will be undertaken in a single phase.
Not priced for internal glass walling.
Heat source not included; unknown values.

## NRM1 CP
UWTSD Library
NRM 1 phaseologies
Elemental Cost Plan
Elements in red are NRM1 Phraseologies
Ref. | Element | Quantity / unit |  |  | Rate | Sub-Total | Group-Total | Notes
[5 empty] | £ | £ | £
0 | FACILITATING WORKS | [5 empty] | 150000
0.1 | Provisional Sum
| Provisional Sum for potential facilitiating works agreed by the client. |  | 1 | item | 150000 | 150000
1 | SUBSTRUCTURE | [5 empty] | 167475
1.1 | Foundations
| Rate of £175/m2 agreed by the client, to cover the substructure and drainage elements. |  | 957 | m2 | 175 | 167475
2 | SUPERSTRUCTURE | [5 empty] | 1515234.5
2.1 | Frame
Structural steel frame, including fittings and fixings: details to be stated.
| Steel frame; composite beam and slab floors; up to 6 floors |  | 2748 | m2 | 150 | 412200
2.3 | Roof
Roof structure - pitched roofs: details, including design loads (kN/M2), spans (m) and angle of pitch (degtrees). To be stated
| Steel trussed with metal sheet cladding; aluminium composite cladding |  | 1251 | m2 | 290 | 362790
| Roof drainage; 100mm uPVC |  | 104 | m | 28.5 | 2964
| Roof drainage; 68mm downpipers |  | 44 | m | 26 | 1144
| PV Solar Panels |  | 2 | nr | 8000 | 16000
| PPC Metal Ventilation Louvres |  | 17 | m2 | 250 | 4250
2.4 | Stairs & Ramps
Stair structures: details, includng vrtical rise of starcase to be stated
| Refinforced concrete construction; 3.9m rise; dogleg |  | 4 | nr | 8290 | 33160
2.5 | External Walls
External walls: Details to be stated.
| Facing Brickwork - Ibstock Chester Red Blend F10/110C |  | 429 | m2 | 110 | 47190
solid wall; one brick thick
| Aluminium rainscreen cladding - RAL 7016, H92/120A |  | 60 | m2 | 250 | 15000
Solar/rainscreen; trespa single skin
| Vertical aluminium curtain walling - RAL 7016, L10/330 |  | 780 | m2 | 540 | 421200
Glazed walling; stick curtain walling with double glazed units
| Concrete plinth |  | 33 | m2 | 25 | 825
| Precast concrete lintel |  | 65 | m2 | 25 | 1625
2.6 | Windows and external doors
Windows : details, including overall size of opening (mm) to be stated.
Windows
Aluminium window - RAL 7016, L10/330
| AW 2400 x 460 mm |  | 4 | no
| fixed window up to 1.5m2 |  | 5 | m2 | 290 | 1450
| AW 2400 x 1360 mm |  | 24 | no
| fixed window up to 4m2 |  | 79 | m2 | 260 | 20540
| AW 3225 x 1360 mm |  | 10 | no
| fixed window up to 4m2 |  | 44 | m2 | 260 | 11440
External doors: details, including type, number of door leaves (nr) size of each door leaf (mm) and overall size of opening (mm) to be stated.
External doors
Composite aluminium entrance door
| Automatic revolving door; clear laminated glazing; 4nr wings |  | 2 | nr | 38000 | 76000
2.7 | Internal walls
Internal walls:details, including thickness, to be stated
fixed partitions:details, including thickness, to be stated
| 102mm metal stud and board partitions; emulsion finish and softwood skirtings with finish |  | 1187 | m2 | 49.5 | 58756.5
Not priced for interior glass walls.
2.8 | Internal doors & screens
Fire resisting doors: details, including type, number of door leaves (nr), fire rating (hours), size of each door leaf (mm), and overall size of opening (mm), to be stated.
| Fire doors; single leaf; 30min fire resistance |  | 25 | nr | 500 | 12500
| Fire doors; double leaf; 30min fire resistance |  | 3 | nr | 780 | 2340
| Classroom door ironmongery; lockable; fire rated |  | 28 | nr | 495 | 13860
3 | INTERNAL FINISHES | [5 empty] | 107317.9
3.1 | Wall finishes
Included with internal walls
3.2 | Floor finishes
Finishes to floors: details to be stated.
| Resin paint to floor |  | 357 | m2 | 16.7 | 5961.9
| Heavy domestic duty tiles |  | 1450 | m2 | 62 | 89900
3.3 | Ceiling finishes
Finishes to ceilings: details to be stated.
| Decoration; expose steelwork |  | 1790 | m2 | 6.4 | 11456
4 | FITTINGS AND FURNISHINGS | [5 empty] | 90000
4.1 | General fittings, furnishings and equipment
Provisional Sum for F.F & E. agreed by the client.
5 | SERVICES | [5 empty] | 918352.8
5.1 | Sanitary installations
5.4 | Water installations
| Provisional sum for sanitary provisions agreed by the client. |  |  |  |  | 60000
5.5 | Heat source
Heat source (nr): details, including output of heat source (kW), to be stated.
5.6 | Space heating and air conditioning
| Multistorey tower |  | 2748 | m2 | 72 | 197856
5.7 | Ventilation systems
| Office building; multi-storey (toilet and kitchen only) |  | 240 | m2 | 7.1 | 1704
5.8 | Electrical installations
| Electric mains and sub mains distrubition; includes lv,hv, lighting, small power; Office building - multistorey |  | 2748 | m2 | 110 | 302280
5.9 | Fuel Installations
| Gas mains service to plantroom. |  | 2748 | m2 | 1.6 | 4396.8
5.1 | Lift and Conveyor installations
Passenger lifts: details, including capacity (i.e. number of persons), speed (in m/sec), number of doors (nr), door heights and number of levels serviced (nr), to be stated.
| Passenger lift; 8person; 4 stops; 1m/s speed |  | 2 | no | 84000 | 168000
5.11 | Fire and lightning protection
| Fire fighting systems; lighting protection, sprinklers; office building multistorey |  | 2748 | m2 | 35 | 96180
5.12 | Communication, security and control systems
Telecommunication systems: details of each type of system to be stated.
Data transmission systems: details of each type of system to be stated.
| Fire alarm, public address system, security installation; office building - multistorey |  | 2748 | m2 | 32 | 87936
8 | EXTERNAL WORKS | [5 empty] | 0
External works excluded, assumed to be a separate works package.
9 | MAIN CONTRACTOR'S PRELIMINARIES | [5 empty] | 254090.52
| Main contractors preliminaries & OHP |  | 10 | % | 2540905.2 | 254090.52
| SECTION SUB-TOTAL | [5 empty] | 3202470.72
2511.7417

## Summary Original
Project details |  | UWTSD LIBRARY
Description |  | Costings estimate for UWTSD Library
Works cost estimate
Cost
Building works estimate |  |  |  |  | 2189
| Group element 0 | FACILITATING WORKS | 150000 |  | 68.5244
| Group element 1 | SUBSTRUCTURE | 167475 |  | 76.5075
| Group element 2 | SUPERSTRUCTURE | 1515234.5 |  | 692.204
| Group element 3 | INTERNAL FINISHES | 107317.9 | 0 | 49.026
| Group element 4 | FITTINGS AND FURNISHINGS | 90000 |  | 41.1147
| Group element 5 | SERVICES | 918352.8 | 0 | 419.5307 | 1346.9074
| Group element 8 | EXTERNAL WORKS | 0 |  | 0
| Group element 9 | MAIN CONTRACTOR'S PRELIMINARIES | 254090.52 |  | 116.0761
Works cost estimate (sub total A) |  |  | 3202470.72 | 0
Project design team fees and other development costs (sub total B)
0
Base cost estimate A + B (sub total C) |  |  | 3202470.72
| Group element 13 | Risk allowance @ 10% | 320247.072
Total Risk allowances (sub total D) |  |  | 320247.072
Total Construction Cost (C + D) |  |  | 3522717.792
0
0
0
0
0
0
0
0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0

## FBW
FACING BRICK WORK
NORTH
|  |  | Length | Width | Total
| FBW |  | 8.625 | 21.23 | 183.1088
|  |  | 7.2 | 1.225 | 8.82
|  |  | 7.2 | 1.225 | 8.82
200.7488
[6 empty] | GRAND TOTAL (m2) | 428.9182
Deducations
| CW | GFCW14 | 7.2 | 5.29 | 38.088
|  | GFCW16 | 7.2 | 7.06 | 50.832
|  | GFCW18 | 7.2 | 5.29 | 38.088
| Lintel | GFCW14 | 0.23 | 5.29 | 1.2167
|  | GFCW16 | 0.23 | 7.06 | 1.6238
|  | GFCW18 | 0.23 | 5.29 | 1.2167
| Plinth | 1 | 0.5 | 1.13 | 0.565
|  | 2 | 0.5 | 1.13 | 0.565
|  | 3 | 0.5 | 0.89 | 0.445
|  | 4 | 0.5 | 0.89 | 0.445
|  | 5 | 0.5 | 1.225 | 0.6125
|  | 6 | 0.5 | 1.225 | 0.6125
|  |  |  | Total dec | 134.3102
|  |  |  | Grand Total | 66.4385
EAST
|  |  | Length | Width | Total
| FBW |  | 8.625 | 49.177 | 424.1516
| CW | 01W01 | 2.4 | 0.46 | 1.104
|  | 01W14 | 2.4 | 0.46 | 1.104
|  | GFCW06 | 3.225 | 3.055 | 9.8524
|  | GFCW07 | 3.225 | 5.41 | 17.4473
|  | GRCW08 | 3.225 | 5.41 | 17.4473
|  | GRCW09 | 3.225 | 5.41 | 17.4473
|  | GRCW10 | 3.225 | 5.41 | 17.4473
|  | GRCW11 | 3.225 | 5.41 | 17.4473
|  | GRCW12 | 3.225 | 5.41 | 17.4473
|  | GRCW13 | 3.225 | 5.41 | 17.4473
| Lintel | GRCW06 | 0.23 | 3.055 | 0.70265
|  | ACW1 | 0.23 | 5.41 | 1.2443
|  | ACW2 | 0.23 | 5.41 | 1.2443
|  | ACW3 | 0.23 | 5.41 | 1.2443
|  | ACW4 | 0.23 | 5.41 | 1.2443
|  | ACW5 | 0.23 | 5.41 | 1.2443
|  | ACW6 | 0.23 | 5.41 | 1.2443
|  | GRCW13 | 0.23 | 5.41 | 1.2443
| ACW | 1 | 3.975 | 5.41 | 21.5048
|  | 2 | 3.975 | 5.41 | 21.5048
|  | 3 | 3.975 | 5.41 | 21.5048
|  | 4 | 3.975 | 5.41 | 21.5048
|  | 5 | 3.975 | 5.41 | 21.5048
|  | 6 | 3.975 | 5.41 | 21.5048
| Plinth | 1 | 0.5 | 1.225 | 0.6125
|  | 2 | 0.5 | 0.89 | 0.445
|  | 3 | 0.5 | 0.89 | 0.445
|  | 4 | 0.5 | 0.89 | 0.445
|  | 5 | 0.5 | 0.89 | 0.445
|  | 6 | 0.5 | 0.89 | 0.445
|  | 7 | 0.5 | 0.89 | 0.445
|  | 8 | 0.5 | 0.89 | 0.445
|  | 9 | 0.5 | 1.225 | 0.6125
|  |  |  | Total dec | 276.9724
|  |  |  | Grand total | 147.1792
SOUTH
|  |  | Length | Width | Total
| FBW |  | 8.625 | 21.23 | 183.1088
|  |  | 7.2 | 1.225 | 8.82
|  |  | 7.2 | 1.225 | 8.82
200.7488
| CW | GFCW01 | 7.2 | 5.29 | 38.088
|  | GFCW03 | 7.2 | 7.06 | 50.832
|  | GFCW05 | 7.2 | 5.29 | 38.088
| Lintel | GFCW01 | 0.23 | 5.29 | 1.2167
|  | GFCW03 | 0.23 | 7.06 | 1.6238
|  | GFCW05 | 0.23 | 5.29 | 1.2167
| Plinth | 1 | 0.5 | 1.13 | 0.565
|  | 2 | 0.5 | 1.13 | 0.565
|  | 3 | 0.5 | 0.89 | 0.445
|  | 4 | 0.5 | 0.89 | 0.445
|  | 5 | 0.5 | 1.225 | 0.6125
|  | 6 | 0.5 | 1.225 | 0.6125
|  |  |  | Total dec | 134.3102
|  |  |  | Grand Total | 66.4385
WEST
|  |  | Length | Width | Total
| FBW |  | 8.625 | 49.177 | 424.1516
| CW | 01W15 | 2.4 | 0.46 | 1.104
|  | 01W28 | 2.4 | 0.46 | 1.104
|  | GFCW23 | 3.225 | 3.055 | 9.8524
|  | GFW01 | 3.225 | 4.923 | 15.8767
|  | ACW1 | 7.2 | 5.41 | 38.952
|  | ACW2 | 7.2 | 5.41 | 38.952
|  | ACW3 | 7.2 | 5.41 | 38.952
|  | ACW4 | 7.2 | 5.41 | 38.952
|  | ACW5 | 7.2 | 5.41 | 38.952
|  | ACW6 | 7.2 | 5.41 | 38.952
| Lintel | GRCW23 | 0.23 | 3.055 | 0.70265
|  | GFW01 | 0.23 | 4.923 | 1.1323
|  | ACW1 | 0.23 | 5.41 | 1.2443
|  | ACW2 | 0.23 | 5.41 | 1.2443
|  | ACW3 | 0.23 | 5.41 | 1.2443
|  | ACW4 | 0.23 | 5.41 | 1.2443
|  | ACW5 | 0.23 | 5.41 | 1.2443
|  | ACW6 | 0.23 | 5.41 | 1.2443
| Plinth | 1 | 0.5 | 1.225 | 0.6125
|  | 2 | 0.5 | 0.89 | 0.445
|  | 3 | 0.5 | 0.89 | 0.445
|  | 4 | 0.5 | 0.89 | 0.445
|  | 5 | 0.5 | 0.89 | 0.445
|  | 6 | 0.5 | 0.89 | 0.445
|  | 7 | 0.5 | 0.89 | 0.445
|  | 8 | 0.5 | 0.89 | 0.445
|  | 9 | 0.5 | 1.225 | 0.6125
|  |  |  | Total dec | 275.2898
|  |  |  | Grand total | 148.8618

## ARC
ALUMINIUM RAINSCREEN CLADDING
SOUTH
| ARSC |  | LENGTH | WIDTH | TOTAL AREA (m2)
|  |  | 1.5 | 20.8 | 31.2 | GRAND TOTAL (m2) | 60.8466
|  | triangle 1 | 5.537 | 10.4 | 28.7924
|  | triangle 2 | 5.537 | 10.4 | 28.7924
|  |  |  | Total area | 88.7848
| Deducations |  |  | area (m2)
| Windows | 02CW01 |  | 19.983 | 18
|  | 02CW02 |  | 41.881 | 39.403
|  | 02CW03 |  | 19.983 | 18
| Slab | 02CW01 |  | 1.983
|  | 02CW02 |  | 2.478
|  | 02CW03 |  | 1.983
|  |  |  | Total dec | 75.403
|  |  |  | Grand total | 13.3818
EAST
| ARSC |  | LENGTH | WIDTH | TOTAL
|  |  | 1.5 | 48.877 | 73.3155
Deducations
| Windows | 02CW15 | 1.875 | 4.923 | 7.3845
|  | 02CW16 | 1.875 | 4.923 | 7.3845
|  | 02CW17 | 1.875 | 4.923 | 7.3845
|  | 02CW18 | 1.875 | 4.923 | 7.3845
|  | 02CW19 | 1.875 | 4.923 | 7.3845
|  | 02CW20 | 1.875 | 4.923 | 7.3845
|  | 02CW21 | 1.875 | 4.923 | 7.3845
|  | 02CW22 | 1.875 | 3.055 | 4.5825
| Slab | 02CW15 | 0.375 | 4.923 | 1.8461
|  | 02CW16 | 0.375 | 4.923 | 1.8461
|  | 02CW17 | 0.375 | 4.923 | 1.8461
|  | 02CW18 | 0.375 | 4.923 | 1.8461
|  | 02CW19 | 0.375 | 4.923 | 1.8461
|  | 02CW20 | 0.375 | 4.923 | 1.8461
|  | 02CW21 | 0.375 | 4.923 | 1.8461
|  | 02CW22 | 0.375 | 3.055 | 1.1456
|  |  |  | Total dec | 56.274
|  |  |  | Grand total | 17.0415
NORTH
| ARSC |  | LENGTH | WIDTH | TOTAL AREA (m2)
|  |  | 1.5 | 20.8 | 31.2
|  | triangle | 5.537 | 10.4 | 28.7924
|  | triangle | 5.537 | 10.4 | 28.7924
|  |  |  | Total area | 88.7848
| Deducations |  |  | area (m2)
| Windows | 02CW12 |  | 19.983 | 18
|  | 02CW13 |  | 41.881 | 39.403
|  | 02CW14 |  | 19.983 | 18
| Slab | 02CW12 |  | 1.983
|  | 02CW13 |  | 2.478
|  | 02CW14 |  | 1.983
|  |  |  | Total dec | 75.403
|  |  |  | Grand total | 13.3818
WEST
| ARSC |  | LENGTH | WIDTH | TOTAL
|  |  | 1.5 | 48.877 | 73.3155
Deducations
| Windows | 02CW15 | 1.875 | 4.923 | 7.3845
|  | 02CW16 | 1.875 | 4.923 | 7.3845
|  | 02CW17 | 1.875 | 4.923 | 7.3845
|  | 02CW18 | 1.875 | 4.923 | 7.3845
|  | 02CW19 | 1.875 | 4.923 | 7.3845
|  | 02CW20 | 1.875 | 4.923 | 7.3845
|  | 02CW21 | 1.875 | 4.923 | 7.3845
|  | 02CW22 | 1.875 | 3.055 | 4.5825
| Slab | 02CW15 | 0.375 | 4.923 | 1.8461
|  | 02CW16 | 0.375 | 4.923 | 1.8461
|  | 02CW17 | 0.375 | 4.923 | 1.8461
|  | 02CW18 | 0.375 | 4.923 | 1.8461
|  | 02CW19 | 0.375 | 4.923 | 1.8461
|  | 02CW20 | 0.375 | 4.923 | 1.8461
|  | 02CW21 | 0.375 | 4.923 | 1.8461
|  | 02CW22 | 0.375 | 3.055 | 1.1456
|  |  |  | Total dec | 56.274
|  |  |  | Grand total | 17.0415
South and North ARC projection calculated by splitting the gable end into three sections; Subtracting eaves height (17.850) from top of plinth height (16.350) multiplied by the width of the ARC. Top section was divded into two 'triangles' which used 02CW13 (5.437) plus 100mm clearance multiplied by the split width of the ARC. Deductions were made from the bottom of the windows as they overlapped onto the plinth. Resulting information was total area/m2.
East and West ARC projection calculated by taking measurements of eaves height (17.850) and top of plinth height (16,350) and multiplying. Deductions taken from window and plinth area. Resulting information was total area/m2.

## AW
ALUMINIUM WINDOWS
| AW | LENGTH | WIDTH | TOTAL AREA (m2)
| 01W01 | 2.4 | 0.46 | 1.104
| 01W02 | 2.4 | 1.36 | 3.264 | GRAND TOTAL (m2) | 126.612
| 01W03 | 2.4 | 1.36 | 3.264
| 01W04 | 2.4 | 1.36 | 3.264
| 01W05 | 2.4 | 1.36 | 3.264
| 01W06 | 2.4 | 1.36 | 3.264
| 01W07 | 2.4 | 1.36 | 3.264
| 01W08 | 2.4 | 1.36 | 3.264
| 01W09 | 2.4 | 1.36 | 3.264
| 01W10 | 2.4 | 1.36 | 3.264
| 01W11 | 2.4 | 1.36 | 3.264
| 01W12 | 2.4 | 1.36 | 3.264
| 01W13 | 2.4 | 1.36 | 3.264
| 01W14 | 2.4 | 0.46 | 1.104
| 01W15 | 2.4 | 0.46 | 1.104
| 01W16 | 2.4 | 1.36 | 3.264
| 01W17 | 2.4 | 1.36 | 3.264
| 01W18 | 2.4 | 1.36 | 3.264
| 01W19 | 2.4 | 1.36 | 3.264
| 01W20 | 2.4 | 1.36 | 3.264
| 01W21 | 2.4 | 1.36 | 3.264
| 01W22 | 2.4 | 1.36 | 3.264
| 01W23 | 2.4 | 1.36 | 3.264
| 01W24 | 2.4 | 1.36 | 3.264
| 01W25 | 2.4 | 1.36 | 3.264
| 01W26 | 2.4 | 1.36 | 3.264
| 01W27 | 2.4 | 1.36 | 3.264
| 01W28 | 2.4 | 0.46 | 1.104
|  |  | Total | 82.752
| GFW01 | 3.225 | 1.36 | 4.386
| GFW02 | 3.225 | 1.36 | 4.386
| GFW03 | 3.225 | 1.36 | 4.386
| GFW04 | 3.225 | 1.36 | 4.386
| GFW05 | 3.225 | 1.36 | 4.386
| GFW06 | 3.225 | 1.36 | 4.386
| GFW07 | 3.225 | 1.36 | 4.386
| GFW08 | 3.225 | 1.36 | 4.386
| GFW09 | 3.225 | 1.36 | 4.386
| GFW10 | 3.225 | 1.36 | 4.386
|  |  | Total | 43.86
Total area of windows calculated by using the provided dimensions in the window schedule.

## VACW
VERTICAL ALUMINIUM CURTAIN WALLING
| VACW | LENGTH | WIDTH | TOTAL AREA (m2)
| GFCW01 | 7.2 | 5.29 | 38.088 | Grand total (m2) | 779.3393
| GFCW02 | 7.2 | 1.469 | 10.5768
| GFCW03 | 7.2 | 7.06 | 50.832
| GFCW04 | 7.2 | 1.469 | 10.5768
| GFCW05 | 7.2 | 5.29 | 38.088
| GFCW06 | 3.225 | 3.055 | 9.8524
| GFCW07 | 3.225 | 5.41 | 17.4473
| GFCW08 | 3.225 | 5.41 | 17.4473
| GFCW09 | 3.225 | 5.41 | 17.4473
| GFCW10 | 3.225 | 5.41 | 17.4473
| GFCW11 | 3.225 | 5.41 | 17.4473
| GFCW12 | 3.225 | 5.41 | 17.4473
| GFCW13 | 3.225 | 5.41 | 17.4473
| GFCW14 | 7.2 | 5.29 | 38.088
| GFCW15 | 7.2 | 1.469 | 10.5768
| GFCW16 | 7.2 | 7.06 | 50.832
| GFCW17 | 7.2 | 1.469 | 10.5768
| GFCW18 | 7.2 | 5.29 | 38.088
| GFCW19 | 3.225 | 1.36 | 4.386
| GFCW22 | 3.225 | 1.36 | 4.386
| GFCW23 | 3.225 | 3.055 | 9.8524
| GFCW24 | 3.225 | 5.41 | 17.4473
| 02CW01 | 2.373 | 5.29 | 12.5532
|  | 2.809 | 5.29 | 7.4298
| 02CW02 | 5.591 | 6.61 | 36.9565
|  | 1.49 | 6.61 | 4.9245
| 02CW03 | 2.373 | 5.29 | 12.5532
|  | 2.809 | 5.29 | 7.4298
| 02CW04 | 1.875 | 3.055 | 5.7281
| 02CW05 | 1.875 | 5.41 | 10.1438
| 02CW06 | 1.875 | 5.41 | 10.1438
| 02CW07 | 1.875 | 5.41 | 10.1438
| 02CW08 | 1.875 | 5.41 | 10.1438
| 02CW09 | 1.875 | 5.41 | 10.1438
| 02CW10 | 1.875 | 5.41 | 10.1438
| 02CW11 | 1.875 | 4.823 | 9.0431
| 02CW12 | 2.373 | 5.29 | 12.5532
|  | 2.809 | 5.29 | 7.4298
| 02CW13 | 5.591 | 6.61 | 36.9565
|  | 1.49 | 6.61 | 4.9245
| 02CW14 | 2.373 | 5.29 | 12.5532
|  | 2.809 | 5.29 | 7.4298
| 02CW15 | 1.875 | 4.823 | 9.0431
| 02CW16 | 1.875 | 5.41 | 10.1438
| 02CW17 | 1.875 | 5.41 | 10.1438
| 02CW18 | 1.875 | 5.41 | 10.1438
| 02CW19 | 1.875 | 5.41 | 10.1438
| 02CW20 | 1.875 | 5.41 | 10.1438
| 02CW21 | 1.875 | 5.41 | 10.1438
| 02CW22 | 1.875 | 3.055 | 5.7281
|  |  | Total | 779.3393
Total area of VACW calculated by using the provided dimensions in the CW schedule.

## CP
CONCRETE PLINTH / COPING TO BRICK PIERS
| CP | Item | LENGTH | WIDTH | TOTAL AREA (m2)
|  | North | 0.525 | 21.23 | 11.1458 | GRAND TOTAL (m2) | 32.8978
|  | East | 0.525 | 49.177 | 25.8179
|  | South | 0.525 | 21.23 | 11.1458
|  | West | 0.525 | 49.177 | 25.8179
|  |  |  | Total | 73.9274
Deductions
| North | 02CW12 | 0.375 | 5.29 | 1.9838
|  | 02CW13 | 0.375 | 6.61 | 2.4788
|  | 02CW14 | 0.375 | 5.29 | 1.9838
| East | 02CW15 | 0.375 | 4.923 | 1.8461
|  | 02CW16 | 0.375 | 4.923 | 1.8461
|  | 02CW17 | 0.375 | 4.923 | 1.8461
|  | 02CW18 | 0.375 | 4.923 | 1.8461
|  | 02CW19 | 0.375 | 4.923 | 1.8461
|  | 02CW20 | 0.375 | 4.923 | 1.8461
|  | 02CW21 | 0.375 | 4.923 | 1.8461
|  | 02CW22 | 0.375 | 3.055 | 1.1456
| South | 02CW01 | 0.375 | 5.29 | 1.9838
|  | 02CW02 | 0.375 | 6.61 | 2.4788
|  | 02CW03 | 0.375 | 5.29 | 1.9838
| West | 02CW04 | 0.375 | 4.923 | 1.8461
|  | 02CW05 | 0.375 | 4.923 | 1.8461
|  | 02CW06 | 0.375 | 4.923 | 1.8461
|  | 02CW07 | 0.375 | 4.923 | 1.8461
|  | 02CW08 | 0.375 | 4.923 | 1.8461
|  | 02CW09 | 0.375 | 4.923 | 1.8461
|  | 02CW10 | 0.375 | 4.923 | 1.8461
|  | 02CW11 | 0.375 | 3.055 | 1.1456
|  |  |  | Total dec | 41.0295
Total area of concrete plinth calculated by using the provided dimensions in the elevations (16.350 - 15.825). This was then multiplied by width of the elevation giving a total area. Deductions were made of the curtain walling and windows on each elevation. Dimensions provided 15.975 - 15.825 - 525mm = 375mm from bottom of plinth to bottom of windows.

## PPC
PPC SHADING LOUVRES
| CP | LENGTH | WIDTH | TOTAL AREA (m2)
| South 01 | 3.25 | 5.29 | 17.1925 | Grand Total (m2) | 64.6852
| South 02 | 4.584 | 6.61 | 30.3002
| South 03 | 3.25 | 5.29 | 17.1925
Dimensions taken from curtain walling schedule provided. Total area calculated for 3 louvres on south elevation.

## PCCL
PRECAST CONCRETE LINTEL
| PCCL | LENGTH | WIDTH | TOTAL AREA (m2)
| PL01D01 | 0.23 | 5.29 | 1.2167
| PL01D02 | 0.23 | 6.61 | 1.5203 | Grand Total (m2) | 26.5247
| PL01D03 | 0.23 | 5.29 | 1.2167
| PL01D04 | 0.23 | 5.41 | 1.2443
| PL01D05 | 0.23 | 5.41 | 1.2443
| PL01D06 | 0.23 | 5.41 | 1.2443
| PL01D07 | 0.23 | 5.41 | 1.2443
| PL01D08 | 0.23 | 5.41 | 1.2443
| PL01D09 | 0.23 | 5.41 | 1.2443
| PL01D10 | 0.23 | 5.29 | 1.2167
| PL01D11 | 0.23 | 6.61 | 1.5203
| PL01D12 | 0.23 | 5.29 | 1.2167
| PL01D13 | 0.23 | 5.41 | 1.2443
| PL01D14 | 0.23 | 5.41 | 1.2443
| PL01D15 | 0.23 | 5.41 | 1.2443
| PL01D16 | 0.23 | 5.41 | 1.2443
| PL01D17 | 0.23 | 5.41 | 1.2443
| PL01D18 | 0.23 | 5.41 | 1.2443
| PLGFD01 | 0.23 | 4.992 | 1.1482
| PLGFD02 | 0.23 | 3.055 | 0.70265
| PLGFD03 | 0.23 | 3.055 | 0.70265
| PLGFD04 | 0.23 | 4.923 | 1.1323
Length of Lintel in dimensions; 14.630 brick support level subtracted from top of window height 14.400. Width taken from width of windows/curtain walling.

## Roof
ROOF
| ITEM | HEIGHT | LENGTH | WIDTH
| Roof | 6.31 | 51.727 | 20.8
[5 empty] | Grand Total (m2) | 1251.793
Roof area calculated by taking ridge height from eaves height; 6.31. Centre of roof to eaves eitherside; 20.8.
Trig used to find missing length. 6.31 H, width 10.4, slope 12.1.
Calculations made using 2 x A x L.
2 x 12.1 x 51.727 = 12 51.793

## PPCMVL
PPC METAL VENTILATION LOUVRES
| VL | LENGTH | WIDTH | TOTAL AREA (m2)
| EAST 1 | 2.775 | 6.15 | 17.0663 | Grand Total (m2) | 17.0663
Dimensions taken from scale ruler.

## PVSP
PV SOLAR PANELS
| VL | LENGTH | WIDTH | TOTAL AREA (m2)
| EAST 1 | 4.2 | 25.5 | 107.1 | Grand Total (m2) | 172.2
| EAST 2 | 4.2 | 15.5 | 65.1
Dimensions taken from scale ruler.

## SEL
SUPPLY AND EXTRACT LOUVRES
|  | LENGTH | WIDTH | TOTAL AREA (m2)
| WEST GFCW24 | 4.075 | 2.55 | 10.3912 | Grand Total (m2) | 31.5799
|  | 0.675 | 1.335 | 0.90113
| WEST CW17 | 1.875 | 5.41 | 10.1438
| WEST CW18 | 1.875 | 5.41 | 10.1438

## Internal
INTERNAL MEASUREMENTS
| ITEM | LENGTH | WIDTH | TOTAL AREA (m2)
| Ground floor | 47.627 | 20.1 | 957.3027
| North indent | 1.919 | 6.61 | 12.6846
| South indent | 1.919 | 6.61 | 12.6846
|  |  | Sub-tot | 931.9335
| 1ST floor | 47.627 | 20.1 | 957.3027 |  | GIFA (M2) | 2748.1497
| North indent | 1.919 | 6.61 | 12.6846
| South indent | 1.919 | 6.61 | 12.6846
| South balcony | 5.4 | 6.3 | 34.02
|  | 5.2 | 7.5 | 39
|  |  | Sub-tot | 858.9135
| 2nd | 47.627 | 20.1 | 957.3027
|  |  | Sub-tot | 957.3027
|  | Height | Width | Quantity | Total m2
| Internal walls (GF) | 3.975 | 47.627 |  | 189.3173
|  | 3.975 | 47.627 |  | 189.3173
|  | 3.975 | 6.3 | 6 | 150.255
|  |  |  | Sub-tot | 528.8897
| Internal walls (1st) | 3.975 | 17.045 |  | 67.7539
|  | 3.975 | 4 | 5 | 79.5
|  |  |  | Sub-tot | 147.2539
| Internal walls (2nd) | 6.35 | 31.5 |  | 200.025
|  | 6.35 | 36.345 |  | 230.7907
|  | 6.35 | 6.3 |  | 40.005
|  | 6.35 | 6.3 |  | 40.005
|  |  |  | Sub-tot | 510.8257
|  |  |  | Total | 1186.9693
|  | Single leaf | Double leaf | External
| Interior doors (GF) | 12 | 1 | 4
| Interior doors (1st) | 11 | 1
| Interior doors (2nd) | 13 | 1

## ARL
PPC ALUMINIUM ROOF LIGHTING
| LENGTH | WIDTH | TOTAL AREA (m2)
|  |  |  | Grand Total (m2) | 0

## FWML
FEATURE WALL MOUNTED LIGHTING
| LENGTH | WIDTH | TOTAL AREA (m2)
|  |  |  | Grand Total (m2) | 0