Exercise – Determining transducer parameters

Construct the following circuit using Proteus using the “NTC” part for the thermistor.

Measure the voltage between the two resistors at different temperatures between -50°C and 200°C.

You should take at least 26 readings (one reading every 10°C).

Using Excel:

- Plot a graph of voltage against temperature.

- From the graph, estimate:

  - Sensitivity

  - Max nonlinearity

- Calculate the resistance of the thermistor at each temperature and plot thermistor resistance against temperature

- From the graph, estimate:

  - Sensitivity

  - Max nonlinearity

- Research what could be done to improve the performance of the circuit