


Environmental Management System
Site Audit Report 


	Department/ College/ Site being audited: 
Alex
	Date of audit: 
02/10/2025

	Auditee: 
University of Wales Trinity St David
	Auditor:
Robert Saunders



	Objectives 
· To assess the implementation of the EMS at each site


	Summary
General pollution prevention control seen to be well managed on site. All documentation provided seen to be in line with legislative requirements. 1 minor non-conformance given relating to the use of pesticides.

	
Air Conditioning
Auditor sampled following service reports:
Alex – Studio 1st floor
10/04/2025

Alex – Basement server room
10/04/2025

All refrigerant charge seen to be less than 50TCO2e. All system leak checked annually.

Asbestos
Asbestos survey report witnessed for Alex Building, undertaken 20th August 2025. 1 ACM identified.

LEV
LEV Servicing records sampled:
Down draft table – 26/03/2025
Full assessment undertaken – 30/07/2025

Waste Management 

Plant Protection Products 
No use of plant protection products undertaken at site

Boilers
Boiler servicing sampled:
Alex Building
Heating Boiler (Hammworthy)
30/05/2025

Energy Performance of Buildings
Auditor witnessed DEC for Alex Building
Valid until 30th August 2026 – Rated C

Onsite Controls - Walk round
Waste seen to be clearly marked and segregated in line with legislative requirements.
Waste streams identified:
· General
· Paper and Card
· Glass, tins and Cartons
· Food Waste
· Liquids
· Glass
· Plaster
Minor NC: Identified through other internal audits and noted on site, fly killer present though COSHH SDS not locatable and relevant legislation for the use of pesticides not included within the compliance register.
LEV seen to be  serviced 30/07/2025
Observation: Noted during walkaround that the acid workshop left unlocked
Observation: Glass workshop – COSHH folder held not seen to be signed/ reviewed (observation given as data also held online)
Observation: Acid Workshop – PPE for Acid spills stored not within workshop itself
COSHH cupboards seen to be appropriate, with lipped containment.
Spill kits present at required locations.


	Observations raised

	No.
	Description 

	1.
	Observation: Noted during walkaround that the acid workshop left unlocked

	2. 
	Observation: Glass workshop – COSHH folder held not seen to be signed/ reviewed (observation given as data also held online)

	3.
	Observation: Acid Workshop – PPE for Acid spills stored not within workshop itself

	4.
	

	Non- conformance raised 

	No. 
	Minor/ Major  
	Description 

	1.
	Minor
	Identified through other internal audits and noted on site, fly killer present though COSHH SDS not locatable and relevant legislation for the use of pesticides not included within the compliance register.


	2.
	
	



	Terms 

	Term 
	Description 

	Observation 
	Identifies an issue that requires attention to improve the operation of the EMS
and that if left un-addressed is likely to lead to a non-conformance during future audits, an example of good environmental practise that deserves recognition or a flag for re-visit at the next audit.

	Minor Non- conformance  
	Areas where the EMS is deviating from the Green Dragon Standard requirements in a minor or technical way.

	Major Non- conformance 
	Serious deviation from the Green Dragon Standard requirements, e.g. legal non-compliance. 






