Environmental Management System

Site Audit Report

| Department/ College/ Site being audited: Alex | Date of audit: 02/10/2025 |
| --- | --- |
| Auditee: University of Wales Trinity St David | Auditor: Robert Saunders |

| Objectives - To assess the implementation of the EMS at each site |  |  |
| --- | --- | --- |
| Summary General pollution prevention control seen to be well managed on site. All documentation provided seen to be in line with legislative requirements. 1 minor non-conformance given relating to the use of pesticides. |  |  |
| Air Conditioning Auditor sampled following service reports: Alex – Studio 1st floor 10/04/2025 Alex – Basement server room 10/04/2025 All refrigerant charge seen to be less than 50TCO2e. All system leak checked annually. Asbestos Asbestos survey report witnessed for Alex Building, undertaken 20th August 2025. 1 ACM identified. LEV LEV Servicing records sampled: Down draft table – 26/03/2025 Full assessment undertaken – 30/07/2025 Waste Management Plant Protection Products No use of plant protection products undertaken at site Boilers Boiler servicing sampled: Alex Building Heating Boiler (Hammworthy) 30/05/2025 Energy Performance of Buildings Auditor witnessed DEC for Alex Building Valid until 30th August 2026 – Rated C Onsite Controls - Walk round Waste seen to be clearly marked and segregated in line with legislative requirements. Waste streams identified: - General - Paper and Card - Glass, tins and Cartons - Food Waste - Liquids - Glass - Plaster Minor NC: Identified through other internal audits and noted on site, fly killer present though COSHH SDS not locatable and relevant legislation for the use of pesticides not included within the compliance register. LEV seen to be serviced 30/07/2025 Observation: Noted during walkaround that the acid workshop left unlocked Observation: Glass workshop – COSHH folder held not seen to be signed/ reviewed (observation given as data also held online) Observation: Acid Workshop – PPE for Acid spills stored not within workshop itself COSHH cupboards seen to be appropriate, with lipped containment. Spill kits present at required locations. |  |  |
| Observations raised |  |  |
| No. | Description |  |
| 1. | Observation: Noted during walkaround that the acid workshop left unlocked |  |
| 2. | Observation: Glass workshop – COSHH folder held not seen to be signed/ reviewed (observation given as data also held online) |  |
| 3. | Observation: Acid Workshop – PPE for Acid spills stored not within workshop itself |  |
| 4. |  |  |
| Non- conformance raised |  |  |
| No. | Minor/ Major | Description |
| 1. | Minor | Identified through other internal audits and noted on site, fly killer present though COSHH SDS not locatable and relevant legislation for the use of pesticides not included within the compliance register. |
| 2. |  |  |

| Terms |  |
| --- | --- |
| Term | Description |
| Observation | Identifies an issue that requires attention to improve the operation of the EMS and that if left un-addressed is likely to lead to a non-conformance during future audits, an example of good environmental practise that deserves recognition or a flag for re-visit at the next audit. |
| Minor Non- conformance | Areas where the EMS is deviating from the Green Dragon Standard requirements in a minor or technical way. |
| Major Non- conformance | Serious deviation from the Green Dragon Standard requirements, e.g. legal non-compliance. |