FIRE & SAFETY

STAICU FLORIN COSTINEL

ID 2234368

IHM BUSINESS SKILLS

FIRE SAFETY

Ensuring the safety of guests is of course a fundamental requirement for all hotel.

The risk of fire that exists in any hotel should always be a concern, especially considering the impact that even the smallest outbreak could have.

At the same time, the installation of an inadequate fire system could bring with it the unpleasantness of a false or "unwanted" alarm. The dysfunction caused by sirens when large-scale evacuations are carried out incorrectly can also have a long-lasting and damaging effect on a hotel's business continuity.

Importance of implementing an integrated fire protection system that provides the fastest and most reliable detection, along with the concept of timely evacuation and clearly defined escape routes.

Fire prevention in any hotel should involve, at least, ensuring the installation of adequate fire detection systems in public guest spaces, as well as the implementation of safe work practices in high-risk areas, such as kitchens.

Cooking equipment is involved in almost  of all fires.  Any detection system installed must be correct, reliable and intelligent, i.e. capable of detecting the earliest stages of a consuming fire anywhere in the hotel to ensure the protection of the lives of guests and staff.

Detecting system must also be able to differentiate smoke from steam

The human factor The legal requirements of the various regulatory authorities, together with the procedures put in place by the hotels themselves, have overlooked a common factor for all emergency situations, which is constant and yet unpredictable. This factor is human behavior. With the sounds of a fire alarm, many people everywhere will react with indifference. The sound of a warning siren is all too common these days and rarely prompts a response from all who hear it. Very often, people will ignore the alert, thinking it is a simple test procedure or a false "false" alarm. Rarely is people's first reaction one of clear understanding, followed calmly by a quick and appropriate response. Hotel guests are usually in unfamiliar surroundings where, at best, they only have a rudimentary knowledge of the layout or even the location of the nearest emergency exit. Few would have been familiar with any procedures, evacuation routes or assembly points that.

Everything you need for complete fire safety early and reliable fire detection clear and fast alarm and evacuation processes intelligent extinguishing adapted to the requirements of each room.

All these elements are at the center of a comprehensive fire safety solution. Only if everyone is present, you can be sure that the people in the building are safe and that the assets and business processes are protected.

Firetrainingcompany.co.uk (accesed 20,02,2023)

Gov.uk (accesed 20,02,2023)

Ihasco.co.uk (accesed 19,02,2023)

Levaclite.com (accesed 19,02,2023)