Event Risk Assessment:

Title: Coastal housing Risk assessment

Date: 15/11/2019

Only complete the following where relevant:

| Event Description | Assessment on coastal housing high rise flats |
| --- | --- |
| Department: | Coastal housing association |
| Event Location: | Swansea high street |
| Event Organiser (Module Lead) Name | Rebecca Aldron and Ruby Rees |
| Student Event Manager | Rebecca Aldron and Ruby Rees |
| Student Treasurer |  |
| Numbers of students attending | 2 |
| Students with additional needs (please describe) | N/A |
| Numbers of staff attending | N/A |
| Number of first aiders attending | N/A |
| Start Date: | 15 November 2019 |
| Return Date: | 15 November 2019 |
| Event Details: | Assessment on coastal housing associations high rise flats |

Examination and Description of Health and Safety Legislation Included (750 words minimum)

Upon the examination of coastal high-rise flats, the issues that need to be address are as followed: There are no emergency lighting put in the residence, article 14 of the Regulatory Reform (Fire Safety) Order 2005, States that when an emergency breaks out such as a fire or even a power cut emergency lighting is there as a back up power supply to help guide tenants to the nearest exit safely (Fire Safety Advice Centre, 2011). There should be emergency lighting at every exit. Without emergency lighting coastal could be putting their tenants in dangers tenants at risk of bumps slips or falls, in the event of a fire could even result in death (Dsfire, 2019). Without emergency lighting in place this could cause an accident as multiple tenants would be attempting to evacuate the building at the same time (legislation.gov.uk, 2019). There are no fire extinguishers in the entire property block including the service room which would be high risk of fire as there is a lot of electrical equipment such as tumble dryers and washing machines, however Association of Residential Managing Agents states (2014) that there is no need for fire extinguishers in communal areas other than the service room. Coastal need to address this. While investigating further, it was noted that there is only one way in and one way out of the building, measures should be put into place for incidents such as fires. (Fire Safety Order 2005) there should be a designated meet up point for all residents to assemble too. However sometimes there is a “stay put policy” this method is for tenants that do not have the fire in their property to prevent the spreading and remain safe, while waiting to be rescued (Local Government Association, 2012) also states that the tenant and the landlord (coastal housing association) have a duty of care, the tenant should make sure that they do not block the communal corridors, as they are the only means of getting out in an emergency. Coastal’s duty of care is to regularly check that tenants are not blocking corridors and take appropriate action if they need to as this could result in a life or death situation (Fire safety advice for landlords 2005). The issues of tenants with physical disabilities such as wheelchair users and infants in prams being maneuverer up the stairs is extremely dangerous. It is not only difficult but also dangerous for tenants to be lifting wheelchairs or prams up the stairs. The stairs are made out of tiles that would become slippery when wet and they do not have any grip on them, this could result in injury to the person being carried or the person carrying as they are not trained for manual handling, this could result in catastrophic injures such as bad backs, slipped discs, head injuries or even resulting in death (Health And Safety Excusive. 2019). The human right act came into place on the 2nd of October 2000 with article 8 to protect vulnerable tenants with problems such as ill health, mental illness, physical impairments and learning difficulties (Legislation.gov.uk, 2019). Coastal housing would have a statutory duty to allow reasonable adaptions, however the request needs to be put in by the tenant. Firstly, coastal housing association need to be addressed on these problems and if the matter is not dealt with the tenants then should write to the public service ombudsman for wales if they have not had a response in a suitable time scale (Evans et al., 2015). This equipment should be fitted by an occupational therapist as part of the Care act of 2014 and as part of the Social Services and Well-being (Wales) Act 2014 suitable equipment thought be supplied withing a reasonable time (Mandelstam, 2015). It has also been noted that there is no fire doors in working order, there is a fire door in one of the tenants flat in the kitchen that does not close therefore it is damaged and would not be affective in the result of a fire. A fire door should be put in flats because they can help contain a fire for up to 30 minutes and decrease the risk of it spreading into neighbours' properties (Fire Door Alliance, 2019). There should also be a fire door as the main door of the property however this flat has a half wooden half glass door, also the glass is broken and cracked. The front door of every flat should be tested to see if it would be able to contain a fire. The doors should be fitted with a self-closing mechanism and should provide 30 minutes of fire resistance. ¦Coastal housing should have picked this up on their annually inspection.

Event Risk Assessment

| Ref | Hazard / Task / Activity Area of Concern | Persons at Risk | Existing Controls | Describe Any Further Controls Actions Needed | Actions By Whom | Action By When |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | No disabled accesses | Disabled person in wheelchair or mobility scooter somebody with a pram | There are no existing controls for this matter, tenants say that visitors have to “bump the pram” up the stairs however people that have wheel chairs are unable to visit | Contact coastal housing as there is a risk of slips, falls and risk of injury to infants while the prams are being maneuverered up the stairs | Coastal housing And occupational therapist | unknown |
| 2 | No fire doors | Everyone that visits or lives in the accommodation | There is a fire door in one of the apartments, but it does not close therefore it would be ineffective if a fire was to break out | Contact the fire Department and see what measures need to be put in place the high-rise flats | Coastal housing Fire department | unknown |
| 3 | No fire extinguishers in the whole building | Everyone that visits or lives in the accommodation | There are no measures put in place for the residents to attempt to contain a fire if such a event occurred. | Contact coastal housing to see what appropriate measure for these flats would be, assumingly there needs to be at least fire blankets and extinguishers | Coastal housing Fire department | unknown |
| 4 | No fire exits | Everyone | There are no existing controls There is only one way in and out of the building | As there is no fire exits or escapes available there should be a meet up point for if a fire was to break out. | Coastal housing Fire department | Known |
| 5 | No emergency lighting | everyone | There are no existing measures put in place | This needs to be addressed with coastal housing as there is no back up power supply for communal corridors with a lot of stairs and this could result in serous injury from bump, trips and falls. | Coastal housing | Known |

Review of Risk Assessment Process (250 words)

| Review Date: | 15th of November 2019 |
| --- | --- |
| Upon doing the risk assessment on coastal housing high rise flat, there are major issues that need to be addressed. It is alarming that there is no fire exits, there is only one way in and out of the property this could cause chaos in the event of a fire as multiple tenants would be trying to exit though the same corridor. There is no information that has been given out with their tenancy agreement to show information such as meet up points for matters such as fires. There is no emergency lighting in the communal corridors which would also cause major problems in the event of a fire or even a power cut. This could possibly put the tenants at risk of bumps slips or falls, in the event of a fire could even result in death. Fire doors that are damaged in the property are ineffective and would not contain the fire resulting in the fire spreading to the other areas of the properties. It has been noted that there is no fire extinguishers or fire blankets in the whole property which would make it impossible for tenants to attempt to contain a fire. The matter of tenants with relatives with disabilities such as wheelchairs and babies in prams being carried up the stairs is worrying this could result in a serous injury as the communal corridor has a lot of stairs which are made out of tiles that would become slippery when went which could result in a injury such as falls slips or even fatal. |  |

FULL RISK ASSESSMENTS MUST BE COMPLETED FOR ALL VISITS

NOTES:

- In the event of any student or member of staff listed below failing to attend for whatever reasons his/her name must be given to the Faculty Secretary.

- For purposes of Health Insurance the Tutor-in-Charge of the visit must make known to all members participating in the visit, the provisions contained in the relevant Insurance Notes.

- The Event Manager must deliver to Module Lead of the proposed Educational Visit ALL names and mobile numbers of all Students who have agreed to participate in the Activity.

Reference list

Association of Residential Managing Agents, 2014. ADVICE NOTE FIRE SAFETY IN FLATS. [Online] 
Available at: https://arma.org.uk/downloader/f1r/2014-06_ARMA_Advice_Note_-_Fire_Safety_V01.pdf
[Accessed 9 12 2019].

Dsfire. (2019). Fire safety advice for landlords. [online] Available at: https://www.dsfire.gov.uk/YourSafety/SafetyAtWorkandotherplaces/Adviceforlandlordsandlettingagents/documents/Firesafetyadvicetolandlords.pdf [Accessed 11 Dec. 2019].

Evans, D., Hinks, N., Walbridge, A. and Williams, A. (2015). Housing Law: Supporting tenants with a disability Mencap WISE Student Advice Project. [online] mencap. Available at: https://www.mencap.org.uk/sites/default/files/2017-02/Housing%20Law%20and%20the%20rights%20of%20disabled%20tenants%20Tool%20Kit%20%28Main%29.pdf [Accessed 11 Dec. 2019].

Fire Door Alliance. (2019). What regulations affect the use of fire doors?. [online] Available at: https://firedoors.bwf.org.uk/knowledge-centre/regulations/ [Accessed 11 Dec. 2019]

Fire Safety Advice Centre. (2011). Regulatory Reform (Fire Safety) Order 2005. [online] Available at: https://www.firesafe.org.uk/regulatory-reform-fire-safety-order-2005/ [Accessed 11 Dec. 2019].

legislation.gov.uk, 2019. legislation.gov.uk. [Online] 
Available at: http://www.legislation.gov.uk/uksi/2005/1541/article/14/made
[Accessed 15 11 2019].

(Legislation.gov.uk, 2019)

Legislation.gov.uk. (2019). Human Rights Act 1998. [online] Available at: http://www.legislation.gov.uk/ukpga/1998/42/schedule/1 [Accessed 11 Dec. 2019].

Local Government Association. (2012). Fire safety in purpose-built blocks of flats. [online] Available at: https://www.local.gov.uk/sites/default/files/documents/fire-safety-purpose-built-04b.pdf [Accessed 11 Dec. 2019].

Health And Safety Excusive. (2019). Manual Handling Operations Regulations 1992 (as amended) (MHOR). [online] Available at: https://www.hse.gov.uk/msd/backpain/employers/mhor.htm [Accessed 11 Dec. 2019].

Mandelstam, M. (2015). HOME ADAPTATIONS: THE CARE ACT 2014 AND RELATED PROVISION ACROSS THE UNITED KINGDOM. [online] Available at: http://file:///D:/Users/Student/AppData/Local/Packages/Microsoft.MicrosoftEdge_8wekyb3d8bbwe/TempState/Downloads/Home-adaptations-Care-Act2014%20(1).pdf [Accessed 12 Dec. 2019].