Energy

The Building Regulations Output Document for the SA1 Library

Questions – Becoming familiar with the BRUKL document

- What is the document title?

- Looking at the title box, what is the country and year of Building Regulations that this demonstrates compliance with?

- What is the calculation engine and version (see Administrative information)?

- What are the following figures?

  - The carbon dioxide (CO2) emission rate from the notional building, kgCO2/m2.annum?

  - The target CO2 Emission Rate (TER), kgCO2/m2.annum?

  - The building CO2 Emission Rate (BER), kdCO2/m2.annum?

- Are the CO2 emissions from the building less than or equal to the target?

- Based on the Energy Consumption by End Use Table (see Technical data sheet)

  - Which of the end uses within the actual building have higher energy consumptions than the notional building?

  - What is the total actual energy consumption compared with the notional energy consumption?

  - The energy consumption for equipment is the same for both actual and notional. How will this affect the calculated emission figures?

- Which of the following additional technologies does the project use to generate energy for the building?

  - Photovoltaic system

  - Wind turbine

  - CHP generator

  - Solar Thermal system

- Complete the following table using the outputs from the BRUKL Output Document:

|  | BRUKL Output Document |
| --- | --- |
| Notional building energy demand (MJ/m2yr) |  |
| Actual building energy demand (MJ/m2yr) |  |
| Notional building primary energy consumption (kWh/m2yr) |  |
| Actual building primary energy consumption (kWh/m2yr) |  |
| Target CO2 emission Rate (TER) (kgCO2/m2yr) |  |
| Building CO2 Emission Rate (BER) (kgCO2/m2yr) |  |

- The energy consumption figures reported in the BRUKL Output Document are for primary energy rather than for delivered energy (operational energy that enters the building and is metered at the property boundary (typically electricity and gas; see Relevant definitions) Why is this?

- What are the actual U values for the building envelope? Are these limits exceeded?

- Are limits for solar gains exceeded?