## Slide 1: Working at Height Regulations 2005
Rhodri Thomas

## Slide 2
The purpose of The Work at Height Regulations 2005 is to prevent death and injury caused by a fall from height

## Slide 3
Work at height means work in any place where, if there were no precautions in place, a person could fall a distance liable to cause personal injury. For example you are working at height if you:
■ are working on a ladder or a flat roof;
■ could fall through a fragile surface;
■ could fall into an opening in a floor or a hole in the ground.

## Slide 4: Guidance
Avoid work at height where it is reasonably practicable to do so;
Where work at height cannot be avoided, prevent falls using either an existing place of work that is already safe or the right type of equipment;
Minimise the distance and consequences of a fall, by using the right type of equipment where the risk cannot be eliminated.

## Slide 5
Do as much work as possible from the ground;
Ensure workers can get safely to and from where they work at height;
Ensure equipment is suitable, stable and strong enough for the job, maintained and checked regularly;
Make sure you don’t overload or overreach when working at height;
Take precautions when working on or near fragile surfaces;
Provide protection from falling objects;
Consider your emergency evacuation and rescue procedures.

## Slide 6
Work equipment, for example scaffolding, needs to be assembled or installed according to the manufacturer’s instructions and in keeping with industry guidelines.
Where the safety of the work equipment depends on how it has been installed or assembled, an employer should ensure it is not used until it has been inspected in that position by a competent person.
A competent person is someone who has the necessary skills, experience and knowledge to manage health and safety.
Guidance on appointing a competent person can be found at www.hse.gov.uk/competence.
How do you make sure the equipment itself is in good condition?

## Slide 7
Any equipment exposed to conditions that may cause it to deteriorate, and result in a dangerous situation, should be inspected at suitable intervals appropriate to the environment and use. Do an inspection every time something happens that may affect the safety or stability of the equipment, e.g. adverse weather, accidental damage.

## Slide 8
You are required to keep a record of any inspection for types of work equipment including: guard rails, toe-boards, barriers or similar collective means of protection; working platforms (any platform used as a place of work or as a means of getting to and from work, e.g. a gangway) that are fixed (e.g. a scaffold around a building) or mobile (e.g. a mobile elevated working platform (MEWP) or scaffold tower); or a ladder.

## Slide 9
Any working platform used for construction work and from which a person could fall more than 2 metres must be inspected:
■ after assembly in any position;
■ after any event liable to have affected its stability;
■ at intervals not exceeding seven days.

## Slide 10
Where it is a mobile platform, a new inspection and report is not required every time it is moved to a new location on the same site.
You must also ensure that before you use any equipment, such as a MEWP, which has come from another business or rental company, it is accompanied by an indication (clear to everyone involved) when the last thorough examination has been carried out.