Preparation of a cost plan for ‘Y Fforwm Building’ 
									Tuesday 3rd May 2022
Dear client
Please see the notes below breaking down information relating to the cost estimate plan attached.
1. Substructure – Foundations 
Each cost or item is an estimated or assumed cost due to the information provided on the drawings. Most information is to be arranged once more documents are provided.  
2. Superstructure 
[bookmark: _GoBack]As mentioned on the spreadsheet, rates have been assumed and estimated with the information provided no the drawings. All details are below:-
· The roof - I have assumed it is a softwood truss and the downpipes are 100mm in diameter. This information is not found on the drawings and the cost will be amended if needs be.
· The solar panels – These are an estimated rate as no information is provided on the drawings. Once the information is provided, the rate will be amended if needs be.
· Stairs – I have added a rate in for a dog legged stairs based on 3 floors. The materials for the stairs will be confirmed when I receive the specifications.
· The window – The rates offered did not match the window measurements so I have chosen the closest measurements that were offered against an estimated rate. Once the information is available, the costs will be amended
· Partition walls – The cost has been estimated with the material as gypframe C studs. There is not information provided on the drawings relating to the material. Once a specification is received, the estimated cost can be amended. 
· Internal door types – The cost for the internal doors has been provided by the nearest approximate measurement offered. Once a specification is received and I have knowledge of the type of material used, the estimated cost can be amended.
· Floor finishes – The costs have been estimated by assuming the finish will be wool/nylon or a material similar. Once the specifications are received, I will amend the costs if needs be
·  Fittings and furnishings – These have been input as estimated cost. The drawings do not specify what is included within the building as well as the specification needed. Once all the information is received, the estimated cost can be amended.

3. Services.
All the services have been assumed on estimated costs due to no information being provided on the drawings. Once a specification is received and I have more knowledge on what material is required, I can amend the prices. 
I used estimated quantities for the fire alarms and cold and hot water supplies. Once the information is received, I will amend the quantities are cost if needed. 
Costs will be provided once all the information is received for the external works and services.

If you have any other questions, please do not hesitate to contact me.
Regards

Natalie Jopling
