| LOCATION: Swansea | LLEOLIAD: abertawe |
| --- | --- |
| LEVEL 5 | LEFEL 5 |
| EXAMINATION PERIOD | CYFNOD ARHOLIADAU |
| January 2024 | 2024 |

MODULE CODE: ACDA5001

Electrical Engineering

TIME:  2 HOURS

Maximum Marks:100

answer All the questions

Equipment or materials required – Calculator, formula sheet

Adnoddau neu ddefnyddiau sydd eu hangen - Cyfrifiannell

ANSWER ALL THE QUESTIONS

Question 1 [25 marks]

- A Pure inductance of 1.273mH is connected in series with a pure resistance of 30Ω. If the frequency of the sinusoidal supply is 5KHz and the potential difference across the 30Ω is 6V, determine the following.

- Current in the circuit							[2 Marks]

- Supply Voltage								[3 Marks]

- Voltage across the inductor.						[2 Marks]

- Phase angle								[2 Marks]

- Draw the phasor diagram						[2 Marks]

Solution:

- Current in the circuit

I=VRR=630=0.20A								[2 Marks]

- Supply Voltage

Inductive Reactance XL=2πfL=2π×5×1000×1.273×10-3=40Ω	[1 Mark]

Impedance, Z=R2+XL2=302+402=50Ω				[1 Mark]

Supply voltage= V=IZ=0.20×50=10V					[1 Marks]

- Voltage across the inductor.

VL=IXL=0.2×40=8V							[2 Marks]

- Phase angle

Φ=tan-1XLR=tan-14030=53.123						[2 Marks]

- Draw the phasor diagram

[2 Marks]

- A Transformer has a rated output of 210KVA at a power factor of 0.7. Determine the real power and the reactive power.						[5 marks]

Solution:

Power Factor = 0.7=Cosϕ

Real power = P=VI Cosϕ

Apparent Power = Rated power= 210KVA =VI

P=210×1000×0.7=147000W								[2 Marks]

We know that, Cosϕ=0.7

ϕ=Cos-10.7=46o 								[1 Mark]

Reactive power=VISinϕ= 210×1000 Sin(46o)=210000×0.719=151061.36kVAR	[2 Marks]

- An Alternating voltage is given by the equation V=75Sin (200πt-90). Calculate the following.

- The amplitude								[1 Mark]

- The peak to peak voltage							[2 Marks]

- The RMS voltage								[2 Marks]

- The periodic time								[2 Marks]

- The Frequency								[2 Marks]

Solution:

- Amplitude

V=Vmsin(ωt+ϕ)

Given, V=75sin(200πt-0.25)

Vm=75V									[1 mark]

- peak to peak voltage

Peak to Peak Voltage  = 2×Amplitude

=2×75=150V								[2 marks]

- RMS value

VRMS=Vm2=752=53.03V						[2 marks]

- the periodic Time

T=1f

We know that ω=2πf=200π

2πf=200π

2f=200

f=100Hz

T=1f = 1100=10ms 							[2 marks]

- frequency

f=100Hz								[2 marks]

Question 2 [25 Marks]

- A Coil having an inductance of 1.4H and a Resistance 1Ω is connected to a12V Supply through a switch. What will be the volume of current after 400msec of switching ON the supply? How much time will it take for the steady state current to drop to half its value after the switch is turned ON.	[10 Marks]

Solution:

Gn, L= 1.4H, R=1Ω, V=12V

To Find Value of current at t=400msec

The rise in Current is given by

i=I01-e-tτ

i=VR1-e-RtL

i=1211-e-1×t1.4								[1 mark]

When t=400ms

i=121-e-400×10-31.4

i=121-e-0.286 								[1 Mark]

i=12(1-0.751)

i=12(0.249)

i=3A 										[3 marks]

To find the time taken for the steady state current to drop to half its value (discharging)

i=I0e-tτ

To drop the steady state value by half I0=I02

i=I02e-tτ

3=I02e-RtL

3=I02e-1×t1.4 									[1 Mark]

6=I0e-t1.4

6=VRe-t1.4

6=121e-t1.4 									[1 Mark]

6=12e-t1.4

612=e-t1.4

0.5=e-t1.4

Taking Log on both the side

log⁡(0.5)=-t1.4

-0.301 ×1.4=-t

t=0.421sec 									[3 marks]

- A supply voltage of V1=10V is given to the circuit shown in fig:1. Determine the following

- The load current,								[7 marks]

- Value of load resistor, when maximum power is transferred to the load,

[2 marks]

- Simplified circuit diagram for the circuit shown in fig.1		[3 marks]

- The maximum power transferred across the load (PL).		[3 marks]

Fig:1

Solution:

- The Load Current,

Voltage across 25Ω resistor,

To find current in the loop, I=1035=0.286A

V25Ω=0.286×25=7.15V=Vth 						[3 marks]

To Find Rth

R1 parallel to R3=7.143Ω

7.143Ω series with R2=22.143 Ω

Rth=22.143Ω 								[2 marks]

IL=VthRth+RL=7.1522.143+22.143=0.161A 					[2 marks]

- Value of load resistor, when maximum power is transferred across the load,

According to Maximum power transfer theorem, maximum power will be transferred across the load, when the Load resistor is equal to internal resistance. Hence Internal resistance is 22.143 Ω										[2 marks]

- Simplified circuit diagram for the circuit shown in fig.1

[3 marks]

- The maximum power transferred across the load (PL).

PL=IL2RL=0.1612×22.143=3.565W					[3 marks]

This is the maximum power transfered across the load.

Question 3 [25 marks]

- The three impedances, resistance of 8Ω; coil of inductance130μH and 5Ω resistor; and10Ω resistor in series with 0.25μF capacitor are connected in series across a 40V, 20KHz supply as shown in fig.2, calculate the following,

- The circuit current		[5 Marks]

- Circuit phase angle		[2 Marks]

- Voltage drop across each impedance		[6 Marks]

Fig.2

Solution:

- The circuit current

XL=2π×20×1000×130×10-6=16.34Ω		[1 Mark]

XC=12πfC=12π×20×1000×0.25×10-6=31.83Ω		[1 Mark]

XC>XL, it is a Capacitive circuit.

XC-XL=31.83-16.34=15.49Ω

Z=R2+(XC-XL)2=232+15.492=27.73Ω		[1 Mark]

Circuit Current=I=VZ=4027.73=1.442A						[2 Marks]

- Circuit phase angle

Φ=tan-1(XC-XLR=tan-115.4923=33.960					[2 Marks]

- Voltage drop across each impedance

V1=IR1=1.442×8=11.54V	[2 Marks]

V2=IZ2=I×R2+XL2=1.442×52+16.342=24.64V	[2 Marks]

V3=IZ2=I×R2+XC2=1.442×102+31.832=48.11V	[2 Marks]

- A 415V, three phase AC motor has a power output of 12.75kW and operates at a power factor of 0.77 lagging and with an efficiency of 85%. If the motor is delta-connected, determine the following,

- The Power input	[3 Marks]

- The Line current 	[2 Marks]

- The Phase current	[2 Marks]

Solution:

- The Power input

Efficiency=Power OutputPower Input

85100=12750Power input	[1 Mark]

Power Input=12750 ×10085=15000W	[2 Marks]

- The Line current

IL=P3(415)(0.77)=150003(415)(0.77)=27.10A		[2 Marks]

- The Phase current

IP=IL3=27.103=15.65A		[2 Marks]

- Voltage of 100sinwt is applied to a 5Ω resistor. Calculate the current and the instantaneous power.		[5 Marks]

Solution:

V=100sinwt, R=5Ω

I=VR=100sinwt5 =20sinwt							[2 marks]

P=VI =100sinwt ×20sinwt 							[2 marks]

P=2000sin2ωt									[1 mark]

Question 4 [25 Marks]

- An ideal transformer has a turns ratio of 8:1 and the primary current is 3A when it is supplied at 240V. Calculate the secondary Voltage.			[6 Marks]

Solution:

The Turns Ratio 8:1 means, N1N2=81, it is step down transformer,		[2 marks]

N1N2=V1V2 or secondary Voltage , V2=V1N2N1=240(18)=30Volts			[4 marks]

- Differentiate Active power, and Apparent power [ minimum of two differences] 												[4 Marks]

Solution:

|  | Active power | Apparent Power |
| --- | --- | --- |
| Definition | The actual power consumed by a circuits due to the resistive load is called real power. | It is the amount of power delivered to a circuit. |
| Formula | P=VI Cos∅ | S=VI |

[Each Point 2 marks Maximum of 4 marks]

- List the types of DC Generators. Describe any two types of DC generator with the aid of necessary diagrams.							[15 Marks]

Solution:

Types of DC Generators

- Separately Excited DC Generators – Field coils excited by some external source

- Self-Excited DC Generators – Field coils excited by the generator itself

  - Series Wound Generators

  - Shunt Wound Generators

  - Compound Wound Generators					[5 Marks]

### Series Wound Generator

In these type of generators, the field windings are connected in series with armature conductors, as shown in the figure below.

All the currents flows through the field coils as well as the load. As series field winding carries full load current it is designed with relatively few turns of thick wire. The electrical resistance of series field winding is therefore very low (nearly 0.5Ω ).

- Rsc = Series winding resistance

- Isc = Current flowing through the series field

- Ra = Armature resistance

- Ia = Armature current

- IL = Load current

- V = Terminal voltage

- Eg = Generated EMF

Then, 
Ia=ISC=IL=I

Voltage across the load is equal to,

V=Eg-I(Ia×Ra)

Power generated is equal to,

Pg=Eg×I

Power delivered to the load is equal to,

PL=V×I

[5 Marks]

### Shunt Wound DC Generators

In these type of DC generators, the field windings are connected in parallel with armature conductors, as shown in the figure below. The voltage in the field winding is same as the voltage across the terminal.

Here:

- Rsh = Shunt winding resistance

- Ish = Current flowing through the shunt field

- Ra = Armature resistance

- Ia = Armature current

- IL = Load current

- V = Terminal voltage

- Eg = Generated EMF

Here armature current Ia is dividing in two parts – one is shunt field current Ish, and another is load current IL.

So,Ia=ISh+IL

The effective power across the load will be maximum when IL is maximum. So, it is required to keep shunt field current as small as possible. For this purpose the resistance of the shunt field winding generally kept high (100 Ω) and large number of turns are used for the desired EMF.

Shunt field current is equal to,

ISh=VRSh

Voltage across the load is equal to,

V=Eg-IaRa

Power generated is equal to,

Pg=Eg×Ia

Power Delivered to the load is equal to

PL=V×IL

[5 Marks]

Diwedd/End