## Front
RIVERSIDE HEALTH CENTRE
APEX CONSTRUCTION
COST PLAN

## Information Used
Information Used & Assumptions
1 | Information Used
Design Drawings;
All information taken from drawings sent out by Ace Capital.

## Summary Original
Project details: Health and Well Being Centre
Description: ..
Building Works Estimate
Based on GIA of: 2034m2 |  |  |  |  | 1872
| Group Element | Element Type | Total | £/m2
| Group element 0 | FACILITATING WORKS - excluded from scope | 460700 | 246.1004
| Group element 1 | SUBSTRUCTURE | 3655506 | 1952.7276
| Group element 2 | SUPERSTRUCTURE | 4089793.08 | 2184.7185 | 5563.3127
| Group element 3 | INTERNAL FINISHES | 217258.8 | 116.0571
| Group element 4 | Fixings | 97587.5 | 52.1301
| Group element 5 | SERVICES | 1893676 | 1011.5791
| Group element 8 | EXTERNAL WORKS - excluded from scope | 0 | 0
| Group element 9 | 0 | 0 | 0
Works cost estimate (sub total A) |  |  | 10414521.38 | 5563.3127
Location Factor Calculator
| Current TPI | 1.239
| Forecasted 2022 Q4 TPI | 1.3
|  |  | 10927262.1421 | 5837.2127
| Wales Location Factor | 0.85
|  |  | 9288172.8207 | 4961.6308
Prov Sums
Project design team fees and other development costs (sub total B)
Base cost estimate A + B (sub total C) |  |  | 9288172.8207 | 5563.3127
Group element 13
| Design Contingency | Risk allowance @ 2.5% | 232204.3205 | 124.0408
| Construction Risk | Risk allowance @ 2.50% | 232204.3205 | 124.0408
| Employers Change Risk | Risk allowance @ 2.50% | 232204.3205 | 124.0408
| Other Mis. Risk | Risk allowance @ 2.5% | 102495.19 | 54.7517
Total Risk allowances (sub total D) |  |  | 799108.1516 | 426.874
Total Construction Cost (C + D) |  |  | 10087280.9723 | 5388.5048

## NRM1 DB
Dalton Brown
Cost Plan for health and well being centre
Elements in red are NRM1 Phraseologies
Ref. | Element | Timesing | Quantity |  | Unit | Rate | Sub-Total | Group-Total | Notes
[6 empty] | £ | £ | £
0 | Facilited Works | [6 empty] | 460700
0 | Facilited Works
0.1 | New Road Layout and Associated Infrastrcture |  | 1 | 60000 |  |  | 60000
60000
0.2 | Site investigation survey - Testing and survey of whole site to discover the potential environmental and ecological risks posed by construction |  |  | 1 | nr | 50700 | 50700
0.3 | Demolition Works - Breaking up existing road and levelling and compaction of existing car park |  |  | 1 | nr | 350000 | 350000
1 | SUBSTRUCTURE | [6 empty] | 3655506
1.1 | Foundations |  | 29
| PILING |  | 81 | 2349
2349
1.1.1 | Excavate to form piling mat, supply and lay imported hardcore - Recycled brick to form piling mat. |  |  | 2034 | m2 | 60 | 122040
1.1.2 | Provision of plant (1 rig) including bringing and removing from site, maintenance, erection and dismantling at each pile. |  |  | 1 | m2 | 20000 | 20000
1.1.3 | Supply and install continous flight Auger (CFA) Piles: cart away inactive spoil, measure length of pile.300mm Piles (9m Depth) |  |  | 1200 | m2 | 205 | 246000
1.1.4 | Pile Testing - Using tension piles, typical loading 1000kn - 2000kn. Intergrity testing. Minimum 20 per visit |  |  | 1 | Item | 8000 | 8000
1.1.5 | Wall Piling. 750mm dia plies including site mobilization and demobilization. Measure area of piling supply and install secant wall piling. |  |  | 2234 | Item | 275 | 614350
1.1.6 | Foundation works - 500mm hardcore, 100mm sand lining, 500mm concrete slab with reinforced rebar |  |  | 2234 | Item | 275 | 614350
1.1.7 | Remaining Foundations for whole site as agreed. |  |  | 1 |  | 2030765.65 | 2030765.65
2 | SUPERSTRUCTURE | [6 empty] | 4089793.08
General Superstructures and Facilities
2.1 | Frame |  | 27
|  |  | 79 | 2104
2104
2.1.1 | Swimming Pool - Rooftop Pool |  |  | 240 | m2 | 2000 | 480000
2.1.2 | Bar - Rooftop Bar |  |  | 100 | m2 | 2500 | 250000
2.1.2 | Bridge Install |  |  | 50 | m2 | 2750 | 137500
2.1.1 | Steel Frame:composite beam and slab floors. Suspended slab:Permanent steel shuttering with 130mm thick concrete no coverings or finishes. |  |  | 2104 | m2 | 210 | 441840
2.1.2 | 2nr Fire Escape Stairwell Towers (3 stories) steel frame, composite beam and slab floors. Suspended Slab: permanent steel shuttering with 130mm thick concrete. No coverings included. |  |  | 680 | m2 | 210 | 142800
2.1.3 | Fire protection to steelwork: Mineral Fibre (Sprayed): Gross usrface area - 90 minute protection |  |  | 2104 | m2 | 52 | 109408
2.1.4 | Allowance for phased works to install Bessemer Converter during steel construction |  |  | 1 | m2 | 190000 | 190000
2.2 | Upper Floors
2.2.1 | Composite steel and concrete upper floors (Note 40mm Ecoscreed thermal on top of concrete deck); A142 mesh reinforcement; TAT Slimdek SD225 steel decking 1.25mm thick; 130mm reinforced concrete |  |  | 1704 | m2 | 250 | 426000
2.3 | Roof
463
1
1807
2.3.1 | Metal Decking: steel roof decking:insulation - three layers of felt roofing and chippings, 70mm thick steel decking |  |  | 580 | m2 | 82 | 47560
0
2.3.2 | Roof Coverings: Locally sourced Welsh Slate. Flat |  |  | 460 | m2 | 412 | 189520
2.3.3 | Roof Drainage items: Bespoke pressed galvanised gutter, screws to be fixed to concrete wall panel with stainless steel screws. |  |  | 1 | m2 | 14000 | 14000
2.3.4 | Roof lights; Individual polycarbonate rooflights: Electric Opening |  |  | 225 | m2 | 1950 | 438750
2.4 | Stairs & Ramps |  | 4
2.4.1 | Staircase:terrazzo finish, mild steel balustrades and handrails:plastered soffit:balustrades and staircase soffit decoration |  |  | 4 | no | 9100 | 36400
2.4.2 | Finishes to treads and risers: including nosings - Vinyl |  |  | 102 | m | 560 | 57120
2.4.2 | Balustrading and handrails: Stainless steel and structural glass balustrading |  |  | 4 | no | 9100 | 36400
2.5 | External Walls
2.5.2 | Leisure Centre: Greys tone external tiling, constucted on rockwool insulation fixed between framing system |  |  | 580 | m2 | 310 | 179800
2.5.3 | Perforated galvanised steel cladding panels fixed on to vertical timber louvers. |  |  | 820 | m2 | 390 | 319800
2.5.4 | 300mm x 1600mm prefabricated high strength steel fins coated in tata steel colarcoat prisma technology |  |  | 350 | m2 | 500 | 175000
138
|  |  | 164 | 302
| Intregated window system. Aluminuim framed intergated window system | 1
302
2.5.1 |  |  |  | 302 | m2 | 320 | 96640
2.6 | Windows and external doors
2.6.1 | Windows | 80 | 7
|  |  |  | 100 | m2 | 450 | 45000
2.6.1.1 | Intregated window system system. Aluminuim framed intregated and window system. Includes fixed glazing, top hung opening light, louver panel (colour match to cladding), Solid insulated panel (colour match to cladding). |  |  | 100 | m2 | 450 | 45000
2.6.2 | External Doors | 2
|  |  |  | 2 |  | 1125 | 2250
2.7 | Internal walls
2.7.1 | 130mm thick stud partition, 70mm steel studs at 600mm centres generally. 1 layer 15mm soundbloc board each side, joints filled with joint filler and joint tape, emulsion paint finish, softwood skirtings with gloss finish |  |  | 2221.56 | m2 | 93 | 206605.08
2.8 | Internal doors & screens
2.8.1 | Standard doors; cellular core; softwood; softwood architrave; aluminium ironmongery (latch only) single leaf; moulded panel; gloss paint finish. |  |  | 64 | nr | 350 | 22400
3 | INTERNAL FINISHES
2.7 | Internal walls
2.8.1 | Standard doors; cellular core; softwood; softwood architrave; aluminium ironmongery (latch only) single leaf; moulded panel; gloss paint finish. |  |  | 64 | nr | 350 | 22400
217258.8
2.9 | Floor finishes | 1 | 0
| One mist and two coats of emulsion paint to internal steel stud partioned areas. |  | 620 | 1119.87
| In Situ screed and floor finishes; laid level; over 300mm wide; cement and sand (1:3) screeds; steel trowelled; 75mm thick |  | 500 | 500
| Latex; self colour; 3mm to 5mm thick |  | 500 | 500
| Locally sourced reclaimed Welsh slate foor tiles; laid in standard brick bond formation; min. 10mm spacer |  | 2349 | 2349
4468.87
Locally sourced reclaimed Welsh slate foor tiles; laid in standard brick bond formation; min. 10mm spacer to stair treads
2.9.1 |  |  |  | 4468 | m2 | 18.8 | 83998.4
Entrance matting and matwell; 18mm thick Gradus Topguard barrier matting with stainless steel frame
| Ground Floor Rooms | 1 | 0
|  |  | 820.54 | 820.54
| Seconf Floor Rooms | 1 | 0
|  |  | 5.4 | 5.4
825.94
2.9.2 | Finishes to floors; carpet tiles. |  |  | 825.94 | m2 | 35 | 28907.9
3 | Ceiling Finishes.
3.0.1 | Plasterboard to ceilings: 15mm thick gyproc Fireline board |  |  | 2345 | m2 | 37 | 86765
3.2.2 | Emulsion paint to plaster, one mist and two coats |  |  | 2345 | m2 | 7.5 | 17587.5
4 | General fittings, furnishings and equipment | [6 empty] | 97587.5
3.2.2 | General leisure fittings, furniture and Equipment |  |  | 1 | m2 | 80000 | 80000
3.2.2 | Emulsion paint to plaster, one mist and two coats |  |  | 2345 | m2 | 7.5 | 17587.5
5 | SERVICES
5.1 | Sanitary installations |  | 18 |  |  |  |  | 1893676
|  |  | 113 | 2104
5.1.1 | Toilets and Changing facilities |  |  | 2104 | GIFA | 18 | 37872
5.2 | Disposal Installations
5.2.1 | Rainwater Installations |  |  | 2104 | GIFA | 19 | 39976
5.3.1 | Soil and Waste Connections |  |  | 2104 | GIFA | 17.5 | 36820
5.4 | Water installations
| Hot and Cold Water Services |  | 18
|  |  | 113 | 2104
|  |  |  | 2104 | GIFA | 40 | 84160
5.5 | Heat Source
| Boiler Installation |  | 18
|  |  | 113 | 2104
|  |  |  | 2104 | GIFA | 20 | 42080
5.6 | Heating and Air Conditioning
|  |  | 113 | 2104
5.6.1 | Heating System |  |  | 2104 | GIFA | 45 | 94680
|  |  | 113 | 2104
5.6.2 | Cooling System to server and Plant rooms |  |  | 2104 | GIFA | 14 | 29456
113
5.6.3 | Mechanical Supply and ventilation of cooling to Restaurant and Kitchen |  |  | 2104 | GIFA | 20 | 42080
2104
5.8 | Electrical installations
5.8.1 | Electrical mains and sub mains distribution
79
5.8.2 | Lighting and emergency fittings. |  |  | 2104 | GIFA | 95 | 199880
79
5.8.3 | Small Power Installation |  |  | 2104 | GIFA | 50 | 105200
79
5.8.4 | Earthing and Bonding |  |  | 2104 | GIFA | 4.5 | 9468
5.9 | Ventilation Systems
5.9.1 | Extract ventilation |  |  | 2104 | GIFA | 14 | 29456
79
5.9.2 | Extract ventilation from bar |  |  | 2104 | GIFA | 18 | 37872
5.1 | Lifts and Hoists
5.10.1 | Passenger lifts - 13 Person |  |  | 1 | GIFA | 160000 | 160000
5.11 | Fire and Lighting Protection
5.11.1 | Lighting Protection |  |  | 2104 | GIFA | 6 | 12624
5.12 | Security and Control Systems
5.12.1 | Telephone, IT data, and security systems
79
5.12.2 | Fire, smoke detection and alarm systems |  |  | 2104 | GIFA | 30 | 63120
79
5.12.3 | Security installations - CCTV, access control intruder alarm |  |  | 2104 | GIFA | 28 | 58912
79
5.12.4 | Disabled toilet, refuge loop systems |  |  | 2104 | GIFA | 5 | 10520
5.13 | External Works
5.13.1 | Hard and Soft Landscaping Works |  |  | 2665 | 2nr | 300 | 799500 |  | As agreed in the feasibility Study
0
| SECTION SUB-TOTAL | [5 empty] | 0
10414521.38
[7 empty] | Prelims | 1783370
[7 empty] | Total with Prelims | 12197391.38
[7 empty] | OHP | 2439578.28
[7 empty] | Summary | 14637469.66