Environmental Management System
Site Audit Report 


	Department/ College/ Site being audited: 
London Campus
	Date of audit: 
30/09/2025

	Auditee: 
University of Wales Trinity St David
	Auditor:
Robert Saunders



	Objectives 
· To assess the implementation of the EMS at each site


	Summary
Site well managed. 1 possible non-conformance identified. The site is very low risk for pollution incidents.

	
Air Conditioning
Air conditioning at this campus is managed by the property management company.

Asbestos
No Asbestos risk identified at the Westferry Circus building.

Waste Management 
Waste transfer note provided
PHS – CBDU015856
Offensive Waste – 180104 / 200199
Sanitary Waste – 180104 / 200199
01/10/2025
All parts complete

Plant Protection Products 
No outside areas maintained at this campus.

Boilers
Boilers are maintained by the property management company.

Energy Performance of Buildings
Minor? : Likely that the building occupied needs a DEC assessment due to university operating within, however this has not been undertaken.

Onsite Controls - Walk round
Waste is disposed of by the property management company (Jaguar).
Site seen to be very well managed, clear waste segregation present with minimal waste contamination noted.
Waste streams:
· Mixed paper and card
· Glass bottled and jars
· Food recycling
OFI: Noted that a number of computers and monitors were seen to be running whilst not in use. Advised automatic turnoff after duration of inactivity.
OFI: While the organisation has not yet disposed of any WEEE from site, it is advised that they set up a contract for the disposal should that arise.

	Observations raised

	No.
	Description 

	1.
	

	2. 
	

	3.
	

	4.
	

	Non- conformance raised 

	No. 
	Minor/ Major  
	Description 

	1.
	
	Minor? : Likely that the building occupied needs a DEC assessment due to university operating within, however this has not been undertaken.

	2.
	
	



	Terms 

	Term 
	Description 

	Observation 
	Identifies an issue that requires attention to improve the operation of the EMS
and that if left un-addressed is likely to lead to a non-conformance during future audits, an example of good environmental practise that deserves recognition or a flag for re-visit at the next audit.

	Minor Non- conformance  
	Areas where the EMS is deviating from the Green Dragon Standard requirements in a minor or technical way.

	Major Non- conformance 
	Serious deviation from the Green Dragon Standard requirements, e.g. legal non-compliance. 



