## Front
NRM1 Cost Plan Template
F+G
02/11/2022

## Status
NRM1 Elemental Cost Plan Template
2023-01-29
Document Status
Revision | Date | Status | Prepared by | Checked by | Authorised by
| 2023-01-29 |  | Louie Brace
DISCLAIMER
This document and its contents have been prepared and are intended solely for [Ceri Jones] information and use in relation to [Innovation Building UWTSD]
Faithful+Gould assumes no responsibility to any other party in respect of or arising out of or in connection with this document and/or its contents.

## Information Used
Information Used & Assumptions
1 | Information Used
Design Drawings;
152481-STL-XX-00-DR-A-PL_011-Proposed Landscape Plan
152481-STL-XX-00-DR-A-PL_0103-Ground Floor Shell & Core
152481-STL-XX-01-DR-A-PL_0104-First Floor Shell & Core
152481-STL-XX-XX-DR-A-PL_0003-Existing Site Plan
152481-STL-XX-XX-DR-A-PL_0105-Roof Plan - Full Building
152481-STL-XX-XX-DR-A-PL_0201-Elevations GA
152481-STL-XX-XX-DR-A-PL_0202-Elevations Detail 01
152481-STL-XX-XX-DR-A-PL_0203-Elevations Detail 02
152481-STL-XX-XX-DR-A-PL_0301-Section
152481-STL-XX-XX-DR-A-PL_0501-Ground Floor Layout - Full Building
152481-STL-XX-XX-DR-A-PL_0502-First Floor Layout - Full Building
2 | General Assumptions;
External Works is excluded unless specifically identified within the cost plan.
Cavity Wall with no insulation is assumed.
Costs are based upon the information as provided.
We have assumed a project bank account will not be required for this scheme.
We have assumed that the area of works will be decanted for the project. No allowance is made for throughways or dealing with building occupants.
The exact nature of specification for internal doors, screens, folding partitions and finishes is assumed.
All costs are provisional awaiting design development.
All base costs are based on Q42022.
3 | General Notes and Exclusions;
All included costs are subject to variation following design development.
Land Costs
A risk allowance of 10% is included for this estimate.
VAT is excluded from the estimate.
Works will be undertaken in a single phase.
Local Authority Fees
Building Regulation fees
Party Wall Awards
Pricing has been completed using Spon's 2020 Architect and Query Sheets
Acquisition & associated legals

## Summary Original
Project details: Comercial/Educational Building
Description: Innovation Building UWTSD
Building Works Estimate
Based on GIFA of: 3704.88 |  |  |  |  | 3704.88
| Group Element | Element Type | Total | £/m2
| Group element 0 | FACILITATING WORKS - excluded from scope | 0 | 0
| Group element 1 | SUBSTRUCTURE | 394200 | 106.4002
| Group element 2 | SUPERSTRUCTURE | 3644184.2 | 983.6173 | 2306.3079
| Group element 3 | INTERNAL FINISHES | 589403.25 | 159.0884
| Group element 4 | FITTINGS AND FURNISHINGS | 1086983.208 | 293.3923
| Group element 5 | SERVICES | 1526410.56 | 412
| Group element 8 | EXTERNAL WORKS - excluded from scope | 0 | 0
| Group element 9 | MAIN CONTRACTOR'S PRELIMINARIES | 1303412.6192 | 351.8097
Works cost estimate (sub total A) |  |  | 8544593.8372 | 2306.3079
Project design team fees and other development costs (sub total B)
Base cost estimate A + B (sub total C) |  |  | 8544593.8372 | 2306.3079
Group element 13
| Design Contingency | Risk allowance @ 5% | 427229.6919 | 115.3154
| Construction Risk | Risk allowance @ 2.50% | 213614.8459 | 57.6577
| Employers Change Risk | Risk allowance @ 2.50% | 213614.8459 | 57.6577
| Other Mis. Risk | Risk allowance @ 0% | 0 | 0
Total Risk allowances (sub total D) |  |  | 854459.3837 | 230.6308
Total Construction Cost (C + D) without Location Factor and TPI |  |  | 9399053.221 | 2536.9386
Adjust for Location Factor |  |  | 7989195.2378
Adjust for Tender Price Index |  |  | 8800931.6524
Total Construction Cost (C + D) accounting for Location Factor and TPI |  |  | 8800931.6524

## NRM1 CP
Cost Plan for Innovation Matrix
NRM 1 phaseologies
Elemental Cost Plan
Ref. | Element | Timesing | Quantity |  | Unit | Rate | Sub-Total | Group-Total | Notes
[6 empty] | £ | £ | £
| GIFA |  | 25.8
|  | GF | 71.8 | 1852.44
25.8
|  | FF | 71.8 | 1852.44
|  | Total |  | 3704.88 | m2
1 | SUBSTRUCTURE
394200
1.1 | Foundations
|  | GF | 27 | [5 empty] | Added 600mm overhang either side
|  |  | 73 | 1971 |  |  |  |  | Added 600mm overhang either side
1.1.1 | Raft foundations simple reinforced concrete raft on poorer ground for development up to two storey high |  |  | 1971 | m2 | 200 | 394200 |  | Spons Pg. 182 (Architect)
2 | SUPERSTRUCTURE
3644184.2
2.2 | Upper Floors
|  | FF | 27
|  |  | 73 | 1971
|  | Total FF |  | 1971
|  | A | 9
|  |  | 8.4 | 75.6
|  | B | 7.5
|  |  | 7.5 | 56.25
|  | C | 25.4
|  |  | 6 | 152.4
|  | D | 18
|  |  | 6 | 108
|  | E | 16.5
|  |  | 5.8 | 95.7
|  | F | 8
|  |  | 8.8 | 70.4
|  | 2 lift voids | 1.5
|  |  | 2 | 6
|  | G | 9
|  |  | 1.5 | 13.5
|  | Total Deductions |  | 577.85
|  | Total FF - Total Deductions |  | 1393.15
2.2.1 | Precast concrete suspended floors; 1200 mm wide suspended slab; 75 mm thick screed; no coverings or finishes |  |  | 1393 | m2 | 140 | 195020 |  | Spons Pg. 189 (Architect)
2.2.2 | Concrete frame; flat slab reinforced concrete floors up to 250 mm thick Suspended slab; no coverings or finishes up to six storeys |  |  | 3704.88 | m2 | 175 | 648354 |  | Spons Pg. 186 (Architect)
Extra Over
| Two ends of cladding founds |  | 2 | 2 | nr | 5000 | 10000 |  | Provisional Sum
Extra Over
| Lift Bases |  | 2 | 2 | nr | 5000 | 10000 |  | Provisional Sum
2.3 | Roof
37
|  |  | 72 | 2664
2664
2.3.1 | Kingspan roof system |  |  | 2664 | m2 | 375 | 999000 |  | Specified in Query Sheet 1
2.4 | Stairs & Ramps | [7 empty] | Number of flights
2.4.1 | Reinforced concrete construction Escape staircase; granolithic finish; mild steel balustrades and handrails 3.00 m rise; dogleg |  |  | 5 | nr | 7500 | 37500 |  | Spons Pg. 194 (Architect)
2.4.2 | plus or minus for each 300 mm variation in storey height |  | 5 | 3 | nr | 700 | 10500 |  | Spons Pg. 194 (Architect)
2.5 | External Walls
Ground Floor
|  | Total Length | 68
|  | Height | 3.8 | 516.8
516.8
Subtract for Windows
|  | Total Length | 1.9
|  | Height | 3.6 | 328.32
328.32
|  | Total External Walls Ground Floor |  | 188.48
First Floor
|  | Total Length | 68
|  | Height | 3.8 | 516.8
516.8
Subtract for Windows
1.9
|  |  | 3 | 273.6
273.6
|  | Total External Walls First Floor |  | 243.2
Second Floor
|  | Total Length | 68
|  | Height | 1 | 136
136
|  | Total External Walls Second Floor |  | 107.2
|  | Total External Walls |  | 538.88
2.5.1 | Cavity wall; rendered block outer skin; insulation; with plaster on standard weight block inner skin; emulsion (U-value = 0.30 W/m2K) block outer skin; insulation; lightweight block inner skin outer block rendered |  |  | 538.88 | m2 | 195 | 105081.6 |  | Spons Pg. 196 (Architect)
North
|  | Total Length | 23.7
|  | Height | 7.6 | 180.12
180.12
|  | Total Length | 23.7
|  | Perpendicular Height | 3.4 | 40.29
40.29
South
|  | Total Length | 26.2
|  | Height | 7.6 | 199.12
199.12
|  | Total Length | 26.2
|  | Perpendicular Height | 3.4 | 44.54
44.54
Ground Floor
|  | Total Length | 68
|  | Height | 3.8 | 516.8 |  |  |  |  | Multiplied by 2, as both East and West are identical
516.8
Subtract for Windows
|  | Total Length | 1.9
|  | Height | 3.6 | 328.32 |  |  |  |  | Multiplied by 48, as there are 48 windows across the East and West sides of the building
328.32
|  | Total External Walls Ground Floor |  | 188.48
First Floor
|  | Total Length | 68
|  | Height | 3.8 | 516.8 |  |  |  |  | Multiplied by 2, as both East and West are identical
516.8
Subtract for Windows
1.9
|  |  | 3 | 273.6 |  |  |  |  | Multiplied by 48, as there are 48 windows across the East and West sides of the building
273.6
|  | Total External Walls First Floor |  | 243.2
Second Floor
|  | Total Length | 68
|  | Height | 1 | 136 |  |  |  |  | Multiplied by 2, as both East and West are identical
136
|  | Total External Walls Second Floor |  | 107.2
|  | Total External Walls |  | 538.88
2.5.2 | Terracotta rainscreen cladding; aluminium support rails; anti-graffiti coating |  |  | 538.88 | m2 | 500 | 269440 |  | Spons Pg. 207 (Architect)
2.5.3 | unitized curtain walling bespoke project specific system with double glazed units, aluminium structural framing and spandrel rails. Standard colour powder coated |  |  | 464.07 | m2 | 1300 | 603291 |  | Spons Pg. 197 (Architect)
2.6 | Windows and external doors
2.6.1 | Windows
|  | 48 | 1.41
|  |  | 7 | 473.76
|  | 26 | 1.1
|  |  | 3.5 | 100.1
|  | 16 | 0.9
|  |  | 2 | 28.8
|  | 2 | 0.2
|  |  | 2 | 0.8
|  | 16 | 1
|  |  | 3.5 | 56
603.46
2.6.1.1 | Steel windows (U-value = 1.6 W/m2 K) Purpose-made windows double glazed; powder coated |  |  | 603.46 | m2 | 600 | 362076 |  | Spons Pg. 200 (Architect)
2.6.2 | External Doors
2.6.2.1 | Stainless steel entrance screens and doors Purpose-made screen; double glazed with automatic doors |  |  | 2 | nr | 3000 | 6000 |  | Spons Pg. 202 (Architect)
2.6.2.2 | Automatic revolving door, framed. ASSA ABLOY automatic revolving door system providing hands free operation and escape functionality. Modern modular design comprising four collapsible door leaves with electromechanical breakout, framed curved glazed outer walls, radially segmented ceiling and semicircular dustcovers, complete with operator and imbedded digital control 3 or 4 wing 2100 mm dia., 2200 mm internal height |  |  | 2 | nr | 15000 | 30000 |  | Query Sheet 1
2.7 | Internal walls
|  | 26 | 8.4
|  |  | 3.2 | 698.88 | To 3.2m high
|  | 3 | 8.4
|  |  | 7 | 176.4 | To 3.2m high
|  | 1 | 63
|  |  | 3.2 | 201.6 | To 3.2m high
|  | 2 | 27
|  |  | 3.2 | 172.8 | To 3.2m high
|  | 5 | 9
|  |  | 3.2 | 144 | To 3.2m high
|  | 2 | 9.7
|  |  | 3.2 | 62.08
2.7.1 | Metal stud and board partitions; height range from 2.40 m to 3.30 m 102 mm thick partition; 70 mm steel studs at 600 mm centres generally; 1 layer 15 mm Soundbloc board each side; joints filled with joint filler and joint tape; emulsion paint finish; softwood skirtings with gloss finish |  |  | 1455.76 | m2 | 70 | 101903.2 |  | Spons Pg. 203 (Architect)
|  | 4 | 9
|  |  | 3.2 | 115.2
|  | 12 | 8.8
|  |  | 3.2 | 337.92
2.7.2 | Metal stud and board partitions; height range from 2.40 m to 3.30 m 130 mm thick partition; 70 mm steel studs at 600 mm centres generally; 2 layers 15 mm Soundbloc board each side; joints filled with joint filler and joint tape; emulsion paint finish; softwood skirtings with gloss finish |  |  | 453.12 | m2 | 90 | 131018.4 |  | Spons Pg. 203 (Architect)
2.8 | Internal doors & screens
2.8.1 | Standard fire doors; cellular core; softwood lining; softwood architrave; aluminuim ironmongery (lockable, self-closure); painting or polishing; single leaf; Oak veneered; 30 min fire resistance; polished |  |  | 62 | nr | 1500 | 93000 |  | Query Sheet 1
2.8.2 | Changing and WC cubicles; high pressure laminate faced MDF; proprietary system medium quality WC cubicle partition sets; stainless steel framing; real wood veneer face chipboard dividing panels and doors; ironmongery; small range; standard cubicle set; (rate per cubicle) |  |  | 32 | nr | 1000 | 32000 |  | Spons Pg. 205 (Architect)
3 | INTERNAL FINISHES
589403.25
3.1 | Wall finishes
|  | 26 | 8.4
|  |  | 3.2 | 698.88 | To 3.2m high
|  | 3 | 8.4
|  |  | 7 | 176.4 | To 3.2m high
|  | 1 | 63
|  |  | 3.2 | 201.6 | To 3.2m high
|  | 2 | 27
|  |  | 3.2 | 172.8 | To 3.2m high
|  | 5 | 9
|  |  | 3.2 | 144 | To 3.2m high
|  | 2 | 9.7
|  |  | 3.2 | 62.08
1455.76
|  | 4 | 9
|  |  | 3.2 | 115.2
|  | 12 | 8.8
|  |  | 3.2 | 337.92
453.12
3.1.1 | Paint | Total Internal Walls |  | 1908.88 | m2 | 5 | 9544.4 |  | Spons Pg. 207 (Architect)
3.2 | Floor finishes
|  | 10 | 8.8
|  |  | 8.2 | 721.6 | Classroom
|  | 6 | 8.8
|  |  | 9.7 | 512.16 | Classroom
|  | 10 | 5.8
|  |  | 8.2 | 475.6 | Classroom
|  | 1 | 5.2
|  |  | 8.2 | 42.64 | Classroom
|  | 12 | 2.8
|  |  | 8.2 | 275.52 | Classroom
2027.52
3.2.1 | Carpet tiles; including underlay, edge grippers heavy domestic duty; to floors; PC Sum £38/m |  |  | 2027.52 | m2 | 70 | 141926.4 |  | Spons Pg. 209 (Architect)
|  | 1 | 54
|  |  | 9 | 486 | Hallway
|  | 1 | 17.5
|  |  | 8.8 | 154 | Hallway
|  | 1 | 20.4
|  |  | 8.8 | 179.52 | Hallway
|  | 4 | 2.7
|  |  | 4.2 | 45.36 | Storage Room
|  | 3 | 1.5
|  |  | 8.9 | 40.05 | Walkway
|  | 3 | 1.5
|  |  | 6 | 27 | Walkway
|  | 3 | 1.5
|  |  | 61 | 274.5 | Walkway
1206.43
3.2.2 | Latex screed |  |  | 3255.55 | m2 | 30 | 97666.5 |  | Spons Pg. 208 (Architect)
|  | 8 | 2.7
|  |  | 1 | 1228.03 | Wet Rooms
3.2.3 | Flexible tiling; welded sheet or butt joint tiles; adhesive fixing vinyl safety flooring; 3.5 mm thick heavy duty |  |  | 1228.03 | m2 | 65 | 79821.95 |  | Spons Pg. 209 (Architect)
3.3 | Ceiling finishes
3.3.1 | Integrated ceilings acoustic suspended ceilings on anti vibration mountings |  |  | 3255.55 | m2 | 80 | 260444 |  | Spons Pg. 211 (Architect)
4 | FITTINGS AND FURNISHINGS
1086983.208
4.1 | Fittings, Furnishings and Equipment
4.1.1 | Lifts |  |  | 2 | nr | 45000 | 90000 |  | Query Sheet 1
4.1.2 | General Office Furnishings |  |  | 3704.88 | m2 | 269.1 | 996983.208 |  | Source found online
5 | SERVICES
1526410.56
5.1 | Sanitary installations
5.1.1 | Sanitary Appliances office building – multi-storey |  |  | 3704.88 | m2 | 12 | 44458.56 |  | Spons Pg. 212 (Architect)
5.4 | Water installations
5.4.1 | Hot and cold water installations; mains supply; hot and cold water distribution. Gross internal floor area (unless described otherwise) office building – multi-storey |  |  | 3704.88 | m2 | 25 | 92622 |  | Spons Pg. 213 (Architect)
5.6 | Space heating and air conditioning
5.6.1 | office building – multi-storey; LTHW, ductwork, chilled water, ductwork |  |  | 3704.88 | m2 | 150 | 555732 |  | Spons Pg. 213 (Architect)
5.8 | Electrical installations
5.8.1 | Including LV distribution, HV distribution, lighting, small power. Gross internal floor area (unless described otherwise) office building – multi-storey |  |  | 3704.88 | m2 | 140 | 518683.2 |  | Spons Pg. 214 (Architect)
5.11 | Fire and Lighting Protection
5.11.1 | Gross internal floor area (unless described otherwise); Including lightning protection, sprinklers unless stated otherwise office building – multi-storey |  |  | 3704.88 | m2 | 45 | 166719.6 |  | Spons Pg. 216 (Architect)
5.12 | Communication and Security Installations
5.12.1 | Gross internal floor area (unless described otherwise); Including fire alarm, public address system, security installation unless stated otherwise office building – multi-storey |  |  | 3704.88 | m2 | 40 | 148195.2 |  | Spons Pg. 217 (Architect)
9 | MAIN CONTRACTOR'S PRELIMINARIES
| Main contractors preliminaries |  |  | 12 | % | 868941.7462
| OHP |  |  | 6 | % | 434470.8731
| SECTION SUB-TOTAL | [5 empty] | 1303412.6192 | 1303412.6192
| TOTAL | [6 empty] | 8544593.8372
Note on E9: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Width
Note on E10: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Length
Note on F10: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Total internal ground floor area
Note on E11: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Width
Note on E12: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Length
Note on F12: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Total internal first floor area
Note on F13: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Total internal floor area (GF+FF)
Note on E18: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added 600mm overhang either side
Note on E19: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added 600mm overhang either side
Note on F47: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Size of First Floor
Note on F49: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: GIFA for size of Frame
Note on H53: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Allowance
Note on H63: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Provided in Query Sheet 1
Note on F66: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Number of staircases
Note on E68: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Number of staircases
Note on F68: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 800mm variation; therefore, multiply by 3
Note on F73: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Multiplied by 2, as both East and West are identical
Note on F78: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Multiplied by 48, as there are 48 windows across the East and West sides of the building
Note on F85: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Multiplied by 2, as both East and West are identical
Note on F90: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Multiplied by 48, as there are 48 windows across the East and West sides of the building
Note on F97: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Multiplied by 2, as both East and West are identical
Note on F110: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Divide by 2, as this section is a triangle. A=(h*b)/2
Note on F117: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Divide by 2, as this section is a triangle. A=(h*b)/2
Note on F122: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Multiplied by 2, as both East and West are identical
Note on F127: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Multiplied by 48, as there are 48 windows across the East and West sides of the building
Note on F134: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Multiplied by 2, as both East and West are identical
Note on F139: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Multiplied by 48, as there are 48 windows across the East and West sides of the building
Note on F146: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Multiplied by 2, as both East and West are identical
Note on F170: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Calculated in m2 instead of nr
Note on F242: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: All office space fitted with carpet
Note on F260: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Same area as floors
Note on F265: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The rest assumed as vinyl flooring
Note on F268: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Same as latex floor screed
Note on F275: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Total internal floor area (GF+FF)
Note on K275: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: https://k2space.co.uk/knowledge/office-fit-out-costs/ Mid furniture costs used per square feet and then adjusted to m2
Note on F280: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Total internal floor area (GF+FF)
Note on F283: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Total internal floor area (GF+FF)
Note on F286: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Total internal floor area (GF+FF)
Note on F289: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Total internal floor area (GF+FF)
Note on F292: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Total internal floor area (GF+FF)
Note on F295: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Total internal floor area (GF+FF)

## Query Sheet Nr 1
Student name: Louie Brace
Return email: 1901025@student.uwtsd.ac.uk
Innovation Matrix - Cost Plan
Query Sheet Nr 1
Date: 28/11/22
QUERY |  | Answer
1) When does the project start on site? |  | Please assume start on site 4Q22
2) Would the location factor would be for Wales? |  | Yes the site is in SA1 Swansea
3) Can I assume that the site is clear? |  | Yes
4) What is the specification for the roof? |  | Please allow £375/m2 for the Kingspan roof system
5) Is there any preferred specification for the stairs? |  | Precast concrete staircase
6) What type of foundations are specified for this building? |  | Please assume raft foundation
7) Should I include any contingencies for soffits and fascias? |  | Please include within pricing rates
8) What is the cost of the lifts? |  | Please allow a Provisional Sum of £45,000 for each lift
9) What is the cost of the revolving doors? |  | Please allow a Provisional Sum of £15,000 for each revolving door
10) What is the specification for the internal doors? |  | Please allow £1,500/ nr for each internal door set.

## Query Sheet Nr 2
Student name: Louie Brace
Return email: 1901025@student.uwtsd.ac.uk
Innovation Matrix - Cost Plan
Query Sheet Nr 2
Date: 27/01/23
QUERY |  | Answer
1) What price per m2 should I use for furnishings of the building, as the drawings have nothing included? |  | Used Source Online, as provided in Cost Plan
2) What price per m2 should be used for internal load bearing fire resistant walls surrounding the toilets? |  | Used Pg. 127 Spons (Civil)