You have already prepared a design scheme for your chosen building. This studio gives you the opportunity to develop the technical resolution of your building. Do not lose sight of the design research that you have undertaken – you may need to generate further design drawings, sections etc in order to resolve some of the technical aspects of your design. At the end of this studio you will have a proposal for the structure, building services and details showing the type of materials you are proposing.

The following are required as part of your submission:

- Drawings indicating your proposed structural solution.

- A materials board showing the materials proposed for the external envelope and internal finishes.

- A 1:20 section through the external wall (you may require more than one wall section to show the various conditions)

- A 1:20 Section through the roof.

- 1:5 Details showing the key junctions: wall/roof, window jamb and head details, door jamb and head details, rooflights etc. (we will agree an appropriate section of details).

- Drawings indicating the environmental strategy – natural ventilation, insulation, shading etc.

- Drawings indicating your fire escape strategy.

- Drawings showing your structural strategy.

- A physical model of your proposal, or a detail of your proposal (scale to be agreed).