| Activity to be Assessed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Assessment Number |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Installing roof tiles |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | DKW020616 |  |  |  |  |  |  |  |  |  |
| Persons undertaking or affected by the activity |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | * | Employees |  | * | Contractor |  |  | * | Public |  |  |  |  | Pupil |  |  |  |  |  |  | Service User |  |  |  |  |
|  |  |  | Other ……………………………………………………………………………………………. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Identified Hazards and Associated Risks |  |  |  |  |  |  |  |  |  |  | Likelihood |  |  |  |  |  | Severity |  |  |  |  |  | Risk Level |  |  |  |
| 1 | Slips, trips and falls |  |  |  |  |  |  |  |  |  | 3 |  |  |  |  |  | 2 |  |  |  |  |  | 6 |  |  |  |
| 2 | Falls of operatives from height |  |  |  |  |  |  |  |  |  | 2 |  |  |  |  |  | 4 |  |  |  |  |  | 8 |  |  |  |
| 3 | Falls of debris |  |  |  |  |  |  |  |  |  | 3 |  |  |  |  |  | 3 |  |  |  |  |  | 9 |  |  |  |
| 4 | Falls of materials |  |  |  |  |  |  |  |  |  | 3 |  |  |  |  |  | 3 |  |  |  |  |  | 9 |  |  |  |
| 5 | Dust exposure |  |  |  |  |  |  |  |  |  | 5 |  |  |  |  |  | 2 |  |  |  |  |  | 10 |  |  |  |
| 6 | Noise |  |  |  |  |  |  |  |  |  | 5 |  |  |  |  |  | 3 |  |  |  |  |  | 15 |  |  |  |
| Existing Control Measures / Additional Control Measures Required |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Maintain good housekeeping practices - Inspect every morning to check tidiness, in winter check for ice. Always maintain clear walkways. Correct footwear must be worn (specify). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | PASMA trained workers only to erect aluminium tower scaffolds. Approved contractor only to erect independent scaffold. All or any alterations to be undertaken by Approved contractor. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | Do not over stack waste materials. Ensure netting and toe boards are installed on scaffolding. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 | Specify Correct equipment for lifting materials, properly trained staff, cordon off area. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 | Specify correct PPE for breathing protection |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 | Specify correct PPE for noise – plugs or ear defenders? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Reassessment of Activity Hazards |  |  |  |  |  |  |  |  |  |  | Likelihood |  |  |  |  |  | Severity |  |  |  |  |  | Risk Level |  |  |  |
| 1 | Slips, trips and falls |  |  |  |  |  |  |  |  |  | 3 |  |  |  |  |  | 1 |  |  |  |  |  | 3 |  |  |  |
| 2 | Falls of operatives |  |  |  |  |  |  |  |  |  | 2 |  |  |  |  |  | 1 |  |  |  |  |  | 2 |  |  |  |
| 3 | Falls of debris |  |  |  |  |  |  |  |  |  | 3 |  |  |  |  |  | 1 |  |  |  |  |  | 3 |  |  |  |
| 4 | Falls of Materials |  |  |  |  |  |  |  |  |  | 2 |  |  |  |  |  | 1 |  |  |  |  |  | 2 |  |  |  |
| 5 | Dust exposure |  |  |  |  |  |  |  |  |  | 2 |  |  |  |  |  | 1 |  |  |  |  |  | 2 |  |  |  |
| 6 | Noise |  |  |  |  |  |  |  |  |  | 2 |  |  |  |  |  | 1 |  |  |  |  |  | 2 |  |  |  |
| Name Position: Senior Health and safety officer |  |  |  |  |  |  | Signed |  |  |  |  |  |  |  |  |  | Date of Completion: |  |  |  |  |  |  |  |  |  |
| Reviews |  |  |  | Key |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Review Date: |  |  |  | Likelihood |  |  |  | Severity |  |  | Severity of Injury |  | 5 | 5 |  |  |  | 10 |  |  | 15 |  |  | 20 |  | 25 |
| Reviewed by: |  |  |  | 1 very unlikely 2 unlikely 3 likely 4 very likely 5 certainty |  |  |  | 1 nuisance 2 minor 3 medical treatment 4 major 5 fatal |  |  |  |  | 4 | 4 |  |  |  | 8 |  |  | 12 |  |  | 16 |  | 20 |
| Review Date : |  |  |  |  |  |  |  |  |  |  |  |  | 3 | 3 |  |  |  | 6 |  |  | 9 |  |  | 12 |  | 15 |
| Reviewed by: |  |  |  |  |  |  |  |  |  |  |  |  | 2 | 2 |  |  |  | 4 |  |  | 6 |  |  | 8 |  | 10 |
| Review Date : |  |  |  |  |  |  |  |  |  |  |  |  | 1 | 1 |  |  |  | 2 |  |  | 3 |  |  | 4 |  | 5 |
| Reviewed by: |  |  |  |  |  |  |  |  |  |  |  |  | 0 | 1 |  |  |  | 2 |  |  | 3 |  |  | 4 |  | 5 |
| Review Date : |  |  |  |  |  |  |  |  |  |  |  |  |  | Likelihood of Injury |  |  |  |  |  |  |  |  |  |  |  |  |
| Reviewed by: |  |  |  |  |  |  |  |  |  |  |  | Low Risk |  |  |  |  |  |  | Medium Risk |  |  |  |  |  | High Risk |  |