Thermodynamics question: Cooling of refrigerant-134a by water (Steady-flow system)

Refrigerant-134a is to be cooled by water in a condenser. The refrigerant enters the condenser with a mass flow rate of 6 kg/min at 1 MPa and 70C and leaves at 35C. The cooling water enters at 300 kPa and 15C and leaves at 25C. The condenser is not well insulated, and it is estimated that 10% of heat given up by the refrigerant is lost to the surroundings. Neglecting any pressure drops, determine:

The mass flow rate of the cooling water required.The heat transfer rate from the refrigerant to water.

(Superheated vapour)

(Sat. liquid)

(Sat. liquid)

(Sat. liquid)

Notes:

- Kinetic and potential energy changes are negligible.

- There are no work interactions.

- Water exists as a compressed liquid at both the inlet and the exit since the temperatures at both locations are below the saturation temperature of water at 300 kPa (133.52C). You will then approximate the compressed liquid as a saturated liquid at the given temperatures.

- The refrigerant enters the condenser as a superheated vapour at 70C and leaves as a compressed liquid at 35C.

- You will need to use table A-4, A-11 and A-13.