Sustainability in the Digital Age: Assessing the Environmental Effects of Data Centres in the UK

Lecturer: Xavier Matieni

Student: Mihail Roussev

Module code: LCBB6004

Student Number: 2115133

# Abstract

In an age defined by swift technological progress and heightened digitalisation the ecological footprint of data centres has garnered significant attention. This dissertation employed quantitative research methods to assess and analyse the sustainability implications of data centres.  By examining key factors such as energy consumption, carbon emissions, and resource utilisation, this study aimed to provide insights into the environmental effects of data centres and propose strategies for mitigating their negative impacts. Through a comprehensive analysis of existing literature and empirical data, this research contributed to the understanding of sustainability in the digital age and offers recommendations for promoting environmentally responsible practices within the data centre industry.

According to the research, there were a number of environmental implications that organisations within the data centre industry had on the environment. Some of them included the heavy use of energy and water as well as the release of GHC gases into the atmosphere. It was established that it was not easy to quantify these effects in the short-term. However, it is important to have this discussion and implement sustainable solutions such as the use of renewable energy and power management as these implications will be felt in the long-run. The report has also highlighted challenges such as the imbalance between power efficiency and sustainability to which recommendations such as the use of energy storage and backup systems have been put forward for consideration.

Table of Contents

Abstract	1

Chapter one: Introduction	4

1.1 Introduction	4

1.2 Research Background	4

1.2 Research Aim and Objectives	4

1.3 Problem statement	6

1.4 Rationale of the study	6

1.5 Structure of the report	7

Chapter two: Literature Review	8

2.1 Introduction	8

2.2 Data centres	8

2.3 Environmental impacts of data centres on the environment	10

2.4 Sustainability measures that data centre operators have taken to address environmental issues	11

2.5 Challenges encountered by data centres in their bid to implement environmental sustainability within their operations	14

Chapter three: Research Methodology	15

3.1 Introduction	15

3.2 Research philosophy	15

3.3 Research approach	15

3.3 Research methods	16

3.4 Data collection methods	16

3.5 Sample size and sampling techniques	16

3.6 Ethical considerations	16

3.7 Gantt’s chart	17

Chapter four: Findings and discussion	18

4.1 Introduction	18

4.2 Preliminary results	18

4.3 Discussion	23

Chapter five: Conclusion and Recommendations	28

5. 1 Introduction	28

5.2 Conclusion	28

5.3 Recommendations	28

References	30

Appendices	32

Appendix 1: Research proposal	32

Appendix 2: Questionnaire	34

Appendix 3: Application for Ethical Approval…………………………………………….34

# Chapter one: Introduction

## 1.1 Introduction

This is the first chapter of the report. It contains details that cover the overall introduction to the research. The section is divided into subsections such as the background of the study, the objectives that it sought to attain, the questions that guide the research as well as the rationale for conducting the whole study.

## 1.2 Research Background

Since the late 1980s, the data centre industry has grown from nonexistence into a global entity boasting over 7 million sites as of 2021. As noted by Stanley Arvey (2023), the digital revolution has fundamentally reshaped our lifestyles, work dynamics, and modes of communication. With the spread of digital technologies, data centres have emerged as the backbone of the modern digital infrastructure, supporting a wide range of online services and applications. These data centres, however, come with a significant environmental footprint. The exponential growth in data storage, processing, and transmission has led to soaring energy demands, increased carbon emissions, and heightened resource consumption. As concerns about climate change and environmental sustainability continue to escalate, there is a pressing need to assess and mitigate the environmental effects of data centres. As such, this study sought to examine the environmental effects that these data centres have on the environment. In order to accomplish this, various data centres in the UK such as the London-West data centre, London City data centre and the West Yorkshire data centre were used as case studies.

## 1.2 Research Aim and Objectives

The aim of this dissertation was to investigate the sustainability implications of data centres in the digital age, using quantitative research methods. More precisely, the study aimed to achieve the following objectives:

- To analyse the energy consumption patterns of data centres and assess their environmental impact.

- To quantify the carbon emissions associated with data centre operations and evaluate their sustainability performance.

- To examine resource utilisation metrics in data centres and identify opportunities for improving efficiency.

- To compare sustainability initiatives and practices across different data centre facilities.

- To provide recommendations for promoting environmentally responsible practices within the data centre industry.

Research Questions

- How do data centres primarily affect the environment, particularly in terms of energy consumption, carbon emissions, water use, and waste generation and the long-term environmental implications of emerging technologies such as artificial intelligence, blockchain, and the Internet of Things on data centre sustainability?

- What sustainability measures have data centre operators taken to address environmental issues, and what obstacles do they encounter in terms of their effectiveness and challenges?

- In what ways do sustainability practices in data centres vary among different facilities, and what factors contribute to these variations?

- What are some of the recommendations for promoting environmentally responsible practices within the data centre industry.

These research questions aim to guide the study towards a comprehensive understanding of data centre sustainability and its environmental implications.

## 1.3 Problem statement

Data centres are characterised with IT equipment that are used to process and store data as well as communicate across networks. As such, they are the backbone of IT networks across the globe due to their extensive infrastructure that is used to power as well as cool the IT equipment. However, data centres have been primarily associated with high energy consumption which makes the industry one of the fastest carbon footprint emitters globally (Stanley Arvey, 2023).

This high level of energy consumption has attracted the attention of stakeholders in the industry including its owners and operators due to a number of reasons. One of them is the cost that it attracts due to energy bills. Another is the impact that it has on the environment. As such, this research sought to find out aspects such as the energy consumption patterns of these data centres and their impact on the environment. This will ensure that there are recommendations fronted to this industry which will play the role of enhancing its sustainability practices within the environment.

## 1.4 Rationale of the study

It is important for organisations within the industry to ensure that they are environmentally sustainable as this will play a crucial role towards making sure that they are conserving the environment. This will also help the organisations to grow and develop as they will be able to attract environmentally-conscious customers that are willing and able to conduct business with them (Stanley Arvey, 2023).

This study will help the data centres in the UK with an overview of the practices that they can implement to ensure that they are efficient in their operational processes. In addition to that, it will help them to understand the inefficiencies that are embedded within their structures. Such information can be used to come up with strategies through which they can improve on the efficiencies within their structures.

At a personal level, carrying out this research will help me gain more insight into how a business within the data centre industry can achieve sustainability in the digital age by dealing with practices that are not environmentally-friendly. I have vested interests in this field as I look forward to pursue a career in this field. This research will build on to the knowledge that I have on the same.

## 1.5 Structure of the report

The immediate chapter after the introduction is the literature review. This chapter provides an extensive analysis on the academic materials that have been previously produced on the topic that is being researched on. Next is the research methodology. Here, the processes and the procedures that were used in conducting this research have been extensively explained in this chapter of the research. Next is the presentation of the findings that have been collected during this research as well as the overall discussion of the same. Lastly, the report includes a chapter that entails the overall conclusion to the study and the recommendations that have been put forward to the organisations under study for them to be more sustainable in the future even as they go about their operational activities.

# Chapter two: Literature Review

## 2.1 Introduction

This is the second chapter of the report and it covers various academic extracts that have been produced on the topic under study. Some of them include how data centres primarily affect the environment, particularly in terms of energy consumption, carbon emissions, water use, and waste generation and the long-term environmental implications of emerging technologies such as artificial intelligence, blockchain, and the Internet of Things  as well as the sustainability measures that data centre operators have taken to address environmental issues and the obstacles that they encounter in terms of their effectiveness and challenges.

## 2.2 Data centres

Data centres play a critical role in supporting the digital economy, providing the infrastructure necessary for storing, processing, and transmitting vast amounts of data (Wilson, 2023). With the proliferation of cloud computing, big data analytics, and internet-connected devices, the demand for data centre services has surged in recent years. As a result, data centres have become increasingly complex and energy-intensive facilities, consuming massive amounts of electricity and resources.

Data centres are mostly used by businesses, governments and other establishments such as schools for the purpose of web hosting and provision of internet, storing of the company’s information as well as ensuring that business transactions have been processed. Also, data centres can either be public or private. They are usually very reliable as they usually operate without any major failures within a set period of time. They are also available and reduce redundancy and as such, they are very helpful to organisations that rely on their output for their success.

The rapid expansion of data centre infrastructure has raised concerns about its environmental impact. One of the primary environmental challenges associated with data centres is energy consumption. Data centres require large amounts of electricity to power servers, cooling systems, and other equipment, leading to significant carbon emissions and environmental degradation. In addition to energy consumption, data centres also contribute to water consumption, land use, and waste generation, further exacerbating their environmental footprint (Masanet et al., 2020).

In response to growing concerns about sustainability, many data centre operators have implemented various initiatives to reduce their environmental impact. These initiatives include improving energy efficiency, investing in renewable energy sources, optimising cooling systems, and adopting green building standards. Additionally, data centre operators are increasingly adopting innovative technologies and strategies to minimise resource consumption and maximise operational efficiency (Andrews et al., 2022).

## 2.3 Environmental impacts of data centres on the environment

Globally, it has been established that data centres use significant amounts of energy and resources in order to fuel the servers that run their operations. However, the demand for services that are provided by data centres is on the rise and as such, it is important to conduct an inquiry into how data centres use resources and how this affects the environment.

One of the environmental impacts that is realised through the use of data centres is water consumption. The organisations in the industry consume water to enable them conduct operations such as cooling the servers to prevent overheating as well as ensuring that there is generation of electricity. In a cooling system that is used by data centres, a number of equipment are used. They include cooling towers, chillers, piping and air conditioning apparatuses. All these apparatuses employ the use of evaporative cooling systems that enable data centres to release heat into the environment while at the same time ensure that cool new air is coming in. In addition, humidifiers that are used in data centres maintain appropriate levels of humidity. This process is usually undertaken using large amounts of electricity that ensures water is vapourised (Masanet et al., 2020). For instance, Google as a company uses 170, 344 litres of water for the vaporisation process. This translates to water consumption that is used to irrigate 1 acres of land (Masanet et al., 2020). The use of large amounts of water in the operations of data centres is also enhanced by the fact that they are mostly established in drought-stricken areas. As such, there is a high possibility of them being prone to overheating; a fact which warrants a lot of water being used to avoid this from happening. Another area of contention where the data centre industry is accused of using a lot of water which impacts the environment stems from the fact that they source it from potable water sources which comprises of water utilities that can be used as drinking water.

Data centres also have a major contribution towards the creation of electronic waste. This refers to the incorrect disposal of electrical and electronic equipment which can have a direct effect on externalities such as resource consumption as well as the release of toxic substances. This is especially the case in countries that do not have adequate e-waste management infrastructure in place as it is usually difficult to dispose them safely. Another environmental implication of improper e-waste management is that it is a major contribution to global warming. For instance, data centres employ the use of air conditioners which contribute to at least 0.5% of global energy-related emissions if they are not properly discarded away (Andrews et al., 2022).

Data centres also have an impact on the environment through the Greenhouse Gases that they produce. The Greenhouse Gases include that carbon (II) oxide, methane and nitrous oxide. When these gases are produced, they are usually trapped in the atmosphere for years and as such, they contribute to rising global temperatures. The construction and running of data centres contributes to the accumulation of these gases due to a number of reasons. One of them is that they rely on heavy equipment such as cranes, dump trucks as well as earth movers for them to be constructed. These data centres are also constructed using cement and steel which are resource-intensive (Andrews et al., 2022).

## 2.4 Sustainability measures that data centre operators have taken to address environmental issues

Sustainability in the data centre industry refers to designing, building and operating them in a manner that reduces the impact that they have on the environment. As such, this is attributed to the fact that there needs to minimised consumption of energy, utilisation of renewable energy sources as well as coming up with technology that is energy-efficient.

Energy efficient strategies

Energy efficient strategies is one of the sustainability measure that has been implemented in the data centre industry. This helps in ensuring that there is reduction of operational costs as well as improved environmental sustainability.  As such, these strategies have been focused on coming up with innovative designs and cooling technologies that ensure there is power use effectiveness as well as reduced carbon output (Van Heddeghem, Lambert, Pickavet, 2014).

In matters dealing with cooling systems, liquid cooling, which involves direct-to-chip cooling has been embraced and is being used more by data centres. This is due to the fact that it is more potent in cooling-related energy consumption as opposed to traditional methods that depended on air cooling.

Data centres have also based their energy-efficient resources on coming up with design principles that have their priority on modularity. As such, they are able to optimise space and use of energy as their layout is focused on ensuring that there is maximised airflow; which helps in minimising the workload that was meant for cooling systems (Van Heddeghem, Lambert, Pickavet, 2014).

There have also been advances made in innovating IT hardware that have registered notable impacts on energy consumption by the data centres. Operators and other stakeholders in the industry have invested in servers and storage that are more efficient and perform better owing to the fact that they have advanced power-saving modes and are regularly updated with the latest hardware that has been improved to ensure that there is less energy used to operate them.

Renewable Energy and Power Management

The use of renewable energy resources as well as efficient power management strategies plays a key role in ensuring that data centres have minimised their carbon footprint and optimised their energy consumption at the same time when they are in operation.

One of the ways through which this has been realised by some organisations in the data centre industry is through the integration of renewable energy sources such as solar and wind to power their operations. This has been propelled by the fact that there was a need for organisations to ensure that they are not heavily reliant on fossil fuels as this degrades the environment. As such, they have realised that it is important for them to shift towards having a greener solution for their energy use (Andrews et al., 2022).

Also, data centres have focused on the use of energy procurement and credits as a strategy to manage their use of electricity. This also provides them with an opportunity to certify various amounts of power consumption that is sourced from renewable sources of energy. As such, organisations in the data centre industry not only grow the renewable energy sector but also ensure that they contribute to the decarbonising efforts of the energy grids (Andrews et al., 2022).

Sustainable Infrastructure and Operations

Having sustainable infrastructure embedded into the operations of data centres is crucial in that it ensures that they are able to make energy more efficient, conserve water as well as manage their resources responsibly within the supply chain.

Efficient data storage is one of the ways through which this is achieved. With respect to this, operators in the industry have turned to data deduplication and compression as this ensures that they are able to reduce their storage footprint. As such, they are able to lower their costs of operations as well as ensure that they are able to reduce their consumption of energy (Van Heddeghem, Lambert, Pickavet, 2014).

In addition, the data centres ensure that they are able to enhance their sustainability by giving priority to suppliers that have robust Environmental, Social and Governance (ESG) policies. This enables them to have a sustainable supply chain that not only supports environmental objectives but also ensures that it is reliable and resilient.

## 2.5 Challenges encountered by data centres in their bid to implement environmental sustainability within their operations

In as much as data centres have made the move towards ensuring that they are able to remain sustainable in an environmental aspect, there are a number of challenges that they encounter in their journey.

One of them is the imbalance between power efficiency and sustainability. It is common knowledge that for a data centre to run efficiently, there needs to be a lot of electricity consumption for the servers and the devices involved to run. On the other hand, sustainability requires the use of very small amounts of electricity which will ensure that energy is being conserved. As such, when there is an imbalance in the amount of electricity that is required to run a data centre, power outages may occur. This may impede on the operations that were meant to be undertaken by the data centre (Van Heddeghem, Lambert, Pickavet, 2014).

Also, there is a challenge in water consumption by the data centres. When they are in operation, data centres use a lot of energy which leads to the release of equally high amounts of heat. As such, there is a need for them to have energy-intensive cooling systems in order for them to prevent overheating and loss of data that is stored within their servers. With this, it is very challenging for them to reduce their consumption of water as it is required in ensuring that overheating is controlled (Wilson, 2023).

Moreover, it is very costly for these data centres to ensure that they have done away with the old equipment that consumed a lot of energy and install new ones that are less energy-intensive. As such, it is very difficult for managements in some of the organisations to implement this as a way of enhancing environmental sustainability. In addition, it is difficult for other organisations in the industry to cover the costs that are needed for this to be implemented as they do not have the required resources available to them (Wilson, 2023).

## 2.6 Research gaps

While there is a growing body of literature on data centre sustainability, several gaps remain in our understanding of the environmental effects of data centres. Firstly, existing research tends to focus on qualitative assessments of sustainability initiatives, rather than quantitative analyses of environmental performance. Secondly, there is limited research comparing sustainability practices across different data centre facilities, making it difficult to identify best practices and benchmarks for industry-wide improvements. In this regard, there is a need for more research to be undertaken on the long-term environmental implications of emerging technologies such as artificial intelligence, blockchain, and the Internet of Things, which are expected to drive further growth in data centre demand (Van Heddeghem, Lambert, Pickavet, 2014).

# Chapter three: Research Methodology

## 3.1 Introduction

Methodology refers to a research process through which paths are adopted in a bid to develop knowledge related to the research objectives. These include the research approach, philosophies and the data collection methods and strategies. As such, this section of the report entails the processes that have been followed to ensure that this research was a success.

## 3.2 Research philosophy

There are four research philosophies that have been developed for the purpose of research. These include the positivism, interpretivism, realism and pragmatism philosophies. The research philosophy that guided this study is positivism, aligning with the objective of analytically assessing the environmental effects of data centres using numerical data. Positivism emphasises systematic observation and analysis to generate objective knowledge (Gorard, 2001).

## 3.3 Research approach

Research approach refers to the path adopted in knowledge development, which guides the path to the development of conclusions in relation to the research objectives (Gorard, 2001). There are three research approaches that have been developed over time; inductive, deductive and abductive. This research adopted the deductive approach which describes a process in knowledge development where the process progresses from general towards specific inference. As such, it was able to test the hypothesis in play which ensured that there were grounds for the formulation of concrete solutions as well as recommendations that were as a result of the research objectives being identified and fulfilled.

## 3.3 Research methods

This refers to the methodological choice through which research is guided in its bid to attain its objectives (Gorard, 2001). Research methods could either be quantitative, qualitative or mixed. This study employed the use of the quantitative research method which made sure to collect quantifiable data which then led to the development of concrete recommendations and conclusions on the topic under study.

## 3.4 Data collection methods

Primary data was collected for this study by issuing close-ended questionnaires to various stakeholders of the data centre industry. This is due to the fact that it is easier to code and analyse. The analysis of this data was conducted through the Excel Application and presented in the form of tables, charts and graphs.

## 3.5 Sample size and sampling techniques

The study population of 20, primarily consisted of data centre operators, owners, or managers responsible for day-to-day operations and management.

The convenience sampling technique was employed in the study which then ensured that those that were willing and able to participate were provided with a chance to do so. Making sure that there was engagement with the respondents to ascertain their availability and willingness was very crucial to the research as it ensured that ethical considerations were observed.

## 3.6 Ethical considerations

Before data collection or interviews, explicit informed consent were obtained from participants, ensuring they understand the research's objectives, potential risks and benefits, and how their data will be handled to protect confidentiality. The Data protection Act of 2018 was primarily engaged in this study to ensure that there was no breach involved. This was enhanced by the use of a laptop that is password protected. Also, as mentioned earlier, consent forms were issued to the respondents to confirm their willingness to participate in the study, it was also made clear to them that they could leave at any time they wished to. Personal details were also omitted from the exercise.

## 3.7 Gantt’s chart

| Activity | Duration (Weeks) |
| --- | --- |
| Literature Review | 3 |
| Define Research Questions | 1 |
| Data Collection | 3 |
| Data Analysis | 4 |
| Interpretation of Findings | 2 |
| Writing Dissertation | 4 |
| Revision and Editing | 2 |
| Finalizing Dissertation | 2 |
| Preparation and Submission | 2 |
| Total | 23 |

# Chapter four: Findings and discussion

## 4.1 Introduction

This chapter of the report entails the findings of the data that have been collected and the discussion of the same after an analysis has been conducted.

## 4.2 Preliminary results

Q1. Which of the following statements describes your gender?

| Gender description | Frequency |  | Percentage |
| --- | --- | --- | --- |
| Male | 9 |  | 45 |
| Female | 7 |  | 35 |
| Non-binary | 4 |  | 20 |

Table 1: Gender distribution

Graph 1: Gender distribution

The responses to the gender identity of the participants point to a significant dominance of those who identify with the male gender among the customer base, with 45%. However, the distribution also point to a fairly balanced gender distribution among the company’s customers, with 35% of the sampled identifying with the female gender, while 20% identified as non-binary.

Q2. Which of the following best describes your understanding of environmental sustainability in the data centre industry?

| Response | Frequency | Percentage |
| --- | --- | --- |
| Elementary | 4 | 20% |
| Intermediate | 7 | 35% |
| Advanced | 9 | 45% |

Table 2: Level of understanding of environmental sustainability in the data centre industry

Graph 2: Level of understanding of environmental sustainability in the data centre industry

The researcher sought to found out whether the respondents had adequate knowledge on the topic under study. To this, the responders were asked the extent to which they understood the aspect of environmental sustainability within the data centre industry. The results showed that a significant number of them were well aware of it. This is due to the fact that the majority of them, 45% answered that they had advanced knowledge on the same, 35% of them said they had intermediate knowledge whereas 20% of them said their knowledge was elementary.

Q3. In your individual capacity within the data centre industry, which of the following environmental impacts can you identify with as being a direct result of operating data centres?

| Response | Frequency | Percentage |
| --- | --- | --- |
| High usage of energy | 8 | 40% |
| High consumption of water | 7 | 35% |
| Improper disposal of e-waste | 3 | 15% |
| Release of GHCs into the atmosphere | 2 | 10% |

Table 3: Environmental impacts of data centres

Graph 3: Environmental impacts of data centres

The respondents were asked whether they could identify with the provided environmental impacts that data centres had on the environment due to their operations. They identified with all the choices provided in their various capacities as shown above. 35% of them pointed out that there was high consumption of water within the data centres, 40% of them pointed out that there was high energy use, 15% of them noted that there was improper disposal of e-waste within the environment whereas 10% of the respondents pointed out that there was release of GHCs into the atmosphere from the data centres.

Q4. Which of the following are some of the notable sustainability measures that seem to have been undertaken by data centres in the industry for environmental sustainability purposes?

Table 4: Sustainability practices employed in the data centre industry

| Response | Frequency | Percentage |
| --- | --- | --- |
| Use of energy efficient strategies | 6 | 30% |
| Renewable Energy | 7 | 35% |
| Power Management | 5 | 25% |
| Sustainable Infrastructure and Operations | 2 | 10% |

Graph 4: Sustainable practices employed in the data centre industry

To the question as to whether they could identify with the range of sustainable practices that had been adopted by various organisations within the data centre industry, the responses showed that there was an improved and increased absorption of some notable practices that were geared towards sustaining the environment. This is clearly shown in the results represented above.

Q5. What are some of the challenges that organisations in the data centre industry face in their bid to implement environmental sustainability practices within their operations?

Table 5: Challenges encountered by data centres in their bid to implement sustainability practices in their operations

| Response | Frequency | Percentage |
| --- | --- | --- |
| Imbalance between sustainability and efficient power usage | 6 | 30% |
| Water usage | 4 | 20% |
| High implementation costs | 10 | 50 |

Graph 5: Challenges encountered by data centres in their bid to implement sustainability practices in their operations

The last question that the respondents were asked information on was whether they could identify some of the challenges that they encountered as they aimed to implement practices that could promote environmental sustainability. To this, half of the respondents identified with high implementation costs, 30% of them said that there was an imbalance that was noted between power efficiency and sustainability whereas the remaining pointed towards the use of water as an issue.

## 4.3 Discussion

In recent times, data centres have been at the epicentre of all operations, whether business or personal around the globe; ranging from cloud computing to global communication networks. This is due to the high demand of data storage, management and processing that has been propelled by the increased number of people that are using the internet. Data centres offer the resources for these activities to be conducted as there is a need for efficiency to be attained. However, in as much as this industry has played a huge role in ensuring that there is efficiency of operations attained by people that are using the internet, it has also contributed to negative effects in the environment. It has been estimated that data centres account for 1% of the world’s consumption of energy as well as 2-4% of the total carbon emissions (McPhee, 2020). It is difficult to realise the effect that these have on the environment over a short period of time. However, they will be felt in the long-run. It is due to this that studies such as these need to be undertaken to ensure that there are strategies in place for environmental sustainability to reign within the data centre industry (McPhee, 2020).

The data centre industry consumes a lot of water to enable it to conduct operations such as cooling the servers to prevent overheating as well as ensuring that there is generation of electricity. In a cooling system that is used by data centres, a number of equipment are used. They include cooling towers, chillers, piping and air conditioning apparatuses. All these apparatuses employ the use of evaporative cooling systems that enable data centres to release heat into the environment while at the same time ensure that cool new air is coming in (Andrews et al., 2022). Another area of contention where the data centre industry is accused of using a lot of water which impacts the environment stems from the fact that they source it from potable water sources which comprises of water utilities that can be used as drinking water. This has been clearly demonstrated by the results of the findings that have been registered above since 35% of them stated that they thought that the use of water was very high and it was affecting the environment in a negative manner (Andrews et al., 2022).

Also, data centres have  contributed towards the creation of electronic waste. This is especially the case in countries that do not have adequate e-waste management infrastructure in place as it is usually difficult to dispose them safely. Another environmental implication of improper e-waste management is that it is a major contribution to global warming. According to the results that have been collected from the primary study, 15% of the respondents articulated this as an effect on the environment.

Moreover, the results collected and analysed also pointed out that there were significant releases of Greenhouse Gases into the atmosphere by data centres. This has been compounded with the findings of the literature review which linked this to the construction and running of data centres especially since they have to rely on heavy equipment such as cranes, dump trucks as well as earth movers for them to be constructed. In addition, data centres are also constructed using cement and steel which are resource-intensive (Masanet, Shehabi, Lei, Smith, Koomey, 2020).

However, in as much as environmental sustainability is an issue within the industry, there are some sustainability measures that have been put in place and are operational in some organisations operating in it.

The use of energy efficient methods is one of them. This helps in ensuring that there is reduced used of fossil fuels and other large amounts of energy that lead to the depletion of natural resources. 30% of the respondents reported that they could identify with this as a strategy that has been used in various organisations that they have come into contact with. The findings of this study have also complemented the literature review which pointed out that there was increased use of energy-efficient methods in the industry such as coming up with design principles that are prioritised on modularity as well as improving their IT hardware according to the latest standards that have been introduced into the market (Masanet et al., 2020).

Also, according to the literature review, the use of renewable energy resources as well as efficient power management strategies plays a key role in ensuring that data centres have minimised their carbon footprint and optimised their energy consumption at the same time when they are in operation.

The integration of renewable energy sources such as solar and wind to power their operations is one of the ways through which organisations in this industry are trying to attain environmental sustainability (Wilson, 2023). This has been propelled by the fact that there was a need for organisations to ensure that they are not heavily reliant on fossil fuels as this degrades the environment. As such, they have realised that it is important for them to shift towards having a greener solution for their energy use. The research also corroborated this since 35% of the respondents identified with this. Also, data centres have focused on the use of energy procurement and credits as a strategy to manage their use of electricity. This also provides them with an opportunity to certify various amounts of power consumption that us sourced from renewable sources of energy. As such, organisations in the data centre industry not only grow the renewable energy sector but also ensure that they contribute to the decarbonising efforts of the energy grids (Wilson, 2023).

In as much as data centres are looking to ensure that they contribute to environmental sustainability, there are a lot of challenges that they face. One of them is the imbalance between power efficiency and sustainability. It is common knowledge that for a data centre to run efficiently, there needs to be a lot of electricity consumption for the servers and the devices involved to run. On the other hand, sustainability requires the use of very small amounts of electricity which will ensure that energy is being conserved (Masanet et al., 2020). As such, when there is an imbalance in the amount of electricity that is required to run a data centre, power outages may occur. This may impede on the operations that were meant to be undertaken by the data centre. This has also been represented in the findings of the research since 30% of the respondents said that this was a challenge that they had encountered before.

Also, there is a challenge in water consumption by the data centres. When they are in operation, data centres use a lot of energy which leads to the release of equally high amounts of heat. As such, there is a need for them to have energy-intensive cooling systems in order for them to prevent overheating and loss of data that is stored within their servers. As such, it is very challenging for them to reduce their consumption of water as it is required in ensuring that overheating is controlled (Masanet et al., 2020).

According to the results of the research, 50% of those that participated thought that the high implementation costs associated with overhauling of the system is a big challenge to the industry.  As they aim to do away with the old equipment that consumed a lot of energy and install new ones that are less energy-intensive. As such, it is very difficult for managements in some of the organisations to implement this as a way of enhancing environmental sustainability. In addition, it is difficult for other organisations in the industry to cover the costs that are needed for this to be implemented as they do not have the required resources available to them.

# Chapter five: Conclusion and Recommendations

## 5. 1 Introduction

This part of the report entails the overall conclusion to the report and the recommendations that have been put forward to organisations within the data centre industry for their consideration towards ensuring that they have contributed to environmental sustainability.

## 5.2 Conclusion

This dissertation delved into the sustainability implications of data centres in today's digital age, utilising quantitative research methods. It addressed the exponential growth of the data centre industry alongside the environmental challenges it poses, particularly in energy consumption and carbon emissions. However, in as much as there are a number of negative impacts that the operations of data centres have on the environment, there are also sustainable measures that have been put in place by various organisations as a way to ensure that they are sustainable. Some of them include the use of energy efficient resources as well as ensuring that they are employing the use of renewable energy resources to avoid depletion of natural resources. It is therefore recommended that other organisations within this industry that have not fully implemented some of these sustainable practices to conduct an analysis and find out the best applications that could fit into their systems.

## 5.3 Recommendations

One of the ways through which data centres in the UK could ensure that they have become more environmentally-friendly is by adopting cooling solutions that act as alternatives to the use of water. Cooling systems in data centres are very crucial for their operations due to the high energy consumption that these machines take in to operate. In this regard, sustainable cooling solutions have to be implemented as they ensure that there is minimised use of energy as well as a maintained optimal operating temperature. For instance, the use of techniques such as hot/cold aisle containment, free cooling and liquid cooling are some of the ways through which efficient dissipation of heat can be realised. This method also ensures that there is an increased rate of water conservation (Wilson, 2023).

Also, the data centre industry could embrace the use of energy storage and backup systems. Batteries and flywheels can be employed within the operations of data centres with the aim of optimising energy usage and reducing reliance of the grid, especially during the peak demand periods. Also, this has the benefit of ensuring that data centres have the ability to generate their own power during grid outages which ensures that operations are still ongoing.

Also, on the authoritative side, the government and other agencies that have been mandated to check on the operations of the data centres could ensure that they have intensified regulatory requirements in order to maintain environmental sustainability within the industry. Some of the laws that can be put in place for this to be conducted include carbon pricing mechanisms such as instilling carbon taxes and mandatory carbon emissions reporting (Wilson, 2023).

# References

Andrews, Deborah, et al. (2022). The Circular Data Centre Compass – modelling and assessing data centre sustainability, E3S Web of Conferences 349, 11008, London

Arvey, Stanley (2023). ODN: The Backbone of Networks, Blog, Organ Ergun, Retrieved on 18/03/24 from https://orhanergun.net/optical-distribution-networks-odn-modern-networks-explained.

Belady, C. and Rawson, A. (2008). Data center power efficiency metrics: PUE and DCiE. In Proceedings of the 2008 Green Computing Conference (pp. 1-7).

Farquhar, J.D. (2012). Case Study Research for Business, SAGE Publications, Limited, London. Available from: ProQuest Ebook Central. [22 April 2024].

Ghatikar, G., and Ganeshalingam, M. (2013). Data center growth in the United States: Decoupling the demand for services from electricity use. Lawrence Berkeley National Laboratory Report LBNL-6365E.

Gorard, S. (2001). Quantitative Methods in Educational Research : The Role of Numbers Made Easy, Bloomsbury Publishing Plc.

Greening, L. A., Greene, D. L. and Difiglio, C. (2000). Energy efficiency and consumption—the rebound effect—a survey. Energy Policy, 28(6-7), 389-401.

Koomey, J. G. (2007). Estimating total power consumption by servers in the US and the world. Lawrence Berkeley National Laboratory Report LBNL-60946.

McPhee, W. and Dias, SM (2020). Integrating Sustainability into Major Projects : Best Practices and Tools for Project Teams, John Wiley & Sons, Incorporated, Newark. Available from: ProQuest Ebook Central. [22 April 2024].

Masanet, E., Shehabi, A., Lei, N., Smith, S. and Koomey, J. (2020). Recalibrating global data center energy-use estimates. Environmental Research Letters, 8(3), 1-8.

Meijer, S. and Ploeger, G. (2009). From elite lawbreaking to financial crime: The evolution of the concept of white-collar crime. European Journal of Criminology, 6(1), 33-47.

Mills, E. (2011). The carbon footprint of servers: A lifecycle approach. In Proceedings of the 2011 IEEE International Symposium on Sustainable Systems and Technology (ISSST) (pp. 1-6).

Nassar, S. and Al-Qutayri, M. (2015). Greening data centers using renewable energy. Renewable and Sustainable Energy Reviews, 49, 262-278.

Raghavan, B., Ma, X., Patton, A. D. and Bash, C. E. (2011). Energy-aware resource allocation in cloud data centers. IEEE Transactions on Sustainable Computing, 1(1), 3-16.

Van Heddeghem, W., Lambert, S., Lannoo, B., Colle, D. and Pickavet, M. (2014). Trends in worldwide ICT electricity consumption from 2007 to 2012. Computer Communications, 50, 64-7.

Wilson M. (2023), Data Center Basics. Retrieved from https://nlyte.com/blog/data-center-basics/.

# Appendices

## Appendix 1: Research proposal

## Appendix 2: Questionnaire

Q1. Which of the following statements describes your gender?

| Gender description | Frequency |  | Percentage |
| --- | --- | --- | --- |
| Male |  |  |  |
| Female |  |  |  |
| Non-binary |  |  |  |

Q2. Which of the following best describes your understanding of environmental sustainability in the data centre industry?

| Response | Frequency | Percentage |
| --- | --- | --- |
| Elementary |  |  |
| Intermediate |  |  |
| Advanced |  |  |

Q3. In your individual capacity within the data centre industry, which of the following environmental impacts can you identify with as being a direct result of operating data centres?

| Response | Frequency | Percentage |
| --- | --- | --- |
| High usage of energy |  |  |
| High consumption of water |  |  |
| Improper disposal of e-waste |  |  |
| Release of GHCs into the atmosphere |  |  |

Q4. Which of the following are some of the notable sustainability measures that seem to have been undertaken by data centres in the industry for environmental sustainability purposes?

Table 4: Sustainability practices employed in the data centre industry

| Response | Frequency | Percentage |
| --- | --- | --- |
| Use of energy efficient strategies |  |  |
| Renewable Energy |  |  |
| Power Management |  |  |
| Sustainable Infrastructure and Operations |  |  |

Q5. What are some of the challenges that organisations in the data centre industry face in their bid to implement environmental sustainability practices within their operations?

Table 5: Challenges encountered by data centres in their bid to implement sustainability practices in their operations

| Response | Frequency | Percentage |
| --- | --- | --- |
| Imbalance between sustainability and efficient power usage |  |  |
| Water usage |  |  |
| High implementation costs |  |  |

## Appendix 3: Application for Ethical Approval