| Activity to be Assessed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Assessment Number |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CONCRETE FLOOR SLAB INSTALLATION |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 002 |  |  |  |  |  |  |  |  |
| Persons undertaking or affected by the activity |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | X | Employees |  | X | Contractor |  |  | X | Public |  |  |  |  | Service User |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Other ……………………………………………………………………………………………. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Identified Hazards and Associated Risks |  |  |  |  |  |  |  |  |  |  | Likelihood |  |  |  |  |  | Severity |  |  |  |  | Risk Level |  |  |  |
| 1 | COLLAPSE OF FORMWORK |  |  |  |  |  |  |  |  |  | 2 |  |  |  |  |  | 3 |  |  |  |  | 6 |  |  |  |
| 2 | MANUAL HANDLING OF SHUTTERS, REINFORCEMENT BARS ETC. |  |  |  |  |  |  |  |  |  | 3 |  |  |  |  |  | 3 |  |  |  |  | 9 |  |  |  |
| 3 | DUST FROM SCABBLING OPERATIONS |  |  |  |  |  |  |  |  |  | 3 |  |  |  |  |  | 4 |  |  |  |  | 12 |  |  |  |
| 4 | CEMENT BURNS FROM WET CONCRETE |  |  |  |  |  |  |  |  |  | 3 |  |  |  |  |  | 3 |  |  |  |  | 9 |  |  |  |
| 5 | OPERATIVES FALLING DURING ERECTION OF FORMWORK |  |  |  |  |  |  |  |  |  | 3 |  |  |  |  |  | 4 |  |  |  |  | 12 |  |  |  |
| 6 | ARM AND BACK STRAIN |  |  |  |  |  |  |  |  |  | 3 |  |  |  |  |  | 3 |  |  |  |  | 9 |  |  |  |
| Existing Control Measures / Additional Control Measures Required |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | FOREMAN TO CHECK FALSEWORK PRIOR TO WORK COMMENCING TO ENSURE IT IS ERECTED IN A PROPER MANNER AND THAT CLAMPS ARE FITTED CORRECTLY. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | TOOLBOX TALKS AND MANUAL HANDLING TRAINING TO ENSURE OPERATIVES ARE COMPETENT WITH SAFE LIFTING TECHNIQUES |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | KEEP AREAS OF WORK CLEAR OF MATERIALS, TOOLS AND THE LIKE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 | APPROPRIATE PPE TO BE WORN BY ALL OPERATIVES WORKING IN OR CLOSE TO WORKS. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Reassessment of Activity Hazards |  |  |  |  |  |  |  |  |  |  | Likelihood |  |  |  |  |  | Severity |  |  |  |  | Risk Level |  |  |  |
| 1 | COLLAPSE OF FORMWORK |  |  |  |  |  |  |  |  |  | 1 |  |  |  |  |  | 3 |  |  |  |  | 3 |  |  |  |
| 2 | MANUAL HANDLING OF SHUTTERS, REINFORCEMENT BARS ETC. |  |  |  |  |  |  |  |  |  | 2 |  |  |  |  |  | 3 |  |  |  |  | 6 |  |  |  |
| 3 | DUST FROM SCABBLING OPERATIONS |  |  |  |  |  |  |  |  |  | 1 |  |  |  |  |  | 4 |  |  |  |  | 4 |  |  |  |
| 4 | CEMENT BURNS FROM WET CONCRETE |  |  |  |  |  |  |  |  |  | 2 |  |  |  |  |  | 3 |  |  |  |  | 5 |  |  |  |
| 5 | OPERATIVES FALLING DURING ERECTION OF FORMWORK |  |  |  |  |  |  |  |  |  | 1 |  |  |  |  |  | 4 |  |  |  |  | 4 |  |  |  |
| 6 | ARM AND BACK STRAIN |  |  |  |  |  |  |  |  |  | 2 |  |  |  |  |  | 3 |  |  |  |  | 19 |  |  |  |
| Name OWEN TOWEL Position MD |  |  |  |  |  |  | Signed OWEN TOWEL |  |  |  |  |  |  |  |  |  | Date of Completion: 06/04/2020 |  |  |  |  |  |  |  |  |
| Reviews |  |  |  | Key |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Review Date: |  |  |  | Likelihood |  |  |  | Severity |  |  | Severity of Injury |  | 5 | 5Y |  |  |  | 10R |  | 15 |  |  | 20 |  | 25 |
| Reviewed by: |  |  |  | 1 very unlikely 2 unlikely 3 likely 4 very likely 5 certainty |  |  |  | 1 nuisance 2 minor 3 medical treatment 4 major 5 fatal |  |  |  |  | 4 | 4 |  |  |  | 8 |  | 12 |  |  | 16 |  | 20 |
| Review Date : |  |  |  |  |  |  |  |  |  |  |  |  | 3 | 3 |  |  |  | 6G |  | 9 |  |  | 12 |  | 15 |
| Reviewed by: |  |  |  |  |  |  |  |  |  |  |  |  | 2 | 2 |  |  |  | 4 |  | 6Y |  |  | 8 |  | 10Y |
| Review Date : |  |  |  |  |  |  |  |  |  |  |  |  | 1 | 1 |  |  |  | 2 |  | 3 |  |  | 4 |  | 5G |
| Reviewed by: |  |  |  |  |  |  |  |  |  |  |  |  | 0 | 1 |  |  |  | 2 |  | 3 |  |  | 4 |  | 5 |
| Review Date : |  |  |  |  |  |  |  |  |  |  |  |  |  | Likelihood of Injury |  |  |  |  |  |  |  |  |  |  |  |
| Reviewed by: |  |  |  |  |  |  |  |  |  |  |  | Low Risk |  |  |  |  |  |  | Medium Risk |  |  |  |  | High Risk |  |

METHOD STATEMENT:

- Prior to work commencing, the excavation will be inspected to ensure ground conditions are suitable.

- Prior to work commencing a pre-assessment of the formwork is to be undertaken by the Site Manager to ensure erected in a proper manner

- All excavations are to be isolated from unauthorised personnel (where necessary) both during working hours and at night time by appropriate barrier & covering

- Ensure all operatives are wearing the correct PPE to protect them from cement burns, dust etc.

- Concrete to be delivered to the site by adhering to the traffic management plan

- Operatives must not access any area of excavation which is not ‘battered back’ or supported.

- Undertake an accurate drawing of completed works for inclusion in the Client Health and Safety file.

- Steel reinforcement to be fixed into position by trained and competent operatives

- Concrete to be poured into excavation via pump, ensuring that all connections are tight.

- Tamp finish.