Thermofluid Mechanics

v2 EXAMINATION 2017-18

SOLUTIONS

QUESTION ONE (25 marks)

r1

T1

T3

T2

r2

r3

Steel

Lagging

Q= 7.4134 W/m

Q=2πLT1-T31kslnr2r1+1kllnr3r2

∴  7.4134=2π×1×15--101ksln5250+10.05ln15052

10 marks

∴  7.4134×1ksln5250+10.05ln15052=2π×25

∴  1ksln5250+10.05ln15052=50π7.4134

∴  1ksln5250=50π7.4134-10.05ln15052

∴  1ks=50π7.4134-10.05ln15052ln5250

∴  ks=ln525050π7.4134-10.05ln15052=50.45653 WmK

15 marks

QUESTION TWO (25 marks)

According to Newton’s law of cooling,

Q=h∙A∙TS-TF

∴    100=h∙0.3×0.2∙TS-30

Reynolds number is given by,

Re=u∙l∙ρμ=12×0.3×ρ2×10-5

According to ideal gas equation,

P∙v=R∙T

∴     P∙VM=R∙T

∴    VM=R∙TP

∴    MV=PR∙T

∴    ρ=PR∙T=1000.287×30+273

∴    ρ=1.15 kgm3

2.5 marks

Therefore,

Re=u∙l∙ρμ=12×0.3×1.152×10-5=206989.34

2.5 marks

Nusselt number is given by,

Nu=h∙lk=h×0.30.03

Prandlt number is given by,

Pr=μ∙cpk=2×10-5×1×1030.03=0.6

5 marks

This is a forced convection problem where heating or cooling of a fluid in turbulent flow along a plate is taking place. Therefore the following relationship applies (Table 1 from convection formulae booklet)

Nu=0.036∙Re0.8∙Pr0.3

∴     Nu=0.036×206989.340.8×0.60.3

∴     Nu=570.471

5 marks

Therefore,

Nu=h∙lk

∴    570.47=h×0.30.03

∴    h=570.47×0.030.3=57.05 Wm2K

5 marks

Hence,

Q=h∙A∙TS-TF

∴    100=57.05×0.3×0.2∙TS-30

∴    TS=10057.05×0.3×0.2+30=59.22℃

5 marks

QUESTION THREE (25 marks)

ρ =  850 kg/m3

frictional losses:   hf = 0 m

ΦA = 0.14 m

PA = 80 kPa

oil

flow

ΦB = 0.08 m

PB = 50 kPa

B

A

From continuity equation:   Q=AreaA.vA=AreaB.vB   ∴   AA.vA=AB.vB

Therefore:

vB=AA.vAAB=π0.1424×vAπ0.0824=0.142×vA0.082=3.0625∙vA m/s

5 marks

Applying Bernoulli's equation:

PAρ.g+vA22.g+hA=PBρ.g+vB22.g+hB

∴   PAρ.g+vA22.g=PBρ.g+3.0625∙vA22.g

∴  80×103850×9.81+vA22×9.81=50×103850×9.81+3.06252∙vA22×9.81

∴  3.06252∙vA22×9.81-vA22×9.81=80×103850×9.81-50×103850×9.81

∴  vA23.06252-12×9.81=80×103850×9.81-50×103850×9.81

∴  vA=80×103850×9.81-50×103850×9.81×2×9.813.06252-1

∴         vA=2.90 m/s

10 marks

Therefore:

vB=3.0625∙vA=8.89 m/s

5 marks

And:

Q=AA.vA=AB.vB=0.0446 m3/s

5 marks

QUESTION FOUR (25 marks)

| System | Mass balance | Energy balance |
| --- | --- | --- |
| Entire heat exchanger | m1=m2=mW and m3=m4=mS=5.6 kgs | Qp=m2.h2+m4.h4-m1.h1-m3.h3 ∴Qp=mwh2-h1+mSh4-h3 ∴ -0.02Qi=mwc∆T+5.6h4-h3 ∴ -0.02Qi=mw4.18×10+5.6h4-h3 |
| water pipe | m1=m2=mW | Qi=m2.h2-m1.h1 ∴Qi=mWh2-h1 ∴Qi=mWc∆T ∴Qi=mW4.18×10 |
| steam tank | m3=m4=mS=5.6 kgs | Qi+Qp=m4.h4-m3.h3 ∴ 1Qi-0.02Qi=mSh4-h3 ∴ 0.98Qi=5.6h4-h3 |

5 marks

Using the energy balance from the steam tank:

0.98Qi=5.6h4-h3

∴  Qi=5.6h4-h30.98

5 marks

Where,

h4=251.42 kJ/kgh3=2608.9 kJ/kg             (Table A-5)

5 marks

Substituting, we find:

Qi=5.6251.42-2608.90.98

∴     Qi=-13471.31 kJs

5 marks

Using the energy balance from the water pipe:

Qi=mW10

mW=Qi4.18×10=13471.31 41.8=322.28kgs

5 marks