FUNDAMENTALS OF CONSTRUCTION TECHNOLOGY

REVIEW 5

- You need to build a pitched roof to cover a span of 7m. The perimeter is built with load-bearing brick walls. Design your solution without the need to use a king-post truss. Define all elements of the structure frame, the cover and the connection with the walls. You should design a warm roof.

- Define the details of a suspended timber floor and a level floor for this building.