# ACDA6020 LAB #1

# FTIR Analysis and Identification of Organic Materials

Max Fisher

2113637

Contents

ACDA6020 LAB #1	1

FTIR Analysis and Identification of Organic Materials	1

Introduction	2

Background	2

Method	2

Results	4

Sample A	4

Sample B	6

Sample C	9

Sample D	11

Conclusions	14

References	14

Figure 1 Sample A	4

Figure 2 Ascorbic Acid Structure	5

Figure 3 Ascorbic Acid Reference Spectra [2]	6

Figure 4 Sample B spectra	6

Figure 5 Guanidine Nitrate structure	7

Figure 6 Guanidine Nitrate Reference Spectra [4]	8

Figure 7 Sample C Spectra	9

Figure 8 Methyl 3-nitrobenzoate structure	10

Figure 9 Methyl 3 nitrobenzoate reference spectra [5]	11

Figure 10 Sample D spectra	11

Figure 11 Acetaminophen structure	13

Figure 12 Acetaminophen reference spectra [6]	13

Table 1 Sample A Identified peaks	4

Table 2 Ascorbic acid functional groups	5

Table 3 Sample B Peaks	7

Table 4 Guanidine Nitrate functional groups	7

Table 5 Methyl 3 Nitrobenzoate functional groups	10

Table 6 Acetaminophen functional groups	13

# Introduction

This report will highlight compounds detected from 4 samples recovered from an facility researching new energetic formulation. The samples were believed to be common laboratory or industrial chemicals which require specific identification before processing and disposal. The following report will explain the methods used to identify these samples providing the likely matches.

# Background

The samples provided were recovered in plastic containers and transported to the ordnance munitions an explosives lab at the University of Wales Trinity Saint David SA1 Campus.

# Method

Equipment and software used:

FT-IR spectrometer (Perkin Elmer Spectrum 2)

FT-IR surface plate: (Perkin Elmer UATR 2)

Desktop computer with ‘Spectrum IR’ Software.

Small Plastic Weighing boat (x4)

Metal Spatula (x1)

Safety Googles (x1)

Nitrile Gloves (x4)

Isopropyl alcohol (for cleaning)

Paper Towel (for cleaning)

Before undertaking any tasking, first gloves and safety goggles were donned.

A small sample was first decanted from its recovery container into a small plastic weighing boat; this was done using a metal spatula.

Next the FTIR instrument was prepared for use by cleaning the sample area (the spectrometer used had a diamond crystal). This was done by flushing the crystal with Isopropyl alcohol (IPA) and wiping with Paper towel, ensuring that the surface was free from contamination.

Using the computer control software, a background check was conducted to ensure than any residues remaining from the IPA would not significantly influence the results. To that extent the software was set to conduct 15 scans. It is important to conduct the same number or greater of background scans before conducting sample scans.  The Spectral range set for these scans was 4000-4450cm-1

A small quantity of each sample was then placed onto the sensor, covering it completely to ensure that the material would be fully exposed to the laser.

Now that the sample was in place, the FTIR head was lowered using the ratcheting knob. It was tightened until the ratchet head clicked. This indicates the appropriate force is applied to the sample, without overstressing any components.

Using the computer 15 sample scans were then conducted again using the 4000-450cm-1 spectral range. The software averaged the results of the 15 scans to create a single graph, but no other smoothing methods were used. The use of multiple scans reduces the effect of the samples physical properties such as reflectivity on the FTIR results, enabling more accurate identification.

The file generate was compared with an inbuilt spectral database which the author of the report does not currently have access to. This provisionally identified each material. However, the following section will detail the full identification process used. The file was then saved with the following convention:  SampleX_Tester_Tester.csv

Finally, the sensor was again cleaned using the IPA and the small sample disposed of in the appropriate bin.

This was repeated for each of the four recovered samples.

# Results

## Sample A

Figure 1 shows the spectra generated for sample A. The peaks identified can be found in Table 1

Figure 1 Sample A

Table 1 Sample A Identified peaks

| Peak Wavenumber | Amplitude | Possible bonds | note |
| --- | --- | --- | --- |
| 3524 | 0.04 | O-H / N-H | Broad peak between 3550-2000cm-1 |
| 3407 | 0.04 | O-H / N-H |  |
| 3312 | 0.04 | O-H / N-H / O-H / C-H / =C-H |  |
| 2981 | 0.06 | O-H / N-H / C-H |  |
| 1753 | 0.05 | C-H / C=O | sharp separate peak |
| 1653 | 0.12 | C-H / C=O / C=N / C=C / N-H | Mostly sharp peak |
| 1497 | 0.04 | N-O / C=H | Smaller peaks with bases merging |
| 1453 | 0.04 | C-H / O-H |  |
| 1313 | 0.13 | O-H / C-F / S=O / C-N / C-O | Larger peak with bases merging further |
| 1272 | 0.11 | C-F/ C-N / C-O |  |
| 1111 | 0.20 | C-F / C-N / C-O | Sharp peak |
| 1023 | 0.25 | C-F / C-N / S=O / CO-O-CO | Largest peak detected on spectra very narrow |
| 1044 | 0.10 | C-F / C-N / C-O/ S=O/ CO-O-CO | Small peak between lulls of surrounding large peak |
| 988 | 0.15 | C-F / C=C/ =C-H | Sharp narrow peak |
| 820 | 0.12 | C=C / C-H / C-Cl | large sharp peak |
| 753 | 0.15 | C-H/ C-Cl | Several peaks with bases merged. |
| 679 | 0.14 | C=C / C-H / C-Br / C-Cl |  |
| 628 | 0.14 | C-Br/ C-Cl |  |
| 564 | 0.16 | C-Br / C-I / C-Cl/ M-O |  |
| 471 | 0.11 | M-O | Smaller peak |

In ascorbic acid there is several types of functional groups as can be seen in Figure 2. There is Hydroxyl groups (-OH), Carbonyl group (-C=O) and an cyclic ether group (lactone) (-O-), these have the following IR response:

Table 2 Ascorbic acid functional groups

| Functional Group | IR Band | Notes | Presence |
| --- | --- | --- | --- |
| Hydroxyl (carboxylic acid) | 3000-2500 [1] | Broad stretch | Yes |
| Carbonyl | 1780-1710 |  | Yes |
| Lactone | 3600-3000;1750-1730; 1200-1000 |  | Yes |

From the functional groups above as well as the similarity of the reference spectra (Figure 3) it is likely that the sample A is ascorbic acid.

Figure 2 Ascorbic Acid Structure

Figure 3 Ascorbic Acid Reference Spectra [2]

## Sample B

Figure 4 Sample B spectra

Figure 2 shows the spectrum of sample B. The peaks identified can be seen in Table 2.

Table 3 Sample B Peaks

| Peak Wavenumber | Amplitude | Possible Bonds | Notes |
| --- | --- | --- | --- |
| 3327 | 0.19 | O-H / N-H / C-H / =C-H | Large peaks with merged base |
| 3196 | 0.22 | O-H |  |
| 2820 | 0.05 | O-H / N-H / C-H | Very small peaks over wide area, almost negligible |
| 2406 | 0.03 | - |  |
| 1760 | 0.04 | C-H / C=O |  |
| 1661 | 0.30 | C-H / C=O / C=N / C=C / N-H | Sharp peak |
| 1578 | 0.19 | N-H / C=C | Sharp peak |
| 1347 | 0.33 | O-H / C-F / S=O / C-N | Large peak with merged base |
| 1211 | 0.18 | C-F / C-O / C-N | Smaller peak with merged base |
| 1112 | 0.16 | C-F / C-N / C-O |  |
| 957 | 0.08 | =C-H / C=C | Small peak wide base |
| 821 | 0.14 | C=C / C-H / C-Cl | Sharp peak |
| 562 | 0.19 | C-Br / C-I / C-Cl M-O | Large peaks with wide base |
| 533 | 0.36 | C-Br/ C-I / C-Cl / M-O |  |

The functional groups of guanidine nitrate are as follows:   amino group (NH2) primary amine / (NH) secondary amine with two NH2 groups and a single NH group.

Table 4 Guanidine Nitrate functional groups

| Functional group | IR response | notes | Presence |
| --- | --- | --- | --- |
| Primary Amine | 3400-3500 [3] | Two distinct peaks | Yes |
| Secondary Amine | 3420 | Single peak | Possible |

Table 4 shows  that the NH2 group can be seen, but that the secondary amine is mostly hidden by the primary amine, as there is significant overlap in the IR response.  When comparing the spectra recorded with the reference spectra (Figure 6) it can be seen that these is a good match. Therefore sample B is likely Guanidine nitrate.

Figure 5 Guanidine Nitrate structure

Figure 6 Guanidine Nitrate Reference Spectra [4]

## Sample C

Figure 7 Sample C Spectra

| Peak Wavenumber | Amplitude | Potential Bonds | Notes |
| --- | --- | --- | --- |
| 3421 | 0.05 | O-H | Small narrow peaks |
| 3092 | 0.09 | C-H / O-H |  |
| 2961 | 0.08 | O-H/ N-H / C-H |  |
| 2869 | 0.06 | O-H / N-H / C-H |  |
| 1966 | 0.04 | C=C=C / C=C=N / C-H |  |
| 1848 | 0.04 | C-H / C=O |  |
| 1788 | 0.04 | C-H / C=O |  |
| 1715 | 0.32 | C-H / C=O | large sharp peaks |
| 1615 | 0.17 | C=O / C=C / N-H / C=C |  |
| 1526 | 0.44 | N-O |  |
| 1473 | 0.11 | C-H |  |
| 1438 | 0.31 | C-H / O-H |  |
| 1396 | 0.05 | C-H / O-H / S=O / C-F |  |
| 1324 | 0.16 | O-H / C-F/ S=O / C-N / C-O |  |
| 1349 | 0.57 | O-H/ C-F/ S=O/ C-N |  |
| 1290 | 0.43 | C-F / O-H /S=O / C-N/ C-O |  |
| 1268 | 0.52 | C-F/C-N/C-O |  |
| 1193 | 0.33 | C-F/C-O/C-N |  |
| 1134 | 0.48 | C-F/C-N/C-O |  |
| 1102 | 0,29 | C-F/C-N/C-O |  |
| 976 | 0.30 | C=C / =C-H |  |
| 925 | 0.29 | =C-H |  |
| 880 | 0.20 | C=C/ C-H |  |
| 823 | 0.38 | C=C/C-H C-Cl |  |
| 778 | 0.31 | C=C / C-H/ C-Cl |  |
| 718 | 0.83 | C=C / C-H/ C-Cl |  |
| 665 | 0.22 | C=C/C-H/C-Br/C-Cl |  |
| 652 | 0.22 | C=C/ C-H/ C-BR/ C-Cl |  |
| 487 | 0.29 | C-I / M-O |  |

Figure 8 Methyl 3-nitrobenzoate structure

Table 5 Methyl 3 Nitrobenzoate functional groups

| Functional group | IR response | notes | Presence |
| --- | --- | --- | --- |
| Ester Group | 2950 1735-1750, 1200-1300 | Sharp prominent peak | Yes |
| Nitro Group | 1500-1570, 1300-1370 | Two distinct strong peaks | Yes |
| Aromatic Ring | ~3030, 1450-1600, 690-900 | Multiple smaller peaks | Yes |

From the available information of both the functional groups, and the reference spectra it is highly likely that sample 3 is Methyl 3 Nitrobenzoate. Literature describes a large number of peaks present at the lower end of the spectra, with only weak peaks present in the ~3000cm-1 range. These are all present, showing a good match.

Figure 9 Methyl 3 nitrobenzoate reference spectra [5]

## Sample D

Figure 10 Sample D spectra

| Peak Wavenumber | Amplitude | Possible bonds | Notes |
| --- | --- | --- | --- |
| 3323 | 0.04 | O-H / N-H/ C-H/=C-H | Broad shallow peaks |
| 3160 | 0.05 | O-H |  |
| 1652 | 0.14 | C-H/ C=O / C=N/ C=C / N-H | Sharp tall peaks |
| 1610 | 0.12 | C=O /C=C/N_H |  |
| 1563 | 0.15 | N-H/ C=C/ N-O |  |
| 1506 | 0.18 | N-O/ C-H |  |
| 1436 | 0.15 | C-H/O-H |  |
| 1371 | 0.10 | C-H/O-H/S=O/C-F/ |  |
| 1327 | 0.09 | O-H/C-F/S=O/ C-N/C-O |  |
| 1259 | 0.14 | C-F/C-N/C-O |  |
| 1242 | 0.13 | C-F/ C-O /C-N |  |
| 1225 | 0.17 | C-F/C-O/ C-N |  |
| 1172 | 0,07 | C-F/C-N/C-O |  |
| 1107 | 0.05 | C-F/C-N/C-O |  |
| 1016 | 0.03 | C-F/C-N/S=O |  |
| 968 | 0.04 | C=C/=C-H |  |
| 857 | 0.03 | C=C/C-H/C-Cl |  |
| 836 | 0.14 | C=C/C-H/C-Cl |  |
| 807 | 0.15 | C=C/C-Cl/C-H |  |
| 796 | 0.11 | C=C/C-H/ C-Cl |  |
| 712 | 0.11 | C=C/C-H/C-Cl |  |
| 683 | 0.15 | C=C/ C-H/ C-Br/C-Cl |  |
| 625 | 0.09 | C-Br/ C-Cl |  |
| 604 | 0.11 | C-Br/C-I/C-Cl / M-O |  |
| 518 | 0.18 | C-Br/C-I/ M-O |  |
| 502 | 0.18 | C-Br / C-I / M-O |  |
| 464 | ? | M-O |  |

Figure 11 Acetaminophen structure

Table 6 Acetaminophen functional groups

| Functional group | IR response | notes | Presence |
| --- | --- | --- | --- |
| Hydroxyl Group (phenol) | 3200-3550 | Large broad stretch | Yes |
| Amide Group | 3300-3400, 1640-1680, 1500-1600 | Medium peak, strong peak, multiple strong peaks | Yes |
| Aromatic Ring | ~3030, 1500-1600, 700-900 | Weak peaks, smaller peaks, present in fingerprint zone. | Yes |

All evidence present is highly indicative of the presence of acetaminophen; the functional groups show a good match as well as the reference spectra. Therefore, the author has high confidence that sample D is likely acetaminophen (paracetamol).

Figure 12 Acetaminophen reference spectra [6]

# Conclusions

In Conclusion, FTIR has been used to identify all 4 compounds. Three of the four present near perfect matches with the available literature, with only sample 2, presenting a challenge when identifying the functional groups; but still showing a good match with the reference spectra.

FTIR is an excellent confirmatory method, that allows rapid identification of existing compounds when using libraries whilst also providing opportunities to identify new compounds from the basic principles of the bonds which make up all matter.

# References

| [1] | Webspectra, “Table of IR absorptions,” [Online]. Available: https://webspectra.chem.ucla.edu/irtable.html. [Accessed 16 10 2025]. |
| --- | --- |
| [2] | E. Merck AG, Darmstadt, 1989. [Online]. Available: https://spectrabase.com/spectrum/FpAlU5XGetD. |
| [3] | D. K. W. R. &. L. B. Steven Farmer, “Spectroscopy of Amines,” [Online]. Available: https://chem.libretexts.org/Bookshelves/Organic_Chemistry/Organic_Chemistry_%28Morsch_et_al.%29/24%3A_Amines_and_Heterocycles/24.10%3A_Spectroscopy_of_Amines. [Accessed 16 10 2025]. |
| [4] | Spectrochem Pvt. Ltd., “Guanidine nitrate,” 2014. [Online]. Available: https://spectrabase.com/spectrum/7haMJ08Izke. [Accessed 16 10 2025]. |
| [5] | Ega-Chemie GmbH & Co KG, Steinheim, 1989. [Online]. Available: https://spectrabase.com/spectrum/PumGN62O9p. [Accessed 16 10 2025]. |
| [6] | Coblentz Society, “Acetaminophen - NIST chemistry WebBook,” 1987. [Online]. Available: https://webbook.nist.gov/cgi/cbook.cgi?ID=C103902&Units=SI&Type=IR-SPEC&Index=1#IR-SPEC. [Accessed 15 10 2025]. |