Student FEEDBACK FORM-Joshua

| Generic Assessment Criteria | Marks available | Marks awarded |
| --- | --- | --- |
| 1. Engagement with Literature Skills . |  |  |
| The report demonstrates a satisfactory level of research, showing an understanding of the subject. Using additional sources such as books, papers, and magazines, rather than solely relying on the internet, could potentially result in a higher score. There is evidence of engagement with a range of relevant literature in the work. However, the application of the Harvard referencing system is inconsistent in supporting research within certain sections of the assignment. References are appropriately included at the end of most paragraphs. However, it is essential to incorporate in-text citations within the paragraphs to maintain consistency and support the overall academic integrity of the report. | 20 | 10 |
| 2. Knowledge and Understanding Skills |  |  |
| The assignment has not fully achieved its objective in assessing the cost of electricity supplied by the National Grid Electric Power over a 10-year period, assuming a fixed electricity tariff. Despite employing suitable mathematical techniques for calculations, an error occurred in determining the village energy demands, leading to an error in the presentation of total energy demand. The report shows an evaluation of the off-grid wind system post-cost recovery, providing justifications for adopting the proposed design as an alternative power generation method. However, a comparison between the cost of electricity tariff generated by the National Grid and the off-grid wind system after cost recovery yielded inaccurate results due to a prior miscalculation. While the report offers a reasoned reflection on the environmental impact of the system and maintains an acceptable structure, it falls short in covering all aspects of the tasks. Particularly, calculations for the number of wind turbines based on manufacturing data, the number of converters, and the number of batteries have not been included. | 10 | 5 |
| 3. Cognitive and Intellectual Skills |  |  |
| The report demonstrates an analysis and discussion of the appropriateness of the results obtained. A clear evaluation and analysis of the calculations of the village power demands are presented. The report explains the reasons for opting for alternative power generation. However, calculations presenting the costs (considering an appropriate tariff and a regular fixed monthly fee) that must be paid per cottage to achieve a payback period of 10 years, assuming a 0% interest rate on the capital, are miscalculated. Valid conclusions have been provided in some areas of the report. Comparison has been performed between the cost of the electricity tariff generated by National Grid power and the off-grid Wind system after cost recovery. The report provides a reasonable explanation of the environmental impact of the wind power system. | 15 | 8 |
| 4. Practical Application Skills |  |  |
| The report's solutions are persuasive in terms of acknowledging the existence and significance of the identified problem. The suggested solution is relatively well-argued, deemed appropriate, and aligned with the problem. The design of a small off-grid wind power plant system capable of providing self-sufficient electrical power to a village has been undertaken. However, calculations for the capital cost and maintenance cost of the hardware of the designed off-grid wind system are miscalculated. Detailed discussions about the components of the wind turbines are lacking. The report demonstrates the student's understanding of studies to date and highlights their ability to work independently. However, not all aspects have been suitably and sufficiently addressed. In some sections, tables and figures are thoroughly discussed; however, this is not consistently applied throughout the entire report. The preparation of the assignment reflects Information and Communication Technology (ICT) skills. Clear explanations of the off-grid Wind power system's capabilities in supplying self-sufficient electrical power to the village are provided. | 40 | 18 |
| 5. Transferable Skills for Life and Professional Practice |  |  |
| The report is presented in a reasonably professional manner, with some tasks clearly addressed. Some graphical interpretation of results has been employed in most areas. The report demonstrates reasonable fluency and structure, and the student employs an appropriate academic writing style in most sections. However, it does not accurately cover all the criteria outlined in the assignment brief. The student has primarily used a range of secondary and website sources. There is a need for improvement in the student's familiarity with scholarly literature concerning previous work. Top of Form | 15 | 7 |

| Assessment Mark (Assessment marks are subject to ratification at the Exam Board. These comments and marks are to give feedback on module work and are for guidance only until they are confirmed. ) | Late Submission Penalties (tick if appropriate) |  | 48% |
| --- | --- | --- | --- |
|  | Up to 1 week late (40% Max) |  |  |
|  | Over 1 week late (0%) |  |  |