| LOCATION: Swansea | LLEOLIAD: abertawe |
| --- | --- |
| LEVEL 6 | LEFEL 6 |
| EXAMINATION PERIOD | CYFNOD ARHOLIADAU |
| May 2016 | Mai 2016 |

MODULE CODE: M3X8858

Energy and Environmental Technology

TIME:  2 HOURS

answer Three quESTIONs out of four

Equipment or materials required – Calculators may be used

Adnoddau neu ddefnyddiau sydd eu hangen - Dim

ANSWER three QUESTIONS

Question 1

While many countries are investing in nuclear power as a viable source of electricity generation, it is not without controversy and risks.

- One of the major concerns with nuclear power is the waste products generated.  Evaluate the potential concerns associated with nuclear waste.

(10 marks)

- Conventional nuclear reactors use uranium-235 as a fuel source, but this is not the only fuel that can be used in nuclear reactors.  One alternative fuel source is thorium with a great deal of research going on into the use of thorium based reactors.

Discuss the advantages and disadvantages of using thorium as a fuel source in nuclear reactors.

(8 marks)

- Analyse the principle differences between a pressurised water reactors and advanced gas cooled nuclear reactors.

(7 marks)

Question 2

The increasing concern about the health implications of particulate matter has led to increased controls and tighter limits on emissions to air.

You have just been appointed as the engineering manager for a chemical manufacturing site and immediately you are faced with a major problem.  An Environment Agency report has raised major concerns about acidic gas particulate matter emissions of less than 5μm.  Evaluate the range of options available to the company that can be utilised to control these emissions.

(25 marks)

Question 3

With the use of energy constantly being scrutinised in many manufacturing organisations, it makes far more sense to use energy efficiently in the first place.

- Explain three types of thermal resistance and the factors that influence them.

(6 marks)

- A building wall is constructed in the following way with a 150mm thick brick outer leaf, 70mm of clear cavity, 50mm insulation board, then a 125mm highlight aerated concrete block, inner leaf with a 12mm layer of plaster.  Values of thermal conductivity in W/mK are: plaster 0.14, aerated concrete block 0.08, insulation board 0.020, and brickwork 0.65.  Standard thermal resistances in m2K/W are internal surface 0.12, external surface 0.07 and cavity 0.16.  Calculate the U-value of the wall.

(6 marks)

- A small factory unit has a seasonal heat requirement of 128 GJ which is to be supplied by a heating system with an overall efficiency of 78%.  The fuel used has a calorific value of 48MJ/Kg.  Calculate the mass of fuel required for one heating season.

(6 marks)

- A workshop has a total rate of heat loss of 860 kW.  The building is occupied 5 days per week, 12 hours per day.  It is of lightweight construction and heated by a modern responsive gas warm air heating system with a plant efficiency of 94%.  Natural gas costs 11.4p/kWh and the building is located in a region which experiences 2820 degree days per annum.  Inside temperature is 17°C and outside temperature is 2°C.  Using tables 1, 2 and 3 calculate the annual energy demand and the annual fuel costs using the equation below.

E = QTTai-  Tao ×SDD ×24 × 1η

(7 marks)

Question 4

With the continuing pressure to reduce emissions from internal combustion engines using fossil fuels many automotive and transport vehicle manufacturers are looking to utilise alternative technologies and fuels.

Prepare a detailed report that clearly evaluates the following alternative technologies (1) Hybrid electric vehicles; (2) Battery electric vehicles and; (3) fuel cell vehicles paying particular attention to environmental impact and factors that could affect their adoption.

(25 marks)