#### 2.7	Optimization Techniques

The inadequacy of available resources to match the incessant growth in human population has called for a radical decision on how to use resources optimally. This makes optimization of structures and engineering design, in general, a subject of interest to researchers.  A development which led to the emergent of several optimization methods that can be classified into, analytical, numerical, and more recently stochastic methods (Kaveh, Ghazaan 2018a).

The concept of using mathematical tools to find optimum solutions to problems which can either be minimum or maximum values of a function is referred to as Analytical and Numerical optimization techniques (Kaveh, Ghazaan 2018a). These mathematical methods give the optimum solution as the exact solution to the specified objective function provided that all the required constraints have been satisfied as stipulated in the optimization formulation.

Numerical methods categorically employ complex mathematical method (i.e mathematical programming) in their execution and therefore entails expressing the problems using an algorithm. The most prevalent numerical method used in solving optimization problems is gradient techniques. Others include sequential linear programming, integer programming algorithm, and so on.

These numerical methods have been in use since the 1970s to solve different kinds of small-scale optimization problems (Stathis Eleftheriadis et al., 2018). Using numerical methods to handle larger-scale optimization problems is very complex, extremely time-consuming, and might not return a satisfactory solution (Kameshki, 2003a; Phan et al., 2017). This is because large-scale optimization problems usually consist of non-linear equations that can not be solved using simple numerical methods (Phan et al., 2017).

Meanwhile, the stochastic methods also known as heuristic search methods are built for complex optimization problems and thus can effectively return a satisfactory solution for large-scale problems. Stochastic methods are appropriate for discrete design variable problems and large space structures. They are based on random iteration strategies inspired by nature and do not need to compute gradients for the objective function and constraint as required for the numerical methods (Kaveh, Ghazaan 2018b). Genetic Algorithm (GA), Simulated Annealing (SA), Ant Colony Optimization (ACO), Harmony Search (HSA), and Particle Swarm Algorithm (PSO) are some of the famous stochastic methods. Their key limitation is that they generally required more function evaluations making them very slow and faced with the prospect of getting trapped in the local minima (Fig 2.1) (Dogan 2010; Kaveh, Ghazaan 2018a).

#### 2.7.1 	Genetic Algorithm (GA)

Genetic algorithm is an evolutionary optimization strategy that is fundamentally derived from Darwin’s principle of survival of the fittest (Kameshki, 2003a). It belongs to the family of stochastic methods that are mostly used in obtaining the global minimum with a high probability. Genetic algorithms employ the probabilistic transition rule to perform directional search and find the optimum solution from the individual population without the need for the gradients of the objective function. This algorithm is most appropriate in solving discrete and non-differentiable optimization problems (Rao 2009; Phan et al. 2017).

According to (Torregosa and Kanok-Nukulchai, 2002) and (Kameshki, 2003a), GA is very efficient and fairly easy to use with the technique only applying chromosomes to conduct finite point search. However, (Khalifa, 2011) pointed out that this approach can sometimes lead to a feasible local optimum solution, a situation that has been attributed to the enforcement of too severe penalty function as revealed by (Torregosa and Kanok-Nukulchai, 2002). Another major drawback of this efficient stochastic optimization method, GA is its slow speed of execution leading to increased computational time and stopping criterion (i.e.complexity in achieving the desired generation size) (Torregosa, Kanok-Nukulchai 2002).

GA operates on binary strings and thus only entails copying and partial swappings of the binary strings (Torregosa, Kanok-Nukulchai 2002). In the process, an identified set of individuals that can potentially be the solution are regarded as Vectors. The components of these vectors often referred to as genes are formulated using the design variables of the optimization problem (Jármai, 2000). In order to complete the formulation process, these genes’ real values are broken down to form the strings as explained by (Jármai, 2000).

Figure 2.3: Illustration of local and global minima (Rao, 2009)

(Jármai, 2000) further clarified that the GA methods make use of three distinct operators which are crossover, mutation, and reproduction operators to replicate the evolution rules. Each of these three operators plays a different role in determining the performance of the GA. For instance, the process of random collection of individuals from the entire population to form a new population is executed by the reproduction operators. The crossover on the other hand deals with the swapping of individual genetic information with another in the chromosomes. The mutation operator facilitates the characters modification of the evolving offspring (Jármai 2000). All three operators perform continuous iterations on the existing population until the convergence criterion set is satisfied to form a new population. The convergence of the entire process is tested using a fitness value. (Rao 2009) briefly summarized that operations of crossover, mutation, reproduction, and evaluation of fitness value must be performed to complete one generation as illustrated in Figure 2.4.

(Rao 2009; Jármai 2000) further explained that the operations of each of these distinct operators are very different The crossover operator which can be single-point, two-points, or uniform crossover utilizes a particular probability (pc). The mutation operator (i.e either single-point or bit-wise) uses another probability (pm) to perform their operations. Meanwhile, the elitist, tournament selection, and roulette wheel are some of the identified reproduction operators (Rao 2009; Jármai 2000).

Previous studies such as (Rao 2009; Arora 2017; Messac 2015), (Torregosa and Kanok-Nukulchai, 2002; Kameshki, 2003b; Bel Hadj Ali et al., 2009; Yassami and Ashtari, 2015) have established that the outcome of the GA optimization process is greatly influenced by the size of the population and generation for the genetic algorithms Their studies revealed that high population size will significantly increase the time of computation even though this can sometimes enhance the possibility of obtaining the best optimum solution. Finally, to avoid the risk of abrupt termination of the search during the optimization process, an adequate generation size will be required (Rao 2009; Arora 2017; Messac 2015).

Figure 2.4: Steps of genetic algorithm process (Torregosa and Kanok-Nukulchai, 2002; Kameshki, 2003a)

The efficacy of the application of GA optimization techniques has been widely researched and many of these studies have affirmed that GA is very superior and produces the best results. This was demonstrated in the comparative study conducted by (Ali and Seyan, 2014) where a cost optimization was performed for simply supported doubly reinforced beams using the GA, Generalised Reduced Gradient (GRG), and interior point algorithm. (Ali and Seyan, 2014) results show that the least optimum cost was achieved using the GA, which proved the superiority of GA over other methods.

Another comparative study involving the application of GRG, GA, and Sequential Quadratic Programming (SQP) with different compatible software packages performed by (Yenjay, 2005) was reported in (Alkhadashi, 2016). The results also revealed that the best optimum solution was achieved with the GA, although with an increased computation time for a case study problem that is not large (Yenjay, 2005). However, the other two methods considered in the study (i.e GRG and SQP) did not return any results for some of the results as the solution was trapped in local minimum points.

In addition, (Torregosa and Kanok-Nukulchai, 2002) compared the application of elitist and non-elitist search procedures for the minimum weight of two planar frames to identify which of the two is the best GA approach. According to (Torregosa and Kanok-Nukulchai, 2002), for an optimization problem with a limited number of generations or many variables,  the elitist search procedures produce better outcomes. The GA in comparison with the SQP, GRG, and interior point algorithm is very efficient and performed with greater superiority (Ali and Seyan, 2014); (Yenjay, 2005).

Meanwhile, Hasancebi et al. (2012) contend that the GA is less effective compared to some of the other metaheuristic algorithms such as PSO and ACO. Their submission was based on the comparison of seven different metaheuristic algorithms to solve optimizations problems on real size moment steel frame as reported by (Kaveh and Ghazaan, 2018). Hasancebi et al. (2012) concluded that the best result of the optimization problem was achieved using the simulated annealing (SA) and the evolution strategy. This was in agreement with the findings from the earlier study, (Khalifa, 2011) that concluded that implementation of the survival of the fittest procedure in the GA techniques impact the effectiveness of the method because some good individuals may have been lost in the process. (Khalifa, 2011) study was on finding the optimum/minimum weight of semi-rigid and rigid steel frames using the GA and the Harmony Search Algorithm (HSA). As deduced from the finding of (Khalifa, 2011) study, the HAS produced the best results in terms of the minimum weight. The minimum weight from the HAS compared to the GA is 5.18-11.8 % lighter for the rigid and 7.7-11.2% lighter for the semi-rigid frames.

#### 2.7.2 	Particle Swarm Optimization technique

Kennedy and Eberhart in 1995 first proposed the Particle Swarm Optimization (PSO)  technique based on inspiration from the social behavior of bugs, birds, and fishes. The technique basically imitates the insect swarm behavior, fish schooling (Figure.2.5), and the behavior of birds flock. PSO is grouped into the family of behavioral inspired algorithms (Dogan 2010). These primary organisms which the PSO method was based on use specific social hierarchy in all aspects of their lives such as food and reproduction. Therefore, the application of the PSO technique in finding the optimum solution is analogous to the way insects or swarms find their food. According to (Dogan 2010), the representation of the individual organism of either a swarm or flock is referred to as the particle in PSO while the swarm is used to represent the whole population (Dogan 2010).

Figure 2.5: Fish schooling

The behavior of each organism within the swarm cluster is strictly governed by the individual and cluster intelligence which prompt the individual swarm to easily adapt its behavior to match that of its neighbors. (Arora 2017) explained that the intelligence of individual swarm facilitates members to follow any food path established by any member of the cluster irrespective of their distance apart. This concept of imitation is exactly what the PSO method implies. The PSO technique has been proved and well established as a robust and efficient technique for optimizing civil engineering problems. It also has proven records of successful applications to other engineering fields including mechanical, artificial neural network training, multi-objective optimization, and fuzzy system control. It is very easy to apply because of its lesser algorithmic parameters (Arora 2017).

(Arora 2017) further expatiated that the PSO has some typical attributes of the evolutionary computation techniques like GA. The PSO process usually begins with a randomly developed individual (i.e particles) which represent a set of solutions. Thereafter followed by the updating of generations through the velocity update that directs the movement of the particles around the design space to find the optimum solution to the problem (Arora 2017).

During the course of searching for a global optimum, the particles follow up on their individual best position (also known as particle best) so far and the current position. The best position that has already been achieved by the swarm (also known as global best) is also recorded. The velocity update mentioned by (Arora 2017) enforces the particle movement in the direction of the best-known position i.e. either its own or the global best, in each iteration. This process is continuous with successions of iterations until the global optimum is achieved or the iteration size is exhausted (Rao, 2009; Dogan, 2010; Arora, 2017).

As demonstrated in Figure 2.6, (Rao 2009) presents an overview of the overall process of PSO  application for discrete problems. The process begins by specifying some initial parameters such as the size of the population, the maximum iteration number, initial particle, and velocity values. Once the process begins, the value of the velocity and position of the particle will keep updating in each time step. If a convergence point has been reached, the returned lowest value of the objective function is chosen as the best/optimum solution. Meanwhile, if the solution did not converge, the next iteration is started. During each iteration, an objective function for each solution will be evaluated and the global optimum is obtained when the values of the minimum objective function are the same for all points.

The main advantages of the PSO are that the technique uses a reduced computational time and also has a better convergence rate (Dogan, 2010). As established from the application of PSO to perform minimum weight optimization by (Dogan, 2010), PSO produces better design when using continuous variables as an alternative to discrete variables. On the other hand, there is the possibility of encountering disorder in the process convergence due to change of just one parameter and this can considerably affect the outcome of the process.

Figure 2.6: Particle swarm process representation for discrete problems (Dogan 2010)

PSO has also been used effectively for multi-objective optimization. For example, (Soori and Salajegheh, 2019) conducted a multi-objective optimization on rigid steel frames. The constraints were based on AISC-LFRD and earthquake effect was considered. It was concluded that PSO is effective in handling real-size problems.

(Esfandiary, Sheikholarefin and Bondarabadi, 2016) also carried out a multi-objective function optimization considering cost and weight of RC frames using a multi-criterion decision making PSO (DMPS). The outcome of the optimization applied to three benchmark problems showed that optimum results can be obtained in just 3 runs within a short time.

The particle swarm optimization procedure involves a number of particles which represents the swarm initialized randomly in the search space of an objective function. Each particle in the swarm represents a candidate solution of the optimum design problem. Originally particle swarm optimizer is developed for continuous design variables. To be able to use the method for discrete design variables, some adjustments are required.

#### 2.7.3 	Harmony Search Optimization technique

Improved Harmony Search Method Harmony search (HSA) algorithm is one of the recent editions to such stochastic search techniques founded on musically pleasing simulation to solve combinatorial optimization problems. This approach utilizes the experience of a musician for searching pleasing harmony similar to the optimum design process which seeks to find optimum solution. The pitch of each instrument determines the aesthetic quality; in just the same way as the objective function value is determined by the set of values assigned to each decision variable. Although HSA method has been successfully applied to different practical optimization problems since its origination, the applications of the method in structural optimization are still immature and require a substantial amount of further research. Up until this time only a limited number of publications in the literature are carried out where the application of the technique in different problem areas encountered in the field. Amongst these restricted studies that look at the effectiveness of the HSA method, Lee and Geem used the technique for minimum weight design of planar and space truss structures (Lee, Geem 2004). In 2009, Saka et al. and Değertekin focused to examine the optimum design of steel frames formulated according to BS5950 and LRFDAISC design codes with HSA, respectively (Saka 2009) and (Erdal et al. 2008a). Later, the success of the method in optimum W-sections for the transverse and longitudinal beams of grillage systems was investigated in Erdal and Saka (Saka, Erdal 2009) and (Erdal et al. 2008). Mainly small scale applications that consist of a small number of design variables were used in these aforementioned studies and all of them were concluded that HSA algorithm was a very rapid and effective method for optimum design of such systems. Conversely, Hasançebi et al. evinced a comprehensive performance evaluation of the technique in the optimum design of real size trusses and frames where the design problem was formulated according to ASD-AISC in evinced a completely opposite outlook (Hasançebi et al. 2009; Hasançebi et al. 2010). In comparison to those of other metaheuristic techniques, the performance of HSA algorithm was qualified substandard with its slow convergence rate and unreliable search efficiency. An improvement of the technique was recommended for its application to new structural optimization problems, which in fact led to the motivation of the present study.

### 2.8 	Life Cycle Assessment of Steel Structures in Construction Stage.

### Life-Cycle Assessment (LCA) is one of various management tools for evaluating environmental concerns. This section will review LCA from a construction perspective. It highlights the need for its use within the building sector, and the importance of LCA as a decision-making support tool. It discusses LCA applications and formulation within the construction sector, reviewing some of the life-cycle studies applied to buildings or building materials of steel structures. This part critically reviews the total life-cycle energy use of a two- and three-dimensional steel structures. It considered the initial estimated embodied energy, embodied carbon, and cost of material production, transportation, and erection stage which includes all the work activities (the whole process of construction).

### 2.8.1	Cost Evaluation

Steel buildings as stated by (SCI, 2008), can ensure that the economic criteria as one of the sustainable construction goals is fulfilled. This is as a result of its low operational and investment cost, aesthetics and speedy construction. For example, a cost savings of 2-4% can be achieved when compared to other materials due to its fast-track construction. Nonetheless, more savings should be possible if cost optimization is employed.

The frame of the building contributes significantly to the cost of the structures and even differs among the types of frame adopted. Although as mentioned by (Burgan et al., 2012), the superstructure or framework cost is rarely more than 10% of the total, but it has an important effect on other costs. For instance, a reduction of 100 mm in the ceiling floor zone of a building can lead to a 2.5% saving in cladding cost which is equivalent to 0.5% saving in overall building cost.

According to(IstructE, 2000), adopting a uniform size for members of slightly variable span is usually less costly in design, detailing, procurement, fabrication and erection than using a variety of sizes to produce the lowest possible weight of steel.

This however, according to (Moynihan and Allwood, 2014), lead to increase in weight and in turn increase embodied carbon emissions of the structure. It was further mentioned that this method will cause underutilization of the capacity of the section.  This was confirmed by a study conducted for 10,000 beams which reveal that average utilization of the beams’ capacity was less than 50%.

Conversely, performing cost optimization may create a balance between the two. This is in relation to some optimization on cost that have shown a linear relationship between minimum cost and weight. An example of this is that carried out by (Pavlovčič, Krajnc and Beg, 2004) where they compared classical design and volume based cost optimization with actual cost optimization. The optimization of rigid frames carried out accounted for several cost contributors in which the comprehensive objective function of the cost included, materials, transportation, most stages of fabrication, erection and painting. A metaheuristic method, GA and mathematical programming method, the sequential unconstrained minimisation technique (SUMT), was used for the optimization. The method was tested on two examples: 2 bay two storey frame and 5 bay four storey frame.

The results from the volume-based optimization and that of the cost optimization were almost similar. The cost optimization achieved lesser cost in some cases while volume-based optimization obtained the lesser value in other cases showing almost a linear relationship between cost and weight. Although, some of the costs like whole forming, blast cleaning etc. were insignificant and were the same for the three cases. The major cost contributors however, were material cost, welding and bolting in fabrication shop, and erection while the savings from transportation and painting costs were more reflected for the larger structure.

It follows that weight optimization can be used for cost optimization. However, in order to save cost adequately in different cost stages. A comprehensive function that includes the major costs should be formulated.

### 2.8.2	Cost Model

Five journals were mainly considered in total for the cost model, however, the cost contributors they considered differ. All the journals considered cost of materials though with different boundaries. Only Marwaha (2017) and (Pavlovčič, Krajnc and Beg, 2004) considered transport cost. Although (Jin, Ohmori and Lee, 2017) considered welding on site, however, Pavlovčič et al. (2004) and (Bel Hadj Ali et al., 2009) considered the full cost incurred from erection processes. Except for Marwaha (2017) and (Sarma and Adeli, 2002), the other three included fabrication cost considering the various processes that is involved though with slight differences in the processes they consider. Fire protection and corrosion was considered in Marwaha (2017) while general painting was considered in both journals of Pavlovčič et al. (2004) and  (Sarma and Adeli, 2002). Due to limited time and complexity of the fabrication cost. Only four stages are considered in this research. Namely; material cost, transportation cost, erection cost and finishing cost. The objective functions in each journal for the costs adopted for this research is given below.

      - Material cost

Material cost contributed to roughly 40% of the total cost of steel structures (Heinisuo et al. 2016). Only three of the journals gave the objective function for cost incurred for procurement of materials. The material objective function in all cases depend on the weight of steel. This is due to the fact that steel is usually procured in terms of its weight and can only be quantified as such. Since there is no difference of opinion, the equation was adopted. The equations by each of them are:

- (Marwaha, 2017)

|  | C1 = Mc*m*L | (2.5) |
| --- | --- | --- |

- (Jin, Ohmori and Lee, 2017)

|  | Csteel=iCsiWi | (2.6) |
| --- | --- | --- |

- Pavlovčič et al., 2004

|  | Csteel-elem=km ρ Vel | (2.7) |
| --- | --- | --- |

Where:

Mc, Csi, km	cost factor of material

m		mass of the sections

L 		length of the sections

W 		overall weight of the section

ρ 		density of the section

Vel		volume of the elements

      - Transportation cost

The objective functions by each of them are:

- Marwaha, 2017

|  | C1 = Tc m L | (2.8) |
| --- | --- | --- |

- (Pavlovčič, Krajnc and Beg, 2004)

|  | Ctransp=ktransp ρ Vstruct | (2.9) |
| --- | --- | --- |

Where:

Tc and ktransp 	transportation cost factor

Vstruct		volume of structural elements

The transportation cost functions given in equations 2.8 and 2.9 above, are also dependent on the weight of the steel. This is mainly because the truck used in transporting the steel elements are categorized in terms of their tonne capacity. Where the contractor is also charged based on the number of times the truck travelled between the factory and the site. Although, (Pavlovčič, Krajnc and Beg, 2004) recognised that other factors should be considered, like the influence of the dimension of the cross-section but inclusion of that in the formula can be difficult. In order words, transport cost calculation depending on the weight will give an easy cost quantification.

      - Erection

As can be observed in equations 2.10-2.12, the erection cost is also dependent on the weight of the steel although the cost factor used considered the cost of labour and machine power used in the erection process. However, Pavlovčič et al. (2004) added a factor of man-hour per quantity which considers the different parameters like, type of the structure, type of connection, erection conditions and so on, that have effect on the erection process. These parameters are important determinants in how much work can be done. Since erection cost is dependent on cost incurred per hour, any increase in the time used will lead to more cost and as such should be considered in the cost estimation. For example, using long span beams will mean lesser time of erection than using short span beams since the crane will carry both elements one at a time and long span beams will cause fewer pieces than short span. Due to this reason, the objective function by Pavlovčič et al. (2004) was adopted.

- (Bel Hadj Ali et al., 2009)

|  | Cerect=cere Mstr | (2.10) |
| --- | --- | --- |

- (Jin, Ohmori and Lee, 2017)

|  | Cwelding=iCwslws | (2.11) |
| --- | --- | --- |

- Pavlovčič et al. (2004)

|  | Cerect=kerect Terect ρ Vstruct | (2.12) |
| --- | --- | --- |

Where:

cere, and kerect	erection cost factor

Mstr		mass of structure

Cws 		on-site welding cost factor

lws 		length of weld

Terect 		time of erection respectively.

      - Finishing

Corrosion protection and fire protection are considered for finishing costs. The breakdown of each of them is as follows.

- Painting/Corrosion Protection

The corrosion of steel is an electrochemical process that requires the simultaneous presence of water and oxygen. In a dry building shell this will normally be light protection, often more of a cosmetic nature, but in situations where there is any form of moisture then a properly designed protective system will be required (IstructE 2000).

Many corrosion protection systems are available, such as metallic coatings (e.g. galvanising) and paint systems, and are mostly chosen based on the environment classification (IstructE 2000).

Considering the paint type of protection, the functions below were used to obtain that for this study. It can be observed (see equations 2.13-2.15) that all of them specified it as a function of surface area only while Pavlovčič et al., (2004) included the time and cost of manpower. Due the variance in quantifying the average time used and total cost for the labour and equipment, a simple case was adopted for painting.

- Marwaha (2017)

|  | C3=Cc a L | (2.13) |
| --- | --- | --- |

- Sarma and Adeli (2002)

|  | Py=i=1Nt ypili | (2.14) |
| --- | --- | --- |

- Pavlovčič et al. (2004)

|  | Cpainting=kpaintTpaint+i(km.paint,iMpaint,i)2Apl | (2.15) |
| --- | --- | --- |

Where:

Cc 			corrosion cost factor

ypi, a and Apl	 	surface area

li 			length of the section

kpaint 			cost of labour and equipment for paint

Tpaint 			time required for painting.

km.paint 		cost of paint coat,

Mpaint 			amount of paint used

- Fire Protection

Structural steel members weaken under fire above 6500C and thus require protection using insulating materials to aid them in sustaining their actions during a fire. Following that, the type and thickness of insulation to be applied depends on the period of fire resistance required and the section factor of the member (i.e. heated perimeter/cross sectional area)(IstructE 2000).

Floor slab, beams and columns have to satisfy a specified fire resistance (typically 60 to 120 minutes). Although, not all buildings require fire protection depending on the other element present in the building like composite slab. A fire engineering analysis is usually used to ascertain if fire protection will be needed or not. An efficient fire engineering strategy can also prevent the need for fire protection. An example is the Luxembourg Chamber of Commerce whose assessment revealed that there is no need for additional protection (Burgan et al. 2012).

The fire protection cost depends on steel profile shape and on protection type. The real determinants in practice are the cost of manpower, scaffolding and materials. The amount of material for fire protection will also on type of the required thickness of the protection type and the surface area of the member to be covered (Burgan et al. 2012).

Considering, the amount of protection required for the elements, typical designs for fire protection of beams and columns show that beams require less coating of fire resistance than column. Board for example will be adequate for beams for 90mins if it is just 15mm thick while it can only last for 60mins for columns.

The expression given for fire protection by (Burgan et al., 2012) considering all of the above is therefore adopted in this study.

|  | CB=1.43hibz+ 0.7Fc+ 0.27hibz+ 0.6mh | (2.16) |
| --- | --- | --- |

|  | CC=1.72hjcz+ 0.53Fc+ 0.11hjcz+ 0.72mh | (2.17) |
| --- | --- | --- |

Where Fc and mh are the cost factor and man-hour respectively.

The adopted functions for each stage are all defined in chapter 4.

### 2.8.3	Evaluation of Embodied Energy and Embodied Carbon

Steel structures generally can be used indefinitely if properly detailed and maintained. The steel in steel structures like frames offers the advantage of dismantling to be reused and recycled. 10% of steel can be reused and 84% recycled whilst retaining its strength and quality (SCI 2008).

However, consideration for embodied energy and carbon brings the performance of steel into account. Investigation suggested that considering a 50-year life time carbon footprint, the embodied carbon emission of steel frames for a building can be up to 20-30% (Stathis Eleftheriadis et al., 2018).  Shadram (Dixit, 2017a) also stated that the embodied energy can be up to 60% of the total energy use of the building. It is generally agreed that the embodied energy and carbon will keep increasing if not checked due to more energy efficient buildings being designed.

Furthermore, (Dixit, 2017a) mentioned that more material and thus more embodied energy will be required for low energy buildings than the conventional ones. This is due to the fact that certain materials will be needed to achieve the low energy consumption of the buildings.

(Dixit, 2017a) defines embodied energy (EE) as “the sum of the primary energy consumed in constructing a building through the use of construction materials, products and processes, along with related transportation, administration and services”. Haynes (2010) defines it as the total amount of energy required to manufacture a product assuming that this energy is embedded within the product. The product in this case is the building and the manufacture process is linked to the manufacturing of the raw materials required, transporting them to where it is needed, and assembling the materials together to obtain the final product. It also includes the energy consumed during the demolition, disposal or recycle of the structure. Embodied energy is a non-renewable energy which means once used for a product, it cannot be regained. Therefore, newer sources will have to be explored for subsequent uses.

Embodied carbon (EC) on the other hand, is the resulting lifecycle greenhouse gas emissions that occur during these processes. It is usually expressed as carbon dioxide equivalent CO2e and often used interchangeably with carbon footprint (Chae, Kim 2016). Operational energy (OE) and carbon (OC) is respectively the energy consumed and resulting emissions from the in-use stage of a building considering, lighting, cooling, heating and ventilation of the building.

Subsequently, reducing EE and EC can be more quantifiable and rewarding than reducing operational carbon and energy. This is because the savings made in EC or EE are immediate while that of OC or OE are overtime in future. It follows that the positive environmental impact resulting from the savings of EE/EC is of more value than that of OE/OC as the enormity of the savings of OC at that time in future might be little compared to what is required by then (The Crown Estate, 2014).

Furthermore, the savings possible in OC depends on the end users and their behaviour to sustainability. This means that the predicted savings may not actually occur which in turn contributes more to the environment’s emissions (The Crown Estate 2014). As a result, efficiently reducing EE and EC will substantially lead to a better environment.

LCA serve as a framework that is used to compare alternative services, materials and components for a building structure (Zhou, Azar 2018). LCA of a building is illustrated in Figure 2.7 below.

The stages in the table are referred to as the system boundary for calculating the EE or EC of a particular project. The boundary that are usually considered are the: initial embodied energy (IEE), recurring energy, (REE) and Demolition energy (DE).  The IEE contain the embodied energy of building materials, transportation and construction. REE is the energy consumed during the use of the building which does not fall under OE. This include the maintenance, repair and renovation/replacement activities which also consume the type of energy in IEE. The last boundary taken as DE refers to the energy consumed in the demolition, reuse and recycling or disposal. An exclusion of it can result to only about 3% reduction which may even reduce if the possible energy recovery associated with it is calculated (Dixit, 2017a).

However, more focus is given to embodied energy of material extraction and processing due to the high impacts associated with it thereby neglecting other stages in the life cycle.

Different studies have investigated the impact of one stage over the other using the LCA technique. (Stathis Eleftheriadis et al., 2018) reported the investigation by Vukotic et al. (2010) on the influence of the different life cycle stages on the embodied carbon of the structural elements. They found out that the major contributors were material sourcing and waste handling at the end of life while transportation, labour and construction or demolition stages were less significant.

Notwithstanding, it is essential that the different stages are considered with their major contributors so that a good estimation of the embodied energy and carbon are obtained.

Figure 2.7: Life cycle energy and emmisions of a building (The Crown Estate 2014)

#### 2.8.4   Embodied energy and carbon models

Many researches have attributed least weight to optimum embodied energy whereas some research found otherwise. Foraboschi et al. (2014, cited by (Stathis Eleftheriadis et al., 2018) for example found that the least weight does not relate to the optimum embodied energy when they analysed the embodied energy impact of different structural floor types of tall buildings.

In this study, only IEE system boundary is considered and the functions from previous studies is used in developing the EE and EC functions for this study.

The function given by each of them for each phase is given as follows with a justification for choosing it.

      - Material

It is widely understood that the embodied energy for producing building components is the highest contributor. (Zhou and Azar, 2018) reports that the processing of building materials forms 75% of the total EE of a building. And steel most especially is said to have more embodied energy than other building materials. It is therefore paramount that embodied energy of the materials is included in any calculation of EE and EC.

Considering the equations given by the journals considered represented here as equations 2.18- 2.21 for estimating the embodied energy of the material contained in a structure, the function from materials was established. The expression given by each of them is as follows:

(Zhou and Azar, 2018)

|  | EEm=imiEEi | (2.18) |
| --- | --- | --- |

(Brutting, Senatore and Fivet, 2018)

|  | E=Ip M | (2.19) |
| --- | --- | --- |

(Brütting et al., 2020)

|  | E=ECp x M | (2.20) |
| --- | --- | --- |

(Mao et al., 2013)

|  | E1=M x fib (1+εi) | (2.21) |
| --- | --- | --- |

Where:

E, E1 and EEm		Total Embodied energy

EEi, Ip, ECp and fib		Embodied energy factor

εi				Waste factor

All of them based the formula as depending on mass of the structure and the EE factor since materials generally are better quantified by their mass. The embodied energy factor is expected to take into account the inputs, like the energy used in raw material extraction, the type of energy used in processing e.g. fuel, transportation of the materials between extraction and processing sites and so on, required in producing the materials. Although, this can differ due to the location, and the database adopted.

      - Transportation

Transportation of materials and other entities related to building construction is a key part in the life cycle of a building. The overall embodied energy will be reduced by 5-7% if energy from transportation is excluded.  Fuel used by vehicles is the major determinant of energy consumption and emission for the transportation stage, therefore, an accurate calculation will depend on contributors like transportation of materials, labour, equipment, and waste, amongst others (Dixit, 2017a).

Although, Nassen et al. (Dixit, 2017a) mentioned that using only distances on map to calculate transportation energy does not accurately give the transportation embodied energy as the energy depend on other factors other than distances like the type and size of vehicle used and the weight of what is being transported amongst others. However, getting these factors may not be always easy. Therefore, the distance is predicted by considering the amount of the materials being carried (Zhou, Azar 2018).

All the journals as mentioned before also considered transportation in their estimation of EE. The expressions used in the order as before are:

|  | Et=1.66imiEEiDi+nELP | (2.22) |
| --- | --- | --- |
|  | ET=(dT,N+dT,F)ITMnew | (2.23) |
|  | ET=ECT(dp+ ds) | (2.24) |
|  | E2=Mj L fk1000 | (2.25) |

Where:

Et, E2, ET		Transportation energy

EEi, ECT, IT, fk	Consumption factor for transportation

ELP				Consumption factor during loading and unloading

dT,N, Di ,L, and  dp  		Distance travelled from factory to fabrication site

dT,F, ds			Distance travelled from fabrication site to construction site

n				No of distribution centres

In this case, some form of variations are observed although all of them still depend on the mass of the structure. All of them considered the distance travelled which is essential since the vehicle’s energy consumption and emission is a function of how long it has travelled where a shorter distance will mean a lower consumption and emission and vice versa.

(Zhou and Azar, 2018) in their formula considered the effect of different distribution centres as they believed that energy is expended during the loading and unloading of steel from one centre to the other. This however may not be easily quantified for each projects as the number of centres the steel material has passed through may not be completely specified. The easily measured distance is that from the steel shop to fabrication shop or directly to construction site. They also considered the return trip of the vehicle which was assumed as 66% of the energy expanded for the full trip. The inclusion of return trip was also suggested by ICE (Hammond, Jones 2011) for proper estimation although they mentioned that not all project would require the return trip.

The researches by (Brutting, Senatore and Fivet, 2018; Brütting et al., 2020) didn’t consider return trip but considered the distance from steel industry to fabrication and then to site while multiplying with the corresponding transportation factor.

Therefore, the objective function adopted in this study considered return trip for the vehicle but only the distance from shop to site is considered. Since the transport energy is also dependent on weight, the additional steel material that would be counted as waste during transportation is also added so as to give a full measure of the weight.

      - Erection stage

The erection stage involves the assembly of the components, sub-assemblies and products in order to have a finished building. As for erection processes, a reduction of about 10% will occur if not included in the total embodied energy calculation (Dixit, 2017b). The energy consumed here is majorly due to the different equipment used in site processes like hoisting, concrete mixing and pouring, welding and so on. The equipment, e.g. crane, concrete pump, earthmoving machinery and so on, require different forms of energy like electricity, steam, fuel etc. for their operations. The type of energy are therefore the quantifier of the emission capacity of the equipment as the impact of a form of energy differ from another. Although steel construction process is simple and does not require extensive use of equipment.

The expression given by each  of them is given as:

(Zhou and Azar, 2018))

|  | Et=i∈i=iTi ECFi | (2.26) |
| --- | --- | --- |

(Brutting, Senatore and Fivet, 2018; Brütting et al., 2020)

|  | E=M ECA | (2.27) |
| --- | --- | --- |

Mao et al., (2013)

|  | E=Rr ×fn 1000 | (2.29) |
| --- | --- | --- |

Where:

T	Time for lifting and installation process

ECF	Energy consumption factor

ECA	Energy consumption factor for hoisting crane

fn	Emission factor

Rr	Amount of resources or energy usage

(Brütting et al., 2020) considered only mass and the energy of hoisting crane because the study involves comparison with a similar structure and as such, consideration is not given to the processes they have in common. They used mass alone because they believe that the energy expended by the crane depends only on the mass of the building. Therefore, the difference in the form of energy used for the equipment is not considered.

(Mao et al., 2013) on the other hand considered all the major equipment required for erection and the type of energy used for each of them. An energy usage factor was assigned to each equipment in relation to the three main form of energy considered – electricity, water and fuel. However, the explanation given for the estimation is not relatable to steel structures.

Finally, (Zhou and Azar, 2018) also based the estimation on the equipment type but included the total time used in erecting the structures. The amount of fuel used by the equipment (ECFi) is used to quantify the consumption and emission of the equipment. The formula he adopted is also similar to the off road and non-road model prescribed by California Air Resources Board (CARB) and Environmental protection agency (EPA) US respectively for fuel consumption of equipment (Akbarnezhad, Xiao 2017).

As a result, the method by (Zhou and Azar, 2018) was the only one that looks feasible and was therefore adopted. However, in their estimation of the erection time, BIM program was used which made the process complicated. Therefore, due to the required expertise and limited time of this study, time as a function of weight was adopted.

### 2.9	MATLAB Software

Although structural engineers wish to have a satisfactory design that would also achieve any of the optimization goals, the complexity of most of the existing methods makes it difficult (Msabawy 2017). Therefore, the emergence of personal computers has made the implementation of optimization of real size problems possible as against the initial difficulty of easily accessing a powerful computer for formulation of the problem (Torregosa, Kanok-Nukulchai 2002).

One of the available optimization packages is MATLAB. It’s Global Optimisation Toolbox has different optimising algorithms embedded within the program, such as Pattern Search, (GA), PSO, SA, etc. (Messac 2015). This Toolbox can be used to solve unconstrained and constrained optimization problems (Arora 2017). This is because it contains a library of programs or m-files, which can be employed for the solution of least squares curve fitting, minimization, and other problems (Rao 2009).

An effective implementation of MATLAB for optimization was conducted by (Cazacu and Grama, 2014) where they compared the optimization result using built-in optimization command and self-developed algorithm. GA was the optimization method and FEA was incorporated into the MATLAB for analysis of truss. From the findings, the optimum result using the built-in command were better although it was stated that the Lagrangian barrier method for constraint handling in MATLAB is less superior.

### 2.10 	Review of Related Past Works

A review of some of the relevant works on weight, cost and embodied energy optimization of steel frames is carried out in this section in order to identify the gap in study. The review of these journals is thus as follows:

In a bid to investigate the cost savings possible with high strength steel, (Mela and Heinisuo, 2014) performed two separate optimization of weight and cost for beams, columns and trusses using high strength steels (HSS). These HSS have yield strength above 355 N/mm2 and the strongest was a S960 steel. They also manipulated the cross sections of the elements by using different steel grade for the flanges and webs and named them hybrids. The optimization was conducted using PSO algorithm. The resulting cost savings from the HSS was most significant in columns (17-24%) while beams had the least savings due to the imposition of displacement constraints on them. The large trusses investigated had a cost savings of 10-21% although higher computation time was required for the PSO algorithm. It was concluded that HSS are a good option for reducing cost especially when the hybrid sections are considered. It was also stated that the PSO algorithm was capable of optimizing the elements although longer computational time will be required for sizeable problems.

This research aligns with that of Park et al (2013) where optimization of CO2 and cost of composite column of high-rise buildings were conducted. They found that although use of high strength steel will increase material cost, it however uses lesser amount thereby reducing overall cost and CO2.

(Stathis Eleftheriadis et al., 2018) in their approach to provide a cost and embodied energy optimization model that can support early decision making brought together the design office approach of optimization with an automated approach. A parametric model developed in C++ using Monte Carlo methodology was used for processing the design and optimization for best floor grid arrangement. The objective functions were based on the cost and embodied carbon of materials, erection, fire protection, design, and fabrication. Comparisons were made with that obtained by manual optimization by structural engineers. As expected, the model was able to compute the optimization much faster than the normal design method. Likewise, the result of the optimization show that there is a proportional relationship between cost and embodied energy.

Furthermore, (Brutting, Senatore and Fivet, 2018) provided a novel formulation for the optimization of structural truss made of reused stock elements following a sequential approach of a mixed integer linear program. They examined the weight, embodied energy and GHG emissions of truss structures from reused elements and new steel material. The EE and GHG calculations included the additional energy required for the systematic deconstruction of reused elements.

The result showed that the deconstruction energy of reused elements contribute significantly to their EE and GHG emissions. This in turn led to a reduction in energy of only 29% when compared with new steel material.

(Brütting et al., 2020)) advanced the research by (Brutting, Senatore and Fivet, 2018)) by applying the optimization model to steel frames. The formulation this time focused only on GHG emissions and considered the generation of multiple members from stock elements when optimally cut. Mixed integer linear programming (MILP) was used for the optimization. The life cycle processes added were erection and demolition in which processes common to the two elements were neglected.

A consistency of results was obtained, as the resulting reused elements had higher mass than the corresponding new elements. The reused elements, found to have a lower element capacity utilization, achieved GHG emissions that are 35% lesser than new steel elements. Although, a consideration of a full LCA system boundary may increase the emissions from the reused stock elements.

(Mao et al., 2013) investigated the most suitable objective function for structures prone to earthquake damage. Therefore, single objectives of material weight and lifecycle cost and multi-objective of both were carried out. Damage due to earthquake intensities was considered in the analysis of the frames. The optimization using EC3 specifications was tested on a rigid ten storey steel frame. Single objective optimization of initial weight showed that the structure will be more prone to future earthquake damages. This will in turn incur additional cost due to repair and renovation, thereby increasing the total life cycle cost of the structure.

Thus, the multi-objective option resulted in a balance between the two functions. This option can therefore lead to structures that will have the required earthquake resilience with a lower life cycle cost.

Researches have also compared the performance of GA and PSO. Barraza et al. (2012) for instance carried out a multi-objective optimization of steel frames using GA and PSO. The structural performance of the steel frames subjected to earthquake was investigated based on the AISC specifications. Although both methods provided good structural performance for the frames, PSO however had better results.

(Plevris et al., 2011)) on the other hand found both methods to obtain the same results in their optimization although some of the PSO were trapped in the local minima. EC3 was however the specification used and only the constraints for shear, bending and deflection were considered. Their research however showed faster convergence for PSO.

The review of all these literatures shows some areas of further research. Firstly, few of the research on steel frames optimization considering cost and EE used Euro code, with AISC-LFRD being the majority. Since the design method for these codes differ, the resulting optimization should also differ. Therefore, it is expected that this research will contribute to the benchmark problems for steel frame optimization according to Euro code.

Another point of note is the single optimization of either cost or embodied energy of steel frames. Many that combined these objectives did not go for the multi-objective optimization for steel frames. This study therefore considers each from the perspective of the other (using weight) and also the combination of both of them with the calculation of embodied carbon and cost.

GA, PSO and HSA are widely accepted because of their capability of handling non-linear programming problems. Their use can increase the chance of quickly obtaining global optimum through a random selection of variables, which are usually near the optimum (Dogan, 2010)(Messac, 2015). Thus, this research further validates and investigate the best approach between GA, PSO and HSA for performing single and multi-objective optimization problems. This is expected to also remove the hassle of using methods, like MILP, which would require complex programming.

Furthermore, MATLAB has arguably become the most popular tool for computational modelling worldwide and it is becoming another everyday use software like excel. The use of MATLAB for analysis as against using simpler software like excel, which is more familiar to designers, will prevent any possible alteration that can disrupt the entire program, which is quite easy in excel, which will in turn ensure faster operation. Therefore, the use of the built-in function in MATLAB with the integration of the analysis and design of the frame for this study is expected to reduce the computation time for the optimization and thus ensure the easy implementation of cost and embodied optimization in practical designs.