## Front Page
BILL OF QUANTITIES
UWTSD SA1 Proposed Student Accommodation
Address: | Kings Dock
Port Tennant
Swansea
SA1 8QV
51.618294, -3.918861
2020-04-28
Total Build Cost: |  | 21886499.7774
Prepared By: | Sean Dugay |  | 2020-04-28

## Information Used
Information Used & Assumptions
1 | Information Used
Information as provided by REIK Design Team;
Construction Issue 25.3.20 GF
Construction Issue 25.3.20 1stF
Construction Issue 25.3.20 2ndF
Construction Issue 25.3.20 3rdF
Construction Issue 25.3.20 4thF
Construction Issue 25.3.20 Roof
Construction Issue 25.3.20 NE Elev
Construction Issue 25.3.20 SW Elev
2 | General assumptions;
FF&E is excluded unless specifically identified within the cost plan.
Costs are based upon the information as provided.
We have assumed a project bank account will not be required for this scheme.
We have assumed that the area of works will be decanted for the project. No allowance is made for throughways or dealing with building occupants.
The exact nature of specification for internal doors, screens, folding partitions and finishes is assumed.
All costs are provisional awaiting design development.
3 | General notes and exclusions;
All included costs are subject to variation following design development.
Risks associated with BREXIT are not considered.
A risk allowance of 10% is included for this estimate.
VAT is excluded from the estimate.
Works will be undertaken in a single phase.

## Summary Original
Project details |  | NRM1 elemental cost plan template
Description |  | New Apartment Block
Works cost estimate
Cost
Building works estimate
| Group element 0 | FACILITATING WORKS | 2482179.65
| Group element 1 | SUBSTRUCTURE | 1574720
| Group element 2 | SUPERSTRUCTURE | 11169516.875
| Group element 3 | INTERNAL FINISHES | 432849.9
| Group element 4 | FITTINGS AND FURNISHINGS | 624160
| Group element 5 | SERVICES | 1804589.92
| Group element 8 | EXTERNAL WORKS | 0
| Group element 9 | MAIN CONTRACTOR'S PRELIMINARIES | 1808801.6345
Works cost estimate (sub total A) |  |  | 19896817.9795
Project design team fees and other development costs (sub total B) |  |  | TBA
Base cost estimate A + B (sub total C) |  |  | 19896817.9795
| Group element 13 | Risk allowance @ | 10%
Total Risk allowances (sub total D) |  |  | 1989681.7979
Total Construction Cost (C + D) |  |  | 21886499.7774
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0

## NRM1 Costings
Cost Plan for UWTSD SA1 Student Accomodation Proposal
NRM 1 phaseologies
Elemental Cost Plan
Ref. | Element | Quantity / unit |  |  | Rate | Sub-Total | Group-Total | Notes
[5 empty] | £ | £ | £ | ALL QUANTITY CALCULATIONS HAVE BEEN ROUNDED UP TO THE NEAREST WHOLE FIGURE
0 | FACILITATING WORKS | [5 empty] | 2482179.65
0.1 | Toxic/hazardous material
| This is under the assumption that the site is clear of toxic/hazardous materials. |  |  | item | 0 | 0 |  | This is under the assumption that the site is clear of toxic/hazardous materials.
Contaminated land
| Allow for 15% contaminated soil |  | 0.15 | % | 15611622.695 | 2341743.4043 |  | Priced from SPONS 2020 pg.153 (15% Of Total works exluding main contractors preliminaries and access scaffolding)
0.2 | Major demolition works
The is under the assumption that the site is clear and requires no demolition.
0.3 | Temporary Works
| Access scaffolding |  | 0.0075 | % | 17953366.0993 | 134650.2457 |  | Priced from SPONS 2020 pg.178 - Based on 0.75% of the tender (excluding preliminaries)
| Works to existing site; site clearance and removal of existing vegetation, etc. |  | 526 | m2 | 11 | 5786 |  | Priced from SPONS 2020 pg.153
1 | SUBSTRUCTURE | [5 empty] | 1574720
1.1 | Foundations
| Allowance for mobilization and demobilization of piling rig; include for setting up piling rig at pile positions |  | 1 | item | 85000 | 85000 |  | Priced from SPONS 2020 pg.135
| CFA piling; approx. 600mm dia. piling 35m deep; cut off top of pile; allow for pile cap; disposal of spoil; etc. |  | 7742 | m | 170 | 1316140 |  | As Above (Foundation Drawings are unavailible at this time, assumed 2.5m spacing between piles @ 35m depth)
| Allowance for 500mm thick reinforced concrete slab; excavation and disposal; 350mm thick hardcore bed, 50mm sand blinding, dpm, in situ concrete slab, reinforcement (150 kg/m³), etc. |  | 526 | m2 | 290 | 152540 |  | As Above
| Allowance for under slab drainage |  | 526 | m2 | 40 | 21040 |  | As Above
2 | SUPERSTRUCTURE | [5 empty] | 11169516.875
2.1 | Frame
This is under the assumption that no specialist works are required.
| Structural steel frame including fittings based on 80 kg/m2 overall GIFA including fittings |  | 2636 | m2 | 2400 | 6326400 |  | Priced from SPONS 2020 pg.91
2.2 | Upper Floors
Precast concrete suspended floors; 1200mm wide suspended slab; 75mm thick
| 12.00m span; 350mm thick planks; 5.00 kN/m2 loading |  | 2112 | m2 | 105 | 221760 |  | Priced from SPONS 2020 pg.189
| Screeded beds; protection to compressible formwork exceeding 600mm wide '75mm thick |  | 2112 | m2 | 9.81 | 20718.72 |  | Priced from SPONS 2020 pg.273
2.3 | Roof
| precast concrete suspended slab with sand: cement screed over m2 82.00 to 99.00 reinforced concrete slabs; on steel permanent steel shuttering; 150mm reinforced concrete topping |  | 528 | m2 | 99 | 52272 |  | Priced from SPONS 2020 pg.190 added
| Allowance for rainwatergood intergration |  | 5 | % | 522.72 | 2613.6 |  | Additional Allowance for fixings
| Rainwater drainage, aluminium gutters and downpipes |  | 171.2 | m2 | 70 | 11984 |  | SPONS 2020 pg.89
| 102m perimiter for guttering | 102
| 17.3m height x 4 downpipes | 69.2
| Allowance for lift overruns, AOVs, etc. |  | 4 | no | 17000 | 68000 |  | SPONS 2020 pg.154
| balustrade and handrail with glass infill panels |  | 102 | m | 520 | 53040 |  | SPONS 2020 pg.195
2.4 | Stairs & Ramps
| Precast concrete staircase with half landing |  | 16 | no | 6490 | 103840 |  | SPONS 2020 pg.142 added 10% markup due to no design drawings
| 2 half flights of stairs per floor x 4 floors x 2 sets of stairs | 16
| Nylon coated steel handrail (20m allowance per half flight) |  | 320 | m | 104.5 | 33440 |  | SPONS 2020 pg.142 added 10% markup due to no design drawings
2.5 | External Walls
Blockwork
| Blockwork walls 140mm thick |  | 1761 | m2 | 65 | 114465 |  | SPONS 2020 pg.167
| North Elevation | 270
| East Elevation | 611
| South Elevation | 270
| West Elevation | 610
| Allowance for wall ties |  | 1761 | m2 | 1.625 | 2861.625 |  | Calculated at 2.5% of 140mm blockwork rate
| Blockwork walls 100mm thick |  | 1761 | m2 | 60 | 105660
Kingspan Thermawall TW50 (Thermal conductivity 0.022 W/mK) zero ODP rigid urethene insulation board or other equal and approved; as partial cavity fill; including cutting and fitting around wall ties and retaining discs batt or other equal; as full or partial cavity fill; including cutting and fitting around wall ties and retaining discs
| 75mm thick |  | 1761 | m2 | 24 | 42264 |  | SPONS 2020 pg.199
Aluminium rainscreen cladding (See Colour Scheme)
| Metal rainscreen cladding system, two finishes. (Dark grey PPC - RAL 7016 - L10/330) including Metsec, concealed fixings, flashings trims |  | 1761 | m2 | 569.03 | 1002061.83 |  | SPONS 2020 pg.146 added 10% markup
| Additional Allowance for exterior canopy |  | 1 | nr | 15000 |  |  | Allowance subject to change pending drawings
2.6 | Windows and external doors
External doors; powder coated aluminium glazed doorsets including ironmongery
| External doors; powder coated aluminium glazed doorsets including ironmongery |  | 6 | no | 115000 | 690000 |  | SPONS 2020 pg.146
Steel fire escape doors - Manual opening fire escape double glazed aluminium doors
| GF 1900mm Double Exterior Door (No Glazing/Louvre Surround) | 4 |  | no |  |  |  | As Above (window and door units split 50/50 between door and windows)
| GF Glazed Double Door 2465mm (Fixed 500mm Side Window) | 0.5 |  | no |  |  |  | As Above (window and door units split 50/50 between door and windows)
| GF Glazed Door and Windows 8079mm (1900mm Double Door, 3089.5mm fixed glazing each side) | 0.5 |  | no |  |  |  | As Above (window and door units split 50/50 between door and windows)
| GF Glazed Door and Windows 3681mm (1900mm Double Door, 1781mm fixed side glazing) | 0.5 |  | no |  |  |  | As Above (window and door units split 50/50 between door and windows)
| GF Glazed Door and Windows 3452mm (1200mm Double Door, 2252mm fixed side glazing) | 0.5 |  | no |  |  |  | As Above (window and door units split 50/50 between door and windows)
|  |  | 1 | no | 1292.5 | 1292.5 |  | SPONS 2020 pg.163 added 10% markup
| Extra for louvres |  | 4 | no | 90000 | 360000 |  | SPONS 2020 pg.92
| Windows, powder-coated aluminium doubleglazed units, including all necessary ironmongery and integral cills, |  | 10 | no | 95000 | 950000 |  | SPONS 2020 pg.118
| GF Glazed Windows 2400mm | 1 |  | no
| GF Glazed Window 1505mm | 2 |  | no
| GF Glazed Window 1529mm | 1 |  | no
| GF Glazed Window 2465mm | 3 |  | no
| GF Glazed Window 3425mm | 1 |  | no
| GF Glazed Double Door 2465mm (Fixed 500mm Side Window) | 0.5 |  | no |  |  |  | As Above (window and door units split 50/50 between door and windows)
| Coated aluminium double-glazed window system (Dark grey PPC - RAL 7016 - L10/330) | [6 empty] | SPONS 2020 pg.89 (Rate ammended to size per window)
| 1st Floor 950mm x 2764mm Windows |  | 20 | m2 | 1287.1075 | 25742.15 |  | As Above
| 2nd Floor 950mm x 2764mm Windows |  | 20 | m2 | 1287.1075 | 25742.15 |  | As Above
| 3rd Floor 950mm x 2764mm Windows |  | 20 | m2 | 1287.1075 | 25742.15 |  | As Above
| 4th Floor 950mm x 2764mm Windows |  | 20 | m2 | 1287.1075 | 25742.15 |  | As Above
| GF Glazed Door and Windows 8079mm (1900mm Double Door, 3089.5mm fixed glazing each side) | 0.5 |  | no |  |  |  | As Above (window and door units split 50/50 between door and windows)
| GF Glazed Door and Windows 3681mm (1900mm Double Door, 1781mm fixed side glazing) | 0.5 |  | no |  |  |  | As Above (window and door units split 50/50 between door and windows)
| GF Glazed Door and Windows 3452mm (1200mm Double Door, 2252mm fixed side glazing) | 0.5 |  | no |  |  |  | As Above (window and door units split 50/50 between door and windows)
2.7 | Internal walls
| Non load-bearing timber stud partition, faced with 'plasterboard, skim finish | [6 empty] | SPONS 2020 pg.151 (added 75% markup to inc correct thickness of plasterboard/ resilient bars and isowool quilt insulation)
| Ground Floor 100mm stud partition walls (Inc resilient bars and 2 sided 15mm pasterboard and skim) |  | 95 | m2 | 131.25 | 12468.75 |  | As Above
| 1st Floor stud partition walls (Inc resilient bars and 2 sided 15mm pasterboard and skim) |  | 865 | m2 | 131.25 | 113531.25 |  | As Above
| 2nd Floor stud partition walls (Inc resilient bars and 2 sided 15mm pasterboard and skim) |  | 798 | m2 | 131.25 | 104737.5 |  | As Above
| 3rd Floor stud partition walls (Inc resilient bars and 2 sided 15mm pasterboard and skim) |  | 818 | m2 | 131.25 | 107362.5 |  | As Above
| 4th Floor stud partition walls (Inc resilient bars and 2 sided 15mm pasterboard and skim) |  | 804 | m2 | 131.25 | 105525 |  | As Above
| Plasterboard and skim finish to all internal walls and the internal face of the external wall face | [6 empty] | SPONS 2020 pg.122
| Ground Floor internal face of building blockwork |  | 346 | m2 | 23 | 7958 |  | As Above
| 1st Floor internal face of buildin blockwork |  | 346 | m2 | 23 | 7958 |  | As Above
| 2nd Floor internal face of buildin blockwork |  | 346 | m2 | 23 | 7958 |  | As Above
| 3rd Floor internal face of buildin blockwork |  | 346 | m2 | 23 | 7958 |  | As Above
| 4th Floor internal face of buildin blockwork |  | 346 | m2 | 23 | 7958 |  | As Above
2.8 | Internal doors & screens
Standard fire doors; cellular core; softwood lining; softwood architrave; aluminuim ironmongery (lockable, self-closure); painting or polishing;
| Ground Floor double leaf; Oak veneered; 30 min fire resistance; polished |  | 8 | nr | 1400 | 11200 |  | SPONS 2020 pg.206
| 1st Floor double leaf; Oak veneered; 30 min fire resistance; polished |  | 62 | nr | 1400 | 86800 |  | SPONS 2020 pg.206
| 2nd Floor double leaf; Oak veneered; 30 min fire resistance; polished |  | 59 | nr | 1400 | 82600 |  | SPONS 2020 pg.206
| 3rd Floor double leaf; Oak veneered; 30 min fire resistance; polished |  | 61 | nr | 1400 | 85400 |  | SPONS 2020 pg.206
| 4th Floor double leaf; Oak veneered; 30 min fire resistance; polished |  | 58 | nr | 1400 | 81200 |  | SPONS 2020 pg.206
| Double glazed double door inc ironmongery |  | 6 | nr | 12210 | 73260 |  | SPONS 2020 pg.107 (Rate doubled for double door ammendment + 10% for ironmongery)
| Ground Floor Internal Double Door | 2
| 1st Floor Internal Double Door | 1
| 2nd Floor Internal Double Door | 1
| 3rd Floor Internal Double Door | 1
| 4th Floor Internal Double Door | 1
3 | INTERNAL FINISHES | [5 empty] | 432849.9
3.1 | Wall finishes
| One mist and two coats emulsion paint | [6 empty] | SPONS 2020 pg.207
| Ground floor 100mm timber stud partition wall plasterboard |  | 189 | m2 | 5.1 | 963.9
| Ground floor blockwork walls |  | 1196 | m2 | 5.1 | 6099.6 |  | As Above
| 1st floor 100mm timber stud partition wall |  | 1730 | m2 | 5.1 | 8823 |  | As Above
| 1st floor blockwork walls |  | 352 | m2 | 5.1 | 1795.2 |  | As Above
| 2nd floor 100mm timber stud partition wall |  | 1595 | m2 | 5.1 | 8134.5 |  | As Above
| 2nd floor blockwork walls |  | 352 | m2 | 5.1 | 1795.2 |  | As Above
| 3rd floor 100mm timber stud partition wall |  | 1636 | m2 | 5.1 | 8343.6 |  | As Above
| 3rd floor blockwork walls |  | 354 | m2 | 5.1 | 1805.4 |  | As Above
| 4th floor 100mm timber stud partition wall |  | 1608 | m2 | 5.1 | 8200.8 |  | As Above
| 4th floor blockwork walls |  | 352 | m2 | 5.1 | 1795.2 |  | As Above
| Staircase blockwork walls |  | 335 | m2 | 5.1 | 1708.5 |  | As Above
| Ceramic wall tiles splashbacks above kitchen counter |  | 115.2 | m2 | 70 | 8064 |  | SPONS 2020 pg.164
| Ceramic wall tiles to bathroom walls |  | 1228.8 | m2 | 70 | 86016 |  | SPONS 2020 pg.164
3.2 | Floor finishes
Vinyl safety flooring; 3.5mm thick heavy duty (Adhesive fixing)
Ground Floor
| Vinyl to floors (Circulation areas/bathrooms) |  | 366 | m2 | 68 | 24888 |  | SPONS 2020 pg.209
1st Floor
| Vinyl to floors (Circulation areas/bathrooms) |  | 107 | m2 | 68 | 7276 |  | As Above
2nd Floor
| Vinyl to floors (Circulation areas/bathrooms) |  | 138 | m2 | 68 | 21216 |  | As Above
3rd Floor
| Vinyl to floors (Circulation areas/bathrooms) |  | 94 | m2 | 68 | 24276 |  | As Above
4th Floor
| Vinyl to floors (Circulation areas/bathrooms) |  | 95 | m2 | 68 | 24140 |  | As Above
Carpet tiles; including underlay, edge grippers
heavy domestic duty; to floors
Ground Floor
| Carpet to floors |  | 46 | m2 | 75 | 3450 |  | As Above
1st Floor
| Carpet to floors |  | 353 | m2 | 75 | 26475 |  | As Above
2nd Floor
| Carpet to floors |  | 312 | m2 | 75 | 23400 |  | As Above
3rd Floor
| Carpet to floors |  | 357 | m2 | 75 | 26775 |  | As Above
4th Floor
| Carpet to floors |  | 355 | m2 | 75 | 26625 |  | As Above
3.3 | Ceiling finishes
Plasterboard, skim and apply white emulsion
| Ground Floor plasterboard ceiling, plaster skim and emulsion paint finish |  | 475.2 | m2 | 34 | 16156.8 |  | SPONS 2020 pg.151 (90% of GIFA)
| 1st Floor plasterboard ceiling, plaster skim and emulsion paint finish |  | 475.2 | m2 | 34 | 16156.8 |  | As Above
| 2nd Floor plasterboard ceiling, plaster skim and emulsion paint finish |  | 475.2 | m2 | 34 | 16156.8 |  | As Above
| 3rd Floor plasterboard ceiling, plaster skim and emulsion paint finish |  | 475.2 | m2 | 34 | 16156.8 |  | As Above
| 4th Floor plasterboard ceiling, plaster skim and emulsion paint finish |  | 475.2 | m2 | 34 | 16156.8 |  | As Above
4 | FITTINGS AND FURNISHINGS | [5 empty] | 624160
4.1 | General fittings, furnishings and equipment
| Standard Bedroom FF&E Allowance; |  | 64 | nr | 2300 | 147200 |  | SPONS 2020 pg.156 (Ammened to include desk chair, wardrobe, chest of draws and tv stand)
| 3/4 Bed |  |  |  | Inc above
| Desk 2.7lm |  |  |  | Inc above
| Desk Chair |  |  |  | Inc above
| Wardrove 1.2lm |  |  |  | Inc above
| Chest of Draws 0.6lm x 2 |  |  |  | Inc above
| Tv Stand inc. 2 draws 1.1lm |  |  |  | Inc above
| Standard Room Kitchen FF&E; |  | 64 | nr | 2550 | 163200 |  | SPONS 2020 pg.151
| General fittings – kitchen units, worktops, sink |  |  | nr | 2550 |  |  | As Above
| Kitchen Worktop 1.8lm |  |  | nr | Inc above |  |  | As Above
| Intergrated worktop sink with draining area |  |  | nr | Inc above |  |  | As Above
| Double door kitchen cupboard (Under sink) |  |  | nr | Inc above |  |  | As Above
| Single door shelved kitchen cupboard |  |  | nr | Inc above |  |  | As Above
| Single door kitchen cupboard (Above sink) |  |  | nr | Inc above |  |  | As Above
Standard Bathroom FF&E;
| Electric thermostatic shower, shower base and shower screen |  | 64 | nr | 2250 | 144000 |  | SPONS 2020 pg.164 (Ammended for incluson of shower base and screen)
| Shower Worktop 1.3m allowance |  | 64 | nr | 500 | 32000
| Intergrated Worktop WHB |  | 64 | nr | 480 | 30720 |  | SPONS 2020 pg.119 (Added 20% for intergration)
| WC |  | 64 | nr | 460 | 29440 |  | SPONS 2020 pg.120
| Main Kitchen Area Provisional Allowance; |  | 1 | nr | 20000 | 20000
| Dining Table |  |  | nr
| Seating |  |  | nr
| Tv |  |  | nr
| Cookers |  |  | nr
| Worktops |  |  | nr
| Fridge Freezers |  |  | nr
| Storage Cupboards |  |  | nr
| Lounge Provisional Allowance; |  | 1 | nr | 15000 | 15000
| Seating |  |  |  | Inc above
| Pool Table |  |  |  | Inc above
| Vending Machines |  |  |  | Inc above
| Tv |  |  |  | Inc above
| Mail boxes |  | 64 | nr | 150 | 9600 |  | SPONS 2020 pg.156
| Client and statutory signage |  | 5 | nr | 6600 | 33000 |  | SPONS 2020 pg.119
5 | SERVICES | [5 empty] | 1804589.92
5.1 | Sanitary installations
INCLUDED IN 4.4.1 FF&E
5.3 | Disposal Installations
| Provisional sum to cover all drainage and waste management. |  |  | 1 | 200000 | 200000 |  | No workable drawings have been assertained to date.
5.4 | Water Insallations
| Cold water installation incoming main, storage tank. Cold water distribution to sanitary ware. CAT 5 water points & plant to wash down points and to roof BMU. Hot water installation to sanitary ware water treatment, multi-booster pump set, distribution to apartments including tenant sets complete with water meter |  | 2636 | m2 | 26.23 | 69142.28 |  | SPONS 2020 pg.157 (Calculated by GIFA)
5.5 | Heat source
| Gas fired boiler installation |  | 5 | nr | 30000 | 150000 |  | SPONS 2020 pg.158
| Flue to atmosphere |  | 5 | nr | 90000 | 450000
| Plant room pipework, pumps sets, controls etc. |  | 5 | nr | 44000 | 220000
| Distribution to apartments, valves, etc.; terminating in HIUs (HIUs part of fit-out) |  | 2636 | m2 | 18 | 47448 |  | Calculated by GIFA
| Allowance for heat sources in each accomodation room and en-suite |  | 128 | nr | 500 | 64000
5.8 | Electrical installations
| Allowance to cover lighting (per floor) |  | 5 | nr | 21600 | 108000
| Emergency lighting |  | 1 | nr | 110000 | 110000 |  | SPONS 2020 pg.128
| Mains and sub-mains connection, small power distribution, cooker point, lighting distribution |  | 2636 | m2 | 43 | 113348 |  | SPONS 2020 pg.151 Calculated by GIFA
| Allowance to cover, earthing and bonding, 'Smoke detectors; telephone points and TV aerial, including additional data and power sockets and wiring |  | 2636 | m2 | 10.49 | 27651.64 |  | SPONS 2020 pg.152 Calculated by GIFA
5.1 | Lift and Conveyor installations
| 13-person passenger/firefighting lifts 1.0 m/s |  | 1 | nr | 135000 | 135000 |  | SPONS 2020 pg.129
5.11 | Fire and lightning protection
INCLUDED IN 2.2.8 & 5.5.8
5.12 | Communication, security and control systems
INCLUDED IN 5.58
| Internal CCTV installation allowance |  | 1 | nr | 110000 | 110000 |  | SPONS 2020 pg.129
8 | EXTERNAL WORKS | [5 empty] | 0
| NO EXTERNAL DRAWINGS HAVE BEEN PROVIDED |  |  |  |  | 0
9 | MAIN CONTRACTOR'S PRELIMINARIES | [5 empty] | 1808801.6345
| Main contractors preliminaries & OHP |  | 10 | % | 18088016.345 | 1808801.6345
| SECTION SUB-TOTAL | [5 empty] | 19896817.9795
15605.3474

## Measures (hidden)
BUILDING MEASUREMENTS
Drawing No. | No. Accomodation Rooms | External Blockwork | Blockwork North Elevation | Blockwork East Elevation | Blockwork South Elevation | Blockwork West Elevation | External Blockwork Internal Skin (Include Insulation, Internal Wall Plasterboard, Skim and Emulsion) | Building External Perimiter | Building Internal Perimiter | Building External Area | Building Internal Area | GF Internal Flooring | GFIA | Precast Contrete Flooring (Upper Floors) | Roof Asphalt Covering (Including waterproofing membrane) | Carpet |  | Vinyl | Wall Type P01 (2 X 15mm Plasterboard, Resilient Bars, 100mm Stud, Resilient Bars, 2 x 15mm Plasterboard) | Emultion To Plasterboard (2 Sides) | Internal Block Work Walls | Internal Block Work Walls Around Staircase (All Floors) | Masonry Paint to Internal Block Walls (2 Sides) | Elevators | Staircase (Including Banister) | Roof Flooring | Internal Florecent Light Bars (LED) | Internal Lights (LED) | Internal Staircase Lights (LED) | Internal Bedroom Items | Work Desk 2.7lm | Wardrobe 1.2m | Chest of Draws x 2 (0.6m) | Tv Stand with 2 draws (1.1m) | Internal Fire Safety Doors (Including Ironmongery) | Internal Double Doors (Including Ironmongery) | External Doors | External Cladding | Windows (850mm) | 1st Floor North Facing Windows (850mm) | 1st Floor East Facing Windows (850mm) | 1st Floor South Facing Windows (850mm) | 1st Floor West Facing Windows (850mm) | 2nd Floor North Facing Windows (850mm) | 2nd Floor East Facing Windows (850mm) | 2nd Floor South Facing Windows (850mm) | 2nd Floor West Facing Windows (850mm) | 3rd Floor North Facing Windows (850mm) | 3rd Floor East Facing Windows (850mm) | 3rd Floor South Facing Windows (850mm) | 3rd Floor West Facing Windows (850mm) | 4th Floor North Facing Windows (850mm) | 4th Floor East Facing Windows (850mm) | 4th Floor South Facing Windows (850mm) | 4th Floor West Facing Windows (850mm) | Co2 Alarms | Smoke Detectors | Standard Kitchen Items | 1.8m Kitchen Worktop | Double Door kitchen cupboard (Under Counter sink) | Single door shelved kitchen cupboard (Under Counter | Single door shelved kitchen cupboard (Above Sink) | IntergrateSink (With Taps and draining area) | Tiled Splashback (1.8m) | 2nd Floor Communal Kitchen | Kitchen Worktop | Double Door kitchen cupboard (Under Counter sink) | Double Door kitchen cupboard (Under Counter) | Single door shelved kitchen cupboard (Under Counter | Intergrated Sink (With Taps and draining area) | Tiled Splashback | Electric Cooker | Extractor Fan Above Cooker | Kitchen Dining Room | Standard Bathroom Items | Electric Shower Unit | Shower Tray & Screen | Heated Towel Radiator | Shower Worktop | Intergrated Worktop WHB | WC | Tiling to walls | 4th Floor Lounge Area | Lundry Room Washing Machines | AOV | Access Hatch | LOR | M²
|  | M² | M² | M² | M² |  | M² | LM | LM | M² | M² | M² | M² | M² | M² | M² |  |  | M² | M² | M² | M² |  | Item | Item | M² | Item | Item | Item |  | lm |  |  |  | Item | Item | Item | M² | Item | [16 empty] | Item | Item | Item | Item | Item | Item | Item | Item | M² |  | LM |  |  |  |  | M² |  |  |  | Item | Item | Item | Item | Item | Item | Item | M² |  | Item | Item | Item | Item | M³
TOTAL= | 64 | 1759.66 | 269.81 | 610.02 | 269.81 | 610.02 | 1759.66 | 102 | 99.85 | 552.93 | 527.14 | 522 | 2635.7 | 2630.56 | 522 | 1420.48 | 1805.73 | 796.67 | 3377.4 | 6754.8 | 87.075 | 334.755 | 843.66 | 1 | 2 | 507.03 | 69 | 202 | 38 | 0 | 64 | 64 | 64 | 64 | 248 | 6 | 7 | 1759.66 | 80 | 0 | 9 | 1 | 10 | 0 | 9 | 1 | 10 | 0 | 9 | 1 | 10 | 0 | 9 | 1 | 10 | 64 | 64 | 64 | 64 | 64 | 64 | 64 | 64 | 57.6 | 1 | 8.64 | 1 | 4 | 2 | 1 | 4.625 | 2 | 2 | 1 | 64 | 64 | 64 | 64 | 64 | 64 | 64 | 1204.224 | 1 | 14 | 3 | 1 | 1
GF |  | 1759.66 | 269.81 | 610.02 | 269.81 | 610.02 | 1759.66 | 102 | 99.85 | 552.93 | 527.14 | 522 | 527.14 |  |  | 45.92 |  | 365.5 | 94.176 | 188.352 | 87.075 | 334.755 | 843.66 | 1 | 2 |  | 21 | 10 | 8 | [5 empty] | 8 | 2 | 7 | 1759.66 | [45 empty] | 14 |  |  |  | LM
1st Floor | 17 | [11 empty] | 527.14 | 527.14 |  | 352.04 | 458.52 | 106.48 | 864.6 | 1729.2 |  |  | 0 |  |  |  | 10 | 51 | 8 |  | 17 | 17 | 17 | 17 | 62 | 1 |  |  | 20 |  | 9 | 1 | 10 | [12 empty] | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 15.3 | [10 empty] | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 319.872 | [5 empty] | Item
2nd Floor | 15 | [11 empty] | 527.14 | 527.14 |  | 311.68 | 448.76 | 137.08 | 797.16 | 1594.32 |  |  | 0 |  |  |  | 14 | 45 | 8 |  | 15 | 15 | 15 | 15 | 59 | 1 |  |  | 20 | [5 empty] | 9 | 1 | 10 | [8 empty] | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 13.5 | 1 | 8.64 | 1 | 4 | 2 | 1 | 4.625 | 2 | 2 | 1 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 282.24
3rd Floor | 17 | [11 empty] | 527.14 | 527.14 |  | 356.49 | 450 | 93.51 | 817.752 | 1635.504 |  |  | 0 |  |  |  | 10 | 51 | 8 |  | 17 | 17 | 17 | 17 | 61 | 1 |  |  | 20 | [9 empty] | 9 | 1 | 10 |  |  |  |  | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 15.3 | [10 empty] | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 319.872
4th Floor | 15 | [11 empty] | 527.14 | 527.14 |  | 354.35 | 448.45 | 94.1 | 803.712 | 1607.424 |  |  | 0 |  |  |  | 14 | 45 | 6 |  | 15 | 15 | 15 | 15 | 58 | 1 |  |  | 20 | [13 empty] | 9 | 1 | 10 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 13.5 | [10 empty] | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 282.24 | 1
North Elevation
East Elevation
South Elevation
West Elevation
Roof | [13 empty] | 522 | 522 | [10 empty] | 507.03 | [58 empty] | 2 | 1 | 1
| Kitchen Counter | [14 empty] | 1.8m
| Shower Tiling m2 | [14 empty] | 6.48
| Length (lm) | [14 empty] | 2.7
| Height (lm) | [14 empty] | 2.4
Note on CM5: Student: Automatic Opening Vents
Note on CO5: Student: Lift Over Run
Note on G10: Student: Includes Main Kitchen
Note on G12: Student: Includes Lounge Area

## Programming
Works to begin on the 4th of May 2020
Num | Activity | Duration (wks.) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64
1 | General conditions | 6 | bar: 1 to 6
2 | Site layout | 3.5 | bar: 7 to 10
3 | Foundations | 10 | bar: 10 to 20
4 | Superstructure | 5.5 | bar: 20 to 25
5 | Building envelope | 20 | bar: 26 to 45
6 | Services | 12 | bar: 45 to 56
7 | Exterior finishes | 8 | bar: 51 to 58
8 | Interior finishes | 5 | bar: 58 to 62
9 | Final acceptance | 2 | bar: 63 to 64

## Monthly valuation
| Works to begin on the 4th of May 2020 |  |  | FACILITATING WORKS | SUBSTRUCTURE | SUPERSTRUCTURE | frame only | INTERNAL FINISHES | FITTINGS AND FURNISHINGS | SERVICES | EXTERNAL WORKS | Weeks.
Num | Activity | Duration (wks.) | Budget | 2482179.65 | 1574720 | 4843116.875 | 6326400 | 432849.9 | 624160 | 1804589.92 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64
1 | General conditions | 6 | 248217.965 | 248217.965 | 0 | 0 | 0 | 0 | 0 | 0 | EXTERNAL WORKS 0: 0; Weeks. 1: 41369.6608; Weeks. 2: 41369.6608; Weeks. 3: 41369.6608; Weeks. 4: 41369.6608; Weeks. 5: 41369.6608; Weeks. 6: 41369.6608
| Percentage Use |  |  | 10%
2 | Site layout | 3.5 | 248217.965 | 248217.965 | 0 | 0 | 0 | 0 | 0 | 0 | EXTERNAL WORKS 0: 0; Weeks. 7: 70919.4186; Weeks. 8: 70919.4186; Weeks. 9: 70919.4186; Weeks. 10: 35459.7093
| Percentage Use |  |  | 10%
3 | Foundations | 10 | 1698828.9825 | 124108.9825 | 1574720 | 0 | 0 | 0 | 0 | 0 | EXTERNAL WORKS 0: 0; Weeks. 10: 84941.4491; Weeks. 11: 169882.8982; Weeks. 12: 169882.8982; Weeks. 13: 169882.8982; Weeks. 14: 169882.8982; Weeks. 15: 169882.8982; Weeks. 16: 169882.8982; Weeks. 17: 169882.8982; Weeks. 18: 169882.8982; Weeks. 19: 169882.8982; Weeks. 20: 84941.4491
| Percentage Use |  |  | 5% | 100%
4 | Superstructure | 5.5 | 6946944.9125 | 620544.9125 | 0 | 0 | 6326400 | 0 | 0 | 0 | EXTERNAL WORKS 0: 0; Weeks. 20: 631540.4466; Weeks. 21: 1263080.8932; Weeks. 22: 1263080.8932; Weeks. 23: 1263080.8932; Weeks. 24: 1263080.8932; Weeks. 25: 1263080.8932
| Percentage Use |  |  | 25% |  |  | 100%
5 | Building envelope | 20 | 5463661.7875 | 620544.9125 | 0 | 4843116.875 | 0 | 0 | 0 | 0 | EXTERNAL WORKS 0: 0; Weeks. 26: 273183.0894; Weeks. 27: 273183.0894; Weeks. 28: 273183.0894; Weeks. 29: 273183.0894; Weeks. 30: 273183.0894; Weeks. 31: 273183.0894; Weeks. 32: 273183.0894; Weeks. 33: 273183.0894; Weeks. 34: 273183.0894; Weeks. 35: 273183.0894; Weeks. 36: 273183.0894; Weeks. 37: 273183.0894; Weeks. 38: 273183.0894; Weeks. 39: 273183.0894; Weeks. 40: 273183.0894; Weeks. 41: 273183.0894; Weeks. 42: 273183.0894; Weeks. 43: 273183.0894; Weeks. 44: 273183.0894; Weeks. 45: 273183.0894
| Percentage Use |  |  | 25% |  | 100%
6 | Services | 12 | 2177639.885 | 248217.965 | 0 | 0 | 0 | 0 | 124832 | 1804589.92 | EXTERNAL WORKS 0: 0; Weeks. 45: 181469.9904; Weeks. 46: 181469.9904; Weeks. 47: 181469.9904; Weeks. 48: 181469.9904; Weeks. 49: 181469.9904; Weeks. 50: 181469.9904; Weeks. 51: 181469.9904; Weeks. 52: 181469.9904; Weeks. 53: 181469.9904; Weeks. 54: 181469.9904; Weeks. 55: 181469.9904; Weeks. 56: 181469.9904
| Percentage Use |  |  | 10% |  |  |  |  | 20% | 100%
7 | Exterior finishes | 8 | 372326.9475 | 372326.9475 | 0 | 0 | 0 | 0 | 0 | 0 | EXTERNAL WORKS 0: 0; Weeks. 51: 46540.8684; Weeks. 52: 46540.8684; Weeks. 53: 46540.8684; Weeks. 54: 46540.8684; Weeks. 55: 46540.8684; Weeks. 56: 46540.8684; Weeks. 57: 46540.8684; Weeks. 58: 46540.8684
| Percentage Use |  |  | 15% | [6 empty] | EXTERNAL WORKS 0: 100%
8 | Interior finishes | 5 | 620097.9 | 0 | 0 | 0 | 0 | 432849.9 | 187248 | 0 | EXTERNAL WORKS 0: 0; Weeks. 58: 124019.58; Weeks. 59: 124019.58; Weeks. 60: 124019.58; Weeks. 61: 124019.58; Weeks. 62: 124019.58
| Percentage Use | [6 empty] | 100% | 30%
9 | Final acceptance | 2 | 312080 | 0 | 0 | 0 | 0 | 0 | 312080 | 0 | EXTERNAL WORKS 0: 0; Weeks. 63: 156040; Weeks. 64: 156040
| Percentage Use | [7 empty] | 50%
|  | TOTAL | 18088016.345 | [8 empty] | 41369.6608 | 41369.6608 | 41369.6608 | 41369.6608 | 41369.6608 | 41369.6608 | 70919.4186 | 70919.4186 | 70919.4186 | 120401.1584 | 169882.8982 | 169882.8982 | 169882.8982 | 169882.8982 | 169882.8982 | 169882.8982 | 169882.8982 | 169882.8982 | 169882.8982 | 716481.8957 | 1263080.8932 | 1263080.8932 | 1263080.8932 | 1263080.8932 | 1263080.8932 | 273183.0894 | 273183.0894 | 273183.0894 | 273183.0894 | 273183.0894 | 273183.0894 | 273183.0894 | 273183.0894 | 273183.0894 | 273183.0894 | 273183.0894 | 273183.0894 | 273183.0894 | 273183.0894 | 273183.0894 | 273183.0894 | 273183.0894 | 273183.0894 | 273183.0894 | 454653.0798 | 181469.9904 | 181469.9904 | 181469.9904 | 181469.9904 | 181469.9904 | 228010.8589 | 228010.8589 | 228010.8589 | 228010.8589 | 228010.8589 | 228010.8589 | 46540.8684 | 170560.4484 | 124019.58 | 124019.58 | 124019.58 | 124019.58 | 156040 | 156040
|  | NRM PG TOTAL | 18088016.345 | [7 empty] | Weeks. 1: exc contractors prelims; Weeks. 4: 165478.6433; Weeks. 8: 224578.1588; Weeks. 12: 531086.3735; Weeks. 16: 679531.593; Weeks. 20: 1226130.5905; Weeks. 24: 5052323.5727; Weeks. 28: 2082630.1613; Weeks. 32: 1092732.3575; Weeks. 36: 1092732.3575; Weeks. 40: 1092732.3575; Weeks. 44: 1092732.3575; Weeks. 48: 999063.051; Weeks. 52: 818961.6985; Weeks. 56: 912043.4354; Weeks. 60: 465140.4769; Weeks. 64: 560119.16
|  | 10% profit | [8 empty] | Weeks. 4: 16547.8643; Weeks. 8: 22457.8159; Weeks. 12: 53108.6373; Weeks. 16: 67953.1593; Weeks. 20: 122613.059; Weeks. 24: 505232.3573; Weeks. 28: 208263.0161; Weeks. 32: 109273.2357; Weeks. 36: 109273.2357; Weeks. 40: 109273.2357; Weeks. 44: 109273.2357; Weeks. 48: 99906.3051; Weeks. 52: 81896.1699; Weeks. 56: 91204.3435; Weeks. 60: 46514.0477; Weeks. 64: 56011.916
|  | TOTAL | [8 empty] | Weeks. 4: 182026.5077; Weeks. 8: 247035.9747; Weeks. 12: 584195.0108; Weeks. 16: 747484.7523; Weeks. 20: 1348743.6495; Weeks. 24: 5557555.93; Weeks. 28: 2290893.1774; Weeks. 32: 1202005.5932; Weeks. 36: 1202005.5932; Weeks. 40: 1202005.5932; Weeks. 44: 1202005.5932; Weeks. 48: 1098969.3561; Weeks. 52: 900857.8684; Weeks. 56: 1003247.779; Weeks. 60: 511654.5246; Weeks. 64: 616131.076
|  | 5% retention | [8 empty] | Weeks. 4: 9101.3254; Weeks. 8: 12351.7987; Weeks. 12: 29209.7505; Weeks. 16: 37374.2376; Weeks. 20: 67437.1825; Weeks. 24: 277877.7965; Weeks. 28: 114544.6589; Weeks. 32: 60100.2797; Weeks. 36: 60100.2797; Weeks. 40: 60100.2797; Weeks. 44: 60100.2797; Weeks. 48: 54948.4678; Weeks. 52: 45042.8934; Weeks. 56: 50162.3889; Weeks. 60: 25582.7262; Weeks. 64: 30806.5538
|  | TOTAL | [8 empty] | Weeks. 4: 172925.1823; Weeks. 8: 234684.176; Weeks. 12: 554985.2603; Weeks. 16: 710110.5147; Weeks. 20: 1281306.467; Weeks. 24: 5279678.1335; Weeks. 28: 2176348.5186; Weeks. 32: 1141905.3136; Weeks. 36: 1141905.3136; Weeks. 40: 1141905.3136; Weeks. 44: 1141905.3136; Weeks. 48: 1044020.8883; Weeks. 52: 855814.975; Weeks. 56: 953085.39; Weeks. 60: 486071.7983; Weeks. 64: 585324.5222

## Cash in - out
Month/C | Cash in | Cash out | Cumulative | Cash flow
2020-05-01 |  | 165478.6433 | -165478.6433 | -165478.6433
2020-06-01 | 172925.1823 | 224578.1588 | 390056.8021 | -217131.6199
2020-07-01 | 234684.176 | 531086.3735 | 748217.9933 | -513533.8174
2020-08-01 | 554985.2603 | 679531.593 | 1193065.4104 | -638080.1501
2020-09-01 | 710110.5147 | 1226130.5905 | 1864210.7406 | -1154100.2259
2020-10-01 | 1281306.467 | 1263080.8932 | 2417181.1191 | -1135874.652 | \\\\\\\\\\\\\\
2020-11-01 | 5279678.1335 | 2082630.1613 | 3218504.8133 | 2061173.3202
2020-12-01 | 2176348.5186 | 1092732.3575 | -968440.9627 | 3144789.4812
2021-01-01 | 1141905.3136 | 1092732.3575 | -2052057.1237 | 3193962.4373
2021-02-01 | 1141905.3136 | 1092732.3575 | -2101230.0798 | 3243135.3934
2021-03-01 | 1141905.3136 | 1092732.3575 | -2150403.0359 | 3292308.3495
2021-04-01 | 1141905.3136 | 999063.051 | -2293245.2985 | 3435150.612
2021-05-01 | 1044020.8883 | 818961.6985 | -2616188.9135 | 3660209.8018
2021-06-01 | 855814.975 | 912043.4354 | -2748166.3664 | 3603981.3414
2021-07-01 | 953085.39 | 465140.4769 | -3138840.8645 | 4091926.2545
2021-08-01 | 486071.7983 | 560119.16 | -3531807.0945 | 4017878.8929
2021-09-01 | 585324.5222 |  |  | 4603203.4151
TOTAL | 18901977.0805 | 14298773.6654
This chart isn't available in your version of Excel. Editing this shape or saving this workbook into a different file format will permanently break the chart.