Kieran King

Assignment 1

Section A

1. A very good evaluation of the effects of increased loading of electrical circuits.

Good use of calculations for current demand and consideration given to upgrading to LED technology.

2. Clear evaluation of the benefit of effective communication and planning with liaison between trades.

3. A clear evaluation of the cost factors involved in upgrading the electrical work. A thorough evaluation of the work involved in replacing the CCU to meet current BS7671 standards.

Section B

4. A good diagram of the connection of CTs used for high current metering purposes.

5.  A very good explanation of the tests involved in the commissioning of new and upgraded electrical work. Good referencing across your answers.

Correct application of British Standards and HSE guidance relevant to test equipment and test leads/ probes.

Correct reference to the current IET guidance for inspection and testing of electrical installations.

Correct evaluation of the use of IET forms for certification and reporting.

6.A very good exploration into the types and use of different electrical test equipment. Good work.

7. An excellent evaluation of disconnection times relevant to particular earthing systems and protective device types. Good work.

Section C

8. A good representation of a key switch and contactor arrangement used to switch a large lighting load.

9. A good evaluation of fault diagnosis, repair a breakdown in a fluorescent lamp circuit.

10. A clear explanation of the possible need for back up of supply to the office area. You have chosen a UPS system.

11. A clear diagram illustrating the Delta/ Star 11kV/440V transformer arrangement.

12. Clear illustrations of how single and three-phase supplies are connected for various types of electrical load.

Overall Feedback

Overall, this is an excellent assignment. Your referencing and bibliography is good.

There are some typing errors in your work which would need to be addressed going forward.

While your diagrams are generally good, moving forward, you could adopt a more professional approach by creating electronic diagrams instead of hand drawn.

However, overall this a very good assignment.  Well done.

Assignment 2

Section A

A successful practical assessment.

Excellent Layout, Circuit and Wiring diagrams, planning and materials lists.

A very neat practical installation and demonstration of practical testing and interpretation of test results. This is reflected in the assignment by your skills in the workplace. Very good work Kieran.

Section B

1. An excellent explanation of how selectivity between protective devices is achieved.

Good use of BS7671:2018 Tables in demonstrating disconnection times proving selectivity.

Clear explanation given regarding operating properties of circuit breakers under fault and overload conditions.

2. Clear line diagrams illustrating a variety of circuits. Drawn electronically these demonstrate very professional approach. Good work.

Overall Feedback

A very good assignment overall. Your practical work was very thorough and the rig functioned correctly following your commissioning exercise. This reflected your professional practical skills in the workplace. Well done Kieran.

Your use of electrical testing equipment was very good as was your interpretation of test results.

Good referencing and Bibliography. Very good work Kieran.