Environmental Management System
Site Audit Report 


	Department/ College/ Site being audited: 
Lampeter
	Date of audit: 
03/10/2025

	Auditee: 
University of Wales Trinity St David
	Auditor:
Robert Saunders



	Objectives 
· To assess the implementation of the EMS at each site


	Summary
The auditor notes that due to the site being currently inactive, only previously identified areas of NC were reviewed during the site walkaround.

	
Air Conditioning
Category 1 Certificate Witnessed for:
· Aaron Pallett
· James Makin
· Joe Parker
Company Fgas certificate provided for Johnson Controls Building Efficiency UK Ltd
Expiration date – 07/07/2026
REF1011697

Full leak test on campus undertaken by Chill wise services 23rd & 24th January 2025.

Asbestos
Auditor witnessed asbestos report for Arts Building – Lampeter Campus. Survey undertaken 21st July 2025, 156 ACM’s Identified.
Auditor witnessed asbestos report for Saint Davids Building – Lampeter Campus. Survey undertaken 11th August 2025, 15 ACM’s Identified.

Waste Management 
Waste transfer note
LAS – CBDU5499
Scrap metal – 200140
14/10/2024
All parts complete

Waste transfer note
LAS – CBDU5499
Kennel Waste – 200106
28/10/2024
All parts complete

Plant Protection Products 
PA1 and PA6 witnessed for Adrian Bartlett.
PA1 and PA6 witnessed for Caid Elton.

Boilers
Boiler servicing sampled:
Lampeter campus
Boiler Room
Completed 27/01/2025

Lampeter Campus
Boiler Room
Completed 12/02/2025

Onsite Controls - Walk round
Major: Fluorescent tubes seen to be stored outside of plant room in unsealed coffin, upgraded from previously identified minor non-conformance.
Minor: Fridge and MAPP gas seen to be stored loose outside of workshop.
Minor: Herbicide seen to be left inside of knapsack and PPP stored in container lacking full product information. Not stored in designated PPP storage area.

	Observations raised

	No.
	Description 

	1.
	

	2. 
	

	3.
	

	4.
	

	Non- conformance raised 

	No. 
	Minor/ Major  
	Description 

	1.
	Major
	Fluorescent tubes seen to be stored outside of plant room in unsealed coffin, upgraded from previously identified minor non-conformance.


	2.
	Minor
	Fridge and MAPP gas seen to be stored loose outside of workshop.


	3.
	Minor
	Herbicide seen to be left inside of knapsack and PPP stored in container lacking full product information. Not stored in designated PPP storage area.



	Terms 

	Term 
	Description 

	Observation 
	Identifies an issue that requires attention to improve the operation of the EMS
and that if left un-addressed is likely to lead to a non-conformance during future audits, an example of good environmental practise that deserves recognition or a flag for re-visit at the next audit.

	Minor Non- conformance  
	Areas where the EMS is deviating from the Green Dragon Standard requirements in a minor or technical way.

	Major Non- conformance 
	Serious deviation from the Green Dragon Standard requirements, e.g. legal non-compliance. 



