|  | Unit 3a Withybush East Business Park Haverfordwest Pembrokshire SA62 4BW 01437769470 https://evanpritchardcontractorsltd.com/ Written by Sean Leach Date: 22nd October 2020 |
| --- | --- |

Project: Bridge Construction

Site address:

Central Ave,

Neath,

Port Talbot

SA12 7AX

Date of works: 6th May 2021 - 4th Nov 2021

## Description of activity

- Working on and adjacent to live rail lines.

Involves:

- Site operatives working next time live rail lives with trains operating.

- Heavy machinery manoeuvring close to rail lines and moving trains.

- Collaborating with the rail line company to find effective ways to manage safety and efficiency.

## Supervision and personnel

- Site Manager - TBC

- Evan Pritchard Supervisor – TBC

- Health and Safety advisor - TBC

## Training

- All operatives are adequately trained to carry out required tasks.

- All site operatives must hold the relevant CSCS certification.

- Additional health and safety training given if required.

- Rail rules and training will be provided on site.

## Legislation

- Health and Safety Work Act 1974

- The Management of Health and Safety at Work Regulations 2006

- Workplace (Health, Safety and Welfare) Regulations 1992

- The Personal Protective Equipment at Work Regulations 2002

- The Construction (Design and Management) Regulations 2015

- Avoiding Danger from Underground Services HSG47 (2014)

## While working

While working on or close to the rail lines, all site operatives will be issued additional high visibility clothing and protective gear (weather dependant). All site operatives will be competent with the rail companies’ policy whilst working on the site. The site housekeeping will be of the highest standard to ensure no debris effects the tracks of the rail line or obstructs moving trains on the site. Electrical safety boots will be worn while working next to the rail lines and these must conform to the British standards. On site training can be provided for operatives working on the rail lines.

## PPE requirements

- Hard hats

- Safety boots

- Hi-vis vest

- Safety gloves

- Safety glasses

- Additional High Vis for working on rail lines.

## Welfare

Welfare arrangements are supplied by the principal contractor.

These should be in line with Schedule 2 of the Construction Design & Management Regulations 2015 (CDM). All sites are to have a minimum amount of welfare facilities available for workers, which include the following:

- Toilets

- Washing facilities

- Drinking water

- Changing rooms and lockers

- Heating

- Rest facilities

## First aid

- Refer to the onsite safety notice board for all first aid information.

- The first aid box Is adequate to the size of the site and will be checked regularly to ensure it is in the correct state.

- The principal contractor should nominate an appointed person to take care of first-aid arrangements.

- The number of appointed first aiders shall be dependent on the number of employees but Is yet TBC.

## Emergency procedures

- The principal contractor will ensure that the existing site emergency procedures are followed and that relevant information is given to operatives during the site induction given by the assistant manager or when changes are made to procedures.

- The closest hospital is: Morriston Hospital, Heol Maes Eglwys, Cwmrhydyceirw, Morriston SA6 6NL