Power electronics

Section 1

1a.

Power Factor=cosϕ

Power Factor=cos25=0.906x 100

Power Factor=91%

| Correction Capacitor | None | C2 - 10µF | C2+C3 - 20µF | C2+C4 - 15µF |
| --- | --- | --- | --- | --- |
| Phase Angle (Lead/Lag) | -17°, 96% (Lag) | 12°, 98% (Lead) | 22.5°, 92% (Lead) | 10°, 98% (Lead) |
| Current Amplitude | 620mA p-p | 548mA p-p | 536mA p-p | 490mA p-p |

Workings

None

Current Amplitude = 2x3.1x100010= 620mA

Phase Angle = cos-17°=0.956 x 100=96% Lag

C2 - 10µF

Current Amplitude =  2x2.74x100010= 548mA

Phase Angle = cos12°=0.978 x 100=98% Lead

C2+C3 - 20µF

Current Amplitude =  2x2.68x100010= 536mA

Phase Angle = cos22.5°=0.924 x 100=92% Lead

C2+C4 - 15µF

Current Amplitude =  2x2.45x100010= 490mA

Phase Angle = cos10°=0.985 x 100=98% Lead

1b.

The value of shunt capacitance which give the nearest to the complete correct of phase angle is.

C2 - 10µF

1c.

With the best value for power correction in circuit, the:

C = Phase angle is a minimum and current a maximum.

1d.

Phase Angle for correction capacitor none,

= cos-17°=0.956 x 100=96% Lag

1e.

Phase Angle for the best correction capacitor,

= C2 - 10µF = cos12°=0.978 x 100=98% Lead

2.74 x 2 x 10=54.8V Peak Voltage

1f.

VIcosϕ

V=2.65 x 2=5.3x10= V

VIcosϕ=5.3 x 0.620 x cos-17°=3.14

3.148= 0.39W

1g.

VIcosϕ

V=2.35 x 2=4.7x10= V

VIcosϕ=4.7 x 0.548 x cos12°=2.52

2.528= 0.315W

Section 2

| Correction Capacitor | None | C2 - 10µF | C2+C3 - 20µF | C2+C4 - 15µF |
| --- | --- | --- | --- | --- |
| Phase Angle (Lead/Lag) | -30°, 15% (Lag) | 22°, 100% (Lead) | 42°, 40% (Lead) | 25°, 99% (Lead) |
| Current Amplitude | 502mA p-p | 508mA p-p | 610mA p-p | 550mA p-p |

Workings

None

Current Amplitude = 2x2.51x100010= 502mA

Phase Angle = cos-30°=0.15 x 100=15% Lag

C2 - 10µF

Current Amplitude = 2x2.54x100010= 508mA

Phase Angle = cos22°=0.999 x 100=100% Lead

C2+C3 - 20µF

Current Amplitude = 2x3.05x100010= 610mA

Phase Angle = cos42°=0.399 x 100=40% Lead

C2+C4 - 15µF

Current Amplitude = 2x2.75x100010= 550mA

Phase Angle = cos25°=0.991 x 100=99% Lead

Fault condition

Fault condition is C2