## Front
NRM1 Cost Plan Template
UWTSD
03/05/2022

## Information Used
Information Used & Assumptions
1 | Information Used
Spring Design Drawings;
Proposed Ground Floor Plan
Proposed First Floor Plan
Proposed Second Floor Plan
Proposed Third Floor Plan
Proposed Fourth Floor Plan
Proposed Elevations 2316 (02) 300
Proposed Elevations 2316 (02) 301
Proposed Views towards the development
Proposed Site Plan
Information as provided by Coastal;
Multi-Utility Infrastructure Feasibility Study
2 | General assumptions;
FF&E is excluded unless specifically identified within the cost plan.
Costs are based upon the information as provided.
We have assumed a project bank account will not be required for this scheme.
We have assumed that the area of works will be decanted for the project. No allowance is made for throughways or dealing with building occupants.
The exact nature of specification for internal doors, screens, folding partitions and finishes is assumed.
All costs are provisional awaiting design development.
3 | General notes and exclusions;
All included costs are subject to variation following design development.
Risks associated with BREXIT are not considered.
A risk allowance of 10% is included for this estimate.
VAT is excluded from the estimate.
Works will be undertaken in a single phase.

## Summary Original
Project details |  | NRM1 elemental cost plan template
Description |  | New Library Building
Works cost estimate
Cost
Building works estimate |  |  |  | 2189
| Group element 1 | SUBSTRUCTURE | 275104.135 | 125.6757
| Group element 2 | SUPERSTRUCTURE | 1529873.139 | 698.8913
| Group element 3 | INTERNAL FINISHES | 236824.752 | 108.1886
| Group element 4 | FITTINGS AND FURNISHINGS | 28016.212 | 12.7986
| Group element 5 | SERVICES | 1108432 | 506.3646 | 1451.9188
Works cost estimate (sub total A) |  |  | 3178250.238
Project design team fees and other development costs (sub total B)
Base cost estimate A + B (sub total C) |  |  | 3178250.238
| Group element 13 | Risk allowance @ 10% | 317825.0238
Total Risk allowances (sub total D) |  |  | 317825.0238
Total Construction Cost (C + D) |  |  | 3496075.2618

## NRM1 CP template
Cost Plan for Fforwm
NRM 1 phaseologies
Elemental Cost Plan
Elements in red are NRM1 Phraseologies
Ref. | Element | Quantity / Unit |  |  | Rate | Sub-Total | Group-Total | Notes
[5 empty] | £ | £ | £
1 | SUBSTRUCTURE | [5 empty] | 275104.135
1.1 | Foundations
| MIN 200 THK RC SLAB WITH 2 LAYERS A393 MESH, FOR REVOLVING DOOR |  | 25.135 | m2 | 130 | 3267.55
| 150 THK RC GROUND BEARING SLAB WITH 1 LAYER OF A393 MESH ON 2000g DPM ON 150 THK WELL COMPACTED STONEDUST BLINDED TYPE 1 MATERIAL |  | 939.617 | m2 | 120 | 112754.04
| 900 X 900 X 900 DEEP PIT AND 500 X 900 X 900 DEEP PIT WITH 200 THK RC BASE SLAB WITH 1 LAYER A393 MESH TO ALL FACES TOP & BOTTOM. |  | 1.26 | m2 | 130 | 163.8
| 150 THK RC UPSTAND OFF GROUND BEAMS, ALL ROUND PERIMETER OF BUILDING. (Based off 350 x 875 mm) |  | 130.985 | m2 | 270 | 35365.95
| Pile Caps Concrete cap 25 N/mm²; reinforcement at 50 kg/m³; rates per cap for cap size 900 mm × 900 mm × 1000 mm; 1–2 piles |  | 23 | nr | 910 | 20930
| Pile Caps Concrete cap 25 N/mm²; reinforcement at 50 kg/m³; rates per cap for cap size 2100 mm × 2100 mm × 1000 mm; 2–3 piles |  | 10 | nr | 2050 | 20500
| Double and Triple Piles (5.925m cut-off) (250mm or 0.25m diameter) | 72 | 342.119 | m2 | 185 | 63292.015
| Single Piles (5.475m cut-off) (250mm or 0.25m diameter) | 12 | 52.779 | m2 | 185 | 9764.115
| Single Piles (5.075m cut-off) (250mm or 0.25m diameter) | 12 | 49.009 | m2 | 185 | 9066.665
2 | SUPERSTRUCTURE | [5 empty] | 1529873.139
2.1 | Frame
Structural concrete frame, including fittings and fixings: details to be stated.
| 500x300 RC COLUMN (Closest is 300 x 600 mm) | 16 | 132.8 | m | 235 | 31208
| 500x385 RC COLUMN (Closest is 450 x 900 mm, however, will be cheaper due to the smaller size) | 3 | 24.9 | m | 400 | 9960
| 500 DIA RC COLUMNS (Closest is 450 x 900 mm) | 14 | 116.2 | m | 425 | 49385
| 150x490 RC BEAMS (Closest is 300 x 600 mm, however, will be cheaper due to the smaller size) | 4 | 25.2 | m | 200 | 5040
| 150x215 RC DOWNSTAND BEAMS (Closest is 225 x 450 mm) |  | 22.928 | m | 140 | 3209.92
| 300x490 RC BEAM (Closest is 300 x 600 mm) | 1 | 6.3 | m | 220 | 1386
2.2 | Upper Floors
| 275 THK RC SLAB FIRST FLOOR |  | 863.466 | m2 | 190 | 164058.54
| 275 THK RC SLAB SECOND FLOOR |  | 981.017 | m2 | 190 | 186393.23
2.3 | Roof
Roof structure - pitched roofs: details, including design loads (kN/M2), spans (m) and angle of pitch (degtrees). To be stated
| Construction of new pitched roof (27.5 degrees DOUBLE CHECK!!!!!) |  | 1137.111 | m2 | 90 | 102339.99
| Rainwater goods |  | 1137.111 | m2 | 22 | 25016.442
2.4 | Stairs & Ramps
Stair structures: details, includng vertical rise of staircase to be stated
| Staircase; terrazzo finish; mild steel balustrades and handrails; plastered soffit; balustrades and staircase soffit decorated 3.00 m rise; dogleg |  | 8 | nr | 12000 | 96000
2.5 | External Walls
External walls: Details to be stated.
| 200 THK RC SHEAR WALL |  | 158.556 | m2 | 185 | 29332.86
| 200 THK RC WALL |  | 29.199 | m2 | 185 | 5401.815
| 250 THK RC SHEAR WALLS |  | 463.552 | m2 | 205 | 95028.16
2.6 | Windows and external doors
Windows : details, including overall size of opening (mm) to be stated.
Windows
| Type 1 UPVC 2400 x 460 mm | 4 | 4.416 | m2 | 270 | 1192.32
| Type 2 UPVC 2400 x 1360 mm | 14 | 45.696 | m2 | 270 | 12337.92
| Type 2a UPVC 2400 x 1360 mm | 5 | 16.32 | m2 | 270 | 4406.4
| Type 3 UPVC 2400 x 1360 mm | 3 | 9.792 | m2 | 270 | 2643.84
| Type 3a UPVC 2400 x 1360 mm | 1 | 3.264 | m2 | 270 | 881.28
| Type 4 UPVC 2400 x 1360 mm | 1 | 3.264 | m2 | 270 | 881.28
| Type 5 UPVC 3225 x 1360 mm | 7 | 30.702 | m2 | 270 | 8289.54
| Type 6 UPVC 3225 x 1360 mm | 3 | 13.158 | m2 | 270 | 3552.66
| Type 7 UPVC 3265 x 3450 mm | 4 | 45.057 | m2 | 270 | 12165.39
External doors: details, including type, number of door leaves (nr) size of each door leaf (mm) and overall size of opening (mm) to be stated.
External doors
| Automatic revolving door; 2000 mm dia.; clear laminated glazing; 4 nr wings; glazed curved walls |  | 2 | nr | 46000 | 92000
Curtain walls
| CW Type 1 | 1 | 42.644 | m2 | 650 | 27718.6
| CW Type 2 | 1 | 42.644 | m2 | 650 | 27718.6
| CW Type 3 | 2 | 39.966 | m2 | 650 | 25977.9
| CW Type 4 | 2 | 39.966 | m2 | 650 | 25977.9
| CW Type 5 | 1 | 40.41 | m2 | 650 | 26266.5
| CW Type 6 | 1 | 40.41 | m2 | 650 | 26266.5
| CW Type 7 | 3 | 31.73 | m2 | 650 | 20624.5
| CW Type 8 | 1 | 10.577 | m2 | 650 | 6875.05
| CW Type 9a | 1 | 38.088 | m2 | 650 | 24757.2
| CW Type 9b | 1 | 38.088 | m2 | 650 | 24757.2
| CW Type 10 | 2 | 76.176 | m2 | 650 | 49514.4
| CW Type 11 | 2 | 11.456 | m2 | 650 | 7446.4
| CW Type 12 | 7 | 71.006 | m2 | 650 | 46153.9
| CW Type 13a | 1 | 10.144 | m2 | 650 | 6593.6
| CW Type 13b | 1 | 10.144 | m2 | 650 | 6593.6
| CW Type 13c | 1 | 10.144 | m2 | 650 | 6593.6
| CW Type 13d | 2 | 20.288 | m2 | 650 | 13187.2
| CW Type 14 | 1 | 9.231 | m2 | 650 | 6000.15
| CW Type 14a | 1 | 9.231 | m2 | 650 | 6000.15
| CW Type 15 | 2 | 19.705 | m2 | 650 | 12808.25
| CW Type 16 | 2 | 34.895 | m2 | 650 | 22681.75
| CW Type 17 | 2 | 34.895 | m2 | 650 | 22681.75
| CW Type 18 | 2 | 34.895 | m2 | 650 | 22681.75
| CW Type 19 | 1 | 15.877 | m2 | 650 | 10320.05
| CW Type 20 | 2 | 8.772 | m2 | 650 | 5701.8
| CW Type 24 | 1 | 17.447 | m2 | 650 | 11340.55
2.7 | Internal walls
Internal walls:details, including thickness, to be stated
| 140mm block wall |  | 532.126 | m2 | 61 | 32459.686
| Extra for plaster to blockwork |  | 532.126 | m2 | 16 | 8514.016
fixed partitions:details, including thickness, to be stated
| WC cubicle partitions; laminated plastics, including all ironmongery |  | 15 | nr | 650 | 9750
2.8 | Internal doors & screens
Internal doors: details, including type, number of door leaves (nr), size of each door leaf (mm), and overall size of opening (mm), to be stated.
| Internal Door Type 1 1010 x 2110 mm (926 mm Door Leaf) |  | 19 | nr | 600 | 11400
| Internal Door Type 2 810 x 2110 mm (726 mm Door Leaf) |  | 13 | nr | 600 | 7800
| Internal Door Type 4 1010 x 2110 mm (926 mm Door Leaf) |  | 10 | nr | 600 | 6000
| Internal Door Type 5 1910 x 2110 mm (926 mm Door Leaf) |  | 9 | nr | 600 | 5400
| Internal Door Type 5B 2050 x 2110 mm (926 mm Door Leaf) |  | 5 | nr | 600 | 3000
| Internal Door Type 5C 1810 x 2110 mm (926 mm Door Leaf) |  | 3 | nr | 600 | 1800
| Internal Door Type 6 1510 x 2110 mm (713 mm Door Leaf) |  | 7 | nr | 1200 | 8400
3 | INTERNAL FINISHES | [5 empty] | 236824.752
3.1 | Wall finishes
Finishes to walls and columns: details to be stated.
| Allowance to paint all walls with two coats of emulsion paint |  | 1324.732 | m2 | 11 | 14572.052
3.2 | Floor finishes
Finishes to floors: details to be stated.
| Vinyl to floors |  | 598 | m2 | 17 | 10166
| Resin paint to floor |  | 286.1 | m2 | 18 | 5149.8
| Carpet to floors |  | 1556 | m2 | 21 | 32676
| Carpet, higher specification to circulation |  | 344 | m2 | 110 | 37840
3.3 | Ceiling finishes
Finishes to ceilings: details to be stated.
| Plasterboard to soffit |  | 2784.1 | m2 | 38 | 105795.8
| Decoration |  | 2784.1 | m2 | 11 | 30625.1
4 | FITTINGS AND FURNISHINGS | [5 empty] | 28016.212
4.1 | General fittings, furnishings and equipment
| Reception Desks straight counter (3500 mm long) |  | 2 | nr | 2950 | 5900
| 127 mm louvres, manual chain operation, fixed to masonry Roller blind |  | 21.436 | m2 | 67 | 1436.212
| Mirrors; generally |  | 1 | item | 3300 | 3300
| Client and statutory signage; generally |  | 1 | item | 5500 | 5500
| Whiteboard: Interactive |  | 6 | nr | 1850 | 11100
| Whiteboard: Magnetic |  | 6 | nr | 130 | 780
5 | SERVICES | [5 empty] | 1108432
5.1 | Sanitary installations
Sanitary appliance: details to be stated.
| WC Installation |  | 12 | nr | 725 | 8700
| WC Sink installation |  | 12 | nr | 460 | 5520
| Disabled toilet, including WC, wash hand basin, grab rails and other fittings |  | 3 | nr | 1500 | 4500
5.3 | Disposal Installations
Drainage to sanitary appliance: details to be stated.
| Waste, soil and vent installation; uPVC pipework and fittings |  | 2784.1 | m2 | 23 | 64034.3
5.4 | Water installations
Mains water supply: details, including the number of draw-off points (nr), to be stated.
| Cold water points |  | 15 | nr | 350 | 5250
| Hot water points |  | 15 | nr | 410 | 6150
5.5 | Heat source
Heat source (nr): details, including output of heat source (kW), to be stated.
| Space heating, all costs associated with the supply & installation of the heating system, temperature control and distribution pipework |  | 2784.1 | m2 | 150 | 417615
5.8 | Electrical installations
| Mains and sub-mains installation |  | 2784.1 | m2 | 29 | 80738.9
| Small power insulation |  | 2784.1 | m2 | 41 | 114148.1
| Lighting and general luminaries; emergency lighting |  | 2784.1 | m2 | 70 | 194887
| Gas installations, all costs associated with the supply and installation of gas |  | 2784.1 | m2 | 7 | 19488.7
5.9 | Ventilation installations
| Ventilation extraction to toilet areas |  | 1 | item | 5800 | 5800
5.1 | Lift and Conveyor installations
Passenger lifts: details, including capacity (i.e. number of persons), speed (in m/sec), number of doors (nr), door heights and number of levels serviced (nr), to be stated.
| Disabled platform lift single wheelchair; 400 kg; 4 stops; 0.16 m/s |  | 2 | nr | 12500 | 25000
5.11 | Communication, security and control systems
Telecommunication systems: details of each type of system to be stated.
Data transmission systems: details of each type of system to be stated.
| Lightning protection |  | 1 | item | 12600 | 12600
| Fire alarm installation; smoke detectors; call points |  | 1 | item | 46800 | 46800
| Telephone and data wireways; internal telephone system |  | 1 | item | 26100 | 26100
| Security installation; intruder detection, CCTV to existing control unit etc. |  | 1 | item | 71100 | 71100
| SECTION SUB-TOTAL | [5 empty] | 3178250.238