## Analysis
Sample | Actual Size | Technician A's Measurements | Technician B's Measurements | Technician C's Measurements | Technician A Error Margin | Technician B Error Margin | Technician C Error Margin | Technician A Dispersion | Technition B Dispertion | Technician C Dispersion
1 | 0.7 | 1.5 | 1 | 1.4 | 0.8 | 0.3 | 0.7 | 0.46185 | 0.067578 | 0.064846
2 | 2.1 | 1.8 | 2 | 2.5 | -0.3 | -0.1 | 0.4
3 | 1.1 | 2 | 2 | 1.6 | 0.9 | 0.9 | 0.5
4 | 1.6 | 0.8 | 2 | 1.6 | -0.8 | 0.4 | 0
5 | 2.7 | 3 | 3.5 | 3 | 0.3 | 0.8 | 0.3
6 | 0.55 | 1.2 | 1 | 1 | 0.65 | 0.45 | 0.45
7 | 0.27 | 1.2 | 1 | 0.7 | 0.93 | 0.73 | 0.43
8 | 0.4 | 0.5 | 1 | 0.9 | 0.1 | 0.6 | 0.5
9 | 6 | 5.5 | 6.5 | 6.2 | -0.5 | 0.5 | 0.2
10 | 1.12 | 0.5 | 1.5 | 1.4 | -0.62 | 0.38 | 0.28 | Above -0.50 Error
11 | 1.3 | 2.1 | 1.5 | 1.7 | 0.8 | 0.2 | 0.4 | Above 0.50 Error
12 | 0.98 | 1 | 1 | 1.3 | 0.02 | 0.02 | 0.32 | No Error
13 | 1.15 | 1.8 | 1.5 | 1.6 | 0.65 | 0.35 | 0.45
14 | 0.52 | 1.5 | 1 | 1 | 0.98 | 0.48 | 0.48
15 | 1.8 | 2 | 2.5 | 2.1 | 0.2 | 0.7 | 0.3
16 | 7.5 | 6 | 8 | 7 | -1.5 | 0.5 | -0.5
17 | 0.28 | 1 | 1 | 0.8 | 0.72 | 0.72 | 0.52
18 | 0.5 | 0.9 | 1.2 | 0.8 | 0.4 | 0.7 | 0.3
19 | 4.9 | 4.5 | 5.5 | 4.9 | -0.4 | 0.6 | 0
20 | 0.25 | 0.5 | 1 | 0.5 | 0.25 | 0.75 | 0.25
Sample | Actual Size | Technician A's Measurements | Technician B's Measurements | Technician C's Measurements
Mean | 1.786 | 1.965 | 2.285 | 2.1
Range | 7.25 | 5.5 | 7 | 6.5
From this analysis, answer the following three questions:
1. Which operator performed best and why?
The best Technician with the fewest mistakes is, Technician C. The Scatter graph shows the measurements are consistantly closer to the actaul size than the other 2.
Technician C is the only person to have actually made correct measurement. They made 2 spot on measurement, but the other 2 had no exact measurement.
2. Which operator performed worst and why?
The Technician with the worst of the mistakes is, Technician A. The Scatter graph show they made the most number of the worst error measurements.
3. Are there any similarities/differences between the operators?
All 3 Technicians are reasonably good at taking measurements of the larger sizes.
Technician B and C are consistantly simular and outshine Technician A over all in their ability to make measurements.
Technician A needs his / her ability to use the equipment checking, and/or eyes testing as the varience in the lower sizes being to far incorrect that this person is currently not fit to do the job at hand.
In reality though, as too many mistakes have been made across all the Technicians, maybe they should all be given a refresher on the use of the equipment.