| Correction Cap | None | C2 10uF | C2+C3 20uF | C2 + C4 – 15uF |
| --- | --- | --- | --- | --- |
| Phase Angle (lead lag) using voltage as ref | 28 lag | 6 lag | 24 lead | 8 lead |
| Current Amplitude | 514mA p-p | 428.6mA p-p | 485.8mA p-p | 445.8mA p-p |

Lab Report 1

1A: 0.91

1B: C2

1C: C

1D: 0.88

1E:  54.82v p-p

1F:	(V*I)/8 * cos(theta)
54.82*514ma/8 = 3.522
3.522*cos(28) =

3.109 W

1G:	(V*I)/8 * cos(theta)
54.82*428.6ma/8 = 3.522
3.522*cos(6) =

2.92 W

The power supplied between the best correction capacitor and no correction capacitor varies slightly, with the better correction capacitor configuration supplying less power.

| Correction Cap | None | C2 10uF | C2+C3 20uF | C2 + C4 – 15uF |
| --- | --- | --- | --- | --- |
| Phase Angle (lead lag) using voltage as ref | 28 lag | 20 lead | 44 lead | 36 lead |
| Current Amplitude | 514mA p-p | 485.8 mA p-p | 600 mA p-p | 550 mA p-p |

The given fault was “A” the fault comparing it with the original table lies within C2, C2 is higher capacitance value as the current is now leading the voltage, this occurs with an increase in capacitance.