## Front
Elemental Cost Plan of Y fforwm, UWTSD.
Prepared by Beau and Hudson Construction Ltd.

## Information Used
Information Used & Assumptions
1 | Information Used
Spring Design Drawings;
Proposed Ground Floor Plan
Proposed First Floor Plan
Proposed Second Floor Plan
Proposed Third Floor Plan
Proposed Fourth Floor Plan
Proposed Elevations 2316 (02) 300
Proposed Elevations 2316 (02) 301
Proposed Views towards the development
Proposed Site Plan
Information as provided by Coastal;
Multi-Utility Infrastructure Feasibility Study
2 | General assumptions;
FF&E is excluded unless specifically identified within the cost plan.
Costs are based upon the information as provided.
We have assumed a project bank account will not be required for this scheme.
We have assumed that the area of works will be decanted for the project. No allowance is made for throughways or dealing with building occupants.
The exact nature of specification for internal doors, screens, folding partitions and finishes is assumed.
All costs are provisional awaiting design development.
3 | General notes and exclusions;
All included costs are subject to variation following design development.
Risks associated with BREXIT are not considered.
A risk allowance of 10% is included for this estimate.
VAT is excluded from the estimate.
Works will be undertaken in a single phase.

## Summary Original
Project details |  | Elemental Cost Plan.
Description |  | Library Block UWTSD.
Beau & Hudson
Works cost estimate |  |  | Construction Ltd.
Cost
Building works estimate
| Group element 0 | FACILITATING WORKS |  |  | #DIV/0!
| Group element 1 | SUBSTRUCTURE | 626538.8 |  | #DIV/0!
| Group element 2 | SUPERSTRUCTURE | 2059595.9631 |  | #DIV/0!
| Group element 3 | INTERNAL FINISHES | 1190364.6 | 0 | #DIV/0!
| Group element 4 | FITTINGS AND FURNISHINGS | 500000 |  | #DIV/0!
| Group element 5 | SERVICES | 1042952 | 0 | #DIV/0! | #DIV/0!
| Group element 8 | EXTERNAL WORKS | 0 |  | #DIV/0!
| Group element 9 | MAIN CONTRACTOR'S PRELIMINARIES | 479291.2563 |  | #DIV/0!
Works cost estimate (sub total A) |  |  | 5898742.6194 | 0
Project design team fees and other development costs (sub total B)
0
Base cost estimate A + B (sub total C) |  |  | 5898742.6194
| Group element 13 | Risk allowance @ 10%
Total Risk allowances (sub total D) |  |  | 589874.2619
Total Construction Cost (C + D) |  |  | 6488616.8814
0
0
0
0
0
0
0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0

## NRM1 CP template
Cost Plan for XXXXXXX
NRM 1 phaseologies
Elemental Cost Plan
Beau & Hudson
| Elements in red are NRM1 Phraseologies | [5 empty] | Construction Ltd.
Ref. | Element | Quantity / unit |  |  | Rate | Sub-Total | Group-Total | Notes
[5 empty] | £ | £ | £
0 | FACILITATING WORKS | [5 empty] | 626538.8
0.1 | Toxic/hazardous material
| Toxic or hazardous material removal: Details to be stated e.g Removal of asbestos |  | 0 | item | 0 | 0 |  | Works and costs carried out by the client.
Contaminated land
| Contaminated ground material removal: Details to be stated. |  | 0 | item | 0 | 0 |  | Works and costs carried out by the client.
0.2 | Major demolition works | [6 empty] | Works and costs carried out by the client.
Demolition of entire buildings: details to be stated.
| Demolition of entire structure |  | 0 | item | 0
1 | SUBSTRUCTURE
1.1 | Foundations | [6 empty] | To Include:
| Reinforced Ground floor slab 150mm thk, including ground beams, hardcore, insulation and DPM |  | 957.16 | m2 | 530 | 507294.8 |  | Strip or trenchfilled foundations, Linded Shallow foundations up to 1.5m deep.
| E/O for Reinforced RC foundations to lift floors, revolving doors, deep pithatched area of slab. |  | 1 | item | 20000 | 20000 |  | Provisional sum, could not identify in spons
| Concrete upstand- 150 thk RC upstand off foundations, all round perimeter of building. |  | 160.64 | m | 60 | 9638.4
| Trench and pit Excavation, including and disposal off site.Details TBA |  | 1435.74 | m3 | 40 | 57429.6
| Site plant equipment TBA, Prov sum |  | 1 | nr | 10000 | 10000 |  | Provisional sum
1.2 | Piled foundations and caps |  | 96 | nr | 185 | 17760 |  | Assumption- pile diameter 400mm, pile depth 20 m. Inc pile mat.
| Allowance for piling mat to footprint of building; 400 mm deep; including excavation,disposal and compacting |  | 96 | nr | 46 | 4416
2 | SUPERSTRUCTURE |  |  |  |  | 0 | 2059595.9631
0
2.1 | Frame |  |  |  |  | 0
| RC concrete frame- in situ reinforced 25Thk. |  | 1186.45 | m2 | 100 | 118645
| 250 Thk sheer walls to lift and stairwells ne 300mm |  | 158.82 | m2 | 208.37 | 33093.3234
| 200 Thk sheer walls to lift and stairwells ne 300mm |  | 70.43 | m2 | 208.37 | 14675.4991
2.4 | Concrete columns: 'RC columns, Grade C32/40 UNO |  | 99 | nr | 300 | 29700 |  | Assumption made:
[6 empty] | 0 |  | various sizes- cost based on 600x600mm Reinforcement rate 200kg/m3
| 50 x 25 Rebate all round to form shadow gap. |  | 32 | nr | 50 | 1600
2.2 | Upper Floors
| Suspended RC slab to upper floors 275MM thk |  | 287.74 | m2 | 190 | 54670.6 |  | First and second floor
2.3 | Roof
| Steel trussed with metal sheet cladding Steel roof trusses and beams; thermal and acoustic insulation (U-value = 0.25 W/m2K) aluminium profiled composite cladding |  | 427.9 | m2 | 350 | 149765 |  | Metal standing seam roof-H318/120A, inc insulation
| PV solar panels |  | 1 | item | 11000 | 11000 |  | Assumption made: Solar power including 4 kWp monocrystalline solar modules (12 × 185 Wp) on roof mounting kit; certified inverter; DC and AC isolation switches and connection to the grid and certification
| PPC Aluminium rooflight-H11/110C |  | 1 | item | 175000 | 175000 |  | Provisonal sum
| Allowance for rainwater goods, gutters and downpipes |  | 149.8 | m | 70 | 10486 |  | Rainwater drainage, aluminium gutters and downpipe
| Soffit Boards |  | 1 | item | 13860 | 13860 |  | Provisonal sum- unit rate of £70 due to Aluminium and not uPVC.
| Fall Arrest |  | 1 | item | 11500 | 11500 |  | Provisonal sum
2.4 | Stairs & Ramps
| Precast concrete stairs and metal balustrades to cores |  | 3 | no | 20000 | 60000 |  | Price based as a unit cost as stated in NRM 1
| Allowance for upstand and movement joints |  | 3 | no | 18500 | 55500 |  | As above.
2.5 | External Walls
| Facing brickwork-ibstock chester red blend-F10/11OC |  | 420.06 | m2 | 180 | 75610.8 |  | assumption made for cost due to item not identified in spons.
| Rainscreen Cladding to elevations |  | 164.97 | m2 | 204.48 | 33733.0656
| PPC Shading Louvers-L10/670A |  | 79.89 | m2 | 360 | 28760.4
| Supply and extract Louvers |  | 20.41 | m2 | 300 | 6123
2.6 | Windows and external doors
Windows
| TYPE 1 460 X 2400 |  | 4.42 | m2 | 610.5 | 2698.41
| TYPE 2 1360 X 2400 |  | 45.7 | m2 | 610.5 | 27899.85 |  | Assumed cost not identifed in the spons
| TYPE 2a 1360 x 2400 |  | 16.32 | m2 | 610.5 | 9963.36
| TYPE 3 1360 X 2400 |  | 9.79 | m2 | 610.5 | 5976.795 |  | 'Kawneer AA541,dark greyPCC,colour RAL7016-L10/330.
| TYPE 3a 1360 X 2400 |  | 3.26 | m2 | 610.5 | 1990.23
| TYPE 4 1360 X 2400 |  | 3.26 | m2 | 610.5 | 1990.23
| TYPE 5 1360 X 2400 |  | 30.75 | m2 | 610.5 | 18772.875
| TYPE 6 1360 X 3225 |  | 13.18 | m2 | 610.5 | 8046.39
| TYPE 7 3450 X 3265 |  | 45.13 | m2 | 610.5 | 27551.865
External doors
Assumption made for colour.
| Automatic Revolving doors |  | 2 | nr | 54000 | 108000 |  | Aluminium-Kawneer AA541,Dark grey PPC, colour RAL7016-L10/330.
to match window design.
| External doors D01 and D02- No Dimensions stated |  | 2 | nr | 11000 | 22000
| Curtain wall system incorporating Louvered |  | 589.16 | m2 | 1010 | 595051.6 |  | Kawneer AA100,dark greyPCC,colour RAL7016-H11/110
and glass, aluminium frame
2.7 | Internal walls
To all floors:
| 130 mm thick partition; 70 mm steel studs at 600 mm centres generally; 2 layers 15 mm Soundbloc board each side; joints filled with joint filler and joint tape. |  | 1698.25 | m2 | 77 | 130765.25 |  | Assumption made due to no specification details.
|  |  | 0 |  | 0 | 0
| Dry lining to internal face of external walls |  | 2974.74 | m2 | 33 | 98166.42
|  |  | 0 |  | 0 | 0
0
2.8 | Internal doors & screens |  |  |  | 0
| Single leaf internal doors, refer to NBS for door specification L20 L40. |  | 65 | nr | 1800 | 117000 |  | Assumption made:Price to include, door complete with frame, stops, leaf, integral hinges and ironmongery. Fire rated
3 | INTERNAL FINISHES | [5 empty] | 1190364.6
3.1 | Wall finishes
| 2 coats emulsion to inner leaf of external wall |  | 1698 | m2 | 9 | 15282
| 1 mist coat and 2 top coats emulsion to plasterboard walls- internal partitions |  | 2975 | m2 | 11 | 32725
Columns and rebate all round caps
| Allowance for miscellaneous works, protecting columns etc |  | 3 | item | 17500 | 52500 |  | Provisional Sum 3 Floors
0
3.2 | Floor finishes
| Self-levelling screed |  | 3024 | m2 | 11 | 33264
| Epoxy resin floor paint to plant rooms |  | 97.8 | m2 | 22 | 2151.6 |  | Assumptions made no design details
| Vinyl sheet flooring inc skirting |  | 3024 | m2 | 41 | 123984
11 | Extra for wet areas |  | 78 | m2 | 41 | 3198
0
3.3 | Ceiling finishes
| Suspended metal plank system |  | 3024 | m2 | 100 | 302400
| Suspended perforated plasterboard systems, including acoustic treatment and painting |  | 3024 | m2 | 140 | 423360 |  | Assumptions made no design details
| Allowance for painting concrete soffits |  | 1 | item | 29000 | 29000
| Allowance for fire protection above ceilings |  | 1 | item | 115000 | 115000
| Allowance for sundry ceiling finishes |  | 1 | item | 57500 | 57500
4 | FITTINGS AND FURNISHINGS | [5 empty] | 500000
4.1 | General fittings, furnishings and equipment
Provisional sum due to no listed items.
| Sanitary ware, library, computer systems, desks, chairs, projector equipment, white boards and |  | 1 | item | 500000 | 500000
5 | SERVICES | [5 empty] | 1042952
5.1 | Sanitary installations
| medium quality WC cubicle partition sets; stainless steel framing; real wood veneer face chipboard diiding panels and doors; ironmongery; small range (up to 6 cubicles); standard cubicle set (rate per cubicle |  | 2880 | item | 16.4 | 47232 |  | Lump sum cost based on GIFA- No specification details.
5.3 | Disposal Installations
| Waste, soil and vent installation; uPVC pipework and fittings |  | 48 | m2 | 25 | 1200 |  | Approx area of toilets 16m x 3 floors
5.4 | Water installations
| Hot and cold water installations; |  | 2880 | m2 | 62 | 178560 |  | Approx rate based on GIFA.High end cost specified. M&E to advise actual cost.
mains supply; hot and cold water distribution.
5.5 | Heat source
| All Mechanical heating and ventiltion systems |  | 1 | Item | 200000 | 200000 |  | Provisional sum-No detail specification Mechanical designers to advice
5.8 | Electrical installations
| Electrical mains supply and supply and fit of all electrical items |  | 1 | item | 200000 | 200000 |  | Provisional sum-No detail specification Electrical designers to advice
5.1 | Lift and Conveyor installations
| 13-person passenger/goods lifts 1.0 m/s |  | 1 | item | 95000 | 95000 |  | Provisional sum- Engineer to design and provide cost.
5.11 | Fire and lightning protection
| sprinkler systems |  | 2880 | m2 | 24 | 69120 |  | Provisional sum- Engineer to design and provide cost-GIFA
| Fire Alarm System |  | 2880 | m2 | 18 | 51840
5.12 | Communication, security and control systems
| Power & Data distribution- |  | 1 | item | 200000 | 200000 |  | Provisional sum- Engineer to design to clients needs. Detailed specification required.
8 | EXTERNAL WORKS | [5 empty] | 0
8.1 | Site Preparation works
| See above |  |  |  |  | 0
8.2 | Roads, Paths, pavings and surfacings
Roads: details, including width, to be stated.
| Tarmacadam to road and parking spaces |  | 0 | m² | 0 | 0
| Edgings |  | 0 | m | 0 | 0
8.3 | Soft landscapes, planting and irrigation systems
Grassed areas: details to be stated.
| soft landscaping |  | 0 | m² | 0 | 0
8.4 | Fencing,railings and walls
Walls: details, including height (m), to be stated.
| 2.1 High brick boundary wall |  | 0 | m | 0 | 0
Fencing: details, including height (m), to be stated.
| 2.1 High timber boundary fence |  | 0 | m | 0 | 0
Gates: details to be stated.
| Electric access gates |  | 0 | nr | 0 | 0
8.6 | External Drainage
| Drainage allowance |  | 0 | nr | 0 | 0
8.7 | External Services
Electrical
Connections to statutory undertaker's electricity main: details to be stated.
| Main electrical supply to building |  | 0 | item | 0 | 0
| Disconnections |  | 0 | item | 0 | 0
| Electrical substation |  | 0 | item | 0 | 0
Water
Connections to statutory undertaker's water main: details to be stated.
| Mains layout cost |  | 0 | item | 0 | 0
| Service costs |  | 0 | item | 0 | 0
| Water/sewerage infrastructure costs |  | 0 | item | 0 | 0
| Disconnections of water mains |  | 0 | item | 0 | 0
Gas
Connections to statutory undertaker's gas main: details to be stated.
| Works Allowance |  | 0 | item | 0 | 0
Street Lightning
External lighting to pedestrian areas: details to be stated.
| Works Allowance |  | 0 | item | 0 | 0
9 | MAIN CONTRACTOR'S PRELIMINARIES | [5 empty] | 479291.2563
| Main contractors preliminaries & OHP |  | 10 | % | 4792912.5631 | 479291.2563
| SECTION SUB-TOTAL | [5 empty] | 5898742.6194
4626.4648