Student FEEDBACK FORM-sam

| Generic Assessment Criteria | Marks available | Marks awarded |
| --- | --- | --- |
| 1. Engagement with Literature Skills . |  |  |
| Your report has shown that you have researched acceptably into the topic and you demonstrated a good understanding of the subject. The report is limited to description and includes frequent unsupported facts and opinions. If you had used other sources such as books, papers, magazines etc, rather than simply relying on the internet would have gained the highest score. | 20 | 9 |
| 2. Knowledge and Understanding Skills |  |  |
| The report shows that not all objective of the assignment has been delivered. The report did not show the cost of the electricity supply by the National Grid Electric Power for a period of 10 years, assuming fixed electricity tariff. In addition the price of 1.8p for kWh was very low and not realistic which affect the calculation of the cost of the electricity supply by National Grid. | 10 | 5 |
| 3. Cognitive and Intellectual Skills |  |  |
| The report shows evidence of some analyses and discussion of the appropriateness of the results obtained. Critical evaluation and analysis of your calculations and principles need to be shown. The report is limited to description and includes frequent unsupported facts and opinions The report includes a very brief explanation of the environmental impact of wind power system. detailed calculations (appropriate tariff with regular fixed monthly fee) that must pay per cottage in order the payback period for this project is 10 Years, assuming 0% interest rate on the capital was not provided. | 15 | 08 |
| 4. Practical Application Skills |  |  |
| The report shows that the student designed a small off-grid Wind power plant system that can provide self-sufficient electrical power to the village in Great Orme valley (north Wales). However, calculations of the capital cost plus maintenance cost of the hardware of the designed off-grid Wind system was not shown. | 40 | 16 |
| 5. Transferable Skills for Life and Professional Practice |  |  |
| Appropriate use made of a limited range of reading largely accurate use of Harvard system. The student needs to improve his familiarity with scholarly literature about pervious work. | 15 | 7 |

| Assessment Mark (Assessment marks are subject to ratification at the Exam Board. These comments and marks are to give feedback on module work and are for guidance only until they are confirmed. ) | Late Submission Penalties (tick if appropriate) |  | 45% |
| --- | --- | --- | --- |
|  | Up to 1 week late (40% Max) |  |  |
|  | Over 1 week late (0%) |  |  |