| LOCATION: Swansea | LLEOLIAD: abertawe |
| --- | --- |
| LEVEL 5 | LEFEL 5 |
| EXAMINATION PERIOD | CYFNOD ARHOLIADAU |
| may 2018 | mai 2018 |

MODULE CODE: ACDA5006

Transducers and Signal Conditioning

TIME:  2 HOURS

answer all questions

Equipment or materials required – Graph paper, Calculator, Ruler

Adnoddau neu ddefnyddiau sydd eu hangen - Papur graff, Cyfrifiannell, pren mesur

ANSWER ALL QUESTIONS

- Explain the difference between accuracy and precision in relation to measurement instruments.

[5 Marks]

- A load cell is calibrated in an environment at a temperature of 21 °C and has the following deflection / load characteristics:

| Load (kg) | 0 | 25 | 50 | 75 | 100 |
| --- | --- | --- | --- | --- | --- |
| Deflection (mm) | 0.0 | 1.0 | 2.0 | 3.0 | 4.0 |

When used in an environment at 35 °C, its characteristic changes to the following:

| Load (kg) | 0 | 25 | 50 | 75 | 100 |
| --- | --- | --- | --- | --- | --- |
| Deflection (mm) | 0.2 | 1.3 | 2.4 | 3.5 | 4.6 |

- Plot the load cell characteristics for both temperatures

[4 Marks]

- Determine the sensitivity at 21 °C and 35 °C.

[2 Marks]

- Calculate the total zero drift and sensitivity drift at 35 °C in units of (µm/°C) and (µm/kg)/°C

[4 Marks]

- The width of a container is measured 10 times by an ultrasonic rule and the following measurements are obtained (in metres): 4.292, 4.295, 4.296, 4.293, 4.292, 4.294, 4.293, 4.290, 4.294, and 4.291 at a temperature of 20 °C.

The width of the same container is then measured by a calibrated steel tape, this gave a reading of 4.276 m, which can be taken as the correct value for the width of the container.

- What is the measurement precision of the ultrasonic rule?

[2 Marks]

- What is the maximum measurement inaccuracy of the ultrasonic rule?

[2 Marks]

The ultrasonic tape relies on the velocity of sound through air to be able to measure distance.  The velocity of sound in air is dependent on temperature.  The ambient temperature in the container increases to 30 °C and ten more measurements are obtained using the ultrasonic tape: 4.425, 4.429, 4.426, 4.430, 4.427, 4.426, 4.428, 4.427, 4.424, and 4.428 (in metres).

- What is the maximum measurement inaccuracy of the ultrasonic rule at 30 °C?

[2 Marks]

- Describe a method to increase the accuracy of the instrument.

[4 Marks]

- Explain the difference between random errors and systematic errors.  What are the typical sources of these types of errors?

[5 Marks]

- For the transducer characteristics given in the table below, where X is the value of the measurand and Y is the transducer output in volts.

| X | 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Y | -2.71 | -0.69 | 1.18 | 1.79 | 3.69 | 5.04 | 6.24 | 8.53 | 9.09 | 11.33 | 12.41 |

- Plot the characteristics and draw a line of best fit

[4 Marks]

- Determine the maximum non-linearity of the transducer and express it as a percentage of full scale deflection.

[2 Marks]

- Calculate the sensitivity of the transducer

[2 Marks]

- Describe the key specifications you would consider when selecting a pressure sensor.  Compare the pressure sensor requirements for:

- Automatic tyre inflator that stops inflating once a pre-set pressure has been reached

- Altitude control in an auto-pilot system of an aeroplane

[4 Marks]

Diwedd/End