Module: Principles of Measurement and Estimating

Module Code: ACBA5003

Student: Jack Keenan

Student number: 1908062

Table of Contents

Assumptions Made	3

Substructure	3

Upper floors	3

Stairs	3

Roof lights	4

Floor Finishes	4

External Walls.	4

Rainwater Goods	4

Windows	4

Floor Finishes.	5

Mechanical and Electrical Instillations.	5

Internal Walls.	5

External Frame.	5

Doors	5

# Assumptions Made

This is an assumptions report used to explain the rates I have used to complete the elemental cost plan.

# Substructure

- Pile foundations assumed to be double piles with a 750mm diameter and an average depth of 18 to 20 meters.

- Rate to be used for piles is £150 a meter.

# Upper floors

- Openings for 2 number stairwells and lifts haven’t been deducted from area of concrete floors.

- 200mm in situ reinforced concrete upper floors rate of £115 m2. Assumed rate of Fforwm concrete floor is £140 m2 due to it being a depth of 275mm.

# Stairs

- 2 number stairs from ground to second floor as per drawing at a rate of £22000 for one.

# Roof lights

- Assumed roof light opening is 3.4m x 1.6m as per drawings.

- Largest roof light on Spons is 1.340m x 1400m.

- Area divided and multiplied by rate of £774 to get total.

# Floor Finishes

- First and second floors are carpet floorings

- All bathrooms have vinyl flooring.

- Ground floor has a wood floor finish.

# External Walls.

- Aluminium wall cladding rate used £54.00 taken from spons architects 2020 page 98.

- Facing brickwork rate of £180.00 m2 from spons architects 2020 from page 99.

# Rainwater Goods

- UPVC rainwater downpipes £21.00 a metre used from spons architects page 150.

- UPVC rainwater gutters £26.00 a metre used from spons architects page 150.

# Windows

- £490.00 a metre based on coated aluminium double glazed window system on page 89

- £450.00 a metre based on coated aluminium double glazed curtain walling page 98.

- £1200.00 per fire escape door to the curtain walling page 98.

# Floor Finishes.

- £35.00 a metre squared based on carpet tiling under floor finishes heading on page 106.

- £53.00 a square meter for timber laminate flooring page 164.

- £100.00 a square meter for vinyl flooring page 164.

# Mechanical and Electrical Instillations.

- £530.00 a square meter to allow for mechanical and electrical services based on page 106.

# Internal Walls.

- All internal walls to be assumed 140mm thick block work excluding the stair wells and lift shaft which will be incorporated within the concrete frame page 167 from spons.

- Height from floor to ceiling for the internal walls 3.5m

- Decoration to walls rate used £9.00 a square meter on page 172.

- Plaster boarding fixed to walls on dabs £8.31 a meter squared on page 420.

- 3mm skim finish to walls based on £6.16 on page 543.

- Decoration to skirting based on 1no primer coat and 2no gloss coats to skirting, rate used £11.86 per metre based on page 563.

- Supply and fit of timber skirting, rate used is £16 per metre based on page 114.

# External Frame.

- Concrete frame to include all columns and beams.

- Rate used £150.00 a metre squared on page 153.

# Doors

- Type 1 internal door £925.00 based on rate page 164.

- Type 6 internal door rate of £1550.00 based on rate page 167.

- Type 2/4 internal door rate of £1125.00 based on page 167.

- Type 5/5B/5C rate prorated from internal door set rates on page 126 rate allowed within cost plan for these is £1600.00 per unit.