PRACTICAL: Measurement of Resting Energy Expenditure

By the end of this practical session and continued practice you should be able to:

- Estimate energy expenditure at rest using indirect calorimetry.

- Estimate energy expenditure during submaximal exercise using indirect calorimetry.

Equipment	HR monitor, Douglas bag, stopwatch, mouthpiece & valve, nose-clip, breathing tube, Servomex gas analyser, Dry gas meter, weather station, barometer.

Data Collection Procedures

Douglas bag preparation

- Evacuate Douglas bag using the Dry Gas Meter.

- Attach the bag to the Dry Gas Meter, open the valve on the bag, turn on the vacuum and run until the number on the vacuum remains stable.

- Close the valve on the bag, turn off the Dry Gas Meter.

Participant preparation – resting value.

- Fit participant with HR monitor.

- Sit participant on chair or lie them down and ask them to relax and breathe naturally.

- Ensure the participant has a mouthpiece, breathing tube and nose clip for data collection. Attach the mouthpiece to the breathing tube. Give participant time to familiarise themselves with the equipment.

Participant preparation – submaximal exercise value.

- Fit participant with HR monitor.

- Set up cycle ergometer for participant.

- Ask the participant to cycle at RPE13 for 5 minutes.

- Ensure the participant has a mouthpiece, breathing tube and nose clip for data collection. Attach the mouthpiece to the breathing tube. Give participant time to familiarise themselves with the equipment.

- Ask the participant to insert the mouthpiece and noseclip after 3 minutes.

- Collect the final minute of air in the Douglas Bag (4min-5min).

Douglas bag data collection

- It is imperative that data collection is precisely timed using the stopwatch.

- Ensure that the participant is in a well ventilated area and away from others as much as possible to prevent contamination of inspired gases.

- Respiratory gases are collected for an exact period of time (normally 60 seconds).

- It is important that the mouthpiece and nose clip are worn by the participant PRIOR to the start of the data collection period (e.g. ask the participant to attach the nose clip and mouth piece in the 30 seconds before the planned time for data collection).

- The data collection period should have a clear count down from the timekeeper e.g. 3, 2, 1, GO, in which the valve of the designated Douglas bag is opened/closed in line with the count down. At the same time, the stopwatch is started.

- Record the Heart Rate during the final 15s of the expired air collection.

- Once this data collection has been completed, remove the mouthpiece and nose clip from the participant.

  - It may be advisable to provide the participant with some blue roll to remove the mouthpiece.

Douglas bag data analysis

- Firstly, the gas concentration (%O2, %CO2) of each bag must be sampled.

  - Analysing the gas concentration is completed for an exact period of time (30s) and is precisely timed using the stopwatch.

  - A 30 second sampling period equals the removal of 0.9 L of air.

  - Hold the sample line of the Douglas bag firmly closed and THEN remove the clip/stopper from the end.

  - Still holding this sample line closed, attach the sample line of the Douglas bag to the sample line of the Servomex gas analyser.

  - The sampling period should have a clear count down from the timekeeper e.g. 3, 2, 1, GO, in which the sample line is opened/closed in line with the count down.

  - Press the bottom left button on the Servomex to commence/stop collection.

  - Record the numbers on the Servomex within the last 5 seconds of the sampling period. If these are not recorded at this point, they will disappear when the sample line of the Servomex is put back into ambient air.

  - At the end of the sampling period, hold the sample line of the Douglas bag firmly closed until the clip/stopper has been replaced.

- Secondly, the volume of gas within the bag must be measured.

  - Attach the Douglas bag to the Dry Gas Meter as previously described.

  - Make sure the Dry Gas Meter monitor is reset to 0 before starting.

  - Opening the valve and turning on the Dry Gas Meter must be coincided for accurate measurement of volume. Again, an individual should countdown, e.g. 3, 2, 1, GO, when the Dry Gas Meter should be turned on, and the valve of 1 bag opened.

  - When the number is stable, note the value.

  - Add 0.9 L to the value. This is to accommodate for the 0.9 L removed during the gas concentration sampling (note: if the gas concentration sampling ran for longer than 30s, add on the relevant amount).

Cleaning

All mouthpieces, nose clips and breathing tubes must be sterilised with Milton between participants.

Results

| Sample | Ambient Temp (Deg C) | Ambient Pressure (mmHg) | Subject Weight (kg) | Subject Height (m) | Bag Volume (L) | Time Sampled (s) | FEO2 (%) | FECO2 (%) | HR |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Rest |  |  |  |  |  |  |  |  |  |
| 150w |  |  |  |  |  |  |  |  |  |

Use the Gas Calc Excel document on the PC in order to convert the raw data into relevant variables.

Ensure the ambient conditions and participant characteristics have been input into the datasheet.

| Sample | Energy Expenditure (Kj/min) | % CHO | % Fat |
| --- | --- | --- | --- |
| Rest |  |  |  |
| 150W |  |  |  |