Summary of Project Costings

Please see above a summary of our final Estimate. Our final estimate is inclusive of all costs, fees and provisional sums. I am pleased to inform you that our elemental cost has come within the previous estimate figure of £25,374,582.00.

The anticipated final account figure is based on the GIFA (Gross internal floor area) and prices applied are from the spons building manual. All prices are uplifted using the correct indices and location factors.

The information provided in the schedule of accommodation is limited but has identified that this is a high specification building which is reflected in my final account figure.

We have identified through our feasibility studies that there are elements we propose potential savings that would not affect the design. We have proposed a strip foundation instead of piled as the ground investigation results suggest that the ground had a good bearing capacity. The main frame has been priced as timber frame, with steel to the main entrance to support the glassed areas.

As we progress through the build we can suggest additional savings which could be beneficial to the budget.