## Slide 1
SUSTAINABLE ARCHITECTURE
SUSTAINABLE ARCHITECTURAL DEVELOPMENTS
ENERGY DATA COLLECTION
Juan A Ferriz-Papi

## Slide 2
ENERGY DATA COLLECTION
DATA TO COLLECT IN THE ASSIGNMENT
Building information and construction
Energy consumption
Thermal imaging

## Slide 3
ENERGY DATA COLLECTION
DATA TO COLLECT IN THE ASSIGNMENT
Building information and construction
Basic information
  Characteristics of the building
  Address
  Location (latitude, longitude, GPS)
  Solar orientation
  Use
  Year of construction
  Drawings/Plans
  Built area and Floor area

## Slide 4
ENERGY DATA COLLECTION
DATA TO COLLECT IN THE ASSIGNMENT
Building information and construction
Construction characteristics
Construction method
Envelope (thickness, layers and materials)
  Facades
  Windows and other exterior openings
  Roof/s
  Contact with ground (basement)
Rooms height
Zones
Existing problems with construction
  Thermal bridging
  Condensation (dumps)
  leaking

## Slide 5
ENERGY DATA COLLECTION
DATA TO COLLECT IN THE ASSIGNMENT
Energy consumption
Building energy consumption
Per day, per week, per month
Different types of energy
Zone metering
Identification of uses, users and use period
Specific energy consumptions
Per room/area/zone
Identification of devices, type of energy consumed, wattage and use time
  Lighting
  Heating/cooling
  Computers/projectors/printers
  Other devices

## Slide 6
ENERGY DATA COLLECTION
DATA TO COLLECT IN THE ASSIGNMENT
Thermal imaging
Defects that can be identified:
  Heat losses
  Lack of insulation
  Thermal bridging
  Condensation
  Leaking
  Identification of installations
  Over-heating of electrical wires and other switchgear