Environmental Management System
Site Audit Report 


	Department/ College/ Site being audited: 
IQ
	Date of audit: 
02/10/2025

	Auditee: 
University of Wales Trinity St David
	Auditor:
Robert Saunders



	Objectives 
· To assess the implementation of the EMS at each site


	Summary
Improvements noted on site around pollution prevention and waste control. Generally, well managed. 1 minor regarding skips within yard area, 1 major needing rectification as soon as possible regarding out-of-date DEC.

	
Air Conditioning
Air conditioning service report sampled however no date provided on service report.

Asbestos
No ACMS identified at site.

Waste Management 
Hazardous Waste Consignment Note
LAS – CBDU5499
Oily Rags – 150202
11/09/24
All parts complete

Waste transfer note
LAS – CBDU5499
Tyres – 160103
30/10/2024
All parts complete

Plant Protection Products 
No plant protection products used on site.

Boilers
Boiler servicing sampled
IQ Building
!Q Boiler 1,2,3,4
01/04/2025

IQ building boiler room level 2
28/04/2025

LEV
Full LEV service report witnessed for IQ
Undertaken by Vector – 25/07/2025

Energy Performance of Buildings
Major Non-conformance: DEC dated August 2024
TM44 undertaken 6th May 2029

Onsite Controls - Walk round
Drip trays  noted under chemicals stored on site.
Spill kits noted in risk areas.
Auditor sampled QR COSHH SDS system and seen to be working.
Waste tyres clearly marked and stored appropriately.
Appropriate COSHH Cabinets on site.
Oil filters and wadte oil stored on drip trays of adequate capacity.

Observation: 2024 COSHH Risk assessments seen to have old CHIP pictograms.
Observation: Oil filters/ waste oil signage misleading in vehicle engineering.
Observation: 1 waste oil drum not stored on drip tray in vehicle engineering.
Minor: culmination of observation regarding skips. Thinner and Cutrasol containers seen in metal skip, dryer in metal skip, swarf skip seen to have blue liquid in bottom.


	Observations raised

	No.
	Description 

	1.
	Observation: 2024 COSHH Risk assessments seen to have old CHIP pictograms.

	2. 
	Observation: Oil filters/ waste oil signage misleading in vehicle engineering.

	3.
	Observation: 1 waste oil drum not stored on drip tray in vehicle engineering.

	4.
	

	Non- conformance raised 

	No. 
	Minor/ Major  
	Description 

	1.
	Major
	DEC dated August 2024


	2.
	Minor
	Culmination of observation regarding skips. Thinner and Cutrasol containers seen in metal skip, dryer in metal skip, swarf skip seen to have blue liquid in bottom.




	Terms 

	Term 
	Description 

	Observation 
	Identifies an issue that requires attention to improve the operation of the EMS
and that if left un-addressed is likely to lead to a non-conformance during future audits, an example of good environmental practise that deserves recognition or a flag for re-visit at the next audit.

	Minor Non- conformance  
	Areas where the EMS is deviating from the Green Dragon Standard requirements in a minor or technical way.

	Major Non- conformance 
	Serious deviation from the Green Dragon Standard requirements, e.g. legal non-compliance. 



