	Item
	Make & Model
	Reference
	Website

	Heart rate chest strap
	Polar H7 or H10
	(Polar Electro, Warwick, UK)
	https://www.polar.com/uk-en 

	Servomex Gas Analyser
	Servomex miniHF 5200
	(Servomex, Bristol, UK)
	https://www.servomex.com/ 

	Calibration gas
	Cranlea 995/2619 (20% O2, 8% CO2)
	(Cranlea, Birmingham, UK)
	https://www.cranlea.co.uk 

	Seca Weighing Scale
	Seca 875
	(Seca, Hamburg, Germany)
	https://www.seca.com 

	Wattbike Atom
	Wattbike atom x
	(Wattbike, Nottingham, Uk)
	https://www.wattbike.com 

	Tympanic Thermometer
	Innovation Radiant Th809
	(Innovation, Radiant, Taiwan)
	https://www.radiantek.com 

	Dry gas meter
	Harvard DGM1
	(Harvard, Massachusetts, USA)
	https://www.harvardapparatus.co.uk

	Mouth Piece
	Hans Rudolph 2700 series large 2-way non-return breathable valve
	(Hans Rudolph, Kansas, USA)
	https://www.rudolphkc.com 

	Douglas Bag
	Douglas 100l 2100 series 3 way stop- cock
	(Hans Rudolph, Kansas, USA)
	https://www.rudolphkc.com 

	Stadiometer
	Seca 213
	(Seca, Hamburg, Germany)
	https://www.seca.com 


Lab Equipment Reference Details for Method
