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	Crates based on a roofing area of 1711.05m2 with the remaining 845.50m2 (lone block) of roofing being based on a blue roof.
34,221 litres (size of soakaway required)
or
34.22m3 (size of soakaway required)
137 – number of Rainsmart Ellipse Double crates required.
https://www.drainagepipe.co.uk/rainsmart-ellipse-soakaway-set-flat-packed-1-cubic-metre-p-90004M3F/ 
Excavation
Approx. 35m3 excavation required to install the above discussed soakaway crates.

	
	
	
	



SA1 Student Accommodation – Soakaway Crates









