## Sheet1
Risk Assessment Derived from the National Risk Register
|  | No.1 |  | No.1 | Site/Task Specific Risk Assessment No. 01 |  | NO.1
Water Treatment Works (WTW) / Waste Water Treatment Works (WWTW)
| Model RA Ref: NA | ML | Functional RA Ref:EP/BC 01 | EP01 |  |  |  |  | YES
[5 empty] | Once this section is completed this risk assessment is specific to the site, location or team shown below |  |  |  | NO
Function >>> | All Business Areas |  |  |  | Site, location or Team | Multiple
[5 empty] | Specific task or work activity | Treatment of Potable Drinking Water / Treatment of Sewerage
Description of Activity | Key to Risk Ratings |  | Persons at risk | Y/N | Change generic "YES" to numbers at risk and add any other specific persons below |  | Persons at risk | Yes
| Extreme | E | Employees | y |  |  | Employees | Y
| High | H | Contractors | Y |  |  | Contractors | Y
| Medium | M | Visitors | Y |  |  | Visitors | Y
| Low | L | Other: please state: |  | Other, please state:
Significant Hazard | Nature and extent of risk | Initial risk rating | Generic Control Measures Dwr Cymru Welsh Water (DCWW) | Generic Risk rating | EFFECTIVE CONTROL MEASURES |  |  | Specific Risk Rating
Local or additional controls implemented
26a.Failure of the National Electricity Transmission System (NETS) National Risk Register 2023 - GOV.UK. Available at: https://www.gov.uk/government/publications/national-risk-register-2023 Page 94 | Dŵr Cymru Welsh Water (DCWW) recognises the risk posed by the potential failure of the National Electricity Transmission System (NETS). (National Risk Register 2023-Gov.UK.) While the likelihood of a nationwide power outage is deemed low, the consequences of such an event would be dire for our operations and the communities we serve. A total failure of the NETS would result in an instantaneous and unexpected loss of mains electricity for all consumers, including those relying on critical infrastructure such as water treatment plants, wastewater treatment facilities, pumping stations, and distribution networks. This would trigger secondary disruptions across essential utilities networks, including telecommunications, water, sewage, fuel, and gas. This would lead to significant and widespread disruption to public services, businesses, and households, potentially compromising public health and safety. Factors precipitating such a failure could range from extreme weather events to cyber-attack or cascading technical failures. Given the assumed occurrence of this event in winter, when demand for electricity is at its peak, the impact on DCWW's ability to maintain water and wastewater services would be compounded. DCWW is committed to proactively identifying and mitigating these risks, bolstering our resilience, and collaborating with stakeholders to ensure the continuity of essential services, even in the face of unprecedented challenges. | 15 | Create a Water UK National Group Work with our trade organisation to understand and share best practice in a long-term outage. Create a Visualisation Tool to determine the extent of the outage and aid recovery as the power returns. Engagement with the Local Resilience Forums (LRF’S) look at previous exercises such as Mighty Oak to understand learning and create generic plans. Work with other stakeholders and Category1 and 2 responders to establish a robust command structure. exercise these. Grab Packs Look at creating ‘grab packs’ for assistance in a National Power Outage at Strategic Command Centres. Identification of geographic areas that are supplied by a pump to identify what will be lost immediately. Work on local area plans to react to vulnerable sites and plan the deployment of mobile generators to these assets. Service Reservoirs: Calculate retention times for Service Reservoirs to establish secondary outages. These will be different in all cases and will rely on a full system to be accurate. Asset Resilience: Identify assets that have resilience and identify the time periods these assets would stay online. Internal Command Structure: Look at resilient Dwr Cymru centres to establish command and control. Customer Resilience: communications and preparedness to our customers to build up stocks of bottled water and to collect grey water for hygiene (long term).Use of the internal Incident Responce Manual to indicate the structure for Incident responce. This demonstrates our Gold -Silver- Bronze Structure and how this links to the Crisis Mangement Team (CMT). To extend this support DCWW would attend both the National Incident Mnagemant Group (NIM) and also the Platinum Incident Management Group (PIM) at Board level. These groups would look at a national respoce and deliver mutual aid where possible. DCWW would also look to use preidentified sites to set-up bottled water stations which would be used to distribute water to customers where we suffer outages. In addition we would invoke our volunteer plans so we can deliver bottled water to vulnerable customers. The Drinking Water Inspectorate (DWI) is the independent regulator of drinking water in England and Wales. We provide independent assurance that the privatised water industry delivers and maintains a safe, clean drinking water to consumers. The Security and Emergency Measures (Water and Sewerage Undertakers and Water Supply Licensees) Direction 2022 (SEMD) is the principal general direction issued the Secretary of State and Welsh Ministers under Section 208 of the Water Industry Act 1991 (the Act). Undertakers and licensees are required to maintain a water supply and/or sewerage system in the interests of national security or to mitigate the effects of any civil emergency which may occur. The DWI, on behalf of the Secretary of State and Welsh Ministers, are responsible for the regulation of the SEMD for companies who are wholly or mainly in England and Wales. This includes reviewing companies’ annual self-assessments and Critical National infrastructure (CNI) audits (where required), and any necessary compliance and enforcement actions. (https://www.dwi.gov.uk/semd/). This directive dictates that we must supply 10 ltrs per day per person for five days and then 20 ltrs per day after that. Satalite Phones can also be used to assist communication between command hubs. | 15 | Site security will be unaffective as communications between our control room will fail. It will be the responsibility of the local team to ensure security is maintained. SEMD Security preparedness will go some way to protect access to assets such as security doors and fences. Health and Safety should be considered also as lighting may fail which would increase the liklyhood of slips trips and falls. Lone working systems will not be operable so staff would be required to 'buddy up' when attending site. |  |  | 5
26b.Regional failure of the electricity network National Risk Register 2023 - GOV.UK. Available at: https://www.gov.uk/government/publications/national-risk-register-2023 Page 96 | Dŵr Cymru Welsh Water (DCWW) acknowledges the significant risk posed by our reliance on the electricity network for essential operations. Our water and wastewater treatment facilities, along with distribution networks, are heavily dependent on uninterrupted power supply. In the event of a regional failure, such as described, our ability to deliver water and wastewater treatment services to consumers and public services would be severely compromised. This operational disruption not only jeopardises public health and safety but also undermines our productivity and financial stability. Additionally, the interconnectedness of infrastructure systems implies that disruptions in the electricity network could cascade to affect telecommunications and transportation services, further exacerbating the situation. To address these risks, DCWW is committed to implementing robust contingency plans, investing in backup power systems, and collaborating with stakeholders to enhance resilience against regional electricity failures. | 6 | To address the potential challenges posed by a regional outage, Dŵr Cymru Welsh Water (DCWW) will embark on a comprehensive preparedness strategy, incorporating various initiatives and protocols: Rota Cut Plan Creation: Develop a Rota Cut Plan outlining the operational challenges and mitigation strategies specific to a regional outage scenario. This plan will detail the impacts on critical infrastructure, identify vulnerable sites, and establish protocols for deployment of resources and communication. Power BI Visualization Tool: Create a Power BI visualization tool to facilitate quick assessment of the potential impact of National Grid's and SWALEC's decisions to deactivate specific regions (power blocks). This tool will provide a user-friendly interface enabling departments within DCWW to identify affected assets, aligning with guidelines outlined in the Electricity Supply Emergency Code (ESEC) Government documentation. Complementing this, implement a Geographic Information System (GIS) visualization tool for enhanced spatial data analysis. Exercise Planning and Execution: Develop and conduct exercises to simulate outage scenarios and test response plans against the Rota Cut Plan. This will ensure readiness and effectiveness of response procedures, allowing for refinement and improvement as necessary. Site and Stockpile Review: Conduct a comprehensive review of sites and stockpiles, including generator fleet, bottled water, satellite phones, etc., to ensure readiness for deployment during emergencies. Identification of Vulnerable Areas: Identify geographic areas supplied by pumps to anticipate immediate impact and develop local area plans for response. Calculate retention times for Service Reservoirs to establish secondary outage impacts and identify assets with resilience to determine operational continuity. Roles and Responsibilities: Define roles and responsibilities of the DCWW incident team, integrating departments such as Integrated Technology Services (ITS), Energy Team, Operational Technology (OT), Facilities, Emergency Planning, and Production. These roles will be reflected in action cards for personnel guidance and periodic review to ensure preparedness. Training and Preparedness: Conduct training sessions based on defined roles and responsibilities, ensuring personnel are equipped to execute their duties effectively during an outage. Action cards will serve as quick reference guides for personnel, facilitating efficient response and recovery efforts. By implementing these initiatives and protocols, DCWW aims to enhance its preparedness and response capabilities, ensuring resilience and continuity of operations during regional outages or electrical emergencies.Satalite Phones | 3 | Site security will be unaffective as communications between our control room and each site will fail. Due to the duration of the incident site security would fall to the local operatives and SEMD measures as above. Health and Safety should be considered on sites without generators fixed or mobile also as lighting may fail which would increase the liklyhood of slips trips and falls. |  |  | 3
Ensure all Staff, Contactors & Visitors are inducted in general site rules and emergency procedures. |  |  |  |  | Is a permit to work required Y/N >>
Comments: |  |  |  |  | Any other certificates/checklists required? Y/N >>
Site specific Assessment date:
Carry out a personal site specific risk assessment prior to commencing this activity. (Use TAF Booklet) |  |  |  |  | Revision date:
Functional Risk Assessor(s) Name(s): |  |  |  |  | Comments:
Assessment date: | Revision date |  | <<<< Overall "raw" Risk Rating |  | Local RA Team members:
|  | Overall Model or Functional Risk Rating >>> |  |  | Overall Specific Risk Rating >>
List any other certificates, licences or checklists required for this activity:
CONSULT ASBESTOS PLAN FOR SITE BEFORE COMMENCING ACTIVITY and relevant COSHH assessments where there is risk of exposure to Hazardous Substances.
REVIEW RISK ASSESSMENT in light of changes to procedures, legislation, accidents, near hits or revision date stated.