ACDB4011 Chemistry – Titration Lab Report

Samuel Hawkins1

1 UWTSD IQ Campus, Waterfront, IQ Campus University of Wales Trinity, Swansea SA1 8EW, UK; 2216506@student.uwtsd.ac.uk

# Table of Contents

Table of Contents	1

Table of Figures	1

Table of Tables	1

Abstract	1

Purpose	2

Theory	2

Chemicals and Equipment	3

Procedure	4

Observations/Data and Calculations	5

Results and Discussion	6

Conclusion	6

References	7

Appendix	7

# Table of Figures

Figure 1 - Moles Triangle [4]	3

# Table of Tables

Table 1 – Titration Data Sheet	5

# Abstract

- The purpose of this test was to determine the concentration of a solution of hydrochloric acid, HCl using a standard solution of sodium hydroxide, NaOH. By carrying out the titration we were able to record the volumes of base and acid used and then use the results to determine concentration. Following the procedure, four sets of results were collected within tolerance of each other yielding a consistent reading allowing for the concentration of the HCl solution to be determined.

# Purpose

- The purpose of this test was to determine the concentration of a solution of hydrochloric acid, HCl, using a standard solution of sodium hydroxide, NaOH. Doing this we can gain an understanding of how the theory being taught meets practical use. The main tasks involved with this lab test would be to prepare and carry out the titration, record the volumes of base and acid used and then use the results to determine concentration. Upon completion produce a report covering every aspect.

- The main tasks for this lab report are:

  - Understand the theory of moles, molarity and concentrations of solutions.

  - Prepare the lab experiment.

  - Carry out the experiment using the correct procedure.

  - Record the results.

  - Calculate moles and molarity of NaOH and HCl.

  - Produce lab report.

# Theory

- A titration is a process of chemical analysis in which the quantity of some constituent of a sample is determined by adding to the measured sample an exactly known quantity of another substance with which the desired constituent reacts in a definite, known proportion. [1]

- The standard solution is a solution of known concentration in this instance the NaOH.

- The indicator is Phenolphthalein which will be used to indicate when the acid is fully neutralised by the solution as it will fully make the mixture turn pink.

- The base is the standard solution of NaOH.

- The acid in question is an unknown concertation of HCl.

- One application for titrations is explosives detection. It was found that nitroaromatic explosives such as 2-nitrotoluene, 4-nitrotoluene can be detected using nanorods made of nanocrystal. To demonstrate this ability fluorescence spectrometric titration experiment was carried and found that fluorescence of nanorods was found to be highly sensitive suggesting that nanocrystals can be used to detect nitroaromatic explosives. This can then be used for counter terrorism and environmental protection activities. [2]

- The formulas and calculations for this experiment were used to determine the unknown concentration of HCl. [3]

  - Chemical reaction:

    - HCl (aq) + NaOH (aq) > NaCl (aq) + H2O (I)

  - Balanced neutralisation reaction:

    - H+ + Cl- + Na+ + OH- > Na+ + Cl- + H2O (I)

    - Na+- and Cl- are called separator ions

    - H+ + OH- > H2O (I)

  - Calculations

    - Moles acid = MA x VA

    - Moles base = MB x VB

    - MA x VA = MB x VB

    - Molarity of Acid, MA = MB x VB / VA

Figure 1 - Moles Triangle [4]

# Chemicals and Equipment

- To facilitate this test there was a variety of equipment that was used and

  - Safety equipment

  - Safety goggles

  - Gloves

  - Lab coat

  - Suitable clothing

- Lab equipment

  - Burette 50mL

  - Burette stand and clamp

  - Pipette 10mL

  - Pipette filler

  - Small funnel

  - 250mL beaker for waste

  - 3 conical flasks

  - White tile

- Chemicals

  - 100mL of standard NaOH

  - 100mL of HCl solution

  - Phenolphthalein indication

# Procedure

- The following is the procedure used to carry out the titration.

  - Wash

    - Pipette with HCl

    - Burette with NaOH

    - Conical flasks with distilled water

  - Using the funnel, fill the burette with NaOH so that the meniscus is at the zero level

  - Ensure that there is no air bubble

  - Use the pipette filler to place 25mL HCl solution into the three conical flasks

  - Add 3-4 drops of phenolphthalein indicator to each conical flask

  - Place the conical flask under the burette and use the tap to drop the NaOH solution into the flask and mix thoroughly until the solution changes to the colour pink

  - Record how much NaOH was used reading off the burette

  - Repeat steps 13.2 – 13.6

  - Drop the NaOH into the flask until there is about 2mL remaining before colour change occurs

  - As there is 2mL left to add carefully drop the NaOH into the flask and immediately stop as the colour change

  - To add drops, carefully open the burette until a consistent controllable drop rate is achieved

    - Continuously mix

  - Wait for longer than 30 seconds, if the pink disappears add more NaOH

  - As colour change occurs record the volume of NaOH used to neutralise the HCl

  - Repeat steps 7-10 until satisfactory results are obtained

    - At least two results are within 0.06 of each other

    - At least two of the results are within 0.10 of each other

# Observations/Data and Calculations

- This is the calculations needed to determine Molarity for HCl and moles for NaOH and HCl

  - Moles acid = MA x VA

  - Moles base = MB x VB

  - MA x VA = MB x VB

  - MA, molarity is the unknown and has to be calculated

  - VA is the volume of acid pipetted into the conical flask

  - MB is the molarity of the standard base solution

  - VB is the volume of base used to titrate acid into the conical flask

  - Thus, the formula used:

    - MA = (MB x VB) / VA

- This table is the clean version of the lab sheet written out during the experiment. See Appendix A for rough version used during the experiment.

Table 1 – Titration Data Sheet

| Flask | 1 | 2 | 3 | 4 |
| --- | --- | --- | --- | --- |
| V HCl (mL) from pipette | 25mL | 25mL | 25mL | 25mL |
| Initial burette reading | 0mL | 17mL | 13.40mL | 19.90mL |
| Final burette reading | 16.90mL | 33.60mL | 30.20mL | 36.90mL |
| V NaOH (mL) | 16.90mL | 16.60mL | 16.80mL | 16.90mL |
| Moles of NaOH | 1.69 x 10-3 mol | 1.66 x 10-3 mol | 1.69 x 10-3 mol | 1.69 x 10-3 mol |
| Moles of HCl | 1.15 x 10-3 mol | 1.11 x 10-3 mol | 1.13 x 10-3 mol | 1.15 x 10-3 mol |
| Molarity of HCl | 0.068mol/L | 0.067mol/L | 0.067mol/L | 0.068mol/L |

# Results and Discussion

- The molarity was calculated and the average for the four results is:

0.068 + 0.067 + 0.067 + 0.068 = 0.27

0.27/4 = 0.0675 or 0.068mol/L 2dp

- However, the result is not as accurate as it should be as the moles for both NaOH and HCl are not matching when they should be. This could be due to a number of factors:

- Human error played a massive factor in the inaccuracy of the of the calculations of the moles for both NaOH and HCl. This is due to when preparing the acid and the base, inaccurate measurements we made. Also, when carrying out the titration the recording of the volume of the base to neutralise the acid was not accurately captured.

- Misreading the volumes when preparing the acid and base as well as reading the volume used in the burette.

- End point is when the reaction stops, we know when this occurs as the indicator used will change colour. There most likely was an error as the indicator did not change instantly and so too much NaOH was added to the acid.

- Contamination of the containers used may have diluted the concentration of the acid and base used. Doing this could have affected the results.

# Conclusion

- In conclusion, for this test, four sets of consistent results were collected that allowed for the calculation of the unknown molarity of hydrochloric acid of 0.068mol/L. Doing this demonstrates the theory of moles, molarity and the practical process of titration. However, the result is not as accurate as it should be as the moles for both NaOH and HCl are not the same meaning that wrong volumes of NaOH was used to neutralise the acid meaning that the molarity calculation will not be as accurate as it should be.

- If this test was conducted again, learning from experience, the test should be repeated many more times to yield more reliable results as well as follow the procedure more carefully to reduce the likelihood of human error and create more valid results.

# References

| [1] | K. Academy, “Titration curves & equivalence point (article),” Khan Academy, [Online]. Available: https://www.khanacademy.org/test-prep/mcat/chemical-processes/titrations-and-solubility-equilibria/a/acid-base-titration-curves. [Accessed 2023 March 15]. |
| --- | --- |
| [2] | S.-B. Ding, W. Wang, L.-G. Qiu, Y.-P. Yuan, F.-M. Peng, X. Jiang, A.-J. Xie, Y.-H. Shen and J.-F. Zhu, “Surfactant-assisted synthesis of lanthanide metal-organic framework nanorods and their fluorescence sensing of nitroaromatic explosives,” Materials Letters, vol. 65, no. 9, pp. 1385-1387, 2011. |
| [3] | Libretexts, “Chemistry LibreTexts,” Libretexts, 30 August 2022. [Online]. Available: https://chem.libretexts.org/Ancillary_Materials/Demos_Techniques_and_Experiments/General_Lab_Techniques/Titration/Acid-Base_Titrations. [Accessed 15 March 2023]. |
| [4] | OnlineMathLearning.com, “www.onlinemathlearning.com,” OnlineMathLearning.com, [Online]. Available: https://www.onlinemathlearning.com/calculate-molarity.html. [Accessed 15 March 2023]. |

# Appendix

Appendix A – Titration Data Sheet