## New Plots (hidden)
[6 empty] | Houses | [5 empty] | Profit | 12%
[6 empty] | GIFA | 108 |  | 1162.188 | ft2
[7 empty] | Houses | Cost/m2 | Cost/ft2 |  | Profit - 17% | Total Cost
[5 empty] | Substructure |  | 0 | 0 | 0 |  | 0 | 0
[5 empty] | Foundations - earthworks, concrete, back fill and cart away |  | 0 |  | 0 |  | 0 | 0
|  | Development Summary |  |  | DPM |  |  |  | 0 |  | 0 | 0
|  | Beattie Passive Revised |  |  | Block work/beams T Ram |  | 1400 |  | 12.963 |  | 238 | 1638
| Element | House Cost | With Profit | Cost / m2 |  |  | 1400 |  | 12.963 |  | 1400 | 2800
1 | Substructure | [7 empty] | 0
| Substructure | 1400 | 2800 | 12.963 | Superstructure |  | 0 |  | 0 |  | 0 | 0
2 | Superstructure |  |  |  | Beattie Passive System (Frame) |  | 43368 | 401.5556 | 401.5556 |  | 5204.16 | 48572.16 | 5%
| Frame | 43368 | 48572.16 | 401.5556 |  |  |  |  | 0 |  | 0 | 0
| Roof | 6000 | 6720 | 55.5556 |  |  | 43368 |  | 401.5556 |  | 5204.16 | 48572.16
| Stairs | 1600 | 1792 | 14.8148 |  |  |  |  | 0 |  | 0
| External Walls | 4500 | 5040 | 41.6667 | Roof |  | 0 |  | 0 |  | 0 | 0
| Windows & External Doors | 8082.56 | 9052.4672 | 74.8385 | Trusses and other roof timbers |  | 2000 |  | 18.5185 |  | 240 | 2240
| Internal Walls & Partitions | 1500 | 1680 | 13.8889 | Fascias, barge boards and eaves |  | 1000 |  | 9.2593 |  | 120 | 1120
| Joinery & Fittings |  |  | 0 | Rainwater Goods |  | 1000 |  | 9.2593 |  | 120 | 1120
| 1st Fix | 2004.2791 | 2244.7926 | 18.5581 | Roof Covering |  | 2000 |  | 18.5185 |  | 240 | 2240
| 2nd Fix | 3968.3721 | 4444.5767 | 36.7442 |  |  | 6000 |  | 55.5556 |  | 720 | 6720
3 | Internal Finishes | [7 empty] | 0 |  | 0
| Wall Finishes | 6876.37 | 7701.5344 | 63.6701 | Stairs |  | 0 |  | 0 |  | 0 | 0
| Floor Finishes | 3240 | 3628.8 | 30 | Timber Staircase |  | 1600 |  | 14.8148 |  | 192 | 1792
| Ceiling Finishes | 4000 | 4480 | 37.037 |  |  | 1600 |  | 14.8148 |  | 192 | 1792
| Cleaning | 500 | 560 | 4.6296 |  |  |  |  | 0 |  | 0 | 0
4 | Fittings |  |  |  | External Walls |  | 0 |  | 0 |  | 0 | 0
| Kitchen Fittings | 5300 | 4816 | 49.0741 | Substrate 2 men 2 days + materials |  |  |  | 0 |  | 0 | 0
5 | Services |  |  |  | Brickwork / Render board (additional brickwork as end terrace) |  | 4500 |  | 41.6667 |  | 540 | 5040
| Sanitaryware / Plumbing | 7227.91 | 8095.2592 | 66.9251 |  |  | 4500 |  | 41.6667 |  | 540 | 5040
| MVHR | 3500 | 3920 | 32.4074 |  |  |  |  | 0 |  | 0 | 0
| Electrical Installation | 5000 | 5600 | 46.2963 | Windows & External Doors |  | 0 |  | 0 |  | 0 | 0
|  | 108067.4912 | 121147.5901 | 1000.6249 | Windows and Doors |  | 6000 |  | 55.5556 |  | 720 | 6720 | 10
6 | External Works |  |  |  | Windows Fitting |  | 1800 |  | 16.6667 |  | 216 | 2016
| Parking /Roads & Footpaths |  |  |  | Window boards |  | 282.56 |  | 2.6163 |  | 33.9072 | 316.4672
| Drainage | 500 | 500 |  |  |  | 8082.56 |  | 74.8385 |  | 969.9072 | 9052.4672
| Services | 2250 | 2250 | [5 empty] | 0 |  | 0 | 0
|  | 2750 | 2750 |  | Internal Walls & Partitions |  | 0 |  | 0 |  | 0 | 0
7 | Total Building & Siteworks |  |  |  | Stud Partitions boxings |  | 1500 |  | 13.8889 |  | 180 | 1680
| Preliminaries / profit | 13000 | 13000 |  |  |  | 1500 |  | 13.8889 |  | 180 | 1680
| Passive certication | 1300 | 1300 | [5 empty] | 0 |  | 0 | 0
| Design - External | 1666.67 | 1666.67 |  | Joinery & Fittings |  | 0 |  | 0 |  | 0 | 0
|  | 15966.67 | 15966.67 |  | 1st Fix |  | 0 |  | 0 |  | 0 | 0
| Total of Contract Sum Analysis | 126784.1612 | 139864.2601 |  | Labour |  | 1188 |  | 11 |  | 142.56 | 1330.56
[5 empty] | Grounds, noggings, and battens |  | 627.907 |  | 5.814 |  | 75.3488 | 703.2558
| Total Cost | 126784.1612 |  |  | Framework to boxing for S & VP |  | 188.3721 |  | 1.7442 |  | 22.6047 | 210.9767
| Cost per m2 | 1173.9274 | 1295.0394 |  |  |  | 2004.2791 |  | 18.5581 |  | 240.5135 | 2244.7926
[9 empty] | 0 |  | 0 | 0
[5 empty] | 2nd Fix |  | 0 |  | 0 |  | 0 | 0
|  |  | 1316 |  | Doors and Frames |  | 1200 |  | 11.1111 |  | 144 | 1344
[5 empty] | Skirtings |  | 627.907 |  | 5.814 |  | 75.3488 | 703.2558
|  |  | 20.9606 |  | Architraves |  | 313.9535 |  | 2.907 |  | 37.6744 | 351.6279
|  |  | 2263.7399 |  | Curtain battens |  | 125.5814 |  | 1.1628 |  | 15.0698 | 140.6512
[5 empty] | Framing and bath panel |  | 75.3488 |  | 0.69767 |  | 9.0419 | 84.3907
[5 empty] | Wardrobes |  | 1500 |  | 13.8889 |  | 180 | 1680
[5 empty] | Shelving |  | 125.5814 |  | 1.1628 |  | 15.0698 | 140.6512
[7 empty] | 3968.3721 |  | 36.7442 |  | 476.2047 | 4444.5767
[9 empty] | 0 |  | 0 | 0
[5 empty] | Internal Finishes |  |  |  | 0 |  | 0 | 0
[5 empty] | Wall Finishes |  | 0 |  | 0 |  | 0 | 0
[5 empty] | Tacking and plastering |  |  |  | 0 |  | 0 | 0
[5 empty] | Timber batten and Plasterboarding (to Walls and Boxings) |  | 3000 |  | 27.7778 |  | 360 | 3360 | 10
[5 empty] | Wall Tiling |  | 1188 |  | 11 |  | 142.56 | 1330.56
[5 empty] | Painting Internally |  | 2500 |  | 23.1481 |  | 300 | 2800
[5 empty] | Mastic pointing to doors and windows |  | 188.37 |  | 1.7442 |  | 22.6044 | 210.9744
[7 empty] | 6876.37 |  | 63.6701 |  | 825.1644 | 7701.5344
[9 empty] | 0 |  | 0 | 0
[5 empty] | Floor Finishes |  | 0 |  | 0 |  | 0 | 0
[5 empty] | Floor covering vinal kitchen bathroom |  | 3240 |  | 30 |  | 388.8 | 3628.8
[7 empty] | 3240 |  | 30 |  | 388.8 | 3628.8
[9 empty] | 0 |  | 0 | 0
[5 empty] | Ceiling walls finishes/ plastering |  | 4000 |  | 37.037 |  | 480 | 4480
[9 empty] | 0 |  | 0 | 0
[5 empty] | Cleaning |  | 500 |  | 4.6296 |  | 60 | 560
[9 empty] | 0 |  | 0 | 0
[5 empty] | Fittings |  | 0 |  | 0 |  | 0 | 0
[5 empty] | Kitchen Fittings |  | 4300 |  | 39.8148 |  | 516 | 4816
[5 empty] | White Goods |  | 1000 |  | 9.2593 |  | 120 | 1120
[7 empty] | 5300 |  | 49.0741 |  | 636 | 5936
[9 empty] | 0 |  | 0 | 0
[5 empty] | Services |  | 0 |  | 0 |  | 0 | 0
[5 empty] | Sanitaryware |  | 1600 |  | 14.8148 |  | 192 | 1792
[5 empty] | Plumbing and hot water pipe Combi boiler |  | 5000 |  | 46.2963 |  | 600 | 5600
[5 empty] | Soil and Vent Pipes |  | 627.91 |  | 5.814 |  | 75.3492 | 703.2592
[7 empty] | 7227.91 |  | 66.9251 |  | 867.3492 | 8095.2592
[7 empty] | \ |  | #VALUE!
[5 empty] | Mechanical Installation |  | 0 |  | 0 |  | 0 | 0
[5 empty] | MVHR included in Beattie Passive |  | 3500 |  | 32.4074 |  | 420 | 3920
[7 empty] | 3500 |  | 32.4074 |  | 420 | 3920
[9 empty] | 0 |  | 0 | 0
[5 empty] | Electrical Installation |  | 0 |  | 0 |  | 0 | 0
[5 empty] | Complete |  | 5000 |  | 46.2963 |  | 600 | 5600
[7 empty] | 5000 |  | 46.2963 |  | 600 | 5600
[9 empty] | 0 |  | 0 | 0
[5 empty] | Complete Cost |  | 108067.4912 |  | 1000.6249 |  | 12968.0989 | 121035.5901

## Steeped Roof Design (hidden)
Detailed Elements Plan | Square Meters | 23.5 | Square Meters | 23.5 | Square Meters | 23.5
Steep Sloping Roof (left to right)
| Single Unit (Aluminium Roof, Wood Windows & Wood Cladding) |  | Single Unit (EPDM Roof, Wood Windows & Wood Cladding) |  | Single Unit (EPDM Roof, UPVC Windows & Wood Cladding)
Activity & Task | Total Cost | Cost / SM | Total Cost | Cost / SM | Total Cost | Cost / SM
Total - less MVHR | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
MVHR | 2763 | #REF! | 0 | #REF! | 0 | #REF!
Total - Combined | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Beattie Passive Building Drawings | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Superstructure | 31274.0975 | 1330.8127 | 36731.4935 | 1563.0423 | 31476.24 | 1339.4145
Build Beattie Passive System (Frame) | 20815.28 |  | 20815.28 |  | 20815.28
Insullation | 0 |  | 0 |  | 0
Build Remaining Roof Elements | 0 |  | 5197.52 |  | 5197.52
Windows & External Doors | 0 |  | 0 |  | 2286
Plumbing and Electric | 4997.67 |  | 4997.67 |  | 0
External Cladding | 0 |  | 0 |  | 0
External Porch and Canopy | 2408 |  | 2408 |  | 0
Contingency (5%) | 1290.6475 |  | 1550.5235 |  | 1414.94
Margin (£75 / sm) | 1762.5 |  | 1762.5 |  | 1762.5
Internal Fit Out - Included | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
General (materials costs only) | 0 |  | 0 |  | 0
Kitchen / Lounge (materials costs only) | 0 |  | 0 |  | 0
Bathroom (materials costs only) | #REF! |  | #REF! |  | #REF!
Installation Labour costs only) | 1500 |  | 1500 |  | 1500
Margin (20%) - incorporating labour | #REF! |  | #REF! |  | #REF!

## Summary Table
Summary Cost Table | Square Meters | 23.5
Activity & Task | Total Cost |  | Notes
Total Raw Costs | 55504.5435 |  | Items not included: - Transport of Unit to site, Plumbing connections - Appliances, Warranty, Building Regs - Groundworks, MVHR Commissioning
Total - Raw Costs and Operatonal Costs | 63604.5435
Total Raw Costs - with MVHR | 58267.5435 |  |  | * Can we simplify this (remove MVHR) and 1) base cost 2) contingency 3) total including margin.
Total - with contingency | 58147.617
Total | 58147.617
Operational Costs | 8100
Superstructure | 55504.5435
Super SIPS Frame and SIPS | 20815.28
Build Cold Roof | 5197.52
Windows & External Doors | 2286
MVHR | 2763
Plumbing and Electrics | 4997.67
External Cladding | 3478
Veranda | 2408
Internal Fit Out | 10916
Contingency (5%) | 2643.0735

## Drawings (hidden)
First Home Design Drawings |  |  |  | Basic | Unit 1 | Unit 2 | Unit 3 | Unit 4 | Unit 5 | Unit 6
Objective |  |  |  | #REF! | #REF! | 1292.5 | 1292.5 | 1292.5 | 1292.5 | 1292.5
Complete strucuture drawings for the structure
Commission Build Drawings and Plan (3 months)
Complete Drawings hand over meeting (includes review of all materials needed)
Review Build Plan and Costings
Review and agree Materials Listing (create detailed inventory register)
Labour |  |  |  | 0
Role | Number | Work Effort | Daily Cost | Sub Total
Skilled
Semi Skilled
Unskilled
Totals
Suppliers |  |  |  | #REF!
Item | Description |  |  | Cost | Unit 1 | Unit 2 | Unit 3 | Unit 4 | Unit 5
Drawings | Package of drawings from Beattie Passive @ £100 / Internal SM |  |  | #REF! | #REF! | 1292.5 | 1292.5 | 1292.5 | 1292.5
Equipment |  |  |  | 0
Item | Number | Days Needed | Daily Cost | Sub Total
Materials |  |  |  | 0
Item | Description | Units Needed | Cost per Unit | Sub Total

## Climabead (hidden)
First Home Structure |  |  |  | Basic |  | Unit 1 | Unit 2 | Unit 3 | Unit 4 | Unit 5
Objective |  |  | Steeped | 0 |  | 0 | 0 | 0 | 0 | 0
Install Climabead |  |  | Flat | #REF!
Labour |  |  |  | 0
Role | Number | Work Effort | Daily Cost | Sub Total
0
0
0
Totals
Suppliers |  |  |  | 0
Item | Description |  |  | Cost
Equipment |  |  |  | 0
Item | Number | Days Needed | Daily Cost | Sub Total
0
0
0
Materials |  |  |  | 0 | [6 empty] | Unit 1 | Unit 2 | Unit 3 | Unit 4 | Unit 5
Material | Product |  |  | Part | Measure | Number | Quantity | Cost / Unit | Cost |  | 0 | 0 | 0 | 0 | 0
Insulation | Climabead |  |  | Wall Cavity Insul 300mm | M3 | 0 | 0 | 17.45 | 0
Insulation | Climabead |  |  | Roof Cavity Insul 300mm | M3 | 0 | 0 | 17.45 | 0
Insulation | Climabead |  |  | Floor Cavity Insul 300mm | M3 | 0 | 0 | 17.45 | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0

## Operational Costs
Operational Costs | Operational Costs
Cost | Description
| 12 month costs proportioned over 3 months proposed duration | 8100
Waste Disposal | 20 yard skip general waste; Amey specialist recycling. | 300
Staff Health and Safety / Training | RAMS/ MS site / materials safety, lifting, COSHH, at height, fork lift etc | 250
PPE | protective clothing, masks, faceshields, filters, gloves, overalls, boots. | 100
Generator Servicing | Generator oil, fuel, air filters / oil change at 500 hours | 300
Generator Fuel | Diesel - approx 500 litres per 300 hours useage | 3250
Vehicle Lease | pickup - enables delivery costs saving, staff movement, trailer useage | 900
Vehicle Hire | occasional van, flat bed, tipper hire. | 100
Holidays/Sick Pay | Average 4 weeks admin / daily pay rates | 2000
Annual Maintenance Fees | Loler inspections - lifting gear, fork truck, pick up service | 200
Tool Hire / Replacement | Replacement nail guns, drills, multitools, power saws, etc. | 150
Tool Servicing / Parts | Nail guns, drills, multitools, power saws. | 250
Bookeeping / Accountancy | Accounting charity rules and HMG statutes. | 150
Insurance | public liability, build process, buildings on completion | 150

## Structure
Super Structure |  |  |  | .
Objective |  |  | Superstructure | 20815.28
Manufacture Glulam Frame and SIPS Panels - Offsite
Transport to site
Assemble Frame plus SIPS onsite
Labour |  |  |  | 3541
Role | Number | Work Effort | Daily Cost | Sub Total
Skilled | 1 | 6 | 286 | 1716
Semi Skilled | 2 | 6 | 100 | 1200
Project Manager / WASP Trainer | 1 | 2.5 | 250 | 625
Totals
Suppliers |  |  |  | 16048.95
Item | Description |  |  | Cost
KTS Structural Pod | Super SIPS Built Structural Pod including glulam frame |  |  | 16048.95
Equipment |  |  |  | 0
Item | Number | Days Needed | Daily Cost | Sub Total
Generator | 0 | 6 | 5 | 0
Tools Charge | 0 | 6 | 1 | 0
Vehicle | 0 | 6 | 25 | 0
Materials |  |  |  | 1225.33 | Generic
Material | Product |  |  | Part | Cost
Steel | As per specification provided by Super SIPS
External Fireproof Board | 9mm Magply |  |  |  | 558.33
External Wrap | MAR VENT 3 LIGHTWEIGHT BREATHABLE MEMBRANE 1.5M X 50M
Batton | C24 Treated Timber - 45mm x 25mm (3.2m lengths)
General Fixings | Nails, Screws, PU Foam, Sealant |  |  |  | 667

## Roof
Roof |  |  |  | Basic
Objective |  | False Roof |  | 5197.52
Build Roof
Install Vapour Wrap
Assemble Frame
Add Structural OSB Panels
3 x Liquid Roofing System
Attach Steel Edge, Seal
Labour |  |  |  | 2405
Role | Number | Work Effort | Daily Cost | Sub Total
Skilled | 1 | 5 | 286 | 1430
Semi Skilled | 2 | 3 | 100 | 600
Project Manager / YMCA Trainer | 1 | 1.5 | 250 | 375
Totals
Suppliers |  |  |  | 0
Item | Description |  |  | Cost
Equipment |  |  |  | 0
Item | Number | Days Needed | Daily Cost | Sub Total
Generator | 0 | 5 | 5 | 0
Tools Charge | 0 | 3 | 1 | 0
Vehicle | 0 | 3 | 25 | 0
Materials |  |  | Aluminium | 2792.52
Material | Product |  |  | Part | Measure | Number | Quantity | Cost / Unit | Cost
OSB Caber Sheets | 22mm structural osb (substitute for marine ply) | [7 empty] | 987.52
SIG liquid roof system | 3 coats "FixR liquid 10"; Edging / Fills "Fibre 20"; Joints FixR | [7 empty] | 900
General Fixings | 240 mm Tek bolts; Nails; PU Foam; Gold Screws | [7 empty] | 384
Vapour Membrane | [8 empty] | 150
Roof Edging | Steel | [7 empty] | 371

## Windows&Door
Windows and Door |  |  |  | Basic
Objective |  |  | UPVC Acoustic Glass | 2286
Prepare Window / Door Surrounds
Finish / Cap Surrounds, Seal
Labour |  |  |  | 736
Role | Number | Work Effort | Daily Cost | Sub Total
Skilled | 1 | 1 | 286 | 286
Semi Skilled | 2 | 1 | 100 | 200
Proj Manager / YMCA Traininer | 1 | 1 | 250 | 250
Totals
Suppliers |  |  |  | 0
Item | Description |  |  | Cost
Equipment |  |  |  | 0
Item | Number | Days Needed | Daily Cost | Sub Total
Generator | 0 | 1 | 5 | 0
Tools Charge | 0 | 1 | 1 | 0
Vehicle | 0 | 1 | 25 | 0
Materials |  |  | UPVC | 1550
Material | Product |  |  | Part | Measure | Number | Quantity | Cost / Unit | Cost
Back Window | Supplied and Fitted - Admiral Windows | [7 empty] | 1550
Front Door and Window

## Heating-MVHR
MVHR |  |  |  | Basic
Objective |  |  |  | 2763
Heating - Install Ducting / MVHR Unit
Labour |  |  |  | 1222
Role | Number | Work Effort | Daily Cost | Sub Total
Skilled | 1 | 2 | 286 | 572
Semi Skilled | 2 | 2 | 100 | 400
PM / WASP Trainer | 1 | 1 | 250 | 250
Totals
Suppliers |  |  |  | 0
Item | Description |  |  | Cost
MVHR Installation | Air Recovery System (includes installation) |  |  | 0
Equipment |  |  |  | 0
Item | Number | Days Needed | Daily Cost | Sub Total
MVRH |  |  |  | 0
0
0
Materials |  |  |  | 1541 | [5 empty] | Unit 1 | Unit 2 | Unit 3 | Unit 4 | Unit 5
Material | Product |  |  | Part | Measure | Number | Quantity | Cost / Unit | Cost | 1541 | 1541 | 1541 | 1541 | 1541
Nuaire MrXBox | MRXBOX MVHR plus ducting, fixings, sealant, vents | [7 empty] | 1541
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0

## Plumb&Elec
Plumbing and Electrics |  |  |  | Basic
Objective |  |  |  | 4997.67
Plumbing and Electrics
Labour |  |  |  | 0
Role | Number | Work Effort | Daily Cost | Sub Total
0
0
0
Totals
Suppliers |  |  |  | 4997.67
Item | Description |  |  | Cost
Plumbing | 1st, 2nd Fix: Water heater, shower, white goods, etc |  |  | 2547.67
Electrics | 1st, 2nd Fix: Wiring; sockets, consumer unit, external box, certs. |  |  | 2450
Equipment |  |  |  | 0
Item | Number | Days Needed | Daily Cost | Sub Total
0
0
0
Materials |  |  |  | 0 | [5 empty] | Unit 1 | Unit 2 | Unit 3 | Unit 4 | Unit 5
Material | Product |  |  | Part | Measure | Number | Quantity | Cost / Unit | Cost | 0 | 0 | 0 | 0 | 0
. | [8 empty] | 0
. | [8 empty] | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0

## Ext Cladding
Exterior Cladding |  |  |  | Basic
Objective |  | Flat | Timber | 3478
Exterior Cladding
Install Exterior Cladding
Gutters and Downpipe
Labour |  |  |  | 1908
Role | Number | Work Effort | Daily Cost | Sub Total
Skilled | 1 | 3 | 286 | 858
Semi Skilled | 2 | 4 | 100 | 800
Proj Manager / YMCA Trainer | 1 | 1 | 250 | 250
Totals
Suppliers |  |  |  | 0
Item | Description |  |  | Cost
Equipment |  |  |  | 0
Item | Number | Days Needed | Daily Cost | Sub Total
Generator | 1 | 3 | 5
Tools Charge | 1 | 4 | 1
Vehicle | 1 | 4 | 25
Materials |  |  | Timber | 1570
Material | Product |  |  | Part | Measure | Number | Quantity | Cost / Unit | Cost
Hardie Plank | Black plus install kit, starter strips, ventilation strips, EPDM Tape | [7 empty] | 1516,67
Baton | C24 treated timber 45mm x 25mm - 3.2m lengths | [7 empty] | 350
Timber | Larch Cladding - Millworks | [7 empty] | 567
Yacht Varnish | 3 coats to larch cladding | [7 empty] | 120
Gutters, Downpipe | Steel Front, plastic rear. | [7 empty] | 200
Fixings | Nails, Screws, Sealant, Specialist Chop saw blades | [7 empty] | 333
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0

## Veranda
Veranda |  |  |  | Basic
Objective |  |  |  | 2408
External Veranda, Canopy and Steps
Construct Veranda + Decking
Liquid 10 Roof + Edging + Gutter / Downpipe
Paint x 3 coats Black x3 coats deck
Onsite Install - flashing, treat scuffs
Labour |  |  |  | 1508
Role | Number | Work Effort | Daily Cost | Sub Total
Skilled | 1 | 3 | 286 | 858
Semi Skilled | 2 | 2 | 100 | 400
Project Manager / YMCA Trainer | 1 | 1 | 250 | 250
Totals
Suppliers |  |  |  | 0
Item | Description |  |  | Cost
Equipment |  |  |  | 0
Item | Number | Days Needed | Daily Cost | Sub Total
Generator | 1 | 3 | 5
Tools Charge | 4 | 2 | 1
Vehicle | 1 | 2 | 25
Materials |  |  |  | 900
Material | Product |  |  | Part | Measure | Number | Quantity | Cost / Unit | Cost
Veranda | Posts, Timber, Decking | [7 empty] | 850
Porch | EPDM Roofing Kit | [7 empty] | 0
Porch | Screws and Fittings | [7 empty] | 50
Porch | Cuprinol (or similar) Black Wood Treatment; Clear Deck Treatment
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0

## Internal Fit-Out
Internal Fit
10916
Stud partition walls
Dry Lining plasterboard
Tape and Joint
Fill, make good, emulsion walls
Gloss doors, surrounds, finishes.
Labour |  |  |  | 5860
Role | Number | Work Effort | Daily Cost | Sub Total
Skilled | 1 | 10 | 286 | 2860
Semi Skilled | 2 | 10 | 100 | 2000
Project Manager / YMCA Trainer | 1 | 4 | 250 | 1000
Totals
Suppliers |  |  |  | 0
Item | Description |  |  | Cost
Equipment |  |  |  | 0
Item | Number | Days Needed | Daily Cost | Sub Total
Generator | 1 | 10 | 5
Tools Charge | 4 | 10 | 1
Vehicle | 1 | 10 | 25
5056
Item |  |  | Measure | Unit | Cost / Unit | Cost
Partition Wall Studwork 38x89 - 38 x 89 | [5 empty] | 180
Acoustic Insulation - Rockwool RWA45 Acoustic Insulation Slabs 75mm |  |  |  | 15 | 5 | 75
Acoustic Plasterboard - GYPROC SOUNDBLOC TAPERED EDGE 2400 X 1200 X 12.5MM - 2 Sides of Partition Walls |  |  | m | 16 | 17.5 | 280
12.5 mm 30 Min FR Plasterboard |  |  | sm | 20 | 14 | 280
Moisture Resistant Plasterboard for Bathroom |  |  | sm | 30 | 17.5 | 525
Plastering - Contactor |  |  | m |  |  | 1400
Paint for plasterboard - white emulsion | [5 empty] | 250
Window Board - Primed MDF, size tbc |  |  | m | 2 |  | 40
Skirting/Architrave mdf cut to size |  |  | m |  |  | 120
Doors white Finish |  |  | nr | 2 |  | 120
Door Linings 115mm - White tbc |  |  | nr | 2 |  | 120
Interior Door Handles, hinge kits |  |  | nr | 2 |  | 56
Tiles, Grout - shower surround area |  |  | nr | 1 |  | 170
Flooring Vinyl Glue Down |  |  | sm | 25 | 12 | 600
Flooring Glue | [5 empty] | 40
Installation Sundries - Mastic, Glue, Screws, Tool Hire, Drill Bits, Protective Material, Timber, Generator Diesel, Protective Equipment etc | [5 empty] | 800

## Kitchen
Kitchen |  |  |  | Basic
Objective |  | Flat | Timber | 2104
Install Kitchen
Install Water heater
Labour |  |  |  | 1222
Role | Number | Work Effort | Daily Cost | Sub Total
Skilled | 1 | 2 | 286 | 572
Semi Skilled | 2 | 2 | 100 | 400
Proj Manager / YMCA Trainer | 1 | 1 | 250 | 250
Totals
Ki
Suppliers |  |  |  | 0
Item | Description |  |  | Cost
Equipment |  |  |  | 0
Item | Number | Days Needed | Daily Cost | Sub Total
Generator | 1 | 2 | 5
Tools Charge | 1 | 2 | 1
Vehicle | 1 | 2 | 25
Materials |  |  | Timber | 882
Material | Product |  |  | Part | Measure | Number | Quantity | Cost / Unit | Cost
Kitchen | [8 empty] | 832
Fixings | [8 empty] | 50
0
0
0
0
0