## Slide 1: Renewables
Lara Hopkinson
Building services

## Slide 2: Outline
Context of decarbonisation
Differing energy types
Differing technology types
Case studies

## Slide 3: Context…

## Slide 4: Context…

## Slide 5: Context of carbon emissions

## Slide 6: What energy source?
Solar
Biomass
Wind
Hydro
  Tidal
Geothermal

## Slide 7: Solar energy
Two key distinctions:
  Solar thermal energy
  Solar photovoltaics
Sources: yougen.co.uk / home energy pros / Daily Mail

## Slide 8: Solar thermal – case study
Clifton Lido, Bristol
Sources: The Lido Bristol / Solarsense

## Slide 9: Solar Photovoltaics
Conversion of solar energy directly into electricity in a solid-state device
Technologies:
  Crystalline
    Monocrystalline cells
    Polycrystalline cells
  Thin film
Systems:
  Grid connected
  Off grid

## Slide 10: Solar PV – case study
Clarks Village outlet shopping, Somerset
Source: Solarsense

## Slide 11: Building Integrated PV
Source: Sapa Group

## Slide 12: BIPV – case study
Source: Solarsense

## Slide 13: Solar paint – concept to market
https://www.rmit.edu.au/news/all-news/2017/jun/solar-paint-offers-endless-energy-from-water-vapour

## Slide 14: Wind energy
“utilising the air flow through wind turbines to generate electricity”
UK has greatest capacity of wind power across Europe
Prof James Blyth – 1887
Small scale use initially
1980s – growth and greater applicability of technology

## Slide 15: Turbine types
Horizontal axis wind turbine
Vertical axis wind turbine
Sources: New Energy Nexus / symscape

## Slide 16: Wind energy and buildings
“Wind turbines and buildings do not generally mix”
Permitted Development Rights
Key issues to consider
Source: Microgeneration-oracle / wbdg.org / wind works / BBC

## Slide 17: Wind energy – case study
Source: Bahrain World Trade Centre

## Slide 18
Source: Inhabitat / Research Gate

## Slide 19: Bioenergy
“renewable energy made from materials derived from biological sources”
Biomass – the materials from which the energy is sourced
  E.g. wood, plants, agricultural residues, organic aspects of municipal waste, etc.
Biofuel – conversion of biomass to liquid fuel
Biopower – burning biomass directly
Bioproducts – using biomass to make chemicals

## Slide 20: Primary biomass energy sources
Woody biomass
Cellulosic biomass
Starch / sugary biomass
Oily biomass
Microorganisms
Sources: Gardening know how / Wordpress / Flickr / Petro-online

## Slide 21: Secondary biomass energy sources
Wood residues
Temperate crop co-products
Tropical crop residues
Animals wastes
Municipal solid waste
Commercial & industrial wastes
Source: Lincolnshire Council

## Slide 22: EfW uptake in the UK

## Slide 23: Bioenergy – case study
The Winsford Trust, West Devon
Source: Solarsense

## Slide 24: Bioenergy – algae case study
Source: Cloud Collective

## Slide 25: Hydroelectricity
Power harnessed from fast-flowing water or falling of water
Used since ancient times (e.g. watermills)
Used to generate electricity in late 19th century
Cragside House, Northumberland
Source: Hevac Heritage

## Slide 27: Early developments
The Galloway hydros
Source: University of Edinburgh

## Slide 28: Worlds 3 largest dams
Three Gorges Dam, China
Itaipu Dam, Brazil / Paraguay
Xiluodo, China

## Slide 29: Micro hydro – case study
Source: Renewables First

## Slide 30: Tidal power
“converts the energy from tides into useful power, largely electricity”
This is not widely used at present
Challenges:
  High cost
  Suitability of sites
Benefits:
  More predictable and reliable
  Does not face aesthetic issues

## Slide 31: Tidal power schemes
Scheme type | Description | Advantages | Disadvantages
Tidal barrage | A dam that traps water at high tide to release it through defined channels through a turbine | High power generation Long life span Provides flood control | Requires high tidal flows Most environmental impact
Tidal lagoon | As above, except the dam is a 360˚ enclosure creating a pool | Lower impact Proven design Low maintenance | Expensive Generates less power
Tidal Stream Generator | Tide pushes a turbine as it flows | Modular Least impact | Difficult maintenance
Dynamic Tidal Power | Long walls jut out perpendicular to the shore, creating a head of water | Huge power generation Single installation | Unproven & untested Limited available sites
Source: Tidal Power

## Slide 32: Tidal power – case study
Source: theearthproject.com

## Slide 33: Wave energy
Harnessing the power of waves, generated by wind
Systems include:
  Float and buoy
  Oscillating water column devices
  “Tapchen” systems
Sources: Scitechdaily / science buddies

## Slide 34: Wave energy – case study
Isle of Islay, Scotland
Sources: Geograph / med-etc

## Slide 35: Wave energy – case study

## Slide 36: Geothermal energy
Heat energy generated in the Earth
  Through formation of the planet
  Through radioactive decay of materials
Sources: British Geological Survey

## Slide 37: Deep Geothermal
Source: British Geological Survey

## Slide 38: Deep geothermal – case study

## Slide 39: Shallow geothermal
Suitable for non-volcanic areas
  Heat trapped by solar radiation (10-15m)
  15m, temperature not influenced by seasonal variation
Ground Source Heat Pumps:
  Open-loop
  Closed-loop
  Mine water systems
Sources: British Geological Survey / ecofriend

## Slide 40: Shallow geothermal – case study
Sources: British Geological Survey

## Slide 41: Air Source Heat Pump

## Slide 42: ASHP – case study
Source: Finn Geotherm

## Slide 43: Water Source Heat Pump
Source: Green Age

## Slide 44: WSHP – case study
Source: CIBSE Journal

## Slide 45: Useful information
Renewable Energy: Power for a sustainable future, Godfrey Boyle
www.dictionary.com
Energy UK (www.energy-uk.org.uk)
Energy Saving Trust (www.energysavingtrust.org.uk)
Solar Trade Association (www.solar-trade.org.uk)
British Photovoltaic Association (www.bpva.org.uk)
Tidal Power (www.tidalpower.co.uk)
British Hydropower Association (www.british-hydro.org)
Ocean Energy Council (www.oceanenergycouncil.com)
British Geological Survey (www.bgs.ac.uk)
Renewable Energy Association (www.r-e-a.net)