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Introduction
Guests' safety, fire prevention, and protection are all major concerns in the hotel sector. Major considerations stem from the business environment itself. In a typical business, management would provide training on fire extinguishers and other emergency equipment. But hotels, restaurants, tourist attractions, and other hospitality companies encounter new customers every day. As a building manager, need to factor in the fact that many individuals present throughout a fire incident will have had little to no instruction in how to react. Statistics show that kitchen fires occur more often than any other kind of fire, in any setting from private houses to hospitals. Restaurants, hotels, and event centers are particularly vulnerable because of the high volume of food preparation that occurs in their commercial kitchens. However, the data also shows that fires can often be kept short and restricted to one room by following safe response methods with a trained crew, resulting in little property loss.
Fire safety in the hotel industry
Each and every hotel and motel is unique. Restaurants at hotels and convention centers provide different food than those in convention centers and other standalone venues. In terms of hardware, each group will have something unique or at least distinct from the others (Brown, 2022). Effective evacuation plans should be in place and publicized by building management, and frequent inspections should be scheduled to ensure that all fire protection equipment (alarms, extinguisher, sprinkler, etc.) are up to code. The potential for injury, life, and damage to property increases dramatically if these steps aren't taken swiftly to limit the fire.
A thorough assessment of the commercial property from a certified fire prevention firm like can be the finest things that hotels can do to reduce the danger of fire at the business (AlBattat and Mat Som, 2013). In addition to providing the company with a new perspective on risk management, they can also aid in the development of efficient fire safety systems, the implementation of an efficient training regimen for the staff, and the verification that all of the equipment is performing as intended (Nagaj and Žuromskaitė, 2020). Hoteliers must take all necessary precautions to avoid fires and meet legal requirements. The Regulatory Reform (Fire Safety) Order 2005 has resulted in hefty penalties being issued to hotels and restaurants in the previous several years for violations (GOV, 2021).
Conclusion
Working with experienced fire safety service providers is a good idea to guarantee the company takes the necessary steps to eliminate or greatly decrease fire threats and implements effective fire safety procedures in accordance with the Fire Safety Order's stringent regulatory mandates. 
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