IF you discover a fire

- Raise or sound the alarm.

- Attack the fire if possible and trained to do so using the fire appliances provided without taking personal risks.

Think before you act, have you got the correct extinguisher? Can you escape if the fire gets out of hand or if the means of escape are threatened? Ensure your escape route is clear, never take chances and never underestimate a fire.

On hearing the alarm being raised

- Call the Fire SERVICE immediately.

- Evacuate the premises by the nearest available exit.

- Close all doors on the way out.

- All occupants to report to the assembly point (Main Entrance Gate).

- Do not stop to collect personal belongings.

- Do not re-enter the building until told it is safe to do so.