Environmental Management System
Site Audit Report 


	Department/ College/ Site being audited: 
Carmarthen
	Date of audit: 
03/10/2025

	Auditee: 
University of Wales Trinity St David
	Auditor:
Robert Saunders



	Objectives 
· To assess the implementation of the EMS at each site


	Summary
Paperwork and PPM seem to be inline with legislative requirements. Site generally well managed with improvements noted. Waste controls lead to 2 minor non-conformance as waste separation requirements not met. 1 major non-conformance noted due to previously identified inappropriate storage of propane tank.

	
Air Conditioning
Service report sampled 12/12/2024 for A_Cross

Asbestos
Auditor witnessed asbestos report for Chapel at Carmarthen. Survey undertaken 22nd December 2022. No Asbestos identified.
Auditor witnessed asbestos report for Archbishop Noakes at Carmarthen. Survey undertaken 5th August 2025. No Asbestos identified.

Waste Management 
Hazardous Waste Consignment Note
Ecobat Resources UK Ltd
Mixed Batteries – 200133
20/06/2025
All Parts Complete

Waste transfer note
LAS – CBDU5499
Small WEEE non hazardous
17/10/2024
All parts complete

Waste transfer note
LAS – CBDU5499
Confidential Waste – 200101
09/10/2024
All Parts Complete

Boilers
Boiler servicing sampled:
Carmarthen Campus
Plant Room
18/02/2025

Carmarthen Campus Library
Plant room
19/05/2025

Onsite Controls - Walk round
Waste seen to be well segregated around site.
Spill kits present at risk areas. Active spill noted during walkaround (cooking oil in cafeteria, spill kit being used.)
Minor: Significant waste contamination noted in skips – WEEE, POPS, recycling and wood
Minor: WEEE Container seen to be too full, stored in such a way that could lead to fgas containing equipment becoming damaged (refrigerator).
Major: upgraded from previous identified issue, propane tank seen to be stored in inadequate container, inside of trade workshop.
Observation: Waste paint containers stored loose outside of trade workshop.
Observation: Fluorescent tubes stored inappropriately in storage area (open ended container leading to possible damage).


	Observations raised

	No.
	Description 

	1.
	Observation: Waste paint containers stored loose outside of trade workshop.

	2. 
	Observation: Fluorescent tubes stored inappropriately in storage area (open ended container leading to possible damage).

	3.
	

	4.
	

	Non- conformance raised 

	No. 
	Minor/ Major  
	Description 

	1.
	Minor
	Significant waste contamination noted in skips – WEEE, POPS, recycling and wood


	2.
	Minor
	WEEE Container seen to be too full, stored in such a way that could lead to fgas containing equipment becoming damaged (refrigerator).


	
	Major
	Upgraded from previous identified issue, propane tank seen to be stored in inadequate container, inside of trade workshop.




	Terms 

	Term 
	Description 

	Observation 
	Identifies an issue that requires attention to improve the operation of the EMS
and that if left un-addressed is likely to lead to a non-conformance during future audits, an example of good environmental practise that deserves recognition or a flag for re-visit at the next audit.

	Minor Non- conformance  
	Areas where the EMS is deviating from the Green Dragon Standard requirements in a minor or technical way.

	Major Non- conformance 
	Serious deviation from the Green Dragon Standard requirements, e.g. legal non-compliance. 



